## TCD
Trinity College AOV's & Smoke Ventilation Equipment List
Asset Type | Building | Description | Location | Manufacturer | Quantity | No. of Visits
Automatic Smoke Ventilation | Arts Block | Colt Lowloss Seefire Stairwell Ventilator | B Stairwell |  | 2 | 2
Automatic Smoke Ventilation | Arts Block | Colt Lowloss Seefire Stairwell Ventilator | C Stairwell |  | 2 | 2
Automatic Smoke Ventilation | Loyola | Velux Stairwell Ventilator | Stairwell |  | 1 | 2
Automatic Smoke Ventilation | Parsons Building | Windows | Ground Floor W/Shop |  | 2 | 2
Automatic Smoke Ventilation | Parsons Building | Colt Lowloss Firecracker LF/B Stairwell Ventilator | Stairs |  | 2 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 1300 x 1908 drop | Landing |  | 2 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 4200 x 1908 drop | Landing |  | 1 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 1300 x 1938 drop | Landing |  | 2 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 2054 x 1938 drop | Landing |  | 1 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 1300 x 1575 drop | Landing |  | 5 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 4200 x 1575 drop | Landing |  | 1 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 2054 x 1575 drop | Landing |  | 1 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 1300 x 1486 drop | Landing |  | 2 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 4200 x 1486 drop | Landing |  | 1 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 1300 x 1185 drop | Landing |  | 2 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 2054 x 1185 drop | Landing |  | 1 | 2
Smoke Curtains | Parsons Building | Coopers smoke curtain 2200 x 2000 drop | Landing |  | 1 | 2
Automatic Smoke Ventilation | Santry Book Repository | Colt Lowloss Seefire LS/PF 1613 Ventilator | Roof |  | 16 | 2
Automatic Smoke Ventilation | Santry Book Repository | Colt Liberator Smoke Extract Fan | Roof |  | 4 | 2
Automatic Smoke Ventilation | Santry Book Repository | Colt 0911 Drawbridge | Roof |  | 16 | 2
Automatic Smoke Ventilation | O’Reilly Building | Casement type | Roof |  | 8 | 2
Automatic Smoke Ventilation | O’Reilly Building | Louvered type | Roof |  | 8 | 2
Automatic Smoke Ventilation | O’Reilly Building | Stairwell Ventilator | O’Reilly Hall |  | 2 | 2
Automatic Smoke Ventilation | O’Reilly Building | Stairwell Ventilator | 10/11 Westland Row |  | 1 | 2
Automatic Smoke Ventilation | Hamilton | Colt Lowloss Firecracker LF/PF 1321 Stairwell Ventilator | Stairs |  | 6 | 2
Automatic Smoke Ventilation | Hamilton | Colt Lowloss Firecracker LF/PF 1519 Ventilator | Stairs |  | 2 | 2
Automatic Smoke Ventilation | Hamilton Student Space | Amuller electric window actuators | West wall |  | 10 | 2
Automatic Smoke Ventilation | Watts Building | Colt Lowloss Firecracker LF/PF 1321 Ventilator | Roof |  | 6 | 2
Automatic Smoke Ventilation | Watts Building | Colt Lowloss Firecracker LF/PF 1519 Stairwell Ventilator | Stairs |  | 2 | 2
Automatic Smoke Ventilation | Watts Building | A.S.V.S. Smoke Extract Fan | Plantroom |  | 3 | 2
Automatic Smoke Ventilation | Beckett Centre | Colt Lowloss Firecracker LF/B 1522 Ventilator | Roof |  | 2 | 2
Automatic Smoke Ventilation | Beckett Centre | Colt Fan | Over the stage |  | 1 | 2
Automatic Smoke Ventilation | Aras an Phiarsaigh | Colt Louvered Seefire | Stairs |  | 2 | 2
Automatic Smoke Ventilation | Trinity Centre, SJH | Electric window actuators | Stairs |  | 4 | 2
Automatic Smoke Ventilation | Goldsmith Hall | Colt Lowloss Seefire LS/B 1213 Stairwell Ventilator | Stairs |  | 5 | 2
Automatic Smoke Ventilation | Goldsmith Hall | Colt Lowloss Firecracker LF/B 1835 Ventilator | Plantroom |  | 3 | 2
Automatic Smoke Ventilation | Goldsmith Hall | Colt Horizontal Blackout Curtain* | Lecture Theatre |  | 1 | 2
Automatic Smoke Ventilation | EED 4&5 | A.S.V.S. Louvered Ventilators | 10 over the atrium, 16 over the concourse |  | 26 | 2
Automatic Smoke Ventilation | EED 4&5 | Stairwell Ventilator | Stairs |  | 3 | 2
Automatic Smoke Ventilation | EED 4&5 | Geze RWA electric window actuators | South Atrium wall |  | 18 | 2
Automatic Smoke Ventilation | EED 4&5 | Geze RWA electric window actuators | North Atrium wall |  | 15 | 2
Automatic Smoke Ventilation | EED 4&5 | Louvered type | 3rd Floor Seminar room |  | 1 | 2
Automatic Smoke Ventilation | 1 College Green | Stairwell Ventilator | Stairs |  | 1 | 2
Automatic Smoke Ventilation | Ussher Library | A.S.V.S. TC 1326/8 EH Louvered Ventilators | Roof |  | 2 | 2
Automatic Smoke Ventilation | Ussher Library | A.S.V.S. TC 1240/7+1 EH Louvered Ventilators | Roof |  | 2 | 2
Automatic Smoke Ventilation | Ussher Library | E1A0000B600 Control Panel | Roof |  | 2 | 2
Automatic Smoke Ventilation | Ussher Library | Geze | Side walls |  | 43 | 2
Smoke Pressurisation System | Ussher Library | Roof | Atrium |  | 2 | 2
Automatic Smoke Ventilation | School of nursing | Coxdome | Roof |  | 1 | 2
Automatic Smoke Ventilation | School of nursing | Electric window actuators | Roof |  | 3 | 2
Automatic Smoke Ventilation | School of nursing | FD3 Fire Curtain | Main Hall |  | 1 | 2
Automatic Smoke Ventilation | Lloyd | Coxdome | Roof |  | 2 | 2
Automatic Smoke Ventilation | Lloyd | Electric window actuators | Atrium |  | 8 | 2
Automatic Smoke Ventilation | Lloyd | Safegard System ( AHU 1,2,3 Smoke extract Fans) | Basement |  | 8 | 2
Automatic Smoke Ventilation | CRANN | Stairwell Ventilator 24V AIB | West stairs |  | 1 | 2
Automatic Smoke Ventilation | CRANN | Battery Back Up Control Panel | West stairs |  | 1 | 2
Automatic Smoke Ventilation | CRANN | Stairwell Ventilator 24V AIB | East stairs |  | 1 | 2
Automatic Smoke Ventilation | CRANN | Battery Back Up Control Panel | East stairs |  | 1 | 2
Automatic Smoke Ventilation | CRANN | Safegard System ( AHU 1,2 Smoke extract Fans) | Basement -2 |  | 16 | 2
Automatic Smoke Ventilation | Sports Complex | Vertical Louvered Ventilator | Sports Hall |  | 16 | 2
Automatic Smoke Ventilation | Sports Complex | High Level Chain Drive Window Actuators | Sports Hall |  | 24 | 2
Automatic Smoke Ventilation | Sports Complex | Battery Back Up Control Panel | Sports Hall |  | 2 | 2
Automatic Smoke Ventilation | Sports Complex | High Level Chain Drive Window Actuators | Auxillary Hall |  | 8 | 2
Automatic Smoke Ventilation | Sports Complex | Safegard System ( AHU 4& 5 Smoke Extract Fans x 2) | Basement |  | 16 | 2
Automatic Smoke Ventilation | Sports Complex | Battery Back Up Control Panel | Auxillary Hall |  | 1 | 2
Automatic Smoke Ventilation | 7- 9 South leinster Street | Colt Lowloss Seefire LS/B 1213 Stairwell Ventilator | South stairs |  | 1 | 2
Automatic Smoke Ventilation | 7- 9 South leinster Street | Colt Lowloss Seefire LS/B 1213 Stairwell Ventilator | East stairs |  | 2 | 2
Automatic Smoke Ventilation | Long Room Hub | Stairwell Ventilator GLR | Stairs |  | 2 | 2
Automatic Smoke Ventilation | Long Room Hub | Stairwell Ventilator GLR Control Panel | Stairs |  | 2 | 2
Automatic Smoke Ventilation | Long Room Hub | Atrium Casement Ventilator | Atrium |  | 2 | 2
Automatic Smoke Ventilation | Long Room Hub | Level 4 Casement Ventilator | Atrium |  | 1 | 2
Automatic Smoke Ventilation | Long Room Hub | Casement ventilator Control Panel | Atrium |  | 1 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Standby and duty smoke extract fan | Smoke Shaft No. 2 Including Stair core 2 |  | 2 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt Seefire Stairwell Ventilator 1515 AIB M220 | Smoke Shaft No. 2 Including Stair core 2 |  | 1 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt Seefire Termination Ventilator 1011 AIB M220 | Smoke Shaft No. 2 Including Stair core 2 |  | 1 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt pressure sensor | Smoke Shaft No. 2 Including Stair core 2 |  | 11 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | 11 Level Colt Shaft Control Panel | Smoke Shaft No. 2 Including Stair core 2 |  | 1 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt remote fireman's override (Mimic) Panel | Smoke Shaft No. 2 Including Stair core 2 |  | 1 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt Defender Fire Damper | Smoke Shaft No. 2 Including Stair core 2 |  | 11 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt Seefire Stairwell Ventilator 1214 AIB M24V | Stairs |  | 3 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt Battery Back up Control Panel | Stairs |  | 3 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt remote fireman's override switch | Stairs |  | 3 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Smoke extract fan | Atrium |  | 4 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Fan control panel | Atrium |  | 3 | 2
Automatic Smoke Ventilation | Biomedicalscience Institute | Colt remote fireman's override switch | Atrium |  | 3 | 2
Automatic Smoke Ventilation | Trinity Business School | Stairwell AOV's | Stairwells |  | 3 | 2
Automatic Smoke Ventilation | Student resident 183-188 | Stairwell AOV's | Stairwells |  | 6 | 2
Automatic Smoke Ventilation | Simon Perry Building | Stairwell AOV's | East Stairwell |  | 1 | 2
Smoke Curtains | Old Library Building | FireMaster Concertina Closed System Sides 1 to 4 all 2950m Wide x 3750mm Drop | Security Room / Book of Kells | Fire Master / Coopers | 1 | 2
Automatic Smoke Ventilation | Trinity Business School | 4no 204 Control Panels 4no BGU 4no Stair Core AOV's 3no 320P Control Panels 18no. Groundfloor Glazed Louvres | Stairwells |  | 4 | 2
Smoke Clearance System | Trinity Business School | 2no Smoke Shafts & Associsted Equipment | B2 Plantroom |  | 1 | 2
Smoke Curtains | Trinity Business School | Smoke Curtains and associated Control Equipment | Atruim |  | 8 | 2
Automatic Smoke Ventilation | Houses 53/54/55/56 (183-186 Pearse St) | AOV's | Stairwells |  | 6
Automatic Smoke Ventilation | Trinity Hall Dartry Houses 80 - 91 | AOV's | Stairwell |  | 11 | 2
Actuated Window Drives | Trinity Hall Dartry | House 80 5th floor | Stairwell |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 82 - Gym | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 84 Apt 17 | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Darty | House 85 | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 85 | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 85 | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 85 | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 85 Apt 08 | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 87 | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 87 | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 87 4th floor | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 87 4th floor | Corridor |  | 1 | 2
Actuated Window Drives | Trinity Hall Dartry | House 87 4th floor | Corridor |  | 1 | 2
Fire Shutter | Usher / Lecky Library | Fire Shutter | Orientation Space into Lecky library |  | 1 | 2
Automatic Smoke Ventilation | Usher Library | Smoke Flap Acturator | Floor Plates |  | 163 | 2
Atrium Ventilators | Lloyd Building | Atrium Ventilators | Atrium |  | 84 | 2
Automatic Smoke Ventilation | Usher Library | Pressurisation System | Lift lobbies / stairwells |  | 1 | 2
Automatic Smoke Ventilation | Parsons Building | Coopers Smoke Curtains | Landings |  | 16 | 2
Automatic Smoke Ventilation | Parsons Building | Colt Lowloss Firecracker | Stairs |  | 2 | 2
Automatic Smoke Ventilation | Beckett Theatre | Seefire + Extract Fan | Theatre |  | 2 +1 | 2
Automatic Smoke Ventilation | Simon Perry Building | Smoke Vent AOV | Stairwells |  | 1 | 2
Automatic Smoke Ventilation | PHS Houses 41, 42,43 & 44 | Actuated Windows Drives | Floor lobbies & stairwells |  | 32 | 2
Automatic Smoke Ventilation | PHS Houses 41, 42,43 & 44 | AOV's | Stairwells |  | 7 | 2
Automatic Smoke Ventilation | PHS | Extract Fans - 07 & 08 | Rifle Range |  | 2 | 2
Automatic Smoke Ventilation | PHS | Extract Fans - 16 & 17 | Ancillary Area |  | 2 | 2
Automatic Smoke Ventilation | PHS | Extract Fans - 14 & 15 | AHU Plantroom |  | 2 | 2
Automatic Smoke Ventilation | PHS | 6 no Fire / Smoke Damper panel Systems (total 135 dampers) | Ventilation system |  | 135 | 2
Automatic Smoke Ventilation | E3 | AMS Fire/smoke damper systems ( total168 dampers ) | Basement to 4th floor ( all levels) |  | 168 | 2
Automatic Smoke Ventilation | E3 | AOV's Bilco ESW /50 REM | Stairwells |  | 2 | 2
Automatic Smoke Ventilation | E3 | Fire Curtains | All floors |  | 28 | 2
Automatic Smoke Ventilation | E3 | 2 Actuated Windows | Atruim |  | 2 | 2
Automatic Smoke Ventilation | Trinity East Portal | Fire Curtains | Commons Areas /Entrance Foyers all floors |  | 24 | 2
Automatic Smoke Ventilation | Trinity East Portal | AOV's | Stairwells & Open area |  | 5 | 2
Automatic Smoke Ventilation | House 14 | AOV | 4th floor landing |  | 1 | 2
Automatic Smoke Ventilation | House 11 | AOV | 4th floor landing |  | 1
Automatic Smoke Ventilation | Printing House | Safegard System ( MFSD's x 3. Manual x 10 ) | Basement & Ground Floor |  | 13
Automatic Smoke Ventilation | Printing House | Fire Curtain ASVS ( 4 sided) | Ground Floor Display area |  | 1
Automatic Smoke Ventilation | Printing House | Window Master Actuated chain drive | 1st Floor Stairwell |  | 1
A