## Instructions
LA3528F-Single Supplier Framework Agreement for the Supply, Delivery & Installation of a Gas Chromatograph with triple quadrupole Mass Spectrometer detector (GC-QQQ) to The Department of Agriculture, Food and the Marine (DAFM)
Scoring System & Instructions
Pesticide | Name
Concentration (ppb) | x
Correct identification | 2
Target ion reported | 1
Response for target ion | 1
Confirming ion reported | 1
Response for confirming ion | 1
Linearity r2 | 1
Quantitation | 3
Total = | 10
Sample 1 -Cucumber matrix should be injected 10 times on two different days
The variation in the Quan ion response for each compound found should be reported as the % RSD of both sets of injections
False positives and false negatives will be penalised as follows:
| False positive | False negative
< 1 mg/kg | 0 | 0
1 - 10 mg/kg | -2 | -2
10 - 20 mg/kg | -5 | -5
> 10 mg/kg | -10 | -10
Instructions
Three samples will be provided containing up to 25 pesticides
Sample 1 -Cucumber matrix
Sample 2 -Orange matrix
Sample 3 - Sensitivity check - Cucumber matrix
These samples MUST be collected from the DAFM by the submitted tenderers ath their own expense
Standards will be provided to prepare calibration standards for quantitation
Only pesticides which are part of the analytical standards are included in the scope of this analysis
Two blank matrices will also be provided
A multi-residue method should be used to cover all pesticides on the list
The injection repeatability should be evaluated by injecting the Cucumber matrix ten times on two different days and recording the variation of the response
These results should be reported on the "Results" tab of this document.
Results should be reported to the PCL by 2:00pm on Friday ????
The "Results" tab MUST be completed in full, empty fields will result in lost marks
The GC method must be supplied.
The MS method must be supplied.
Any additional information which the vendor feels is relevent must be supplied as part of your tender response
Marks for, Section A Quality- Sample Identification,will be provided as indicated in the table above
Suppliers must receive at least 70% of the marks for their instrument to be considered suitable.
Note on B11: Jim Garvey: This acts as a sensitivity check

## Results
Cucumber matrix
Pesticide | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Name
Concentration (mg/kg)
Correct identification
Target ion reported
Δm/z for target ion
Confirming ion reported
Δm/z for confirming ion
Linearity r2
Quantitation
Orange matrix
Pesticide | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Name
Concentration (mg/kg)
Correct identification
Target ion reported
Δm/z for target ion
Confirming ion reported
Δm/z for confirming ion
Linearity r2
Quantitation
Sensitivity check - Cucumber
Pesticide | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Name
Concentration (mg/kg)
Correct identification
Target ion reported
Δm/z for target ion
Confirming ion reported
Δm/z for confirming ion
Linearity r2
Quantitation
Cucumber matrix repeatability data | Day 1
Pesticide | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Name
Injection 1
injection 2
Injection 3
Injection 4
Injection 5
Injection 6
Injection 7
Injection 8
Injection 9
Injection 10
Mean = | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
s = | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
% RSD = | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Cucumber matrix repeatability data | Day 2
Pesticide | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Name
Injection 1
injection 2
Injection 3
Injection 4
Injection 5
Injection 6
Injection 7
Injection 8
Injection 9
Injection 10
Mean = | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
s = | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
% RSD = | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Note on B14: Jim Garvey: This acts as a sensitivity check
Note on B30: Jim Garvey: This acts as a sensitivity check
Note on B48: Jim Garvey: This acts as a sensitivity check
Note on B63: Jim Garvey: This acts as a sensitivity check
Note on B82: Jim Garvey: This acts as a sensitivity check