Tender Response Document

Tender Reference: LA3646F

Request-for-Tenders under Open (OJEU) Procedure to Establish a Single Supplier Framework Agreement for the Supply, Delivery, Installation and Commissioning of Virtual Dissection Tables, for the University of Limerick (UL).

Location:

University of Limerick, Castletroy, Limerick, V94 T9PX.

| Issue Date: | Wednesday 17th December 2025 |
| --- | --- |
| Contact Person for Queries: | Jade Kelly |
| Contact Details for Queries: | E-Tenders Mailbox |
| Closing Date for Receipt of Queries: | 12.00pm On Tuesday 20th January 2026 |
| Deadline For Receipt of Tenders: | 12.00pm On Friday 30th January 2026 |

Contents

1.	Introduction	4

2.	Summary of Requirements	4

3.	Section A: Selection Criteria – RFT Section 3.2	5

A1: Insurance	5

A2: Tax Clearance	6

A3: Statement of Turnover	7

A4: Audited Accounts & Reports	7

A5: Data Protection	8

A6: Quality Assurance & Accreditation	8

A7: Organisational Summary	8

A8: Previous Experience	9

A9: Health & Safety	10

A10: Appendix 3 Tenderers’ Statement	11

A11: Appendix 4 Declaration as to Personal Circumstances of Tenderer	13

4.	Sections B- Tender Response	16

B1: Requirements & Specifications	16

B2: Award Criteria	17

B3: Appendix 1-Technical Specification	19

B4: Appendix 2- Pricing Schedule	33

B5: Checklist for Tender Submissions	33

- Instructions for the Completion of the Tender Response Document.

Tenders MUST submit the Tender Response Document (TRD) duly completed. When completing this TRD please note the following:

- Please ensure you complete all of Section A before you progress to Section B.

- Tenderers should note they MUST meet and ‘Pass’ all the requirements contained in Section A, the Selection Criteria, to be considered eligible for assessment against the award criteria, Section B.

- You need to COMPLETE AND RETURN 2 DOCUMENTS. This TRD and the accompanying Appendix 2 Pricing Schedule.

- You DO NOT need to return the RFT Document. The RFT document is for information purposes only.

TRD - Section A Selection Criteria

- A1-A4: Economic & Financial Standing

- A5-A9 Technical & Professional Ability

- A10: Appendix 3 Tenderer’s Statement

- A11: Appendix 4 Declaration as to Personal Circumstances of Tenderer

TRD - Section B: Tender Response

- B1: Requirements & Specifications

- B2: Award Criteria

- B3: Appendix 1-Technical Specification

- B4: Appendix 2- Pricing Schedule (separate Excel File)

- B5: Checklist for Tender Submissions

The completed TRD must be returned in accordance with Section 2.6 of the RFT.

Suppliers please note:

eESPD - When submitting tenders on the eTenders platform, please ensure to complete the online eESPD as part of the tender submission. Instructions are included in the tender documents.

# Introduction

University of Limerick (UL)

With over 18,000 students and 2,000 members of staff, the University of Limerick (UL) is an energetic, research led and enterprising institution with a proud record in innovation and excellence in education, research, and scholarship. The dynamic, entrepreneurial and pioneering values which drive UL’s mission and strategy ensure that we capitalise on local, national, and international engagement and connectivity. We are renowned for providing an outstanding student experience and conducting leading-edge research. Our commitment is to make a difference by shaping the future through educating and empowering our students. With the River Shannon as a unifying focal point, UL is situated on a superb riverside campus of over 130 hectares. Outstanding recreational, cultural, and sporting facilities further enhance the campus’s exceptional learning and research environment.

# Summary of Requirements

University of Limerick require a single supplier framework for new life-size digital anatomy education tables preloaded with multiple (minimum of five (5) real full male and female gross anatomy cadavers in which full external and internal gross anatomy can be volumetrically rendered and displayed from head to toe. These tables must be compatible with existing anatomy education tables in the University.

Budget Available

Please note that the budget available for this total requirement is no greater than €600,000 ex VAT.

Note: The Contracting Authority reserves the right to exclude submissions from suppliers which exceed the maximum budget available as stated above.

# Section A: Selection Criteria – RFT Section 3.2

Tenderers will either Pass OR Fail each of the Selection Criteria. In the event of one or more of the Selection Criteria achieving a fail, the Tenderer will be excluded from participating in this Competition.

Economic and Financial Standing A1 – A4

## A1: Insurance

|  |  | Employer Liability |  | Public Liability |  |  |  | Product Liability |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Minimum Limit of Indemnity |  | €13,000,000 |  | €6,500,000 |  |  |  | €6,500,000 |
| I confirm that we have the following insurances in place: |  |  |  |  |  |  |  |  |
| Insurance Type |  |  | Level in Place |  | Details of Any Excess | Expiry Date |  |  |
| Employers Liability |  |  | € |  |  |  |  |  |
| Public Liability |  |  | € |  |  |  |  |  |
| Product Liability |  |  | € |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |
| I confirm that if successful, where the levels required under the contract are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place. |  |  |  |  |  |  | Yes/No |  |
| AND |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request: - evidence of insurances in place or - letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  |  |  | Yes/No |  |
| Signed: |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |

## A2: Tax Clearance

- Please provide a copy of a valid Irish Tax Clearance Certificate and complete the information below:

| Valid Tax Clearance Certificate: |  |
| --- | --- |
| Evidence Attached | Yes/No |
| Appendix Number |  |
| Expiry Date: |  |

(ii) Alternatively, please provide the following information to enable online verification.

| Tax Registration Number |  |
| --- | --- |
| Tax Clearance Access number |  |

(iii) Or - Please provide evidence that a Tax Clearance Certificate has been applied for from The Irish Revenue Commissioners

| Evidence Attached | Yes/No |
| --- | --- |
| Appendix Number |  |

Note: All non-resident companies MUST apply for a general TCC where tax clearance is required in connection with a Public-Sector Contract (formal or otherwise).

Both Resident and Non-Resident Tax Clearance Certificate information may be obtained from the Irish Revenue Commissioners http://www.revenue.ie/en/tax/it/forms/webtc1.pdf

## A3: Statement of Turnover

Applicants should provide evidence, from your company’s Auditor/Accountant, that their turnover relating to the services specified in Appendix 1 only, has exceeded €337,500 per annum averaged over the three years 2022/2023/2024.

| Lot | Yearly Turnover | 2022 | 2023 | 2024 |
| --- | --- | --- | --- | --- |
| 1 | €337,500 |  |  |  |

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Confirm Yes/No | Yes/No |
| --- | --- |
| Appendix Number |  |

## A4: Audited Accounts & Reports

Three (3) years Audited accounts, from your company’s Auditor/Accountant, must be provided to support the turnover statement. In line with current legislation, where a company has an annual turnover of less than €12 Million then audited accounts are not necessary. In these instances, a Statement of Accounts from the company’s accountants will suffice. Please note: a link to audited accounts will not be accepted.

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Audited Accounts, Yes/No | Yes/No |
| --- | --- |
| Statement of Accounts from Accountant (if turnover < €12M), YES/NO | Yes/No |
| Appendix Number |  |

Technical and Professional Ability A5-A9

## A5: Data Protection

The Tenderer must ensure that the security of Personal Data at all times is in line with the Data Protection Acts 1998 and 2003 and guidance issued by the Data Protection Commissioner of Ireland. Tenderers are required to be compliant under the EU General Data Protection Regulation (GDPR) replacing the Data Protection Directive 95/46/EC, which came into effect on 25/05/2018. Please provide a copy of your Data Protection Policy.

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Confirm Yes/No | Yes/No |
| --- | --- |
| Appendix Number |  |

## A6: Quality Assurance & Accreditation

A certificate confirming an accreditation (e.g. accredited partnership) exists between the Instrument source manufacturer and the Tenderer for the proposed solution, confirming the Tenderer’s ability as authorised provider of the solution to the Contracting Authority.

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Confirm Yes/No | Yes/No |
| --- | --- |
| Appendix Number |  |
| Expiry Date of Certification |  |
| We are the Source Manufacturer | Yes/No |

## A7: Organisational Summary

Please complete the following table(s) with your Company Summary.  If the Tenderer is a grouping, separate information must be completed for each group member.

| Contact Name: |  |
| --- | --- |
| Address: |  |
| Landline telephone number: |  |
| Mobile number: |  |
| Out of hours contact telephone number: |  |
| Email address: |  |
| Please provide a brief company profile including an organisation chart (Please expand this box as necessary) |  |

## A8: Previous Experience

Please provide details of two (2) contracts undertaken within the last three (3) years that demonstrate your experience of successfully providing a service of similar scope, scale and complexity to the service anticipated under this contract. Be very clear what your organisation delivered under this contract.

Please ensure permission has been sought before submitting reference information.

| Previous Experience | Reference 1 |  |  |
| --- | --- | --- | --- |
| Title of Project: |  |  |  |
| Client Name & address: (Note: where name is confidential, please indicate nature / type of client and location) |  |  |  |
| Client contact person: |  | Phone no: |  |
| Contact E-mail Address: |  |  |  |
| Annual Value: |  |  |  |
| Any associated subcontractors |  |  |  |
| Start Date: |  | End Date: |  |
| Please describe this contract in full |  |  |  |
| Insert, expanding this table as necessary. |  |  |  |
| Please outline the extent to which this contract is similar in nature and scale to the Contracting Authority’s current requirements.. Insert, expanding this table as necessary. |

| Previous Experience | Reference 2 |  |  |
| --- | --- | --- | --- |
| Title of Project: |  |  |  |
| Client Name & address: (Note: where name is confidential, please indicate nature / type of client and location) |  |  |  |
| Client contact person: |  | Phone no: |  |
| Contact E-mail Address: |  |  |  |
| Annual Value: |  |  |  |
| Any associated subcontractors |  |  |  |
| Start Date: |  | End Date: |  |
| Please describe this contract in full |  |  |  |
| Insert, expanding this table as necessary. |  |  |  |
| Please outline the extent to which this contract is similar in nature and scale to the Contracting Authority’s current requirements.. Insert, expanding this table as necessary. |

## A9: Health & Safety

Confirmation of Organisation’s Health and Safety statement must be provided.  All Tenderers should demonstrate any other relevant standards in relation to the supply of the tendered equipment.

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Confirm Yes/No | Yes/No |
| --- | --- |
| Appendix Number |  |

## A10: Appendix 3 Tenderers’ Statement

[Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer.]

TENDERERS’ STATEMENT

TO: The University of Limerick (the “Contracting Authority”)

RE: Request-for-Tenders under Open (OJEU) Procedure for a Single Supplier Framework Agreement for the Supply, Delivery, Installation and Commissioning of Virtual Dissection Tables, for the University of Limerick (UL).

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Goods Contract, we hereby declare the following:

| 1. | We understand the nature and extent of the Goods required to be delivered as described in Requirements and Specifications at Appendix 1 to the RFT. |
| --- | --- |
| 2. | We accept all of the Terms and Conditions of the RFT, the Goods Contract, and the Confidentiality Agreement and agree, if awarded a Goods Contract, to execute the Goods Contract at Appendix 5 to the RFT and the Confidentiality Agreement at Appendix 6 to the RFT. |
| 3. | We accept all the Selection and Award Criteria as set out in Part 3 of the RFT. |
| 4. | We agree to supply the Contracting Authority with the Goods in accordance with the RFT and our Tender. |
| 5. | We agree that, if awarded any Goods Contract we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law. |
| 6. | We confirm that we have complied with all requirements as set out at Part 2 of the RFT. |
| 7. | We confirm that all prices quoted in our Tender will remain valid for the period of time, commencing from the Tender Deadline, specified at paragraph 2.10.3 of the RFT. |
| 8. | We shall, if awarded any Goods Contract under the RFT, have in place on the Effective Date of the Goods Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT. |
| 9. | We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request. |
| 10. | We do not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same). |
| 11. | The origin of goods connected to our Tender, if any, are not subject to the prohibitions set out in Regulation (EU) No 833/2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same). |
| 12. | The subcontractor(s) on whose capacity we rely as part of our Tender (where the value of that subcontract exceeds 10% of the value of the Services Contract) does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same). |

| SIGNED (Authorised Signatory) | Company |
| --- | --- |
| Print name | Address |
| Date |  |

[

## A11: Appendix 4 Declaration as to Personal Circumstances of Tenderer

Re: LA3646F - Request-for-Tenders under Open (OJEU) Procedure for a Single Supplier Framework Agreement for the Supply, Delivery, Installation and Commissioning of Virtual Dissection Tables, for the University of Limerick (UL).

NAME:   	[Click here and insert name]

ADDRESS: 	[Click here and insert address]

I, [Click here and insert name of Declarant], of [Click here and insert name of entity]  do solemnly and sincerely declare that:

- I am a [insert role of Declarant] of [Click here and insert name of entity] and am authorized by [Click here and insert name of entity]  to make this declaration which relates to a tender (“the Tender”) submitted by [Click here and insert name of entity]  in response to an RFT dated titled [insert description of competition] published by [insert name of contracting authority] (“the Contracting Authority”).

- Neither [Click here and insert name of entity]  nor any person who is a member of the administrative, management or supervisory body of [Click here and insert name of entity]  nor any person who has powers of representation, decision or control in [Click here and insert name of entity]  has:

- ever been the subject of a conviction for participation in a criminal organisation, as defined in Article 2 of Council Framework Decision 2008/841/JHA.

- ever been the subject of a conviction for corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in the national law of the Contracting Authority or the law of the state in [Click here and insert name of entity] is established.

- ever been the subject of a conviction for fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests.

- ever been the subject of a conviction for terrorist offences or offences linked to terrorist activities, as defined in Articles 1 and 3 of Council Framework Decision 2002/475/JHA respectively, or for inciting or aiding or abetting or attempting to commit an offence, as referred to in Article 4 of that Framework Decision.

- ever been the subject of a conviction for money laundering or terrorist financing, as defined in Article 1 of Directive 2005/60/EC of the European Parliament and of the Council.

- ever been the subject of a conviction for child labour and other forms of trafficking in human beings as defined in Article 2 of Directive 2011/36/EU of the European Parliament and of the Council.

- [Click here and insert name of entity]:

- is not in breach and has not breached its obligations relating to the payment of taxes or social security contributions.

- has carried out the preparation of the Tender independently.

- [Click here and insert name of entity]:

- has, in the performance of all public contracts, complied with applicable obligations in the field of environmental social and labour law that apply at the place where the works are carried out or the services provided, that have been established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016).

- is not bankrupt or the subject of insolvency or winding-up proceedings, its assets are not being administered by a liquidator or by the court, it is not in an arrangement with creditors, its business activities are not suspended nor is it in any analogous situation arising from a similar procedure under national laws and regulations.

- is not guilty of grave professional misconduct.

- has not entered into agreements with other economic operators aimed at distorting competition.

- is not aware of any conflict of interest due to its participation in the Competition;

- has not had any prior involvement in the preparation of the Competition;

- has not shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions.

- is not guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the Selection Criteria for this Competition and did not withhold such information and did not fail or is not able to submit supporting documents in respect of this Competition as required under Regulation 59 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016) .

- has not undertaken to unduly influence the decision-making process of the Contracting Authority in respect of the Competition or obtain confidential information that may confer upon it undue advantages in respect of the Competition; or negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award.

- [Click here and insert name of entity] does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same);

- The origin of goods connected to the Tender, if any, are not subject to the prohibitions set out in Regulation (EU) No 833/2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same);

- Any subcontractor, supplier or other entity on whose capacity [Click here and insert name of entity]  relies as part of the Tender does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same).

I understand and acknowledge that the provision of inaccurate or misleading information in this declaration may lead to my business/firm/company/partnership being excluded from participation in this or future tenders, and I make this solemn declaration conscientiously believing the same to be true and by virtue of the Statutory Declarations Act, 1938. This declaration is made for the benefit of the Contracting Authority.

________________________ Signature of Declarant

Declared before me by ___________________________________ who is personally known to me (or who is identified to me by ______________________________who is personally known to me) or* at ____________________________ this ___________ day of _______________ 20__ ________________________________ (signed) Practicing Solicitor/Commissioner for Oaths

*Please include such other form of identification used to identify the Declarant as permitted by the Statutory Declarations Act, 1938 (as amended)

# Sections B- Tender Response

## B1: Requirements & Specifications

Suppliers MUST provide all information relating to the instrument and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: Appendix 2 – Pricing Schedule.

This is the minimum specification required.  All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.  Additional functionality should be identified in the comments section to facilitate scoring under the award criteria. The Contracting Authority may award a higher marking if the additional functionality is desirable or adds value.

Supplier Notes

- This specification document is designed to assist the contracting authority in its evaluation of your tender and to enable suppliers provide structured responses to key deliverables. It is structured to reflect the award criteria as set out in the RFT.

- Please note responses to individual questions will NOT be scored separately but collectively they will provide a basis for assessing the merits of the tenderer’s overall response to each award criterion and sub-criterion.

- Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances the phrase “or equivalent” is inferred.

- It is acknowledged that each Tender’s product line may differ from these specifications.  As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item must meet or exceed the specified characteristics or level of performance.

- Where abnormally low tenders are received the Evaluation team shall require the tenderer to explain the price proposed in Appendix 2. (Per Article 69 of the EU Procurement Directives 2014/24). Where the tenderer cannot provide a sufficient explanation, the contracting authority is entitled to reject the tender.

- The award of any contract is subject to the successful tenderer meeting the required specification and standards as set out in this RFT and Appendix 1. Should the required specification and standards not be met, the EPS reserves the right, in consultation with the Contracting Authority, to award any contract to the next highest-ranked Tenderer.

- If the evaluation outcome results in a tie between two or more Tenders, then the Tender with the highest score for the highest weighted criterion shall be deemed the most economically advantageous tender. If the score remains in a tie, the remaining criterion will be assessed by the highest weighted until there is no longer a tie.  If the score remains a tie after all criterions are assessed, the tenderers will be asked to submit a Best and Final Offer (BAFO).

A failure to answer question(s) may leave the contracting authority with insufficient information on which to base a thorough evaluation and in turn may result in loss of marks in respect of the relevant Award Criterion. Therefore, please ensure you complete ALL sections of this questionnaire.

Only those Tenderers who have qualified in accordance with paragraph 3.2 of this RFT will proceed to be evaluated under this paragraph 3.3.1

## B2: Award Criteria

The Goods Contract will be awarded on the basis of the most economically advantageous tender(s) as identified in accordance with the following award criteria:

| LA3646F RFT for the Single Supplier Framework Agreement for the Supply, Delivery, Installation and Commissioning of Virtual Dissection Tables, for School of Allied Health and School of Medicine in the University of Limerick (UL). |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Award Criteria: Please Note: All sub criteria for sections B, C & D carry equal weight/marks. For section A sub criteria carry its own weighting. | Weighting | Total Maximum Score | Minimum Score (60%) Requirement |
| - Technical Merit |  |  |  |  |
| A | - General Functional Requirements - Hardware & Software Requirements | 50% 35% 15% | 500 350 150 | 300 210 90 |
| - After Sales Support, Warranty & Training |  |  |  |  |
| B | - Customer Support, Repair/Breakdown Requirements & Spare Parts - Warranty - Training | 15% | 150 | 90 |
| - Method |  |  |  |  |
| C | - Lead Time & Delivery - Installation & Commissioning | 5% | 50 | 30 |
| - Sustainability |  |  |  |  |
| D | - Disposal & Environmental Policy | 10% | 100 | 60 |
| - Ultimate Cost (Total Cost of Ownership) |  |  |  |  |
| E | - Please see Appendix 2 – Pricing Schedule for details. | 20% | 200 | n/a |
|  | - Total Maximum Score Available | 100% | 1000 |  |

Tenderers must achieve a minimum of 60% on all tender award criteria above, excluding Ultimate Cost, in order to avoid elimination from the competition. Only tenderers who have achieved the 60% will be evaluated against Ultimate Cost.

No commitment of any kind, contractual or otherwise shall exist unless and until a formal written contract has been executed by or on behalf of the Contracting Authority. Any award of notification of preferred bidder status by the Contracting Authority shall not give rise to any enforceable rights by the Tenderer. The Contracting Authority may cancel this public procurement competition at any time prior to a formal written contract being executed by or on behalf of the Contracting Authority. The Contracting Authority does not bind itself to accept the lowest priced or any tender.

The award of contract will be on the basis of the Most Economically Advantageous Tender received, in accordance with the detailed award criteria and weightings set out below.

The lowest Ultimate Cost tender, will receive the maximum score achievable under this criterion.

| Pricing Score = | Lowest Tendered Price x Max Points |
| --- | --- |

Price being evaluated.

Responses for non-cost/qualitative Award Criteria items will be scored using the following matrix:

| Scoring Methodology |  |
| --- | --- |
| Scoring Range | Meaning |
| 91% – 100% | Excellent response that fully meets and exceeds requirements, providing comprehensive, detailed, and convincing assurance that the Tenderer will deliver to an exceptional standard. |
| 80% – 90% | A very good response that demonstrates real understanding and fully meets the requirements and provides convincing assurance that the Tenderer will deliver to high standard. |
| 60% – 79% | A satisfactory response which demonstrates a reasonable understanding of requirements and provides reasonable confidence that the minimum requirements will be delivered. However, it does not provide sufficiently convincing assurance to award a higher mark. |
| 30% - 59% | A response where reservations exist due to a lack of convincing details and comprehensive credibility. There is a significant risk that the requirements will not be delivered to a satisfactory standard. |
| 1% – 29% | A response that raises significant reservations, due to insufficient detail, critical or notable deficiencies, that seriously lacks credibility, presenting a high risk of non-delivery. |
| 0% | No Response or partial Response that completely fails to address the criterion under consideration |

## B3: Appendix 1-Technical Specification

Suppliers MUST provide all information relating to the instrument and the associated consumables in the blue response boxes below. Responses will be scored accordingly by the Evaluation team as set out in the Award Criteria in the RFT document.

Where an additional document is required to support your response, the document MUST be attached and the relevant section within the document MUST be clearly referenced in your answer.

Please note that website links are not sufficient as a supporting document.

Only referenced documents will form part of the evaluation. Brochures that have not been referenced will NOT be evaluated.

Please ensure all cost submissions are kept separate and included in the Excel file entitled:  Appendix 2 – Pricing Schedule

| LA3646F RFT for a Single Supplier Framework Agreement for the Supply, Delivery, Installation and Commissioning of Virtual Dissection Tables, for the University of Limerick (UL). |  |
| --- | --- |
| State proposed model here: |  |

- Technical Merit

General Functional Requirements

| A1 | The Tenderer MUST supply of new life size 84-inch multi-touch screen digital anatomy education table platform. The table MUST be: - textbook-friendly - preloaded with a minimum of 5 cadavers with at least 2 male and 2 female - the cadavers must show full external and internal gross anatomy which can be volumetrically rendered and displayed from head to toe. - compatible with existing tables in the University to ensure consistency of teaching methods and results, see “Appendix A-Existing Tables” for further information on the existing tables. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| --- | --- |
| Insert Response |  |
| A2 | The table MUST be adjustable so it can be tilted into a vertical position. Please confirm and detail. |
| Insert Response |  |
| A3 | The table MUST be able to display true human gross anatomy in real life size, be fully annotated and segmented so that the users can explore the body by selecting points of the anatomy. Please confirm and detail. |
| Insert Response |  |
| A4 | The window level control MUST allow for examination of soft tissue or hard tissue. Please confirm and detail. |
| Insert Response |  |
| A5 | The system MUST allow the users to visualise all types of tissues (bones, muscular organs, etc.) and further customise the interactions by virtually slicing, layering and segmenting the anatomy. The selections MUST be able to be rotated or flipped to accomodate any viewpoint and allow users to locate a structure from lists of systems, categories and structures. Please confirm and detail. |
| Insert Response |  |
| A6 | The system MUST also be capable of showing the different anatomical systems separately including but not limited to muscular/digestive systems and allow students and instructors to manipulate the specimen themselves and to be able to zoom in and zoom out of the images. Please confirm and detail. |
| Insert Response |  |
| A7 | A library of digital clinical anatomy cases including embryological, pathological (including abnormal pathologies), ultrasound and radiological examples MUST be included. Please confirm content and detail number of cases included. |
| Insert Response |  |
| A8 | The system MUST allow users explore pathological anatomy and review natural variations for anatomical structures and regions between multiple cadavers. Please confirm and detail. |
| Insert Response |  |
| A9 | The system MUST include clinical procedure simulations such as aesthetic medicine, endoscopy, colonoscopy and interventional cardiology. Please confirm and detail. |
| Insert Response |  |
| A10 | The system MUST include facility for importing and viewing DICOM files using both 2D and 3D viewing options. Please confirm and detail. |
| Insert Response |  |
| A11 | The system MUST be capable of wired connection to the internet, projectors and external monitors. Please confirm and detail. |
| Insert Response |  |
| A12 | The system MUST allow for comprehensive dissection and procedural capabilities including but not limited to volumetric dissection, catheterization, craniotomy, point-to-point dissection. Please confirm and detail. |
| Insert Response |  |
| A13 | The equipment MUST be moveable either by a caster or roller system which is capable of locking in a stationary position. Please confirm and detail. |
| Insert Response |  |
| A14 | Goods and Services MUST comply with all necessary standards, i.e. Irish Standards Institution, European Union, CE, International Standards Organisation or other applicable standard. The tenderer MUST, on the request of the buyer, provide a copy of the standard free of charge. Please confirm and detail. |
| Insert Response |  |
| A15 | Describe any added value proposition that can be offered within the cost of this overall tender submission that can save effort or money for the service. Please confirm and detail. |
| Insert Response |  |
| Hardware & Software Requirements |  |
| A16 | The system MUST include all of the hardware necessary; including all cabling and HDMI leads necessary to meet technical specifications and requirements. Please detail all computer hardware and peripherals provided. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| A17 | The system MUST also be able to open medical imaging data including but not limited to DICOM scans and provide high quality interactive 3D renderings. Please confirm and detail. |
| Insert Response |  |
| A18 | The table MUST be compatible to run on a software based on Windows 11 or later. Please confirm and detail. |
| Insert Response |  |
| A19 | The system MUST include all software necessary to meet technical specifications and requirements. Please list, giving a detailed description of all Software to be provided with the system you are submitting. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| A20 | Suppliers SHOULD provide details on the ability to upgrade the Hardware / Software configuration of the system. Please confirm and describe. |
| Insert Response |  |
| A21; All software upgrades to the system, which become available during the next 5 years, SHOULD be provided free of charge. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule, Optional to Purchase. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. This is optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation.. |
| Insert Response |  |
| A22 | Suppliers SHOULD provide details of additional Software / Hardware options available. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule, Optional to Purchase. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. This is optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. |
| Insert Response |  |
| A23 | In addition to the touchscreen the table MUST have a mouse clicking facility. Please confirm and detail. |
| Insert Response |  |

- After Sales Support, Warranty & Training

Customer Support, Repair/Breakdown Requirements & Spare Parts

| B1 | The tenderer MUST provide a description of the arrangements and lead times for guaranteed responses times in the event of equipment breakdown under warranty both in relation to phone support, online/remote support, the provision of technical support, annual service/ maintenance, emergency call-out response, and spare parts. Please detail lead time for arrival on site by a fully trained service engineer during the warranty period (s) and post-warranty. Please confirm and detail information on remote diagnostic / Telecom-based service support. |
| --- | --- |
| Insert Response |  |
| B2 | The tables SHOULD be easily maintained, please indicate the daily, weekly and monthly maintenance tasks, the typical time taken for each and the level of training and technical expertise required for each task. Please confirm and detail. |
| Insert Response |  |
| B3 | The following manuals/guides MUST be supplied in English language as part of the quoted pricing: - One comprehensive User Manual including and software manuals or guides - Troubleshooting guide Please confirm and detail. |
| Insert Response |  |
| B4 | Tenderers MUST describe what process is in place for escalating a call-out, if a breakdown cannot be resolved on the first visit. Please outline the company’s customer support proposal and escalation policy. |
| Insert Response |  |
| B5 | The manufacturer/supplier MUST state when the model was introduced and when the system is likely to be superseded. Please confirm and detail. |
| Insert Response |  |
| B6 | Query response times SHOULD be no more than 24 hours via phone call or remote service, and within two (2) working days for onsite repair. Please confirm and detail. |
| Insert Response |  |
| B7 | The Tenderer MUST indicate the names and level of experience of technicians who will oversee after sales service level support. Please confirm and detail. |
| Insert Response |  |

| Warranty |  |
| --- | --- |
| B8 | At least three (3) years warranty MUST be included as part of the quoted price, to include all call outs, labour, travel and parts. Detail specific inclusions and exclusions of warranty. The warranty MUST include one (1) preventative maintenance visit per year. Please confirm and detail, outlining costs in the Appendix 2 Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| B9 | The Tenderer MUST state the details of any extended warranty and any associated costs. Detail specific inclusions and exclusions of extended warranty. Please include price per annum for year 4 and 5 details of coverage and maximum term of coverage. Please confirm and detail and also specify what is included in the warranty options outlined in the pricing schedule Appendix 2, Optional to Purchase. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. These are optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. |
| Insert Response |  |
| B10 | The Tenderer MUST state details of preventative maintenance / servicing options included. Detail specific inclusions and exclusions of preventative maintenance / servicing options. Please confirm and detail. |
| Insert Response |  |
| B11 | The successful tenderer SHOULD upgrade the supplied equipment to reflect any improvements or new developments that become available during the term of the contract at no additional cost to the Contracting Authority. Please confirm and detail. |
| Insert Response |  |

| Training |  |  |
| --- | --- | --- |
| B12 | Training for at least six (6) personnel onsite in UL for two (2) days MUST be included after commissioning to cover set up / system familiarization, operation of the tendered equipment, troubleshooting, maintenance and associated software once the system is in place. (Date(s) and timing of training to be confirmed with UL and the winning tenderer). Please confirm cost (if any) in Pricing Schedule, Appendix 2. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |
| Insert Response |  |  |
| B13 | A detailed description of the training and support to be provided for staff and technical personnel MUST be provided. Include relevant details such as program length, format and content. Please confirm and detail. |  |
| Insert Response |  |  |
| B14 | The inclusion of additional training for the contracting authority will be seen as highly desirable. Please confirm and detail any additional training offered. |  |
| Insert Response |  |  |
| B15 |  | Relevant training and maintenance manuals in English MUST also be provided. Please confirm and detail. |
| Insert Response |  |  |
| B16 |  | Training MUST be delivered by an appropriately qualified engineer on an agreed date. Please confirm, providing details of experience/qualifications of the training team. |
| Insert Response |  |  |

| - Method |  |
| --- | --- |
| Lead Time & Delivery |  |
| C1 | Delivery MUST include all shipping charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. The tables MUST be delivered to: 2ND floor Health Sciences Building and Ground floor School of Medicine ICO Block, University of Limerick, Castletroy, Limerick. Exact locations to be defined at the time of award. Please confirm cost (if any) in Pricing Schedule, Appendix 2. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| C2 | Tenderers MUST provide an appropriate lead time and delivery plan including installation and commissioning, sign off and acceptance, from PO placement, in weeks for the required equipment. Give details of timeline for the lead-time to installation, commissioning and training. Shorter lead times are highly desirable. Please confirm and detail. |
| Insert Response |  |
| C3 | Upon delivery, the tenderer MUST ensure special handling with the equipment due to small lifts in the building. Lift size 2100mm high/850mm wide, max 650kg. Please confirm and detail delivery plan. |
| Insert Response |  |
| C4 | The tenderer MUST provide details of your contingency plans (alternative sources/routes of supply) for any delays in delivery. Please confirm and detail. |
| Insert Response |  |

| Installation & Commissioning |  |
| --- | --- |
| C5 | The Table MUST be installed (if required) and commissioned in a location defined by the Contracting Authority, by an appropriately qualified engineer on an agreed date. Please confirm, providing details of experience/qualifications of installation team. Please confirm Cost (if any) in Pricing Schedule, Appendix 2. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| C6 | Tenderers MUST provide an appropriate installation plan for the equipment. Give details of timeline for the lead-time to installation, commissioning and training. Submissions will be scored based on the level of detail and evidence provided that offers the greatest level of efficiency. Please confirm and detail. |
| Insert Response |  |
| C7 | Following the installation of all equipment in the relevant area, the successful tenderer will be required to fully demonstrate the correct operation of all the equipment to the satisfaction of nominated employees. Please confirm and detail. |
| Insert Response |  |
| C8 | All table documentation relating to service and maintenance, parts list, and operation MUST be supplied in English language. Please confirm and detail. |
| Insert Response |  |

- Sustainability

| Disposal & Environmental Policy |  |
| --- | --- |
| D1 | Tenderers SHOULD provide details of their company Sustainable Environmental Policy/Environmental Management system. Please provide details of the environmental management measures or policies to be applied in the execution of this contract. |
| Insert Response |  |
| D2 | Tenderer SHOULD provide GREEN REVERSE LOGISTICS by removing and disposing of Packaging & Waste and agreeing to arrange disposal of the tables at end-of-life as required by the contracting authority, free of charge. Please provide details on other end-of-life disposal options available to the contracting authority |
| Insert Response |  |
| D3 | Tenderers SHOULD provide details of any recycling arrangements they may offer when the equipment reaches end of life and how that may be availed of. Please confirm and detail. |
| Insert Response |  |

| - Ultimate Cost |  |
| --- | --- |
| E | Please see Appendix 2 – Pricing Schedule for details. |

## B4: Appendix 2- Pricing Schedule

Please use the Appendix 2 – which is provided as a supplementary Excel – titled:

LA3646F Appendix 2 Pricing Schedule

The Appendix 2 Pricing Schedule provided in the Excel file MUST be completed per Lot/section(s) you are Tendering for. Please submit in excel format. The relevant Pricing Schedule must be completed in full, totalled, and returned as part of the Tender submission.

Tenderers are reminded that the prices/discounts quoted MUST be in compliance with the requirements set out in paragraph 2.10 of the RFT, i.e.: they MUST be all-inclusive, fixed, expressed in Euro, exclusive of VAT and remain fixed for the term stated in the RFT.

Any particulars and merits should be identified in the comments section to facilitate scoring under paragraph 3.3 Award Criteria of the RFT.

## B5: Checklist for Tender Submissions

| Please confirm that all the information requested in Sections A1-A9 has been provided | Confirm Yes/No |
| --- | --- |
| Please confirm that the Appendix 2 Pricing Schedule has been returned and included in your proposal. | Confirm Yes/No |
| Please confirm that Appendix 3 (on headed paper) has been completed and returned as requested. | Confirm Yes/No |
| Please confirm that Appendix 4 has been signed and completed and returned as requested. This document MUST also be signed, stamped and dated by a Practising Solicitor / Commissioner for Oaths. | Confirm Yes/No |
| Tenderers must address each of the issues and requirements and submit a detailed description in each case which demonstrates how these issues and requirements will be dealt with / met and their approach to the proposed delivery of the Goods. A mere affirmative statement by the Tenderer that it can / will do so or a reiteration of the tender requirements is NOT sufficient in this regard. | Confirm Yes/No |
| If multiple equipment types are available which suit the specifications required, please provide details of each option on a separate TRD and Appendix 2, clearly defining each option. | Confirm Yes/No |
| Please ensure that all supporting documentation is submitted in the English language. | Confirm Yes/No |
| Please ensure all documents are named accordingly and submitted within a zipped/compressed folder. | Confirm Yes/No |

Please ensure to sign confirmation form at end of this document.

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders.

- We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |
| Company Name: |  | Date: |  |
| Address: |  |  |  |
| Email: |  |  |  |

Document end