## Instructions
Appendix 2- Pricing Schedule
TUS Midlands -Athlone Campus
General Information
| Project Title | Electrical Materials for TUS Midlands - Athlone campus
| Tender Deadline | 2.00 p.m. on Wednesday 28th January, 2026.
| Tender Submission: | Tenders are to be submitted via the e-Tenders postbox only. Hardcopy, late or e-mailed tenders will not be accepted.
| Tender Queries: | All tender queries are to be submitted through the messaging facility on e-Tenders and will also be answered via e-Tenders
Instructions
| 1 | This tender is NOT divided into lots. Unit costs must be included for ALL items across all baskets/tabs. If an itemised unit cost is left blank, or priced at €0.00, the highest applicable submitted price will be applied and used in the calculations for evaluation purposes. However, where more than 10% of items (across all 7 baskets) are left unpriced the applicant may be excluded from the tender competition.
| 2 | Please ensure that you complete all cells highlighed in yellow. All other cells are locked and cannot be changed.
| 3 | Tendered sums in each tab will be calculated automatically. Tenderers are advised to check these calculations to ensure that they are satisfied that the calculations are correct prior to submitting the pricing schedule to the contracting authority. If errors in the formulae are identified they should be brought to the attention of the Contracting Authority.
| 4 | Please ensure that you complete the Overall Total Cost sheet which totals the cost of the various baskets. The basket totals will automatically carry over. Tenderers are required to check these calculations to ensure they are accurate.
| 5 | This Pricing Schedule should be submitted in Excel Format.
| 6 | Please ensure the signature box at the bottom of both this sheet and the Overall Total Cost sheet are completed.
| Signed: |  | E-mail
| Print Name: |  | Phone No:
| Position |  | Date:
Company Name
Company Address
NB: The above table is to be completed by the Tenderer.

## Cables
Basket 1
CABLES
|  | Material Description | Unit of Measure | Notional Quantity (per Unit of measure specified in column D) | Unit Cost (Ex- VAT) | TOTAL Ex-VAT
SWA
1.01 |  | 3 x 1.5mm² | 1 m | 50 |  | 0
1.02 |  | 3 X2.5mm² | 1 m | 50 |  | 0
1.03 |  | 3 X 4mm² | 1 m | 50 |  | 0
1.04 |  | 3 X 6mm² | 1 m | 50 |  | 0
1.05 |  | 3 X 10mm² | 1 m | 50 |  | 0
1.06 |  | 4 X 1.5mm² | 1 m | 50 |  | 0
1.07 |  | 4 X 2.5mm² | 1 m | 50 |  | 0
1.08 |  | 4 X 6mm² | 1 m | 50 |  | 0
1.09 |  | 4 x 10mm² | 1 m | 50 |  | 0
1.1 |  | 4 X 16mm² | 1 m | 50 |  | 0
1.11 |  | 5 X 2.5mm² | 1 m | 50 |  | 0
1.12 |  | 5 X 4mm² | 1 m | 50 |  | 0
1.13 |  | 5 x 6mm² | 1 m | 50 |  | 0
1.14 |  | 5 X 10mm² | 1 m | 50 |  | 0
1.15 |  | 5 X 16mm² | 1 m | 50 |  | 0
1.16 |  | 5 X 25mm² | 1 m | 50 |  | 0
| PVC | brown/black/grey/blue/gr/yw LSF
1.17 |  | 1.5mm² | 1 m | 200 |  | 0
1.18 |  | 2.5mm² | 1 m | 200 |  | 0
1.19 |  | 4mm² | 1 m | 200 |  | 0
1.2 |  | 6mm² | 1 m | 50 |  | 0
1.21 |  | 10mm² | 1 m | 25 |  | 0
| Pannel | flex brown/black/grey/blue/ gr/yellow
1.22 |  | 4mm² | 1 m | 20 |  | 0
1.23 |  | 6mm² | 1 m | 20 |  | 0
1.24 |  | 10mm² | 1 m | 20 |  | 0
1.25 |  | 16mm² | 1 m | 10 |  | 0
1.26 |  | 25mm² | 1 m | 10 |  | 0
| Nymj | cable
1.27 |  | 3 x 1.5mm² | 1 m | 50 |  | 0
1.28 |  | 3 x 2.5mm² | 1 m | 100 |  | 0
1.29 |  | 3 x 4mm² | 1 m | 50 |  | 0
1.3 |  | 3 x 6mm² | 1 m | 50 |  | 0
1.31 |  | 5 x 1.5mm² | 1 m | 50 |  | 0
1.32 |  | 5 x 2.5mm² | 1 m | 100 |  | 0
1.33 |  | 5 x 4mm² | 1 m | 50 |  | 0
| Flex | LSOH heat resisant flex
1.34 |  | 3 X .75mm² | 1 m | 100 |  | 0
1.35 |  | 3 X 1mm² | 1 m | 100 |  | 0
1.36 |  | 3 X 1.5mm² | 1 m | 100 |  | 0
1.37 |  | 3 x 2.5mm² | 1 m | 100 |  | 0
1.38 |  | 4 X .75mm² | 1 m | 100 |  | 0
1.39 |  | 4 X 1mm² | 1 m | 150 |  | 0
1.4 |  | 4 X 1.5mm² | 1 m | 100 |  | 0
| Rubber | flex HO7
1.41 |  | 3 x 4mm² | 1 m | 25 |  | 0
1.42 |  | 3 x 6mm² | 1 m | 25 |  | 0
1.43 |  | 5 x 2.5mm² | 1 m | 25 |  | 0
1.45 |  | 5 x 4mm² | 1 m | 25 |  | 0
1.46 |  | 5 x 6mm² | 1 m | 25 |  | 0
| Fire | alarm cable
1.47 |  | 2 x 1.5 PH120 FP 200 | 1 m | 50 |  | 0
1.48 |  | 2 x 2.5 PH120 FP 200 | 1 m | 50 |  | 0
| Control | belden 9402 cable
1.49 |  | 2 x .2mm² | 1 m | 50 |  | 0
1.5 |  | 4 x .2mm² | 1 m | 50 |  | 0
1.51 |  | 2 x .5mm² | 1 m | 50 |  | 0
1.52 |  | 4 x .5mm² | 1 m | 50 |  | 0
1.53 |  | Cable Clips 2.5mmsq NYM (50no. Per box) | Box of 50 | 1 |  | 0
1.54 |  | Cable Clips 4.0mmsq NYM (30no. Per box) | Box of 30 | 1 |  | 0
1.55 |  | Cable Cleats | Each | 100 |  | 0
1.56 |  | Metal Cable Clips (FP 200) | Each | 25 |  | 0
| Glands | plastic
1.57 |  | 20mm plastic Glands (white) | Each | 50 |  | 0
1.58 |  | 20mm Cable Glands (Red) Fire Rated | Each | 10 |  | 0
1.59 |  | 25mm plastic glands | Each | 25 |  | 0
1.6 |  | 32mm plastic glands | Each | 10 |  | 0
| Flexible | conduit glands plastic[copex]
1.61 |  | 20mm | Each | 20 |  | 0
1.62 |  | 25mm | Each | 20 |  | 0
1.63 |  | 32mm | Each | 10 |  | 0
| Metal | swa glands
1.64 |  | BW 20s | Each | 10 |  | 0
1.65 |  | BW 20 | Each | 10 |  | 0
1.66 |  | BW 25 | Each | 5 |  | 0
1.67 |  | BW 32 | Each | 1 |  | 0
1.68 |  | CW 20S | Each | 10 |  | 0
1.69 |  | CW 20 | Each | 5 |  | 0
1.7 |  | CW 25 | Each | 1 |  | 0
1.71 |  | CW 32 | Each | 1 |  | 0
TOTAL NOTIONAL COST | [5 empty] | 0

## Containment
BASKET 2
CONTAINMENT
Item | Material Description | Notional Quantity (per 3m length where applicable) | Unit Cost (Ex-VAT) | TOTAL EX-VAT
2.1 | 300mm Galvanised Tray | 4 |  | 0
2.2 | 300mm Galvanised Tray Bend 45 | 2 |  | 0
2.3 | 300mm Galvanised Tray Bend 90 | 2 |  | 0
2.4 | 200mm Galvanised Tray | 4 |  | 0
2.5 | 200mm Galvanised Tray Bend 45 | 2 |  | 0
2.6 | 200mm Galvanised Tray Bend 90 | 2 |  | 0
2.7 | 100mm Galvanised Tray | 6 |  | 0
2.8 | 100mm Galvanised Tray Bend 45 | 2 |  | 0
2.9 | 100mm Galvanised Tray Bend 90 | 2 |  | 0
2.1 | 50mm Galvanised Tray | 6 |  | 0
2.11 | 50mm Galvanised Tray Bend 45 | 2 |  | 0
2.12 | 50mm Galvanised Tray Bend 90 | 2 |  | 0
2.13 | 300mm Galvanised Basket | 8 |  | 0
2.14 | 300mm Galvanised Basket Bend 45 | 2 |  | 0
2.15 | 300mm Galvanised Basket Bend 90 | 2 |  | 0
2.16 | 150mm Galvanised Basket | 8 |  | 0
2.17 | 150mm Galvanised Basket Bend 45 | 2 |  | 0
2.18 | 150mm Galvanised Basket Bend 90 | 2 |  | 0
2.19 | 600mm Galvanised Ladder | 1 |  | 0
2.2 | 600mm Galvanised Ladder Bend 45 | 1 |  | 0
2.21 | 600mm Galvanised Ladder Bend 90 | 1 |  | 0
2.22 | 600mm Galvanised Ladder offset | 1 |  | 0
2.23 | 300mm Galvanised Ladder | 1 |  | 0
2.24 | 300mm Galvanised Ladder Bend 45 | 1 |  | 0
2.25 | 300mm Galvanised Ladder Bend 90 | 1 |  | 0
2.26 | 300mm Galvanised Ladder offset | 1 |  | 0
2.27 | 38mm Unistrut | 10 |  | 0
2.28 | 25mm Unistrut | 2 |  | 0
2.29 | Unistrut angle brackets 1 hole | 20 |  | 0
2.3 | Unistrut angle brackets 2 hole | 20 |  | 0
2.31 | 10mm anchors | 20 |  | 0
2.32 | 12mm anchors | 10 |  | 0
2.33 | 12mm GS threaded bar | 2 |  | 0
2.34 | 10mm GS threaded bar | 5 |  | 0
2.35 | Unistrut spring nuts 6mm | 20 |  | 0
2.36 | Unistrut spring nuts 10mm | 40 |  | 0
2.37 | 10mm bolts | 50 |  | 0
2.38 | 12mm bolts | 10 |  | 0
2.39 | M6 x 25mm Bolts with nuts | 100 |  | 0
2.4 | M6 x 50mm Bolts with nuts | 100 |  | 0
2.41 | 20mm Galvanised Conduit | 20 |  | 0
2.42 | 20mm Galvanised Conduit Saddle | 60 |  | 0
2.43 | 20mm Galvanised Conduit Throu' box | 10 |  | 0
2.44 | 20mm Galvanised Conduit end box | 10 |  | 0
2.45 | 20mm Galvanised Conduit 'U' box | 5 |  | 0
2.46 | 20mm Galvanised Conduit 'Y' box | 5 |  | 0
2.47 | 20mm Galvanised Conduit bushing | 30 |  | 0
2.48 | 20mm Galvanised Conduit coupler | 30 |  | 0
2.49 | 20mm Galvanised Conduit lock nut / rings | 30 |  | 0
2.5 | 20mm Galvanised Conduit blanks | 10 |  | 0
2.51 | 20mm GS 90o bends (long and short with Insp) | 10 |  | 0
2.52 | 25mm Galvanised Conduit | 5 |  | 0
2.53 | 25mm Galvanised Conduit Saddle | 15 |  | 0
2.54 | 25mm Galvanised Conduit Throu' box | 5 |  | 0
2.55 | 25mm Galvanised Conduit end box | 5 |  | 0
2.56 | 25mm Galvanised Conduit 'U' box | 1 |  | 0
2.57 | 25mm Galvanised Conduit 'Y' box | 1 |  | 0
2.58 | 25mm Galvanised Conduit bushing | 5 |  | 0
2.59 | 25mm Galvanised Conduit coupler | 5 |  | 0
2.6 | 25mm Galvanised Conduit lock nut / rings | 5 |  | 0
2.61 | 25mm Galvanised Conduit blanks | 5 |  | 0
2.62 | 25mm GS 90o bends (long and short with Insp) | 5 |  | 0
2.63 | 50mm x 50mm GS Trunking | 3 |  | 0
2.64 | 50mm x 50mm GS Trunking couplers | 3 |  | 0
2.65 | 50mm x 50mm GS Trunking bends (in or out) | 3 |  | 0
2.66 | 50mm x 50mm GS Trunking tee | 3 |  | 0
2.67 | 100mm x 50mm GS Trunking | 3 |  | 0
2.68 | 100mm x 50mm GS Trunking couplers | 3 |  | 0
2.69 | 100mm x 50mm GS Trunking bends (in or out) | 3 |  | 0
2.7 | 100mm x 50mm GS Trunking tee | 3 |  | 0
2.71 | 100mm x 100mm GS Trunking | 3 |  | 0
2.72 | 100mm x 100mm GS Trunking couplers | 3 |  | 0
2.73 | 100mm x 100mm GS Trunking bends (in or out) | 3 |  | 0
2.74 | 100mm x 100mm GS Trunking tee | 3 |  | 0
2.75 | 150mm x 100mm GS Trunking | 3 |  | 0
2.76 | 150mm x 100mm GS Trunking couplers | 3 |  | 0
2.77 | 150mm x 100mm GS Trunking bends (in or out) | 3 |  | 0
2.78 | 150mm x 100mm GS Trunking tee | 3 |  | 0
2.79 | 150mm x 150mm GS Trunking | 3 |  | 0
2.8 | 150mm x 150mm GS Trunking couplers | 3 |  | 0
2.81 | 150mm x 150mm GS Trunking bends (in or out) | 3 |  | 0
2.82 | 150mm x 150mm GS Trunking tee | 3 |  | 0
2.83 | Trunking earth straps | 25 |  | 0
2.84 | M3.5 set screws 20mm to 40mm | 50 |  | 0
2.85 | M4 Nuts | 50 |  | 0
2.86 | M4 Bolts 8/12/20/ 30mm | 100 |  | 0
2.87 | M6 Cage bolts & Nuts | 20 |  | 0
2.88 | 16mm PVC (Mini-Trunking) | 1 |  | 0
2.89 | 16mm PVC (Mini-Trunking) self adhesive | 5 |  | 0
2.9 | 25mm PVC (Mini-Trunking) | 1 |  | 0
2.91 | 25mm PVC (Mini-Trunking) self adhesive | 10 |  | 0
2.92 | 50mm PVC (Mini-Trunking) | 2 |  | 0
2.93 | 50mm PVC (Mini-Trunking) self adhesive | 1 |  | 0
2.88 | 20mm PVC Conduit | 5 |  | 0
2.89 | 20mm PVC Conduit Saddle | 25 |  | 0
2.9 | 20mm PVC Conduit Throu' box | 10 |  | 0
2.91 | 20mm PVC Conduit end box | 10 |  | 0
2.92 | 20mm PVC Conduit 'U' box | 10 |  | 0
2.93 | 20mm PVC Conduit 'Y' box | 10 |  | 0
2.94 | 20mm PVC Conduit bushing | 10 |  | 0
2.95 | 20mm PVC Conduit coupler | 10 |  | 0
2.96 | 20mm PVC Conduit lock nut / rings | 10 |  | 0
2.97 | 100 x 100 G.S Adaptable box | 10 |  | 0
2.98 | 150 x 150 G.S Adaptable box | 10 |  | 0
2.99 | 100 x 100 PVC Adaptable box | 5 |  | 0
2.1 | 150 x 150 PVC Adaptable box | 5 |  | 0
2.101 | 20mm flexible conduit [copex] | 50 |  | 0
2.102 | 25mm flexible conduit | 25 |  | 0
2.103 | 32mm flexible conduit | 10 |  | 0
TOTAL NOTIONAL COST |  |  |  | 0

## Accessories
BASKET 3
ACCESSORIES
Item | Material Description | Brand used on site | Unit of Measure | Notional Quantity | Unit Cost (excluding VAT) | TOTAL Ex-VAT
Switches and Sockets
3.01 | twin switched socket outlet {pvc} | logic plus | Each | 30 |  | 0
3.02 | twin switched socket outlet (metal clad) | mk k2946 | Each | 30 |  | 0
3.03 | single switched socket outlet (PVC) | logic plus | Each | 5 |  | 0
3.04 | single switched socket outlet (metal clad) | mk k2977 | Each | 5 |  | 0
3.05 | 13a Fused spur Unit (metal)/neon | mk | Each | 5 |  | 0
3.06 | Switched 13a Fused spur Unit (metal) nenon | mk | Each | 5 |  | 0
3.07 | 20A D.P switch (metal) |  | Each | 5 |  | 0
3.08 | single gang 1 way switch (metal) |  | Each | 2 |  | 0
3.09 | single gang 2 way switch (metal) |  | Each | 5 |  | 0
3.1 | 2 gang 1 way switch (metal) |  | Each | 1 |  | 0
3.11 | 2 gang 2 way switch (metal) |  | Each | 5 |  | 0
3.12 | single gang 1 way switch (PVC) |  | Each | 1 |  | 0
3.13 | single gang 2 way switch (PVC) |  | Each | 5 |  | 0
3.14 | 2 gang 1 way switch (PVC) |  | Each | 1 |  | 0
3.15 | 2 gang 2 way switch (PVC) |  | Each | 1 |  | 0
3.16 | 4 gang 1 way switch (metal) |  | Each | 1 |  | 0
3.17 | 4 gang 2 way switch (metal) |  | Each | 1 |  | 0
3.18 | 12 gang switch (metal) |  | Each | 1 |  | 0
3.19 | 86mm x 146mm surface back box (metal) |  | Each | 20 |  | 0
3.2 | 86mm x 86mm surface back box (metal) |  | Each | 5 |  | 0
3.21 | 86mm x 146mm surface back box (PVC) |  | Each | 20 |  | 0
3.22 | 86mm x 86mm surface back box (PVC) |  | Each | 5 |  | 0
3.23 | 75mm x 75mm flush back box (metal) |  | Each | 10 |  | 0
3.24 | 75mm x 135mm flush back box (metal) |  | Each | 10 |  | 0
3.25 | ip 65 32A TPN plug |  | Each | 1 |  | 0
3.26 | ip 65 16A TPN plug |  | Each | 1 |  | 0
3.27 | ip 65 16A SPN plug |  | Each | 1 |  | 0
3.28 | IP 65 16A SPN socket |  | Each | 5 |  | 0
3.29 | IP 65 32A TPN socket |  | Each | 5 |  | 0
3.3 | IP 65 20A SPN Isolator |  | Each | 2 |  | 0
3.31 | IP 65 20A TPN Isolator 3 Pole |  | Each | 5 |  | 0
3.32 | IP 65 20A TPN Isolator 4 Pole |  | Each | 5 |  | 0
3.33 | IP 65 45A SPN Isolator |  | Each | 5 |  | 0
3.34 | IP 65 45A TPN Isolator |  | Each | 5 |  | 0
3.35 | IP 65 63A TPN Isolator |  | Each | 5 |  | 0
3.36 | 3 Compartment Dado PVC Trunking Cat 6A | oddessy | 10 lenghts (3m) | 1 |  | 0
3.37 | 3 Compartment Dado Trunking Int Bends | oddessy | Each | 3 |  | 0
3.38 | 3 Compartment Dado Trunking Ext Bends | oddessy | Each | 3 |  | 0
3.39 | 3 Compartment Dado Trunking tee | oddessy | Each | 1 |  | 0
3.4 | dado trunking single box | oddessy | Each | 20 |  | 0
3.41 | dado trunking double box | oddessy | Each | 20 |  | 0
3.42 | Extension Lead 10m 4gang |  | Each | 2 |  | 0
3.43 | Extension Lead 25m 4 gang |  | Each | 3 |  | 0
3.44 | Extension Lead 50m |  | Each | 1 |  | 0
3.45 | 4 Way Multi-plug c/w surge protection 2m |  | Each | 5 |  | 0
3.46 | 4 Way Multi-plug c/w surge protection 3m |  | Each | 5 |  | 0
3.47 | 4 Way Multi-plug c/w surge protection 5m |  | Each | 5 |  | 0
3.48 | 10A Photocell |  | Each | 2 |  | 0
3.49 | 10A Motion Sensor | luxomatic, 92196/92190 | Each | 10 |  | 0
3.5 | 3 Pin Klik plug and base | Hager | Each | 10 |  | 0
3.51 | 4 Pin Klik | hager | Each | 10 |  | 0
3.52 | Photo Cell & Base |  | Each | 1 |  | 0
3.53 | Time Clock |  | Each | 2 |  | 0
3.54 | H.O.A (hand off auto switch) |  | Each | 2 |  | 0
3.55 | Contactor & Box |  | Each | 1 |  | 0
3.56 | 6 gang 6A 4Pin lighting Dist box | klik hager | Each | 1 |  | 0
3.57 | 8 gang 6A 4Pin lighting Dist box | klik hager | Each | 1 |  | 0
3.58 | 10 gang 6A 4Pin lighting Dist box | klik hager | Each | 1 |  | 0
3.59 | 13a black plug tops( rugged) |  | Each | 20 |  | 0
3.6 | Green Break Glass Unit |  | Each | 2 |  | 0
3.61 | Press to Exit Button |  | Each | 2 |  | 0
TOTAL NOTIONAL COST | [5 empty] | 0

## Lighting
BASKET 4
LIGHTING
Item | Material Description | Notional Quantity | Unit Cost (excluding VAT) | TOTAL ex-vat
General and Emergency Lighting
4.1 | Type A Fitting | 10 |  | 0
4.2 | Type B Fitting | 30 |  | 0
4.3 | Type C Fitting | 5 |  | 0
4.4 | Type D Fitting | 5 |  | 0
4.5 | Type F Fitting | 5 |  | 0
4.6 | Type F Ordinary Fitting | 20 |  | 0
4.7 | Type Ex 1 Fitting | 2 |  | 0
4.8 | Type Ex 2 Fitting | 2 |  | 0
4.9 | Type Ex 3 Fitting | 2 |  | 0
4.1 | Type EM - 1 Emergency Light Fitting | 5 |  | 0
4.11 | Type EM - 2 Emergency Light Fitting | 5 |  | 0
4.12 | Type EM - 3 Maintained Exit Sign | 5 |  | 0
4.13 | Type EM - 4 Maintained Exit Sign | 8 |  | 0
4.14 | Type EM - 5 Maintained Exit Sign | 8 |  | 0
4.15 | Type EM - 6 Emergency Light Fitting | 8 |  | 0
4.16 | Type EM - 7 External Em. Light Fitting | 4 |  | 0
Lamps
4.17 | T8 5ft 58w 840 | 25 |  | 0
4.18 | T8 4ft 36w 840 | 400 |  | 0
4.19 | T8 3ft 28w 840 | 10 |  | 0
4.2 | T8 2 ft 18w 840 | 500 |  | 0
4.21 | T8 2 ft 18w 860 | 50 |  | 0
4.22 | T8 2 ft 18w 960 | 25 |  | 0
4.23 | T5 49 watt 840 | 100 |  | 0
4.24 | T5 35watt 840 | 100 |  | 0
4.25 | T5 28 watt 840 | 100 |  | 0
4.26 | T5 13 watt 840 | 250 |  | 0
4.27 | T5 14 watt 840 | 250 |  | 0
4.28 | T5 8 watt 640 | 200 |  | 0
4.29 | 16 watt 2d 2 pin | 10 |  | 0
4.3 | 16 watt 2d 4 pin | 10 |  | 0
4.31 | 28watt 2d 2 pin | 50 |  | 0
4.32 | 28 watt 2d 4 pin | 50 |  | 0
4.33 | 38 watt 2d 4pin | 10 |  | 0
4.34 | 57 watt triple biax 4pin | 10 |  | 0
4.35 | 42 watt triple biax 4pin | 30 |  | 0
4.36 | 26 watt double biax 2 pin | 75 |  | 0
4.37 | 26 watt double biax 4 pin | 25 |  | 0
4.38 | 18 watt double biax 2 pin | 75 |  | 0
4.39 | 18 watt double biax 4 pin | 25 |  | 0
4.4 | 13 watt double biax 2 and 4 pin | 20 |  | 0
4.41 | 100 watt son t e 40 linear | 5 |  | 0
4.42 | 250 watt HPST e40 linear | 5 |  | 0
4.43 | 400 watt HPTS e 40 linear | 5 |  | 0
4.44 | 250 watt HQL e 40 pearl | 10 |  | 0
4.45 | 70 watt HPTS e 27 pearl | 25 |  | 0
4.46 | 70 watt HPTS e linear | 25 |  | 0
4.47 | 150 watt RX7s | 20 |  | 0
4.48 | 150 watt G12 | 20 |  | 0
4.49 | 70 watt G12 | 25 |  | 0
Electronic Ballast Replacement
4.44 | 2 x14w t5 | 10 |  | 0
4.45 | 4x 14w t5 | 10 |  | 0
4.46 | 4 x14w emergency t5 | 10 |  | 0
4.47 | 1x 28w t5 | 10 |  | 0
4.48 | 2 x 28w t5 | 10 |  | 0
4.49 | 4 x 28w emergency t5 | 10 |  | 0
4.5 | 1 x35w t5 | 10 |  | 0
4.51 | 2 x 35w t5 emergency | 10 |  | 0
4.52 | 1 x 49w t5 | 10 |  | 0
4.53 | 1 x49w t5 emergency | 5 |  | 0
4.54 | Replacement Ballast -3 BIAX 42 Watt | 5 |  | 0
4.55 | Replacement Ballast -3 BIAX 57 Watt | 2 |  | 0
4.56 | Replacement Ballast - SON / MH | 2 |  | 0
4.57 | Starters S2 | 1000 |  | 0
4.58 | Starters S10 | 1000 |  | 0
TOTAL NOTIONAL COST |  |  |  | 0

## MISC Items
BASKET 5
MISCELLANEOUS ITEMS
Item | Material Description | Notional Quantity | Unit Cost (excluding VAT) | TOTAL Ex-VAT
Fuse board hardware
5.01 | Single Phase MCB, 6A Type B | 5 |  | 0
5.02 | Single Phase MCB, 6A Type C | 5 |  | 0
5.03 | Single Phase MCB, 10A Type B | 5 |  | 0
5.04 | Single Phase MCB, 10A Type C | 5 |  | 0
5.05 | Single Phase MCB, 20A Type B | 5 |  | 0
5.06 | Single Phase MCB, 20A Type C | 5 |  | 0
5.07 | Single Phase MCB, 32A Type B | 1 |  | 0
5.08 | Single Phase MCB, 32A Type C | 1 |  | 0
5.09 | Three Phase RCD, 30mA 40A | 5 |  | 0
5.1 | Three Phase RCD, 30mA 63A | 1 |  | 0
5.11 | Three Phase RCD, 30mA 100A | 1 |  | 0
5.12 | Three Phase MCB, 20A | 2 |  | 0
5.13 | Three Phase MCB 25A | 2 |  | 0
5.14 | Three phase MCB 32A | 2 |  | 0
5.15 | Three Phase MCB, 40A | 2 |  | 0
5.16 | Three Phase MCB, 50A | 1 |  | 0
5.17 | Single Phase RCBO 20A | 20 |  | 0
5.18 | Single Phase RCBO 25A | 1 |  | 0
5.19 | Single Phase RCBO 32A | 1 |  | 0
5.2 | 4 Pole din-rail contactor 20A (NO or NC) | 5 |  | 0
5.21 | 4 Pole din-rail contactor 40A (NO or NC) | 5 |  | 0
5.22 | Din-rail terminals - 2.5mmsq | 10 |  | 0
5.23 | Din-rail terminals - 4.0mmsq | 10 |  | 0
5.24 | Din-rail terminals - 6.0 mmsq | 10 |  | 0
5.25 | Din-rail terminals - 10 mmsq | 10 |  | 0
5.26 | Din-rail terminals - 16mmsq | 10 |  | 0
5.27 | Din-rail terminals - 25mmsq | 5 |  | 0
5.28 | 1 Channel Electronic Timer | 1 |  | 0
5.29 | 2 Channel Electronic Timer | 2 |  | 0
Cable Ferrules per pack
5.3 | 0.5mm² | 1 |  | 0
5.31 | 0.75mm² | 1 |  | 0
5.32 | 1mm² | 1 |  | 0
5.33 | 1.5mm² | 1 |  | 0
5.34 | 2.5mm² | 2 |  | 0
5.35 | 4mm² | 2 |  | 0
5.36 | 6mm² | 2 |  | 0
5.37 | 10mm² | 1 |  | 0
Butt Splices per pack
5.38 | 1.5mm² | 1 |  | 0
5.39 | 2.5mm² | 1 |  | 0
Spade Connectors per pack
5.4 | 63 bft 1.5-2.5mm | 2 |  | 0
5.41 | 63yft 4-6mm | 2 |  | 0
5.42 | piano connectors 2pin (wago 758-1650) | 10 |  | 0
5.43 | piano connectors 3 pin(wago 475-1437 | 2 |  | 0
5.44 | Ceramic Connectors - 2.5mmsq | 20 |  | 0
5.45 | Ceramic Connectors - 4.0mmsq | 20 |  | 0
5.46 | Ceramic Connectors - 6.0mmsq | 20 |  | 0
5.47 | Strip Connectors - 5A | 100 |  | 0
5.48 | Strip Connectors - 10A | 100 |  | 0
5.49 | Strip Connectors - 15A | 100 |  | 0
5.5 | Strip Connectors - 30A | 100 |  | 0
5.51 | Insulation Tape various colours - (Pack of 10 rolls) | 2 |  | 0
5.52 | Duct Tape (50m roll) | 2 |  | 0
5.53 | Printer Tapes 12mm black on white ( brother printers) | 6 |  | 0
5.54 | Printer Tapes 18mm black on yellow 9 (brothers) | 2 |  | 0
5.55 | Floor marker tape self-adhesive (red on white) | 1 |  | 0
5.56 | Floor marker tape self-adhesive (yellow on black) | 1 |  | 0
5.57 | work zone barrier tape non-adhesive (red on white) | 1 |  | 0
Screws Wood per 100
5.58 | 4 x 25mm | 1 |  | 0
5.59 | 4 x30mm | 2 |  | 0
5.6 | 4 x 40mm | 5 |  | 0
5.61 | 4 x 50mm | 2 |  | 0
5.62 | 4 x 60mm | 1 |  | 0
5.63 | 4 x 70mm | 1 |  | 0
5.64 | 5 x 30mm | 1 |  | 0
5.65 | 5 x 40mm | 3 |  | 0
5.66 | 5 x 50mm | 5 |  | 0
5.67 | 5 x 60mm | 2 |  | 0
5.68 | 5 x 70mm | 1 |  | 0
Hex Head Self-drilling per 100
5.69 | 5.5 x 19mm | 1 |  | 0
5.7 | 5.5 x 22mm | 2 |  | 0
5.71 | 5.5 x 25mm | 1 |  | 0
5.72 | waffer head zippy 4.2 x 13 | 1 |  | 0
5.73 | PANEL Lamps - 24V LED (various colours) | 10 |  | 0
5.74 | PANEL Lamps - 230V LED (various colours) | 10 |  | 0
Ties each
5.75 | Cable ties 100mm | 300 |  | 0
5.76 | Cable ties 188mm | 500 |  | 0
5.77 | Cable ties 200mm | 1000 |  | 0
5.78 | Cable ties 300mm | 2000 |  | 0
5.79 | Cable ties 600mm | 50 |  | 0
5.8 | Steel Cable ties | 50 |  | 0
TOTAL NOTIONAL COST |  |  |  | 0

## Batteries _Fuses
BASKET 6
BATTERIES & FUSES
Item | Material Description | Notional Quantity | Unit Cost (excluding VAT) | TOTAL Ex-VAT
Fuses
6.1 | 5 X20mm ceramic & glass quick blow anti-surge - 0.5A | 20 |  | 0
6.2 | 5 X20mm ceramic & glass quick blow anti-surge - 3A | 20 |  | 0
6.3 | 5 X20mm ceramic & glass quick blow anti-surge - 6.3A | 20 |  | 0
6.4 | 6.3 x 25.4 Ceramic fuses - 3A | 10 |  | 0
6.5 | 6.3 x 25.4 Ceramic fuses - 5A | 10 |  | 0
6.6 | 6.3 x 25.4 Ceramic fuses - 10A | 10 |  | 0
6.7 | 6.3 x 25.4 Ceramic fuses - 13A | 40 |  | 0
6.8 | 10 x 38 gG Fuses -4A | 5 |  | 0
6.9 | 10 x 38 gG Fuses -6A | 5 |  | 0
6.1 | 10 x 38 gG Fuses -8A | 5 |  | 0
6.11 | 10 x 38 gG Fuses -10A | 5 |  | 0
6.12 | 10 x 38 gG Fuses -16A | 5 |  | 0
6.13 | 6 A street Lighting cut out fuse (LST) | 10 |  | 0
6.14 | 10 A street Lighting cut out fuse (LST) | 2 |  | 0
6.15 | NH000gG500V -16A | 3 |  | 0
6.16 | NH000gG500V -20A | 3 |  | 0
6.17 | NH000gG500V -25A | 3 |  | 0
6.18 | NH000gG500V -32A | 3 |  | 0
6.19 | NH000gG500V -50A | 3 |  | 0
6.2 | NH000gG500V -63A | 3 |  | 0
6.21 | NH000gG500V -80A | 3 |  | 0
6.22 | NH000gG500V -100A | 3 |  | 0
6.23 | NH000gG500V -125A | 3 |  | 0
Batteries
6.24 | AA | 40 |  | 0
6.25 | AAA | 300 |  | 0
6.26 | 9V square | 10 |  | 0
6.27 | 3V CR2016 Batteries | 20 |  | 0
6.28 | 3V CR2020 Batteries | 20 |  | 0
6.29 | 3V CR2025 Batteries | 20 |  | 0
6.3 | 3V CR2032 Batteries | 20 |  | 0
6.31 | 3V CR2430 Batteries | 20 |  | 0
6.32 | 12V 2.1 Ah lead acid rechargeable | 5 |  | 0
6.33 | 12V 7.0 Ah lead acid rechargeable ** | 100 |  | 0
6.34 | 3 cell: hrmt (AA) [mackwell 9001688] | 20 |  | 0
6.35 | 3 cell 1.6AH 3.6v [tridonic accu nicd c 89899743] | 30 |  | 0
Stick Batteries d type
6.36 | 2 cell | 10 |  | 0
6.37 | 3cell | 20 |  | 0
6.38 | 4cell | 50 |  | 0
6.39 | 5cell | 20 |  | 0
6.4 | 6 cell | 5 |  | 0
6.41 | 7 cell | 5 |  | 0
Side by Side d type
6.42 | 2 cell side by side | 20 |  | 0
6.43 | 4 cell side by side | 20 |  | 0
TOTAL NOTIONAL COST |  |  |  | 0

## ICT Network
BASKET 7
ICT NETWORK
| Material Description | Unit of Measure | Notional Quantity | Unit Cost (excluding VAT) | TOTAL Ex-VAT
Structured Cable
7.01 | cat 6 utp /100m | 100m | 6 |  | 0
7.02 | cat 6 ftp/ 100m | 100m | 3 |  | 0
7.03 | cat 6A utp /100 | 100m | 10 |  | 0
7.04 | cat 6A ftp /100 | 100m | 2 |  | 0
Hardware |  |  |  |  | 0
7.05 | cat 6 utp rj45 euro module | Each | 20 |  | 0
7.06 | cat 6 ftp rj45 euro module | Each | 10 |  | 0
7.07 | cat 6A utp rj45 euro module | Each | 30 |  | 0
7.08 | cat 6A ftp rj45 euro module | Each | 10 |  | 0
7.09 | cat 6 utp tool less jack key stone | Each | 10 |  | 0
7.1 | cat 6 ftp tool less jack key stone | Each | 10 |  | 0
7.11 | cat6A utp tool less jack key stone | Each | 10 |  | 0
7.12 | cat 6A ftp tool less jack key stone | Each | 10 |  | 0
7.13 | cat 6 shutter module for keystone | Each | 10 |  | 0
7.14 | cat 6aA shutter module for key stone | Each | 10 |  | 0
Face plates |  |  |  |  | 0
7.15 | mk pro logic,mk metal clad, connectix | Each | 10 |  | 0
7.16 | 2G module 50x50 plastic | Each | 30 |  | 0
7.15 | 2G module 50x50 metal | Each | 5 |  | 0
7.16 | 1G module 25 plastic | Each | 10 |  | 0
7.17 | 1G module 25 x50 metal | Each | 5 |  | 0
7.17 | 24 port cat 6 patch panel | Each | 1 |  | 0
7.18 | 24 port cat 6A pacth panel | Each | 1 |  | 0
7.19 | 1U cable management | Each | 1 |  | 0
7.2 | 2u cable management | Each | 2 |  | 0
Tools |  |  |  |  | 0
7.21 | hole saw 22mm | Each | 2 |  | 0
7.22 | Hole saw 25mm | Each | 2 |  | 0
7.23 | hole saw 32mm | Each | 2 |  | 0
7.24 | pilot bit 6mm | Each | 10 |  | 0
7.25 | 4mm steel bit | Each | 10 |  | 0
7.26 | 5mm steel bit | Each | 10 |  | 0
7.27 | 10mm steel bit | Each | 5 |  | 0
7.28 | 12mm steel bit | Each | 5 |  | 0
7.29 | 5.5masonery bit short | Each | 5 |  | 0
7.3 | 5.5masonery bit long | Each | 5 |  | 0
7.31 | senior hack saw blade | Each | 10 |  | 0
7.32 | junior hacksaw blade 10 | Each | 10 |  | 0
Handriers |  |  |  |  | 0
7.35 | air blade v [dyson huo2n] | Each | 2 |  | 0
7.36 | act panther [za 05 | Each | 2 |  | 0
TOTAL NOTIONAL COST |  |  |  |  | 0

## OVERALL TOTAL COST
Appendix 2 - Pricing Schedule - Overall Total Cost
Electrical Materials for TUS Midlands - Athlone Campus
Description | Total Cost Excluding VAT | VAT Rate (%) | Total Cost Including VAT
Basket 1: Cables | 0
Basket 2: Containment | 0
Basket 3: Accessories | 0
Basket 4: Lighting | 0
Basket 5: Miscellaneous | 0
Basket 6: Batteries and Fuses | 0
Basket 7: ICT Network | 0
Delivery Charge (if applicable) for order under €100*
NOTIONAL TENDER COST | 0 |  | 0
* If delivery charges do not apply please insert 0.00 in Total Columns It is expected that any order over €100.00 will not incur a delivery charge. In the event that the order value is less than the specified amount (€100.00), a delivery charge is optional. In this event, Tenderers must indicate what the delivery charge will be (if any).
Company Name:
Address:
Signed:
Print Name:
Posiition:
Phone No.:
E-mail:
Date: