## Instructions
PLEASE READ THIS SECTION IN FULL PRIOR TO PRICING
TRD APPENDIX C: INSTRUCTIONS TO TENDERERS
GENERAL NOTES
1 | Tenderers should refer to ALL tender documentation when preparing prices for submission, sprcifically the RFT document, the DTSS and the WHS Operations Manual for explanation on how measures are to be priced.
2 | Tenderers should refer to the Reasonably Expected Works information in the Operations Manual which list relevant parts of renewable heating systems/EWI/IWI and Attic works required.
3 | Tenderers should refer to 2.10 of the RFT regarding pricing.
4 | TRD Part C: Pricing Document is a protected spreadsheet. Tenderers may not amend or alter any of the cells that are fixed. Failure to comply with this instruction will result in a tender being automatically eliminated.
5 | Tenderers must submit a fully completed TRD Part C: Pricing Document spreadsheet, incorporating all variable costs associated with ‘Primary Measures’ in the yellow cells in order to be evaluated on cost.
6 | Tenderers should insert their business/trading name in the yellow cell in Row 6 on the 'Pricing Rates' tab
7 | Tenderers may only submit prices in the yellow cells in Column D on the 'Pricing Rates' tab.
8 | All prices quoted must be all-inclusive, that is, including, but not limited to labour, materials, preliminaries, site works, scaffolding and temporary platforms, plant and machinery, ancillary costs and all other costs/expenses), be expressed in euro (€) only and exclusive of VAT.
9 | SEAI is registered as a 'Principal Contractor' for 'Relevant Contractors Tax' (RCT). Successful tenderers will be subject to RCT, therefore quotes, invoices and payments will be exclusive of VAT.
10 | The 'Pricing Rates' tab lists all anticipated items of work required under the WHS for 2026 and subsequent years of the Framework, based on 2024/25 data taking account of likelihood of occuring on future allocations. - Column E sets out the unit of the measure. - Column F sets out the expected frequency for each measure across these 100 homes using the tendered rates. - Column G sets out the typical quantity of each measure required across 100 WHS homes. The total of all the costs included in Column H is calculated in cell H108. This is the total cost of measures for a typical 100 WHS homes using the tendered rates submitted. Tenders will be evaluated using the average cost for one WHS home, calculated in cell H109. SEAI has established a range of expected costs per measure based on available market data. The Lower and Upper ranges are located in columns K and L. Tenderers will be prompted to enter a price and when complete, the prompt will disappear.
11 | The following colour key applies to cells in the 'Pricing Rates' tab and explains which cells can be edited and which are locked/fixed:
Yellow: Tenderer must insert their tender rate in this cell
Green: Pre-populated cell - fixed rate set by SEAI. No action from tenderer
Blue: Pre-populated cell - based on information entered by tenderer in other related cells. No action from tenderer
12 | The following colour key applies to cells in the 'Measure Ref' column [Col B] and explains the following information on measures:
This cell colour indicates NEW measures on the programme
This cell colour indicates EXISTING measures which have been MODIFIED on the programme
SPECIFIC MEASURE NOTES
13 | Attic insulation at ceiling level: This measure has been divided into two separate pricing bands. Tenderers are to submit a rate for each band. The first band: Attic (Loft) insulation 100mm to 200mm top-up provides for where 100mm, 150mm or 200mm of attic insulation is required to be installed. When the tenderer enters the rate for this band, the rates for the three measures relevant to the band (A001 to A003) are automatically populated. Tenderers will be paid the same rate for 100mm, 150mm and 200mm of insulation. The second band: Attic (Loft) insulation 250mm to 300mm top-up provides for where 250mm or 300mm of attic insulation is required to be installed. When the tenderer enters the rate for this band, the rates for the two measures relevant to the band (A004 and A005) are automatically populated. Tenderers will be paid the same rate for 250mm and 300mm of insulation.
14 | Additional roof ventilation: These two measures are covered under one single pricing band. Tenderers will be paid the same rate for low level and high level roof ventilation. When the tenderer enters the rate for Additional roof ventilation (low level) (A007), the rate for Additional roof ventilation (high level) (A008) is automatically populated so that the same rate is paid for both low level and high level roof ventilation.
15 | The External wall insulation measures (W003 to W008 inclusive) have been divided into three separate bands per measure for pricing based on property size. Loose fibre must be priced as one measure.
16 | Non-mechanical wall ventilation (W010 to W012): Three measures are covered under one single pricing band. Tenderers will be paid the same rate for all three measures. When the tenderer enters the rate for Background ventilation wall vent: certified proprietary integrated system (W010) the rates for Non-mechanical ventilation wall vent: Permanent wall vent (certified proprietary integrated system) (W011) and Ducting existing cooker hood/existing MEV to exterior (W012) will prepopulate so that the same rate is paid for all three measures. Mechanical wall ventilation MEV 15l/s Bathroom/ 30l/sUtility/ 60l/s Kitchen(W013 to W015): Three measures are covered under one single pricing band. Tenderers will be paid the same rate for all three measures. When the tenderer enters the rate for MEV 15l/s Bathroomt (W013), the rates for 30l/sUtility & 60l/s Kitchen (W014 & W015) will prepopulate so that the same rate is paid for all three measures.
RENEWABLE HEATING SYSTEM NOTES
17 | Heat Pump: Tenderers should refer to the Reasonably Expected Works information in the Operations Manual which list relevant parts of renewable heating systems. The Heat Pump Pack is covered under single pricing band. Tenderer enters the rate for Radiator (AH013), the rate for Radiator (air to water heat pump system) (AH014).
ADDITIONAL HEATING ZONE SYSTEM NOTES
18 | Additional Heating Zone (AH008) : Tenderers are to provide a supply and fit rate to all components to enable an additional space heating zone: Eg. Stat, Valves, New single-channel/New Three-channel, programmer and associated wiring & associated pipework;
ELECTRICAL UPGRADE SYSTEM NOTES (Heat Pump/PV/Ventilation)
19 | The provision of Scheme measures can trigger electrical requirements in order to deliver the upgrades. Tenderers are requested to provide a suite of measures related directly to electrical upgrading, in order to ensure the current components are fit for purpose. (AH031 to AH039) Electrical measures are covered under one single pricing band.

## TRD Part C
|  | Tenderer must insert their tender rate in this cell | € |  |  |  | Existing measure
|  | Pre-populated cell - fixed rate set by SEAI. No action from tenderer | € |  |  |  | Modified measure
|  | Pre-populated cell - based on information entered by tenderer in other related cells. No action from tenderer | € |  |  |  | New measure
TRD C: Pricing Schedule - Please refer to Instructions tab prior to collating rates |  |  | Please Insert Tenderer Business/Trading Name:
Measure | Ref | Details | Rate per unit (Ex. VAT) € | Unit | Occurrances/ 100 home sample | Quantities installed/100 home sample | Total cost for 100 Homes | Expected range |  | Lower bound | Upper bound
Attic | A001 | Attic (Loft) Insulation 100 mm top-up | 0 | m2 | 50.78 | 2682.2 | 0 | Out of range | Please submit a rate | 18 | 48.25
| A002 | Attic (Loft) Insulation 150 mm top-up | 0 | m2 |  |  | 0 |  |  | 18 | 48.25
| A003 | Attic (Loft) Insulation 200 mm top-up | 0 | m2 |  |  | 0 |  |  | 18 | 48.25
| A004 | Attic (Loft) Insulation 250 mm top-up | 0 | m2 | 20 | 796.6 | 0 | Out of range | Please submit a rate | 22 | 56.67
| A005 | Attic (Loft) Insulation 300 mm | 0 | m2 |  |  | 0 |  |  | 22 | 56.67
| A006 | Warm deck flat roof insulation | 285 | m2 | 3 | 45 | 12825 |  |  | 285 | 285
| A007 | Additional Roof Ventilation (Low Level) | 0 | mm2 | 31 | 3295185 | 0 | Out of range | Please submit a rate | 0.003 | 0.01
| A008 | Additional Roof Ventilation (High Level) | 0 | mm2 | 1 | 13685 | 0 |  |  | 0.003 | 0.01
| A009 | Attic Storage (5m2) | 500 | Nr | 85 | 85 | 42500 |  |  | 500 | 500
| A010 | Installation of new attic hatch | 150 | Nr | 1 | 1 | 150 |  |  | 150 | 150
| A011 | Replacement of cold water storage tank | 600 | Nr | 1 | 1 | 600 |  |  | 600 | 600
| A012 | Replacement of feed and expansion tank | 400 | Nr | 1 | 1 | 400 |  |  | 400 | 400
| A013 | Internal Wall Insulation: Sloped or flat (horizontal) surface | 0 | m2 | 15.6 | 108.6 | 0 | Out of range | Please submit a rate | 127.68 | 299
| A014 | Removal of existing fixed flooring | 325 | Nr | 1 | 1 | 325 |  |  | 325 | 325
Wall | W001 | Internal Wall Insulation: Vertical Surface | 0 | m2 | 20.3 | 294.1 | 0 | Out of range | Please submit a rate | 107.29 | 148
| W002 | Cavity Wall Insulation Bonded Bead | 0 | m2 | 51 | 3399 | 0 | Out of range | Please submit a rate | 15 | 32.56
| W003 | External Wall Insulation: Less than 60m2 | 0 | m2 | 19 | 659 | 0 | Out of range | Please submit a rate | 244 | 285
| W004 | External Wall Insulation: 60m2 to 85m2 | 0 | m2 | 14 | 885 | 0 | Out of range | Please submit a rate | 244 | 285
| W005 | External Wall Insulation: Greater than 85m2 | 0 | m2 | 44 | 5192 | 0 | Out of range | Please submit a rate | 244 | 285
| W006 | External wall insulation and CWI: less than 60m2 | 0 | m2 | 1 | 35 | 0 | Out of range | Please submit a rate | 256.18 | 306.33
| W007 | External wall insulation and CWI: 60m2 to 85m2 | 0 | m2 | 1 | 64 | 0 | Out of range | Please submit a rate | 256.18 | 306.33
| W008 | External wall insulation and CWI: greater than 85m2 | 0 | m2 | 2 | 234 | 0 | Out of range | Please submit a rate | 256.18 | 306.33
| W009 | Loose Fibre Extraction | 0 | m2 | 1 | 41 | 0 | Out of range | Please submit a rate | 39.8 | 82
| W010 | Background ventilation wall vent (Certified Proprietary Integrated System) | 0 | Nr | 81.37 | 217.26 | 0 | Out of range | Please submit a rate | 115 | 250
| W011 | Permanent ventilation wall vent (Certified Proprietary Integrated System) | 0 | Nr | 58.22 | 69.28 | 0 |  |  | 115 | 250
| W012 | Ducting existing cooker hood or existing MEV to exterior | 0 | Nr | 23 | 23 | 0 |  |  | 115 | 250
| W013 | MEV 15l/s Bathroom | 0 | Nr | 55.87 | 60.9 | 0 | Out of range | Please submit a rate | 165 | 400
| W014 | MEV 30l/s Utility | 0 | Nr | 22.21 | 19.1 | 0 |  |  | 165 | 400
| W015 | MEV 60l/s Kitchen | 0 | Nr | 11.73 | 8.8 | 0 |  |  | 185 | 500
| W016 | Draught Proofing (<= 20m installed) | 60 | Nr |  | 22.68 | 1360.8 |  |  | 60 | 60
| W017 | Draught Proofing (> 20m installed) | 85 | Nr |  | 1.77 | 150.45 |  |  | 85 | 85
Wall Treatments | WT018 | Temporary removal and reinstatement of EV charger | 250 | Nr | 1 | 1 | 250 |  |  | 250 | 250
| WT019 | Brick effect slip brick finish | 0 | m2 | 1 | 5 | 0 | Out of range | Please submit a rate | 65 | 285
| WT021 | Quoins, bands and patent reveals | 100 | m2 | 1 | 5 | 500 |  |  | 100 | 100
| WT022 | External Wall Insulation: New gutters incl. removal and disposal of old | 59 | m | 1 | 15 | 885 |  |  | 59 | 59
| WT023 | External Wall Insulation: New downpipes incl removal and disposal of old | 42 | m | 8 | 56 | 2352 |  |  | 42 | 42
| WT024 | RGI Meter_No Heating | 390 | Nr | 12 | 12 | 4680 |  |  | 390 | 390
| WT026 | New fascia/soffit including disposal of old | 60 | m | 1 | 12 | 720 |  |  | 60 | 60
| WT027 | Replacing / extending of an Oil boiler flue | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 105 | 200
| WT028 | Replacing / extending of a Gas boiler flue | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 175 | 250
| WT029 | Solid Fuel flue replacement / extension | 0 | m | 1 | 3 | 0 | Out of range | Please submit a rate | 220 | 550
| WT030 | Replace vent cover from permanent to background [HP only] | 180 | Nr | 2 | 2 | 360 |  |  | 180 | 180
| WT031 | Temporary removal and reinstatement of heat pump [Lot E] | 785 | Nr | 1 | 1 | 785 |  |  | 785 | 785
Windows & Doors | WD001 | Window (same m2 rate will apply to windows with certified trickle vents) | 0 | m2 | 13 | 93 | 0 | Out of range | Please submit a rate | 550 | 1000
| WD002 | Rooflight / roof window | 0 | m2 | 1 | 1 | 0 | Out of range | Please submit a rate | 650 | 850
| WD003 | Solid door (uPVC) | 0 | m2 | 1 | 3.46 | 0 | Out of range | Please submit a rate | 650 | 1100
| WD004 | Sliding door (uPVC) | 0 | m2 | 1 | 1.11 | 0 | Out of range | Please submit a rate | 950 | 2100
Energy | E001 | LED Bulbs: supply only (4 no.) | 20 | 4 Nr per home | 100 | 100 | 2000 |  |  | 20 | 20
Ventilation | V001 | Air Tightness Testing | 0 | Nr | 81 | 81 | 0 | Out of range | Please submit a rate | 350 | 600
| V002 | DCV: Wet Room | 0 | Nr | 3.7 | 11 | 0 | Out of range | Please submit a rate | 1500 | 3000
| V003 | DCV: Habitable room wall vent | 0 | Nr | 3.5 | 14 | 0 | Out of range | Please submit a rate | 350 | 475
| V004 | DCV: Habitable room window vent | 0 | Nr | 1 | 2 | 0 | Out of range | Please submit a rate | 200 | 400
| V005 | Centralised CMEV: Wet room | 0 | Nr | 1 | 5 | 0 | Out of range | Please submit a rate | 1100 | 2500
| V006 | CMEV: Habitable room wall vent | 0 | Nr | 1 | 10 | 0 | Out of range | Please submit a rate | 150 | 285
| V007 | CMEV: Habitable room window vent | 0 | Nr | 1 | 3 | 0 | Out of range | Please submit a rate | 250 | 450
Heating | HP001 | Air to Water Heat Pump | 0 | Nr | 10 | 10 | 0 | Out of range | Please submit a rate | 11000 | 19000
| HP002 | New Air to Air Heat Pump | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 5000 | 8000
| HP006 | Heat Pump Hot water tank [as Discount] | 0 | Nr | 10 | 10 | 0 | Out of range | Please submit a rate | 1500 | 3250
| HP004 | Sealing of chimney and blocking of fireplace | 0 | Nr | 8 | 8 | 0 | Out of range | Please submit a rate | 200 | 450
| HP007 | HLI Assement | 0 | Nr | 10 | 10 | 0 | Out of range | Please submit a rate | 400 | 650
| EH001 | Electric storage heater | 0 | Nr | 3 | 3 | 0 | Out of range | Please submit a rate | 265 | 450
| EH002 | Electric panel heater | 0 | Nr | 3 | 3 | 0 | Out of range | Please submit a rate | 285 | 690
| EH003 | Electrical plug in room heater stove effect | 180 | Nr | 1 | 1 | 180 |  |  | 180 | 180
Additional Heating Measures | AH002 | Carbon monoxide alarm - Type A | 150 | Nr | 5 | 5 | 750 |  |  | 150 | 150
| AH003 | Carbon monoxide alarm - Type B | 70 | Nr | 5 | 5 | 350 |  |  | 70 | 70
| AH005 | Disconnect and remove fixed electric heating and all related electrical power points and distribution equipment | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 400 | 1500
| AH006 | Disconnect and decommission back boiler on solid fuel cooker | 0 | Nr | 2 | 2 | 0 | Out of range | Please submit a rate | 500 | 1300
| AH007 | Disconnect & remove Oil Tank & Supply Line | 0 | Nr | 4 | 4 | 0 | Out of range | Please submit a rate | 400 | 1400
| AH008 | Additional Space Heating Zone | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 1250 | 1750
| AH010 | Undersink water heater | 700 | Nr | 1 | 1 | 700 |  |  | 700 | 700
| AH011 | Installation of fire barriers for oil tanks where required | 0 | m | 1 | 3 | 0 | Out of range | Please submit a rate | 150 | 650
| AH012 | Hot Water Cylinder Jacket | 100 | Nr | 16 | 16 | 1600 |  |  | 100 | 100
| AH013 | Radiator | 0 | Nr | 90 | 90 | 0 | Out of range | Please submit a rate | 450 | 700
| AH014 | Radiator (air to water heat pump system) | 0 | Nr | 72 | 72 | 0 | Out of range | Please submit a rate | 380 | 720
| AH015 | TRV | 0 | Nr | 173 | 173 | 0 | Out of range | Please submit a rate | 120 | 230
| AH016 | Install new Stove [HP only, non-standard measure] | 0 | Nr | 2 | 2 | 0 | Out of range | Please submit a rate | 650 | 1600
| AH017 | Mechanically assisted powered cleanse and flush (Powerflushing) of heating system | 0 | Nr | 5 | 5 | 0 | Out of range | Please submit a rate | 450 | 900
| AH018 | Immersion | 550 | Nr | 3 | 3 | 1650 |  |  | 550 | 550
| AH019 | Magnetic filtration device | 0 | Nr | 10 | 10 | 0 | Out of range | Please submit a rate | 180 | 350
| AH020 | Pipework for oil | 300 | m | 1 | 3 | 300 |  |  | 300 | 300
| AH021 | Pipework for gas | 300 | m | 32 | 180 | 54000 |  |  | 300 | 300
| AH022 | Pipework for heating | 220 | m | 1 | 5 | 1100 |  |  | 220 | 220
| AH023 | Pipework for plumbing | 220 | m | 1 | 5 | 1100 |  |  | 220 | 220
| AH024 | Pipework for refrigeration | 350 | m | 1 | 3 | 1050 |  |  | 350 | 350
| AH025 | Low temperature air to water heat pump [Supplemental cost ONLY >9kW] | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 1200 | 3500
| AH026 | Disconnect & remove back boiler | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 500 | 900
| AH027 | Disconnect and remove stove | 350 | Nr | 1 | 1 | 350 |  |  | 350 | 350
| AH029 | Removal and reinstatement of oil/gas boiler | 600 | Nr | 1 | 1 | 600 |  |  | 600 | 600
| AH030 | Removal and reinstatement of oil tank | 600 | Nr | 1 | 1 | 600 |  |  | 600 | 600
| AH031 | Upgrade tails from meter to fuseboard - Contractor | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 180 | 350
| AH032 | Upgrade tails from meter to fuseboard - ESB | 250 | Nr | 1 | 1 | 250 |  |  | 250 | 250
| AH033 | Upgrade earth - Contractor | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 150 | 300
| AH034 | Upgrade earth - ESB | 500 | Nr | 1 | 1 | 500 |  |  | 500 | 500
| AH035 | Upgrade fuse board | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 500 | 1100
| AH036 | New Sub-board | 0 | Nr | 3 | 3 | 0 | Out of range | Please submit a rate | 300 | 550
| AH037 | Install and wire new earth rod | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 170 | 300
| AH038 | Periodic Inspection Report | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 220 | 385
| AH039 | Upgrade RCD for MEV installation | 0 | Nr | 1 | 1 | 0 | Out of range | Please submit a rate | 120 | 295
PV | AH040 | Solar PV system | 0 | KWP | 5 | 5 | 0 | Out of range | Please submit a rate | 5500 | 10800
| AH041 | Solar PV Hot water diversion system | 0 | Nr | 5 | 5 | 0 | Out of range | Please submit a rate | 500 | 1300
[5 empty] | Total - 100 Homes |  | 135923.25
[5 empty] | Total - 1 Home |  | 1359.2325

## hiddenSheet (hidden)
v1_pricelistitem:HVMxmOuFvzpoPHWx4IG54oExOG8iRwsBp0NzICW2n0f1XdLEmALelpAqq41KBxbJefCJGHlqTrHisjrn3qcSwQ==:v1_pricelistitemid=%28Do%20Not%20Modify%29%20Price%20List%20Item%20BEWH&checksumLogicalName=%28Do%20Not%20Modify%29%20Row%20Checksum&modifiedon=%28Do%20Not%20Modify%29%20Modified%20On&v1_contractor=Installer&v1_name=Name&v1_measureitem=Measure%20Item&v1_price1=Price&v1_contract=Contract