## ITT CLARIFICATION
ITT CLARIFICATION Provision of Plant & Generator Hire to Horse Racing Ireland & Subsidiaries
Query No | Received [Date received on eTenders] | Message / Query / RFI | Owner | Issued for Clarification [Date] | RFI Response
1 | 2025-12-18 | Can you please advise of the potential contract start date for this opportunity? | SC | 2025-12-23 | It is currently envisaged that the contract will commence in April 2026.
2 | 2025-12-18 | Is the tenderer requied to provide a cost for all items in the Lots they are tendering for | SC | 2025-12-23 | Tenderers are required to complete in full the Form of Tender contained in Appendix 1 Pricing Schedule. Please note each lot is an independent competition and as such if you if you are applying for Lot 1 and/or, Lot 2 and/or Lots 3 you need to submit a Separate Tender Submission for each Lot. All items in each pricing schedule for each lot you are applying for must be completed in full to include hire term.
3 | 2025-12-18 | How long is pricing to be fixed for? | SC | 2025-12-23 | Prices should be fixed for the duration of the Framework Agreement 4 years. The maximum Price chargeable will be adjusted for inflation on each annual anniversary of the Commencement Date of the framework. Adjustment shall be in accordance (whether positive or negative) with the CPI index
4 | 2025-12-23 | Please can the format of Appendix 1 be completed to provide historical quantities for each of the items listed for each of the last two years? | SC | 2025-12-23 | Unfortunately at this current time we don’t have historic data to hand. It is envisaged over the lifetime of the framework the spend for the three lots will be €215,000
5 | 2025-12-23 | Examples of numbers of items hired for a range of fixtures in 2025. | SC | 2026-01-08 | The Contracting Authority notes that a significant proportion of the framework comprises infrequent hire requirements, which vary from year to year depending on fixture scope, site conditions, and operational needs. To assist tenderers, illustrative examples of hire items most frequently utilised across 2025 are provided for guidance purposes only. These examples are indicative and non-exhaustive and shall not be construed as a commitment, guarantee, or representation by the Contracting Authority as to future demand, volumes, or frequency of hire under the framework. Tractor x2 up to 120HP Low ground pressure tyres yearly hire (Front Linkage and PTO on min ,1no. Tractor Crawler Gear Box on min, 1no. Tractor) Tower lights x12 3 weeks Compact teleporter 4 weeks Crowd control barriers x400 2 weeks Harris or Heras fencing x200 panels 4 weeks Power washer 2 months Boom lift 3/4 weeks 6 seater buggies 20 weeks 5 tonne track machine 1 month Road Sweeper 2 weeks Ride on Mower 1 month Variable Message Signs 1 month Compaction Plate 4 weeks
6 | 2025-12-23 | Illustrations of numbers of items planned for illustrations of specific fixtures in 2026. | SC | 2026-01-08 | The list in section 4.1 of the ITT of potential requirements in that must be available from the successful tenderer. The list is not exhaustive. Please note that HRI & Subsidiaries provide no guarantee to any future expenditure. It is emphasised that a framework agreement constitutes no guarantee to purchase a specific quantity of supplies from a particular economic operator.
7 | 2025-12-23 | There are two race courses in Northern Ireland. Will the tender apply to these? | SC | 2026-01-08 | These are only applicable to HRI racecourse as detailed in section 3 of the ITT tender document.
8 | 2025-12-24 | The service provider must document and report, over the contract duration: the results of the monitoring of the indicators set out in TS1 Environmental management measures. Please can details be provided of the indicators referred to? For example, please can TS1 Environmental management measures be provided? | SC | 2026-01-08 | In addition to TS1 enviormental management measures tenderers may also provide. It is the Contracting Authority’s policy to operate in an environmentally and socially sustainable manner. Tenderers must demonstrate competence and experience in providing services in an environmentally and socially responsible way, including, at a minimum: Reporting on corporate environmental, social, and governance (ESG) performance. Implementation and application of independent third-party certifications or systems for environmental and/or social responsibility (e.g., ISO 14001, ISO 26000, or equivalent). Tenderers should have systems in place to ensure that all staff involved in delivering the contracted services are aware of and comply with relevant legislation, regulations, and policies in these areas. In addition, tenderers are expected to have robust internal procedures, either in-house or externally certified, to ensure that environmental and social responsibility practices are maintained in their activities and those of any subcontractors. https://www.epa.ie/publications/circular-economy/resources/EPA_GPP_Criteria_Transport_2024.pdf
9 | 2025-12-24 | Criterion D states: The service provider must document and report, over the contract duration: the results of the monitoring of the indicators set out in TS1 Environmental management measures; and the results of corrective and preventative actions, where applicable, according to the relevant written procedures. Please can details be provided of 'the relevant written procedures' which are referred to in Criterion D. Are these ISO 14001 procedures? If so, what ISO 14001 clause? Are these procedures associated with the monitoring of the environmental indicators? | SC | 2026-01-08 | See query 8 above
10 | 2026-01-06 | Appendix 1 - Form of Tender Pricing Schedule | SC | 2026-01-08 | All tenderers are required to complete Appendix 1 Form of Tender Pricing Schedule providing the Maximum Price for the duration of the Framework (Excluding VAT) for the lot(s) they are applying for. Tenderers must complete pricing for all hire terms applicable to the lot, specifically: Daily Rate, Weekly Rate, Monthly Rate Failure to provide pricing for each hire term will result in the tender submission being considered incomplete and may lead to disqualification.
11 | 2026-01-07 | Please confirm what usage rate should be used by the tenderers when assessing the costs for the generator sets? | SC | 2026-01-12 | Tenderers should assume a running time of 8 hours per day / 40 hours per week as standard when considering pricing.
12 | 2026-01-07 | Please confirm if fuel usage is to be included in the rates for 1- generators sets only, 2- generators and large plant only, 3- all items across Lots 1, 2 and 3? | SC | 2026-01-12 | We confirm that fuel usage should not be included in the rates for any of the following 1- generators sets only, 2- generators and large plant only, 3- all items across Lots 1, 2 and 3.
13 | 2026-01-09 | Can we ask the HRI for their consent to share the ITT with our approved and relevant supply chain | SC | 2026-01-12 | Yes
14 | 2026-01-09 | Appendix 4 clauses reference clause numbers | SC | 2026-01-12 | Please see attached updated appendix 4 with clause number. Please note this supercedes appendix 4 in the ITT document.
15 | 2026-01-09 | There is an inconsistency in the ITT, as it states no changes to the terms in Appendix 4 would be allowed, but in the declarations it allows for clarifications on the terms. | SC | 2026-01-12 | The following terms are those intended to be signed with the successful tenderer(s) arising from this competition. Tenderers are not requested to sign these terms as part of their tender submission, but tenderers are required to carefully review, and any queries / areas of concern MUST be submitted prior to the deadline for queries as outlined in 5.3 of this ITT document.
16 | 2026-01-09 | Pricing Review There is a conflict between the ITT and the terms as to whether pricing is held for the term of the contract. | SC | 2026-01-12 | Pircing should be fixed for the initial term of the framework agreement. Following the expiry of the Initial Term, the maximum Price chargeable will be adjusted for inflation on each annual anniversary of the Commencement Date of the framework. This adjustment shall be in accordance (whether positive or negative) with the Consumer Price Index. The Contracting Authority
17 | 2026-01-09 | Data Protection | SC | 2026-01-12 | Please see attached updated appendix 4 with clause number. Please note this supercedes appendix 4 in the ITT document.
18 | 2026-01-09 | There would be no relevant TUPE transfers | SC | 2026-01-12 | TUPE doesn't apply to this contract
19 | 2026-01-09 | Tender is to be valid for 12 months | SC | 2026-01-12 | Validity period of twelve months is required, commencing on the deadline date for receipt of tender submissions.
21 | 2026-01-09 | Termination rights | SC | 2026-01-12 | Please see attached updated appendix 4 with clause number. Please note this supercedes appendix 4 in the ITT document.
22 | 2026-01-09 | Intellectual Property Rights | SC | 2026-01-12 | Please see attached updated appendix 4 with clause number. Please note this supercedes appendix 4 in the ITT document.
23 | 2026-01-19 | Tender extension | SC | 2026-01-19 | A request to extend the tender submission deadline has been granted. Deadline for receipt of tenders: 12.00 (noon) local time Thursday 22nd January 2026. Last date for Queries has past.
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40