NCTR25103 Clarifications –

| Item | Clarification | Response |
| --- | --- | --- |
| 1 | It was mentioned during site visit that the detached two-storey counselling/medical building should be considered although there is no mention of this building in the tender, please clarify (i) if this building is to be included in the tender and (ii) will a complete set of as built drawings be made available to the successful tenderer. | Health Centre at the entrance/archway forms part of the Linenhall complex and is to be included within the scope of works. Floor plan drawings available and included in response to clarification. |
| 2 | Please confirm that the specific scope of fire safety consultancy works to be included in this tender incorporate the following as referenced in the Project Brief & Scope of Services. • 3.1 Fire Safety (Risk) Assessment, and • 3.2 Compartmentation Inspection. • 4.0 The fire safety risk assessment should include consideration of the points made in this section. • 5.0 Assistance in updating the existing fire strategy and/or preparing a new fire strategy to include assessment of all rooms/areas to include walls, floors, ceilings, doors, and glazing, noting fire rating on drawings provided by TU Dublin. • 6.0 Review of reports (3.1 & 3.2) to establish a plan of action and agree a scope of works with TU Dublin. | Scope is as noted. Please note for Section 3.2 includes Survey Report & Section 6.0 includes scope of works with related fire performance specification. |
| 3 | In section 3.2, is the scope of work as it relates to fire doors etc., junctions etc., damage, presence of unprotected steelwork limited to those elements within compartment walls/floors or other fire resisting elements of construction which are not compartment construction (e.g. protected corridors). | Section 3.2 relates to scope of works within compartment. Refer to Section 4.0 Item 1 where any non-compliance should be identified within the Fire Risk Assessment as part of the overall review of the use and occupancy of the existing building. |
| 4 | Also, in section 3.2, please clarify the extent of assessment of electrical installations mentioned. Assessment of electrical circuits should be performed by an Electrical Engineer. | Not required. Please omit this from the scope of works. |
| 5 | Please confirm that all fire safety certificate submission(s), report(s), drawings and corresponding certificate(s) that relate to the building(s) will be available to the successful tenderer. | These will be made available to the successful tenderer. |
| 6 | Will a complete set of ‘as built’ drawings (in .pdf & .dwg format) be provided to the successful tenderer or shall the tenderer include for the provision of these drawings in the tender. The complete set of ‘as built’ drawings being a set comprising of up-to-date floor plans (identifying current rooms/areas use), site plans, elevations and sections of all buildings forming the tender to include finished floor levels and ceiling heights. | A set of ‘as-built’ floor plans in dwg and pdf will be provided to the successful tenderer illustrating the current layout. |
| 7 | Are the following systems/elements regularly maintained/tested/inspected at prescribed intervals and will the corresponding reports / certificates be made available to the successful tenderer. • Fire Detection & Alarm System, • Emergency Lighting System, • Fire doorsets, • Fire rated glazing, • Electrical installation(s), • Heating gas installation(s), • Other gas installation(s), • Boiler installation(s), • Sprinkler system, • Dry Riser(s), • Heating System Boilers, • Firestopping of service penetration openings & junctions, • Ventilation systems, fire/smoke dampers, fire resisting ductwork, etc., • Extraction system(s), fire/smoke dampers, fire resisting ductwork, etc., | Regular maintenance and testing of all MEP systems take place at regular intervals. Reports on all systems can be made available to the successful tenderer. Reports are not available for the following: Fire doorsets, Fire rated glazing and firestopping of service penetrations. |
| 8 | Will drawing plans be made available to the successful tenderer which show the routes for electrical cabling, heating pipes, natural gas pipes, other gas pipes, ventilation ducts or extraction ducting. | Due to the age of the building, there are limited digital as builts. Hard copies of previous works including fire upgrade works are available. Floor plans dated from 2014 illustrating works to fire alarm will be provided to the successful tenderer in dwg and pdf format. |
| 9 | Has the building been the subject of a fire risk assessment in the past? Will past fire risk assessments / fire safety register be made available to the successful tenderer? | A high-level overview fire risk assessment has been completed and will all be made available to the successful tenderer. |
| 10 | What is the primary and duplicate (if any) supply to the sprinkler system? | The sprinkler system primary supply is water and is serviced and inspected 4 times a year. Reports can be made available to the successful tenderer. |
| 11 | What are the heating systems serving Linenhall? | The building is heated by a gas boiler installation with radiator and unit heaters at high level. |
| 12 | Can you advise if the building has been surveyed for asbestos and do you have an asbestos register for the building. | Asbestos surveys are currently being updated and will be made available to the successful tenderer. |
| 13 | Can you confirm that maintenance records for the fire systems within the building and any current fire management plans and policies will be made available. | Maintenance records for the fire systems and Fire Evacuation Management Plans will be made available to the successful tenderer. |
| 14 | We respectfully request an extension of at least one additional week to ensure the submission is completed to the required standard. | The submission deadline will be extended to Monday 16th February @ 2pm |
| 15 | Could you please confirm whether this tender is intended to establish a primary framework arrangement (with the Linenhall Building acting as a sample or initial project), or whether pricing and scope are to be considered solely in relation to this individual building only? | Please refer to Section 4.3 of the PIM document –‘The proposed initial project is for the provision of fire safety consultancy services for Linenhall Building. Refer to Project Brief and relevant appendices for the scope of services for the proposed initial project’. Hourly rates are to be indicated in the Form of Tender & Schedule – Refer also to PIM Section 3.7 ‘The tender pack includes a pricing schedule that requires to be completed as part of the tender return. The pricing schedule contains notional figures for hourly rates to establish a notional total lump sum for price assessment purposes. The hourly rates set out in the Schedule 1 Form of Tender are the maximum Framework rates that will be permitted in future call-offs for the initial 18 months of the Framework’. |