Appendix A

TENDER RESPONSE DOCUMENT

| Title: | The Supply, Delivery and Commissioning of Life Sciences Equipment |
| --- | --- |
| eTenders/OJEU Ref: | CFT: 7620790 |
| Closing Date for Submissions: | 3rd of April 2026 |
| Contracting Authority: | Cork Education and Training Board |
| Tenderers Name: |  |
| Contact Email: |  |
| Phone: |  |

THIS DOCUMENT AND THE ASSOCIATED APPENDICES PROVIDED BY CORK ETB MUST BE USED IN PREPARATION OF YOUR TENDER RESPONSE.

FAILURE TO COMPLY WILL RESULT IN YOUR ELIMINATION.

THE TENDER RESPONSE MUST BE UPLOADED AS A ZIP FILE IN ORDER TO PROTECT THE INTEGRITY OF FILE NAMES.

## Instruction for Completion

This document MUST be used for the submission of tenders.

Tenderers should ensure they have read the Request for Tender before they attempt to complete this Tender Response Document.

If you consider that the Tender Response Document is missing any sections which would prevent you from preparing a comprehensive response, please contact the Contracting Authority as soon as possible.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.

Tenderers must follow the instructions contained in this document in relation to attachments, format for submission, etc.

Where tenderers are relying on other parties to meet the selection criteria, those parties must be available to deliver elements of the contract.

## Response to the Selection Criteria

### General Contact Information

| Tenderer Summary |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass Requirement: Tenderers must complete this Section |  |  |  |  |  |  |
| Organisation Name: |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |
| Telephone (Office): |  |  |  |  |  |  |
| Telephone (Mobile): |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |
| VAT Registration Number: |  |  |  |  |  |  |
| Date of Establishment: |  |  |  |  |  |  |
| Legal Status (Company, Sole Trader, etc.): |  |  |  |  |  |  |
| Is the Tenderer a Small and Medium Enterprise (SME)? | Yes |  |  |  | No |  |
| SMEs are enterprises which employ fewer than 250 persons, and which have an annual turnover not exceeding €50 million, and/or an annual balance sheet total not exceeding €43 million |  |  |  |  |  |  |
| Is the tenderer a consortium / group of Economic Operators? | Yes |  |  |  | No |  |
| If yes, please provide the following information |  |  |  |  |  |  |
| Name/Address |  | Proposed role in the Contract |  | Are you relying on them to meet selection criteria, if yes, please identify which criterion. |  |  |

### 2.2 Financial Information – Pass/Fail Criteria

| Tax Compliance |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Option 1: I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Revenue’s online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  |  |  | Yes |  |  |  |  |
|  |  |  |  |  | No |  |  |  |  |
| Tenderer Name: |  |  |  |  |  |  |  |  |  |
| Tax Reference Number (PPSN): |  |  |  |  |  |  |  |  |  |
| Access Number: |  |  |  |  |  |  |  |  |  |
| Option 2: I confirm that I hold a current valid Tax Clearance Certificate (generally relates to Non-Residents) To this end, please confirm: |  |  |  |  | Yes |  |  |  |  |
|  |  |  |  |  | No |  |  |  |  |
| Registration Number: |  |  |  |  |  |  |  |  |  |
| Certificate Number: |  |  |  |  |  |  |  |  |  |
| Option 3: I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  |  |  | Yes |  |  |  |  |
|  |  |  |  |  | No |  |  |  |  |
| Financial Capacity |  |  |  |  |  |  |  |  |  |
| I confirm that our turnover for each of the last three financial years exceeded €2m. If turnover figures for 2024 are unavailable, please use 2023, 2022 and 2021. |  |  |  |  |  |  |  |  |  |
| Financial Year |  |  | 2025 |  | 2024 |  |  | 2023 |  |
| Turnover |  |  | € |  | € |  |  | € |  |
| Month of financial year end |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the tender list being finalised: (evidence of turnover for the past three financial years) |  |  |  |  | Yes |  |  |  |  |
|  |  |  |  |  | No |  |  |  |  |
| I confirm that I will supply evidence of financial standing, by way of auditor’s letter, ensuring the tenderer party has the financial capacity to pay its debts identified on the current statement of assets and liabilities as being the debts as they fall due. |  |  |  |  | Yes |  |  |  |  |
|  |  |  |  |  | No |  |  |  |  |
| Insurances |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following insurances in place: |  |  |  |  |  |  |  |  |  |
| Insurance Type |  |  | Level in place |  | Details of Excess |  | Expiry Date |  |  |
| Employer Liability |  |  | € |  |  |  |  |  |  |
| Public Liability |  |  | € |  |  |  |  |  |  |
| Professional Indemnity |  |  | € |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the award decision being made: Evidence of insurances in place or Letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  | Yes |  |  |  |  |
|  |  |  |  |  | No |  |  |  |  |
| I confirm that if successful, where the levels required under the contract or framework are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place promptly. |  |  |  |  | Yes |  |  |  |  |
|  |  |  |  |  | No |  |  |  |  |
| Please note that the Contracting Authority will seek to verify self-declarations regarding financial capacity prior to next stage of the competition. |  |  |  |  |  |  |  |  |  |
| Signed: |  |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |

### 2.3 Declaration Bona Fides & Statutory Obligations – Pass/Fail Criteria

| Declaration of Bona Fides & Statutory Obligations (Under Public Sector Directive 2014/24/EU - Article 57) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass requirement: Tenderers must complete, sign and date this Declaration. The Contracting Authority reserves the right at its discretion to exclude a non-compliant tenderer under each heading. This must be completed by each group member. |  |  |  |  |  |  |  |
| Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |  |  |  |  |
| 1.1 | Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  |  | Yes |  | No |  |
|  |  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |  |  |
| 1.1a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |  |  |  |  |
| 1.1b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |  |  |  |  |
| 1.1c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |  |  |  |  |
| 1.1d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  |  |  |  |  |  |
| 1.1e | the subject of a conviction for money laundering or terrorist financing; |  |  |  |  |  |  |
| 1.1f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  |  |  |  |  |  |
| 1.2 | Non-payment of taxes or social security obligations Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved. |  |  |  |  |  |  |
| An Economic Operator who answers ‘Yes’ in any of the situations set out in paragraphs 2.1.a to 2.1.i will be excluded. |  |  |  |  |  |  |  |
| 2.1 | Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. The Economic Operator: |  |  | Yes |  | No |  |
|  |  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |  |  |
| 2.1a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  |  |  |  |  |  |
| 2.1b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |  |  |  |  |
| 2.1c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |  |  |  |  |
| 2.1d | has entered into agreements with other Economic Operators aimed at distorting competition; |  |  |  |  |  |  |
| 2.1e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |  |  |  |  |
| 2.1f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |  |  |  |  |
| 2.1g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |  |  |  |  |
| 2.1h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  |  |  |  |  |  |
| 2.1i | has undertaken to: - unduly influence the decision-making process of the contracting entity, or - obtain confidential information that may confer upon the tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |  |  |  |  |
| Article 5K Declaration EU Regulation 2022/576 on restrictive measures in the Context of Russian Actions in the Ukraine |  |  |  |  |  |  |  |
| In the light of Russian actions in the Ukraine, the European Council adopted a new regulation – EU Regulation 2022/576, aimed at restricting participation in economic activity by economic operators from the Russian Federation. Article 5K of the Regulation prohibits the award or continuation of contracts falling within the scope of the Public Procurement Directives to persons or undertakings related to the Russian Federation. To comply with EU Regulation 2022/576, the Contracting Authority is seeking a declaration from economic operators to this effect. |  |  |  |  |  |  |  |
| I declare that none of the exclusions specified in EU Regulation 2022/576 apply to any party associated with this application. |  |  | YES |  |  |  |  |
|  |  |  | NO |  |  |  |  |
| Declaration re Statutory Obligations |  |  |  |  |  |  |  |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment / operation: |  |  |  | Yes |  |  | No |
| (i) | Employment Equality Acts 1998-2011 |  |  |  |  |  |  |
| (ii) | Equal Status Acts 2000-2011 |  |  |  |  |  |  |
| (iii) | National Minimum Wage Act 2000 as amended |  |  |  |  |  |  |
| (iv) | Organisation of Working Time Act 1997 as amended |  |  |  |  |  |  |
| (v) | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |  |  |  |
| (vi) | Disability Act 2005 |  |  |  |  |  |  |
| (vii) | General Data Protection Regulation 2016/679 |  |  |  |  |  |  |
| (viii) | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  |  |  |  |  |  |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in this declaration is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this Declaration will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |  |  |  |
| Name of Economic Operator: |  |  |  |  |  |  |  |
| Authorised Signatory: |  |  |  |  |  |  |  |
| Name in Block Capitals: |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |

### 2.4 Technical Resources & Capacity – Pass/Fail Criteria

Submissions will be reviewed for relevance and applicants may be excluded on the basis of this review.

Technical Resources and Capacity (manpower, skills and technical resources)

Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate sufficient manpower, skills and technical resources are available to them to support a contract of the nature specified. (Outline your technical resources and capacity as part of your response. Mere affirmation is not sufficient) Tenderers Response:

Sub-Contractors (If relevant)

If relevant, the Tenderer must name all sub-contractors who may be involved in the contract and detail their responsibilities. Tenderers must also demonstrate that any proposed sub-contractors must have the necessary capacity and resources to complete the responsibilities assigned. If no sub-contracting requirement, please insert text “Not Applicable, no subcontractors required for this contract”. Tenderers Response:

### 2.5 Company Profile – Pass/Fail Criteria

Company Profile

Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must provide a brief company profile which must demonstrate that they are actively engaged in the biopharma industry as per the tender specification. (Outline your company profile as part of your response. Mere affirmation is not sufficient) Tenderers Response: Core Area of Business: Range of Services Offered: Markets Served:

### 2.6 Health & Safety – Pass/Fail Criteria

| Health & Safety |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must provide information which demonstrates operation of Health & Safety systems and procedures in line with all relevant Safety, Health & Welfare at Work legislation. |  |  |  |  |  |  |  |  |
| Do you comply with the Safety Health & Welfare at Work Act 2005? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Health & Safety: |  |  |  |  |  |  |  |  |
| Health & Safety management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. | Yes |  |  |  | No |  |  |  |

### 2.7 Quality & Assurance – Pass/Fail Criteria

| Quality Assurance |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must provide information which demonstrates a commitment to quality assurance and provide details of quality assurance policies and systems and whether externally certified. |  |  |  |  |  |  |  |  |
| Do you operate a Quality Management System? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Quality: |  |  |  |  |  |  |  |  |
| Quality management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. | Yes |  |  |  | No |  |  |  |

## Response to the Award Criteria

### 3.1 Tenderer’s Statement / Form of Tender

TO: Cork Education and Training Board (the “Contracting Authority”)

RE: CFT - 7620790

I/We have examined the tender documentation and hereby offer to provide The Supply, Delivery and Commissioning of Life Sciences Equipment to Cork Education and Training Board in accordance with the details contained within the Call for Tender (CFT) document, our Tender Response Document, our Pricing Document and the Criteria D (Ultimate Cost) in the Form of Tender.

I/We confirm that I/we:

- Have priced our tender on the basis of all rates being inclusive of all out-of-pocket expenses (i.e. mileage, subsistence, phone, postage, delivery to CCFET Life Sciences Centre, unpacking and removal of waste) and account / contract management related costs,

- Will keep this offer for the contract / framework open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders,

- Agree that you are not bound to accept the most economically advantageous or any tender you may receive

- Agree that the rates stated are maximum prices for the first twelve months of the framework agreement,

- Have read and thoroughly examined the CFT,

- Fully understand the CFT and the Client’s requirements,

- Undertake to treat the details of the CFT, its tender and any subsequent agreements as private and confidential,

- Acknowledge that acceptance by the Contracting Authority of this tender will not constitute a binding and enforceable agreement and that a legally enforceable agreement will not exist until and unless the framework agreement has been established between the Contracting Authority and the tenderer,

- Have availed of all offers for additional information or have otherwise satisfied myself/ourselves as to conditions that may in any manner affect the performance of the contract,

- Have included all elements necessary for the performance of the specified requirements, which are either expressly stated in the CFT or contained in any supplementary information or which could reasonably be inferred therefrom,

- Have found no errors, omissions, conflicts or ambiguities in the CFT except those which I/We have brought to the attention of the Contracting Authority before the latest date for submitting queries,

- Have included for compliance with all statutory requirements applicable in Ireland and those applicable in any country where parts of the contract may be performed that are in force 7 days prior to the deadline for receipt of tenders,

- Will not, if awarded a contract employ labour in a manner that is discriminatory in relation to gender, civil/family status, sexual orientation, religion, age, disability, race, or membership of the traveller community.

- Agree that as a condition of award, it shall be our sole responsibility to fulfil the obligations under the Contract, notwithstanding any changes in circulars, laws, regulations, taxation, duties or other factors which might arise following the withdrawal of the United Kingdom from membership of the EU.

| Signed: |  |
| --- | --- |
| Name (in Capital Letters): |  |
| On behalf of: |  |
| Address: |  |
| Telephone (Office): |  |
| Telephone (Mobile): |  |
| Email: |  |
| Date: |  |

### 3.2 Response to Qualitative Award Criteria

| Mandatory Requirements |  |  |
| --- | --- | --- |
| Tenderer’s Please Note: The requirements listed hereunder are MANDATORY. If you do not confirm each of these requirements, your submission will not be evaluated. Please tick the box after each requirement to confirm compliance. |  |  |
| Product Description | Quantity | Please confirm that you can supply the required quantity of goods as specified. (Yes/No) |
| Filter Integrity Test Instrument The requirement is for 1 filter integrity Test Instrument bench top unit to be used in a training environment. Training support package to be included for instructors – to include demonstration and simulation of the integrity filter unit. | 1 | Choose an item. |
| Tangential Flow Filtration (TFF) System The requirement is for 2 tangential flow filtration (TFF) systems to be used in a training environment. Training support package to be included for instructors – to include demonstration and simulation of the TFF unit. | 2 | Choose an item. |
| Ready to Process Wave Bioreactor The requirement is for 1 ready to process wave bioreactor to be used in a training environment. A customised training course must be provided to a minimum of 5 instructors on-site. | 1 | Choose an item. |

| Criteria |  |  |  |  | Weighting |  | Maximum Score | Minimum Score Required |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | Quality and Technical Merit |  |  |  | 30% |  | 300 | 180 |
| Tenderers should set out in detail how the proposed Life Sciences equipment to be supplied meets or exceeds the minimum specification of requirements set out in Section 5.2, its overall functionality and general condition, and its suitability in a Life Sciences training environment. Tenderers must include the below in their response; - General/functional & technical requirements - Interaction of devices - Software; - Software MUST allow users to export data and results to word processor or spreadsheets. - Please give full details of the availability of on-going support required for the software packages provided. - Software licences for a maximum of 10 users MUST be provided for a minimum of 5 years. - Automatic updates/renewals of software licences for a minimum of 5 years MUST be provided. Please indicate the cost in Pricing Document (Appendix B). All requested details and documentation must be supplied. |  |  |  |  |  |  |  |  |
| Filter Integrity Test Instrument |  |  |  |  |  |  |  |  |
| General/Functional & Technical Requirements |  |  |  |  |  |  |  |  |
| A1 |  |  | A Filter Integrity Test Unit Instrument MUST be provided. Please confirm stating the make, model and full specifications of the proposed equipment and attachments. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A2 |  |  | Is the unit designed to be used in a cleanroom environment and validated in accordance with the current GAMP guidelines for operation in a 21 CFR Part 11 compliant environment that requires data integrity controls and electronic recording/signatures. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A3 |  |  | Materials of construction must be FDA listed materials. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A4 |  |  | The HMI should be large and intuitive to aid user experience, operation and provide feedback to operators. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A5 |  |  | The unit must be a standalone bench top unit. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A6 |  |  | Dimensions and weight: Must be approximate size: width x height x depth – 350 x 263 x 450 mm. Weight: 11kg. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A7 |  |  | Have an integrated printer for printed real-time test results. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A8 |  |  | The unit must have a 24-month warranty. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A9 |  |  | Filter tests: Forward flow test (FF) Bubble point test (BP) Combined forward flow/bubble point test (FF/BP) Water intrusion test (WIT) | Choose an item. |  | Click or tap here to enter text. |  |  |
| A10 |  |  | Function tests: Self-test Flow check test Network test | Choose an item. |  | Click or tap here to enter text. |  |  |
| A11 |  |  | Other tests: Leak tests (LT) – flow measurement based for volume <50L Pressure decay test (PD) – leak test volume up to 200L | Choose an item. |  | Click or tap here to enter text. |  |  |
| A12 |  |  | The unit is to be provided with high pressure Staubli fittings and appropriate tubing. | Choose an item. |  | Click or tap here to enter text. |  |  |
| Interaction of Devices |  |  |  |  |  |  |  |  |
| A13 |  |  | Additional information. The tendered equipment SHOULD include any Ancillary Equipment or Integration package needed to ensure optimal operation of the unit. Please indicate any additional options available with your proposed solution which are not explicitly referred to above. Please indicate cost (if any) in Appendix B – Pricing Schedule. |  |  | Click or tap here to enter text. |  |  |
| Tangential Flow Filtration (TFF) System |  |  |  |  |  |  |  |  |
| General/Functional & Technical Requirements |  |  |  |  |  |  |  |  |
| A14 |  |  | A Tangential Flow Filtration (TFF) System MUST be provided. Operating conditions: Pressure range: 0 to 6 barg Temperature range: 0°C to +45°C Flow rate: 15 – 60L/hr | Choose an item. |  | Click or tap here to enter text. |  |  |
| A15 |  |  | Operating volumes: Maximum working volume: 5L Minimum working volume: 170ml | Choose an item. |  | Click or tap here to enter text. |  |  |
| A16 |  |  | Dimensions and weight: Dimensions: width x length x height – 480 x 605 x 945 mm Weight: 50 kg | Choose an item. |  | Click or tap here to enter text. |  |  |
| A17 |  |  | Power requirements: Power: domestic power supply. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A18 |  |  | The unit must have a 24-month warranty. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A19 |  |  | All components should be stainless steel with 0.8um Ra. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A20 |  |  | Cassette holder: 0.1 – 0.5m2 membrane area. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A21 |  |  | Recirculation pump: quatro flow pump or equivalent. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A22 |  |  | 3 Pressure indicators must be included with a pressure switch. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A23 |  |  | Flowmeter to be magnetic or equivalent. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A24 |  |  | Gaskets: sanitary EDPM. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A25 |  |  | Vessel outlet/inlet tubing to be silicone. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A26 |  |  | Frame: enclosed 304 stainless steel IP54 cabinet. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A27 |  |  | Must include 2 X 10 KDa tangential flow filter cartridges. | Choose an item. |  | Click or tap here to enter text. |  |  |
| Interaction of Devices |  |  |  |  |  |  |  |  |
| A28 |  |  | Additional Information. The tendered equipment SHOULD include any Ancillary Equipment or Integration package needed to ensure optimal operation of the unit. Please indicate any additional options available with your proposed solution which are not explicitly referred to above. Please indicate cost (if any) in Appendix B – Pricing Schedule. |  |  | Click or tap here to enter text. |  |  |
| Ready to Process Wave Bioreactor Unit |  |  |  |  |  |  |  |  |
| General/Functional & Technical Requirements |  |  |  |  |  |  |  |  |
| A29 |  |  | A Ready to Process Wave Bioreactor Unit MUST be provided. Dimensions and weight: Dimensions: width x height x depth – 404 x 205 x 560 mm. Weight: 24 kg. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A30 |  |  | Applications must include: Cell culture – mammalian, insect and plant cells. Batch culture. Fed-batch culture. Perfusion culture. Cultivation of adherent cells. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A31 |  |  | Must include 1 filter heater. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A32 |  |  | Operating conditions: Ambient temperature range: 15°C to 32°C. Humidity range: 20% to 80% noncondensing. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A33 |  |  | Power: 100 to 240 V, ~ 50 to 60 Hz. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A34 |  |  | Power consumption: 1500 VA. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A35 |  |  | Rocking angle: 2° - 12°. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A36 |  |  | Rocking rate: 2 to 40 rocks/min. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A37 |  |  | The unit must have a 24-month warranty. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A38 |  |  | Pump 25: Dimensions: width x height x depth – 275 x 115 x 280 mm Power: 100 to 240 V, ~ 50 to 60 Hz Weight: 3.8 kg | Choose an item. |  | Click or tap here to enter text. |  |  |
| A39 |  |  | CBCU: Dimensions: width x height x depth – 276 x 117 x 360 mm. Must include 2 bag sensor adaptor 2.5 m. Power: 100 to 240 V, ~ 50 to 60 Hz. Storage conditions: -25°C to 50°C. Weight: 4.8 kg. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A40 |  |  | Tray 20: Dimensions: width x height x depth - 740 x 70 x 480 mm. Must be compatible with bioreactor unit. Weight: 7.3 kg. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A41 |  |  | pHOPT simulator. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A42 |  |  | DOOPT II simulator. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A43 |  |  | 2 Mains cables (GB) – 1 mains cable to be compatible with ready to process bioreactor unit and 1 mains cable for monitor. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A44 |  |  | Monitor screen: Widescreen 21.5”. 1920 x 1080 pixel. Display port 1.2. HDMI 1.4. VGA. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A45 |  |  | Computer mini desktop to be compatible with bioreactor unit. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A46 |  |  | Computer Keyboard (GB). | Choose an item. |  | Click or tap here to enter text. |  |  |
| A47 |  |  | UNICORN 7 manufacturing software to be included. | Choose an item. |  | Click or tap here to enter text. |  |  |
| A48 |  |  | 5 pack Cellbag bioreactor containers with bioclear 11 (BC11): 20L. pHOPT. DOOPT II. | Choose an item. |  | Click or tap here to enter text. |  |  |
| Interaction of Devices |  |  |  |  |  |  |  |  |
| A49 |  |  | Additional Information. The tendered equipment SHOULD include any Ancillary Equipment or Integration package needed to ensure optimal operation of the unit. Please indicate any additional options available with your proposed solution which are not explicitly referred to above. Please indicate cost (if any) in Appendix B – Pricing Schedule. |  |  | Click or tap here to enter text. |  |  |
| A50 |  |  | Customised training course must be provided on-site to 5 instructors. Minimum of 2 days. Training must include: introduction to system, software and wet/dry demos without cell culture performed by Tenderer. A detailed agenda is to be issued to instructors and agreed upon prior to the scheduled training. Price submitted by the Tenderer on the pricing documents must include travel, accommodation and administration costs. | Choose an item. |  | Click or tap here to enter text. |  |  |
| Software |  |  |  |  |  |  |  |  |
| A51 |  |  | Software MUST allow users to export data and results to word processor or spreadsheets. Please give full details of the availability of on-going support required for the software packages provided. Software licences for a maximum of 10 users MUST be provided for a minimum of 5 years. Automatic updates/renewals of software licences for a minimum of 5 years MUST be provided. | Choose an item. |  | Click or tap here to enter text. |  |  |
| B |  | After Sales Service, Technical Support, Warranty & Environmental/Sustainability |  |  | 20% |  | 200 | 120 |
| Tenders must include the below in their response; - Replacement & spare parts requirements - Guaranteed response times & escalation chart - Warranty – The statement of warranty and warranty period must be submitted for all equipment/components tendered for. - Environmental and sustainability – Tenderers initiatives implemented to help reduce impact on environment. - All Tenderers MUST dispose of all Packaging & Waste after installation and commission has been completed. - All Tenderers MUST provide a detailed description of power consumption and any energy rating efficient features of the tendered equipment. Please outline any energy/environmental advantages of your proposal. - The Tenderer MUST provide a manufacturer’s datasheet or specification document that confirms the energy consumption of the proposed equipment in both stand-by and working modes. - This information will be used to evaluate energy consumption costs as part of the Ultimate Cost criteria in the Pricing Document (Appendix B). |  |  |  |  |  |  |  |  |
| Tenderer’s Response |  |  |  |  |  |  |  |  |
| Click or tap here to enter text. |  |  |  |  |  |  |  |  |

| C | Commissioning phase including Staff Training | 25% | 250 | 150 |
| --- | --- | --- | --- | --- |
| Tenders must include the below in their response; - Lead time & delivery/completion plan; - Tenderers MUST provide details of timeline for the lead time for delivery, installation, commissioning, and training from the date the Purchase Order is received. - Installation & compliance; - The installation of all electrical items MUST be in accordance with but not limited to European standards/ regulations and all relevant amendments. - All equipment offered SHOULD conform to EMC directive 89/336/EEC (as amended by 91/263/EEC & 92/31/EEC). - The installation and commissioning of the equipment MUST be carried out by the successful Supplier trained engineers and within one (1) to two (2) weeks from date of delivery. - Tenderers MUST as part of the submission, include copies of any relevant testing or compliance certificates of accreditation for the goods as well as their Health and Safety Policy. - Tenderers MUST include copies of any relevant testing or compliance certificates of accreditation for the goods. - Tenderers MUST submit the following documentation in the English language with their tender submissions; - Operator/equipment manual in hard/soft copy - Technical specification document - Maintenance instructions - Installation qualification - Basic troubleshooting - Factory acceptance testing - Calibration documentation - Training manuals - Training Proposal must include: - Following the installation of the equipment, the successful tenderer MUST demonstrate the correct operation of the equipment in Cork ETB. The tenderer MUST provide on-site training for at least five (5) people after commissioning to include use of instrument, and troubleshooting. Please detail and confirm cost for each year in Pricing Document (Appendix B). (Date(s), timing, and method of training to be confirmed with Cork ETB and the winning tenderer). - Onsite operator training course at installation MUST cover the following aspects of system familiarization, operation and maintenance; - Training on all software and hardware required for all measurements and applications - Troubleshooting - Basic maintenance - Changing of parts for maintenance or different applications - Analysis of results - Generation of reports - Customised methods and configurations - Calibration where necessary Delivery must include all shipping charges, insurance, customs duties and all aspects as outlined in Delivered Duty Paid (DDP) incoterms. Delivery must be DDP to: CCFET Life Sciences Centre, Estuary Business Park, Crosshaven Road, Carrigaline, Cork, P43 D274. |  |  |  |  |
| Tenderer’s Response |  |  |  |  |
| Click or tap here to enter text. |  |  |  |  |

| D | Ultimate Cost | 25% | 250 | N/A |
| --- | --- | --- | --- | --- |
| Tenderers are required to outline the cost of each item of equipment by completing the Pricing Document (Appendix B). |  |  |  |  |

## Confirmation Check

| Relevant Documents Completed |  |  |  |  |
| --- | --- | --- | --- | --- |
| I confirm that I have completed the relevant elements of this Tender Response Document. | Yes | ☐ | No | ☐ |
| I confirm that I have completed the Art. 57 declaration contained in this Tender Response Document, and I acknowledge that any changes in the circumstances confirmed in this declaration will be notified immediately to the Contracting Authority. | Yes | ☐ | No | ☐ |
| I confirm I have responded to all the mandatory requirements in this Tender Response Document - Pass/Fail Criteria. | Yes | ☐ | No | ☐ |
| I confirm that I have read and accept the terms of the Contract and the Framework Agreement Terms and Conditions. | Yes | ☐ | No | ☐ |
| I confirm I have completed the Form of Tender and signed the Tenderer’s Statement. | Yes | ☐ | No | ☐ |
| I confirm that I have responded to all Award Criteria. | Yes | ☐ | No | ☐ |
| I confirm that I have completed the Pricing Document (Appendix B) | Yes | ☐ | No | ☐ |

THIS DOCUMENT AND THE ASSOCIATED APPENDICES PROVIDED BY CORK ETB MUST BE USED IN PREPARATION OF YOUR TENDER RESPONSE.

FAILURE TO COMPLY WILL RESULT IN YOUR ELIMINATION.