RFT 01/26/DL Request for Tenders for:

A Multi-participant Framework for Electrical Services Term Maintenance and Refurbishment Contract (TMRC) at Atlantic Technological University Donegal

VOLUME C – PRICING DOCUMENT

March 2026

Contents Table

1	PRICING NOTES	3

1.1	General Items	3

1.2	Pricing Notes	5

1.2.1	General Pricing Notes	5

1.2.2	Measured Works	6

1.2.3	Dayworks	7

1.2.4	Project Particulars and General Conditions	8

1.2.5	Conditions of Contract	8

2	SCHEDULE OF RATES	8

2.1	Volume C.1	8

## 1	PRICING NOTES

# 1.1	General Items

The Contract provides for the execution of Electrical services maintenance and refurbishment works. From time to time the works will require co-ordinating with the works of other contractors on site i.e. electrical, building, etc. The extent and scope of the proposed work item will meet the requirements of the Atlantic Technological University as they arise and will be agreed on an ongoing basis as requirements arise and are executed in accordance with individual Task Orders.

The type of minor electrical services works arising under this TMRC involve, but are not limited to the following:

emergency call-outs

maintenance works

repairs and minor refurbishment works

The Contract is applicable to all buildings/premises under the authority of Atlantic Technological University (ATU) in Co. Donegal i.e. ATU campuses and off-campus rental premises in Letterkenny, and at Shore Road Killybegs, Co Donegal.

This Contract is intended to apply to electrical services works and will be applicable to all works, regardless of value, within the range outlined within the Works Requirement Document Vol A.

Rates contained within the “Schedule of Rates” at Volume C.1 are deemed to reflect the operations of the University campus as a whole i.e. a continuously working/teaching environment.  Rates are to allow for carrying out work in any circumstance.

The unit quantities/No. of hours contained within the Schedule of Rates are notional and provided for pricing/tendering purposes only and are not to be taken as an indication of the proposed/potential extent of the works.  As stated elsewhere in these tender documents, the extent of the works remains undefined at this stage.  The Employer is under no obligation to reimburse the Contractor or amend rates contained within the schedule of works should quantities/hours differ from those contained within the Schedule of Rates.

The priced Schedule of Rates is to be used as the basis for agreeing the cost of works to be carried out under individual Task Orders.

It is a condition of this contract that the Contractor shall respond to all emergency work requests upon receiving notification of a request for Electrical work.  A response time of 2 hours maximum is required in the case of emergency works and 1 day in all other cases.

At all times, the Contractor’s site personnel shall be supervised by a competent person.  As a minimum requirement, the competent person should possess full qualifications with previous supervisory experience and an in-depth knowledge of the technical requirements of the works at hand together with experience and knowledge of all Health & Safety requirements.  The Contractor will be required to comply with ATU Donegal’s Contractor Safety Management Procedure included at Volume D of these tender documents.

Any defective workmanship shown to be caused by improper or faulty installation by the Contractor shall be immediately rectified by the Contractor to the satisfaction of the University’s supervising officer at no cost to the University.

The Contractor is required to make good all works disturbed, in particular fire stopping penetrations, and to thoroughly clean up during and upon completion.  All rubbish shall remain the responsibility of the Contractor and be disposed of appropriately. All disposal costs shall be borne by the successful Contractor.

The Contractor is to comply with the recycling policy of the University.

All works are to be completed strictly in accordance with the Works Requirements Volume A.1 and manufacturer’s instructions.

The Contractor must adequately protect all types of work and all parts of the works, including finishes, coverings and throughout the contract. Where works may cause a hazard special protection shall be provided around works areas to ensure that damage or nuisance does not occur.

The Contractor must replace any marker tapes or protective covers disturbed during site operations to the Employer’s satisfaction.

The Contractor must satisfy themselves as to the full extent of the work to be carried out on each Task Order, whether referenced in documents or otherwise. Rates/quoted prices to include for all works deemed necessary whether or not stated in the documents but which can be reasonably inferred therefrom.

Tenderers are to allow for co-ordinating their works, where required, with the works of other trades which may be ongoing concurrently.

Programme durations and completion dates for all works to be agreed in advance.

# Pricing Notes

### 1.2.1	General Pricing Notes

The contract is applicable to all buildings/premises under the authority of the Atlantic Technological University as set out in Appendix A of the Volume A General Works Requirements.

This tender is a competitive tender based upon a Schedule of Rates. Nominal frequency/quantities of works have been given within the schedule for the purpose of comparison of tenders only and should not be taken as an indication of the works that will be required.

This framework agreement is to remain in place and operational for a period of 2 years. Rates contained within the Schedule of Rates are to remain applicable without increase for the duration of the framework.

Tenders where required, must remain open for consideration for not less than 8 weeks from the date fixed for the submission of the tenders.

Rates, day-works, preliminaries, and any other prices quoted in the Schedule of Rates are to include for Contractor’s profits, overheads and any other such addition deemed necessary by the Contractor.

Rates are to be fully inclusive of insurances, general access requirements and all such items of a preliminary nature.

Costs of small tools (hand tools and suchlike) required by the Contractor to execute the works at hand are deemed to be included within the rates contained within the attached schedule of rates.

Schedule of rates are generally but not exclusively prepared in accordance with A.R.M. (Agreed Rules of Measurement).

All works are subject to re-measurement or agreement in advance in accordance with the format and general intention of the Schedule of Rates and all other sections of this document.

Preliminaries as detailed elsewhere in the documents are to provide for all items of a Preliminaries nature as detailed and subject only to the following amendments;

Scaffolding/ Access Requirements: Preliminaries are to provide for all access requirements and other such non-mechanical readily mobile access/scaffold requirements. All costs associated with fixed scaffolding, mobile scaffold tower over an access height of 4m, mobile elevated and working platforms, and such like will be agreed on a job-by-job basis where the requirement arises.

Use of University welfare facilities; The Contractor will be permitted, where applicable, the use of the University welfare facilities such as canteens and toilets.

Electrical and water services: The Contractor will be permitted, where applicable, the use of University electrical points and water outlets.

### Measured Works

All works, excluding works carried out exclusively on a dayworks basis.

The due/reimbursable cost allowable to the Contractor for works proposed/undertaken will be calculated under one of the following three methods:

- Measurement and valuation of works based upon rates contained in the Schedule of Rates. Insurance, overhead & profit are included in the tendered rates. Adjustments for Preliminaries in compliance with the section entitled ‘Preliminaries’ within the attached schedule of rates (Volume C.1).

- Where an item of works is not listed / priced within the schedule of rates, the Contractor must provide a rate for the said works, at least two days prior to the works commencing. Should the Contractor fail to submit a rate for the proposed works, the Employer will determine a rate and it will be based upon the most similar rate set out in the Schedule of Rates (Volume C.1). Insurance, overhead & profit are included in the tendered rates. Adjustments for Preliminaries in compliance with the section entitled ‘Preliminaries’ within the Schedule of Rates.

- In the case when a contractor is already engaged in a Term Contract project, is currently on site and where an item of work is required that cannot be priced under section A or B above; the labour rates as specified in the schedule of rates will be used to calculate the cost of that particular work item, e.g. demolition and the like.  It should be noted that the labour rates exclude preliminaries. These preliminary items are tendered separately within the schedule of rate section ‘Preliminaries’ and will be added on to works valued under this section C. Known rates are deemed to include the cost of insurances, overheads and profit.

Once the total cost due/reimbursable to the Contractor has been calculated as above, VAT at the appropriate rate will be added.

### Dayworks

Works carried out exclusively on a dayworks basis.

The due/reimbursable cost allowable to the Contractor for works proposed/undertaken will be calculated as follows:

The ‘Dayworks’ section of this Schedule of Rates, will be used to calculate the due/reimbursable cost allowable to the Contractor for works carried out exclusively on a dayworks basis, i.e. where labour is hired into the University to carry out works  exclusively on a time and materials basis and when the Contractor has no other on-going works on site (where the Contractor has other on-going works on site, works carried out on a time and material basis/dayworks basis will be calculated in accordance with the section 1.2.2 section C above).

### Project Particulars and General Conditions

The tendering Contractor is to provide for all costs arising from complying with all items given in the Project Particulars and General Conditions sections as detailed elsewhere in these tender documents.

### Conditions of Contract

The tendering Contractor is to provide for all costs arising from complying in all respects with the Conditions of Contract as detailed elsewhere in these tender documents.

## 2	SCHEDULE OF RATES

# 2.1	Volume C.1

Volume C.1 Schedule of Rates RFT 01/26/DL Electrical Services Term Maintenance Refurbishment Works Contract (TMRC) to be completed in excel format and returned by the tenderer.