## Sheet1
Volume C.1 RFT 02/24DL Mechanical Services Term Maintenance Refurbishment Works Contract (TMRC)
Volume C.1 |  |  |  |  | REV 1
Schedule of Rates
Tenderer Instructions:
Tenderer to insert Rate (€ or %) in light green highlighted cells
Costs will be calculated automatically at Amount (€) Column
Item | Description | Qty | Unit | Rate | Amount (€)
TABLE 1 - PRELIMINARY PARTICULARS
A | the following items are to be priced on the basis of works being undertaken in a 'live' environment and in the vicinity of existing buildings, and will be deemed to reflect the operations of the institute as a whole, i.e. a continuously working/teaching environment. |  | Note
To Collection € |  |  |  |  | N/A
Item | Description | Qty | Unit | Rate (%) | Amount (€)
TABLE 2 - PRELIMINARIES
A | This section provides the basis for calculating the amount due/reimbursable to the Contractor to cover the costs of Preliminaries incurred/to be incurred by the Contractor. |  | Note
B | All on-costs quoted in this section are to provide for all items of Preliminaries as detailed in Works Requirement Volume A section 11.11 |  | Note
C | Value of works packages not exceeding €1,000 - Provisional sum to cover works, €700 - €700 x % addition for Preliminaries | 700 | Item |  | 0
C | Value of works packages not exceeding €5,000 | 3000 | Item |  | 0
- Provisional sum to cover works, €3,000
- €3,000 x % addition for Preliminaries
D | Value of works packages not exceeding €10,000 - Provisional sum to cover works, €8,000 - €8,000 x % addition for Preliminaries | 8000 | Item |  | 0
E | Value of works packages exceeding €10,000 and not exceeding €25,000 - Provisional sum to cover works, €20,000 - €20,000 x % addition for Preliminaries | 20000 | Item |  | 0
To Collection € |  |  |  |  | 0
Item | Description | Qty | Unit | Rate (€) | Amount (€)
TABLE 3 - DAYWORKS
A | dayworks rates as set out below are to be used as the basis for cost evaluation of works only when defined in accordance with Volume C, Paragraph 1.2.3 |  | Note
B | all daywork rates quoted below are to be fully inclusive of all disbursements arising from the employment of work people including all necessary E.L., P.L. and C.A.R. insurances together with associated costs of supervisory staff, the extra wages of working foremen and chargehands, contractors profit, overheads and establishment charges and all necessary Health and Safety compliance |  | Note
C | all daywork rates quoted below are to be fully inclusive of all items of a Preliminaries nature as detailed in the Works Requirements Volume A, Paragraph 11.11 of these documents and subject only to amendments as detailed there in. No further additions will be made to the rates quoted below for items of a "Preliminaries" nature. |  | Note
F | rates for labour are to include allowance for small hand tools. |  | Note
G | authorisation of works to be executed on a daywork basis, in accordance with this section, to be sought/issued by the Employers Representative in advance. |  | Note
H | dayworks sheets submitted must give a detailed description of the work involved, the location of the work, the workmens names, trades and hours worked by each, full description of all plant used and a full list of materials. |  | Note
I | daywork sheets must be presented to the Employers Representative for signing no later than the end of the week after the week in which the work was undertaken. |  | Note
J | nett cost of materials and plant refer to the actual cost to the Contractor of the materials and plant after the deduction of all Contractor's discounts. |  | Note
| To Collection € |  |  |  | N/A
Item | Description | Qty | Unit | Rate (€) | Amount (€)
TABLE 4 - DAYWORKS
Normal Working Hours
A | Chargehand | 100 | hr |  | 0
B | Plumber | 200 | hr |  | 0
C | Apprentice (regardless of grade) | 200 | hr |  | 0
D | Labourer | 50 | hr |  | 0
Works outside Normal Working Hours (time and-a-half)
E | Chargehand | 30 | hr |  | 0
F | Plumber | 30 | hr |  | 0
G | Apprentice (regardless of grade) | 15 | hr |  | 0
H | Labourer | 15 | hr |  | 0
Works outside Normal Working Hours (double time)
I | Chargehand | 30 | hr |  | 0
J | Plumber | 30 | hr |  | 0
K | Apprentice (regardless of grade) | 15 | hr |  | 0
L | Labourer | 15 | hr |  | 0
| To Collection € |  |  |  | 0
Item | Description | Qty | Unit | Rate (%) | Amount (€)
TABLE 5 - DAYWORKS
Materials
A | Provisional sum for the nett cost of materials (actual cost of materials after all contractor's discounts are deducted) |  | Item |  | 500
B | Percentage on-cost to the nett cost of materials @ €500.00 x percentage on-cost | 500 | Item |  | 0
C | Provisional sum for the nett cost of materials (actual cost of materials after all contractor's discounts are deducted) |  | Item |  | 1000
D | Percentage on-cost to the nett cost of materials @ €1,000.00 x percentage on-cost | 1000 | Item |  | 0
E | Provisional sum for the nett cost of materials (actual cost of materials after all contractor's discounts are deducted) |  | Item |  | 5000
F | Percentage on-cost to the nett cost of materials @ €5,000.00 x percentage on-cost | 5000 | Item |  | 0
| To Collection € |  |  |  | 6500
Item | Description | Qty | Unit | Rate (%) | Amount (€)
TABLE 6 - DAYWORKS
Plant Hire
A | Provisional sum for the nett cost of plant hire (actual cost of plant after all contractor's discounts are deducted) |  | Item |  | 500
B | Percentage on-cost to the nett cost of plant hire @ €500.00 x percentage on-cost | 500 | Item |  | 0
C | Provisional sum for the nett cost of plant hire (actual cost of plant after all contractor's discounts are deducted) |  | Item |  | 1000
D | Percentage on-cost to the nett cost of plant hire @ €1,000.00 x percentage on-cost | 1000 | Item |  | 0
E | Provisional sum for the nett cost of plant hire (actual cost of plant after all contractor's discounts are deducted) |  | Item |  | 5000
F | Percentage on-cost to the nett cost of plant hire @ €5,000.00 x percentage on-cost | 5000 | Item |  | 0
| To Collection € |  |  |  | 6500
Item | Description | Qty | Unit | Rate | Amount (€)
TABLE 7 - LABOUR RATES
A | labour rates as set out below are to be used only when valuing works in accordance with Works Requirement Volume C, Paragraph 1.2.2, Section C |  | Note
B | these rates shall also be used for the evaluation of costs where works are carried out on a time and material basis in conjunction with/concurrent with measured works and subject to the appropriate additions, where applicable, preliminaries as defined in this Schedule of Rates |  | Note
C | authorisation of works to be executed on a daywork basis, in accordance with Works Requirements Volume C, Paragraph 1.2.3, to be sought/issued by the Employer's Representative in advance. |  | Note
D | all labour rates quoted are subject to the appropriate additions where applicable for preliminaries as defined in Works Requirements Volume C, Paragraph 1.2.2, Section C |  | Note
E | all labour rates quoted are to be fully inclusive of all disbursements arising from the employment of work people |  | Note
To Collection € |  |  |  |  | N/A
Item | Description | Qty | Unit | Rate (€) | Amount (€)
TABLE 8 - LABOUR RATES
Normal Working Hours
A | Chargehand | 100 | hr |  | 0
B | Plumber | 100 | hr |  | 0
C | Apprentice (regardless of grade) | 50 | hr |  | 0
D | Labourer | 50 | hr |  | 0
Works outside Normal Working Hours (time and-a-half)
E | Chargehand | 30 | hr |  | 0
F | Plumber | 30 | hr |  | 0
G | Apprentice (regardless of grade) | 15 | hr |  | 0
H | Labourer | 15 | hr |  | 0
Works outside Normal Working Hours (double time)
I | Chargehand | 30 | hr |  | 0
J | Plumber | 30 | hr |  | 0
K | Apprentice (regardless of grade) | 15 | hr |  | 0
L | Labourer | 15 | hr |  | 0
To Collection |  |  |  |  | 0
Item | Description | Qty | Unit | Rate (%) | Amount (€)
TABLE 9 - LABOUR RATES
Materials
A | Provisional sum for the nett cost of materials (actual cost of materials after all contractor's discounts are deducted) |  | Item |  | 500
B | Percentage on-cost to the nett cost of materials @ €500.00 x percentage on-cost | 500 | Item |  | 0
C | Provisional sum for the nett cost of materials (actual cost of materials after all contractor's discounts are deducted) |  | Item |  | 1000
D | Percentage on-cost to the nett cost of materials @ €1,000.00 x percentage on-cost | 1000 | Item |  | 0
E | Provisional sum for the nett cost of materials (actual cost of materials after all contractor's discounts are deducted) |  | Item |  | 5000
F | Percentage on-cost to the nett cost of materials @ €5,000.00 x percentage on-cost | 5000 | Item |  | 0
To Collection € |  |  |  |  | 6500
Item | Description | Qty | Unit | Rate (%) | Amount (€)
TABLE 10 - LABOUR RATES
Plant Hire
A | Provisional sum for the nett cost of plant hire (actual cost of plant after all contractor's discounts are deducted) |  | Item |  | 500
B | Percentage on-cost to the nett cost of plant hire @ €500.00 x percentage on-cost | 500 | Item |  | 0
C | Provisional sum for the nett cost of plant hire (actual cost of plant after all contractor's discounts are deducted) |  | Item |  | 1000
D | Percentage on-cost to the nett cost of plant hire @ €1,000.00 x percentage on-cost | 1000 | Item |  | 0
E | Provisional sum for the nett cost of plant hire (actual cost of plant after all contractor's discounts are deducted) |  | Item |  | 5000
F | Percentage on-cost to the nett cost of plant hire @ €5,000.00 x percentage on-cost | 5000 | Item |  | 0
To Collection € |  |  |  |  | 6500
Item | Description | Qty | Unit | Rate (€) | Amount (€)
TABLE 11 - EMERGENCY CALL OUT RATES - LETTERKENNY CAMPUS
Emergency Type Projects require a 2 -Hour response Time
Emergency Call-Out Rate to include for travel time to the Letterkenny Campus and the first hour on site inclusive of overheads & profit
Normal Working Hours
A | Chargehand | 20 | call out |  | 0
B | Plumber | 20 | call out |  | 0
C | Apprentice (regardless of grade) | 5 | call out |  | 0
D | Labourer | 5 | call out |  | 0
Works outside Normal Working Hours (time and-a-half)
E | Chargehand | 2 | call out |  | 0
F | Plumber | 2 | call out |  | 0
G | Apprentice (regardless of grade) | 1 | call out |  | 0
H | Labourer | 1 | call out |  | 0
Works outside Normal Working Hours (double time)
I | Chargehand | 2 | call out |  | 0
J | Plumber | 2 | call out |  | 0
K | Apprentice (regardless of grade) | 1 | call out |  | 0
L | Labourer | 1 | call out |  | 0
To Collection |  |  |  |  | 0
Item | Description | Qty | Unit | Rate (€) | Amount (€)
TABLE 12 - EMERGENCY CALL OUT RATES - KILLYBEGS CAMPUS
Emergency Type Projects require a 2 -Hour response Time
Emergency Call-Out Rate to include for travel time to the Killybegs Campus and the first hour on site inclusive of overheads & profit
Normal Working Hours
A | Chargehand | 20 | call out |  | 0
B | Plumber | 20 | call out |  | 0
C | Apprentice (regardless of grade) | 5 | call out |  | 0
D | Labourer | 5 | call out |  | 0
Works outside Normal Working Hours (time and-a-half)
E | Chargehand | 2 | call out |  | 0
F | Plumber | 2 | call out |  | 0
G | Apprentice (regardless of grade) | 1 | call out |  | 0
H | Labourer | 1 | call out |  | 0
Works outside Normal Working Hours (double time)
I | Chargehand | 2 | call out |  | 0
J | Plumber | 2 | call out |  | 0
K | Apprentice (regardless of grade) | 1 | call out |  | 0
L | Labourer | 1 | call out |  | 0
To Collection |  |  |  |  | 0
Item | Description | Qty | Unit | Rate (€) | Amount (€)
TABLE 13 - LPG DECLARATION OF CONFORMANCE TO I.S 820
LPG system annual inspection and testing to I.S 820 to be carried out and certified by RGI registered engineer
Inspection and testing Complete LPG system from bulk tank to regulator, to end point of use boilers which includes kitchen installation and equipment, Science installation and equipment, Engineering installation and equipment & boiler installation and equipment.
Letterkenny Campus
A | 1x Bulk LPG tank system serving - Main building: kitchen, Science labratories and Engineering labratories) | 1 | item |  | 0
B | 3x Bulk LPG tank system serving - Main building Boiler Plant room (4x LPG boiler cascade) | 1 | item |  | 0
C | 2x Bulk tank system serving - Nursing building Boiler Plant room (3x LPG boiler cascade) | 1 | item |  | 0
D | 2x Bulk tank system serving - Colab Ph3 building Boiler Plant room (3x LPG boiler cascade) | 1 | item |  | 0
Killybegs Campus
E | 2x Bulk tank system serving - Original building (3x boilers / 1x gas water heater & kitchens) | 1 | item |  | 0
To Collection |  |  |  |  | 0
Item | Description | Qty | Unit | Rate (€) | Amount (€)
TABLE 14 - OIL AND LPG BOILER ANNUAL SERVICING To B.S 5410 AND I.S 820
Oil boiler annual service, inspection and testing to B.S 5410 to be carried out and certified by OFTEC registered engineer.
LPG boiler annual service, inspection and testing to I.S 820 to be carried out and certified by RGI registered engineer
Letterkenny Campus
Main Boiler house
A | 4x Buderus 575kW | 1 | item |  | 0
B | 5 x Rehema Quinta Pro 115kW | 1 | item |  | 0
C | 3x FireBird Condensing Enviromax Popular 80/100kW | 1 | item |  | 0
Nursing Boiler House
D | 2x Buderus Gogano GE 315 332kW | 1 | item |  | 0
E | 3 x Immergas Victrix Pro 100 100kW | 1 | item |  | 0
Co Lab Boiler House
F | Thermia OY H20-10 190kW | 1 | item |  | 0
G | De Dietrich 190kW | 1 | item |  | 0
CoLab NWRSP
H | 3x Potterton Paramount three 95 95kW | 1 | item |  | 0
MPC boiler house
I | Unical ELLPREX 420 420kW | 1 | item |  | 0
J | Thermia OY H20-10 500kW | 1 | item |  | 0
Ramelton Road Annexe
K | Grant Domestic 35kW | 1 | item |  | 0
Killybegs campus
Main Boiler house
L | Ferrolli 560kW | 1 | item |  | 0
M | FireBird Condensing Enviromax Popular RDB | 1 | item |  | 0
N | 3 x Rehema Quinta Pro 90 90kW | 1 | item |  | 0
O | Rinnai (Hot Water) 55kW | 1 | item |  | 0
Millenium Boiler house
P | 2x Remeha P200 241kW | 1 | item |  | 0
Q | FireBird Enviromax Heat Pack C73kW | 1 | item |  | 0
To Collection |  |  |  |  | 0
Item | Description | Qty | Unit | Rate (€) | Amount (€)
TABLE 15 - MECHANICAL WORKS -LETTERKENNY CAMPUS
MECHANICAL VARIOUS TOILET UPGRADES TO LETTERKENNY CAMPUS
Works to be carried out during Normal Working Hours
(Additional remedial works to be charged at term rates)
Urinal Flushing / PIR Upgrade - Main Building & An Danlann building, Letterkenny Campus
A | Mens Urinal upgrade to PIR flushing, Main building | 5 | Item |  | 0
| Mens Urinal upgrade to PIR flushing, An Danlann | 6 | Item |  | 0
WC pan upgrade - Main Building & An Danlann building, Letterkenny campus
B | M&F Toilets - upgrade pan to floor mounted, Main building | 26 | Item |  | 0
C | M&F Toilets - upgrade pan to floor mounted, An Danlann | 5 | Item |  | 0
Persussion Tap Upgrade - Main Building & An Danlann building, Letterkenny Campus
D | M&F toilets - upgrade taps to sensor taps, Main building | 36 | Item |  | 0
E | M&F toilets - upgrade taps to sensor taps, An Danlann | 12 | Item |  | 0
Boiler Upgrade - An Danlann, Letterkenny main Campus
F | Replace single An Danlann oil boiler to ELLPREX boiler 500kw (spec attached) and burner including all modifications to pipework, flue, valves, actuator etc to facilitate installation | 1 | Item |  | 0
Boiler Upgrade - Colab Ph1, Letterkenny main Campus
G | Replace single Colab oil boiler (up to 250kW, spec TBC) and burner including all modifications to pipework, flue, valves, actuator etc to facilitate installation | 1 | Item |  | 0
To Collection |  |  |  |  | 0
Summary Schedule Of Rates
Ref | Description | Amount €
Table | 1/15 | N/A
Table | 2/15 | 0
Table | 3/15 | N/A
Table | 4/15 | 0
Table | 5/15 | 6500
Table | 6/15 | 6500
Table | 7/15 | N/A
Table | 8/15 | 0
Table | 9/15 | 6500
Table | 10/15 | 6500
Table | 11/15 | 0
Table | 12/15 | 0
Table | 13/15 | 0
Table | 14/15 | 0
Table | 15/15 | 0
To Bill Summary € |  | 26000
2 General Summary
€
GENERAL SUMMARY
Page
Amount for
A | Schedule of Rates – Mechanical TMRC | 14/15 |  |  | 26000
| Sub-Total |  |  |  | 26000
VALUE ADDED TAX
Add for
Note
The amount of Value Added Tax @ 23% to be included in the final adjustment of the Contract Sum shall be calculated at such rate as may be properly decided by the Revenue Commissioners under the powers vested in them by the Value Added Tax Act 1972 (amended), but shall exclude any overpayment made or penalties incurred under the Act by the Contractor. The “Principal Contractor” for this Contract is the Atlantic Technological University NO VAT IS TO BE INCLUDED IN THIS TENDER @ 13.5% AS THIS WILL BE ACCOUNTED FOR BY THE PRINCIPAL CONTRACTOR (ATLANTIC TECHNOLOGICAL UNIVERSITY)
| AMOUNT OF ESTIMATE FORWARD TO FORM OF TENDER |  |  | € | 26000
.................................................................
Signature:
| Contractor's Name: | .................................................................
| Address: | .................................................................
.................................................................
.................................................................
| Date: | .................................................................