## Instructions
TRINITY COLLEGE DUBLIN, THE UNIVERSITY OF DUBLIN
TCD-26-C2287
TEA AND COFFEE PRODUCTS : PRICING DOCUMENT
Declaration of Ability to Supply all items listed within applicable lots applied for | Yes / No
Official Company Name
| Tea and Coffee Products | Yes/No
Bidders are required to complete the fields indicating what Lot(s) they are applying for
All Prices are exclusive of VAT unless otherwise indicated.
All Prices are the maximum prices payable for a minimum of 12 months from the start of the contract.
Bidders shall note that for the purpose of evaluation any additional comments on discounts for increased minimum order sizes shall not be considered.
All items must be priced and any yellow cell that is left blank will lead to the elimantion of the Tenderer from the process.
Tenderers must supply full details for all proposed products.
Tenderers must ensure that all proposed unit of measure pack sizes are the same as, or equivalent to, those listed in Column J (Current Unit of Measure) of the Pricing Worksheet.
Signed:
Print Name:
Company Name:
Address:
Email:
Position:
Phone No:
Date:
Notes: Tenderers must inset their unit cost for each of the component types in the yellow boxes. Tenderers must inset their product manufacturer and Code for each of the component types in the green boxes. No Cells must be left Blank. Any yellow cell that is left blank may be assigned the greatest value for that particular component supplied by other tenderers. All other cells should remain unchanged, the sub-totals and totals will automatically calculate. The overall total is to be carried forward and entered as a lump sum on the form of Tender. tenderers that are admitted to a goods contract are not permitted to exceed the tendered unit cost for the respective component types for the first 12 months of the start date. The above list of products are a notional bundle assembled for the purposes of the tender evaluation. Tenderers should note that no contract for goods will be entered into based on this tender and tenders submitted will be evaluated solely for the purposes of establishing the MEAT tenderers for the admission to the framework. Please include official business name and confirm that all categories of items will be supplied. On completion of Document please save as PDF and sign accordingly. Where specifications include reference to manufacturer (i.e. Alpro, Goldblend & Urnex ) or brand names this is a result of difficulties in specifying the product required. In these instances the phrase “or equivalent” is inferred.

## Tea and Coffee Products
TRINITY COLLEGE DUBLIN, THE UNIVERSITY OF DUBLIN
TCD-26-C2287
TEA AND COFFEE: PRICING DOCUMENT
Declaration of Ability to Supply | [6 empty] | Tea and Coffee Products
Official Company Name
If successful in being invited to form part of the proposed Goods contract 'We' agree to quote for the supply of all items listed in the following categories. |  |  | Category: |  | Yes/No
Description: | A | B |  | C |  | D |  | Proposed Product Manufacturer
| Current unit Of Measurement | Notional Quantity During Framework Year 1 |  | Unit Price in Euro Excl. VAT |  | (CXB)
|  |  |  | Unit Price in Euros Excl. VAT |  | Total € |  |  | Proposed Product information including Brand and Pack size
Unit Price in Euros Excl. VAT
Unit Price in Euros Excl. VAT
Products: Tea and Coffee Products
Filter Coffee Case x 6 x 226.8g | Case x 6 x 226.8g | 196 |  | 0 |  | 0
Tea Bags Luxury Gold Blend or equivalent Case x 2 x 440 | Case x 2 x 440 | 90 |  | 0 |  | 0
Coffee Pour over ground Case x 30 x 65g | Case x 30 x 64g | 43 |  | 0 |  | 0
Coffee Beans Case x 6 x 1kg | Case x 6 x 1kg | 810 |  | 0 |  | 0
Coffee Pods Case x 100 | Case x 100 | 190 |  | 0 |  | 0
Coffee Pods Decaf Case x 100 | Case x 100 | 24 |  | 0 |  | 0
Filter Coffee Decaf Case x 8 x 250g | Case x 8 x 250g | 36 |  | 0 |  | 0
Coffee Case Decaf x 80 x 7.2g | Case x 80 x 7.2g | 22 |  | 0 |  | 0
Instant Coffee ground Tin x 750g | Tin x 750g | 6 |  | 0 |  | 0
Hot Chocolate Case x 10 x 1kg | Case x 10 x 1kg | 35 |  | 0 |  | 0
Cappuccino Powder Case x 12 x 1Kg | Case x 12 x 1Kg | 9 |  | 0 |  | 0
White Sugar sticks Case x 1000 | Case x 1000 | 45 |  | 0 |  | 0
Brown Sugar sticks Case x 1000 | Case x 1000 | 32 |  | 0 |  | 0
Pour over filters Case x 1000 x 3pt | Case x 1000 x 3pt | 7 |  | 0 |  | 0
Fetco filters Case x 500 | Case x 500 | 9 |  | 0 |  | 0
Bulk brew filters x 3 gallons Case x 252 | Case x 252 | 8 |  | 0 |  | 0
Dark chocolate sauce 1 x 1.9 lts | 1 x 1.9 lts | 132 |  | 0 |  | 0
Caramel syrup 1 x 1lts | 1 x 1 lts | 50 |  | 0 |  | 0
Vanilla syrup 1 x 1lts | 1 x 1 lts | 59 |  | 0 |  | 0
Hazelnut syrup 1 x 1 lts | 1 x 1 lts | 17 |  | 0 |  | 0
Chai tea vanilla powder 1 x 1kg | 1 x 1kg | 10 |  | 0 |  | 0
Flavoured Tea Peppermint Case x 6 x 25 | Case x 6 x 25 | 18 |  | 0 |  | 0
Flavoured Tea Green Tea Case x 6 x 25 | Case x 6 x 25 | 19 |  | 0 |  | 0
Flavoured Tea Earl Grey Case x 6 x 25 | Case x 6 x 25 | 23 |  | 0 |  | 0
Flavoured Tea Lemon and ginger Case x 6 x 25 | Case x 6 x 25 | 16 |  | 0 |  | 0
Flavoured Tea Camomile Case x 6 x 25 | Case x 6 x 25 | 10 |  | 0 |  | 0
De caf Tea Case x 12 x 80 | Case x 12 x 80 | 6 |  | 0 |  | 0
Alpro Soya Sweetened for professionals or equivalent product | Case x 12 x 1 Lts | 98 |  | 0 |  | 0
Alpro Oat for professionals or equivalent product | Case x 12 x 1 Lts | 263 |  | 0 |  | 0
Marshmallows mini Case x 6 x 125g | Case x 6 x 125g | 39 |  | 0 |  | 0
Wooden stirrers x 5.5cm Case x 10 x 1000 | Case x 10 x 1000 | 18 |  | 0 |  | 0
8oz Compostable coffee cups Case x 500 | Case x 500 | 189 |  | 0 |  | 0
12 oz Compostable coffee cups Case x 500 | Case x 500 | 206 |  | 0 |  | 0
16oz Compostable coffee cups Case x 500 | Case x 500 | 24 |  | 0 |  | 0
8oz Lids Case x 1000 | Case x 1000 | 53 |  | 0 |  | 0
12/16oz Lids Case x 1000 | Case x 1000 | 66 |  | 0 |  | 0
Coffee clutches 12/16oz Case x 1000 | Case x 1000 | 1 |  | 0 |  | 0
2 Cup carrier Tray Case x 360 | Case x 360 | 1 |  | 0 |  | 0
4 Cup carrier Tray Case x 180 | Case x 180 | 1 |  | 0 |  | 0
Cleaning
Urnex Cleaning tablets Case x 100 or equivalent product | Case x 100 | 27 |  | 0 |  | 0
Urnex Cleaning fluid milk 1 x 1 lts or equivalent product | 1 x 1 lts | 49 |  | 0 |  | 0
Juices
Orange Juice Case x 12 x 1 lts | Case x 12 x 1 lts | 96 |  | 0 |  | 0
Apple Juice Case x 12 x 1 lts | Case x 12 x 1 lts | 9 |  | 0 |  | 0
Cranberry Juice Case x 12 x 1 lts | Case x 12 x 1 lts | 9 |  | 0 |  | 0
Loyalty Cards Pack x 1000 FOC | Pack x 100 |  |  | 0 |  | 0
Coffee stampers Each FOC | Each |  |  | 0 |  | 0
TOTAL € excl VAT (Carry forward to Form of Tender) | [5 empty] | 0
Notes: Tenderers must inset their unit cost for each of the component types in the yellow boxes. Tenderers must inset their product manufacturer and Code for each of the products in the green boxes. No Cells must be left Blank. Any yellow cell that is left blank may be assigned the greatest value for that particular component supplied by other tenderers. All other cells should remain unchanged, the sub-totals and totals will automatically calculate. The overall total is to be carried forward and entered as a lump sum on the form of Tender. tenderers that are admitted to a goods contract are not permitted to exceed the tendered unit cost for the respective component types for the first 12 months of the start date. The above list of products are a notional bundle assembled for the purposes of the tender evaluation. Tenderers should note that no contract for goods will be entered into based on this tender and tenders submitted will be evaluated solely for the purposes of establishing the MEAT tenderers for the admission to the framework. Please include official business name and confirm that all categories of items will be supplied. On completion of Document please save as PDF and sign accordingly. Where specifications include reference to manufacturer (i.e. Alpro, Goldblend & Urnex ) or brand names this is a result of difficulties in specifying the product required. In these instances the phrase “or equivalent” is inferred.

## Sheet2 (hidden)
Column1 | Column2 | Column3 | Column4 | Column5
Dublin Electrical Wholesalers (18 Months of Data) | [5 empty] | Notes;
Item Code: | Description | Quantity | Unit | Net Value |  | We need to look at WEEE charges.
604050 | 5 METRE PATCH LEAD CAT6 1.00 9.4500 5 8.98 | 1 | no. | 9 |  | Some adHoc Carriage charges we need to be aware of.
14T5865 | FLUORESCENT TUBE T5 14W/865 | 90 | no. | 40 |  | Our tender assesement will be heavily weighted towards high volume items.
DX4 | XPELAIR FAN 4 INCH STANDARD 90836BP | 2 | no. | 56
A8 | METRES OF 8 CORE ALARM CABLE | 100 | m | 31
SOLOT11101030A | VENT AXIA SOLO T FAN CENTRIFUGAL | 3 | no. | 656
22176408 | TRIDONIC PC 1/2X26-42 TC PRO | 8 | no. | 454
87500087 | TRIDONIC TIMED IGNITOR ZRM4.5 / 35-400W | 2 | no. | 56
PT2 | LENGTH OF PVC TRUNKING 50X50 | 1 | no. | 16
EMR22 | EMERGENCY MODULAR RECESSED 2X2 FITTING L/L | 6 | no. | 852
188 | FLUORESCENT TUBE 18W/840 TRI-PHOSPHEROUS | 24 | no. | 82
HFR21435TL5 | PHILIPS BALLAST HFR 214-25 TL5 | 2 | no. | 132
124170 | CELLPACK JOINT KIT 4X10 - 4X25MM M12 | 1 | no. | 33
124169 | CELLPACK JOINT KIT 4X4 -4X10MM M11 | 1 | no. | 23
EL2X58NGN | HELVAR BALLAST HF ELECTRONIC BALLAST 2X58 | 4 | no. | 150
22176410 | TRIDONIC PC 2X26-42 TC PRO | 4 | no. | 150
ESSB1 | ESSB1-1GANG BOX | 6 | no. | 20
9504 | METRES OF 4PR SCREENED CABLE 9504 | 100 | m | 130
CCN52 | METRES OF NYM CABLE 5x2.5sq | 25 | m | 58
3CTK | LENGTH OF 3 COMPARTMENT TRUNKING PVC | 2 | no. | 95
3CSE | 3 COMPARTMENT STOP END | 1 | no. | 3
ESSB2 | ESSB2-2GANG BOX | 2 | no. | 8
ESSB1 | ESSB1-1GANG BOX | 2 | no. | 6
C05 | CLEAT CC10-11 | 5 | no. | 10
NSF3 | NEOZ SWITCH FUSE THREE POLE | 5 | no. | 53
N50 | NEOZ FUSE 50 AMP | 5 | no. | 5
3CI | 3 COMPARTMENT BEND INTERNAL | 3 | no. | 42
3CO | 3 COMPARTMENT BEND OUTSIDE | 3 | no. | 43
3CTK | LENGTH OF 3 COMPARTMENT TRUNKING PVC | 3 | no. | 142
ESSB2 | ESSB2-2GANG BOX | 4 | no. | 16
ESSB1 | ESSB1-1GANG BOX | 3 | no. | 9
3CJ | 3 COMPARTMENT JOINER | 2 | no. | 4
3CSE | 3 COMPARTMENT STOP END | 2 | no. | 5
CCSY52 | METRES OF SYLFLEX CABLE 5x2.5 sq | 4 | m | 15
GX6 | XPELAIR 6 INCH FAN 90800AW | 1 | no. | 132
A20 | METRES OF ADAPTAFLEX 20mm | 6 | m | 11
AG20 | ADAPTAFLEX GLAND 20mm | 4 | no. | 9
LSP20M20A | METRES OF KOPEX 20mm | 5 | m | 23
LSP20M20A | KOPEX GLAND 20MM | 6 | no. | 24
LN | LOCK NUT 20mm | 6 | no. | 1
BS3 | 2G SINGLE SIDED BENCH BOX METAL | 3 | no. | 117
XL9147 | DIMPLEX PANEL SWITCH | 1 | no. | 25
103 | KEW TECHNIK TESTER 103 | 1 | no. | 25
LRD06 | SCHNEIDER OVERLOAD 1 - 1.6 AMP | 1 | no. | 43
LC1D09P7 | SCHNEIDER CONTACTOR 220V LC1D09P7 | 1 | no. | 37
CFLGX9 | EBRITE 9W GX53 CFLi WW | 6 | no. | 68
22176408 | TRIDONIC PC 1/2X26-42 TC PRO | 6 | no. | 340
LC1D12P7 | CONTACTOR 230V SCHNEIDER | 1 | no. | 46
LRD08 | SCHNEIDER OVERLOAD 2.5 - 4 AMP | 1 | no. | 45
LADN22 | SCHNEIDER CONTACT BLOCK 2 NO & 2 NC | 1 | no. | 15
910504091403 | PHILIPS POWER BALANCE SURFACE LED | 38 | no. | 11400
22185218 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 1 | no. | 38
D3001 | FRIEDLAND WIREFREE CHIME | 1 | no. | 60
B2C | BATTERY 2 CELL | 6 | no. | 106
CCS32 | METRES OF SWA CABLE 3X2.5sq | 20 | no. | 50
20BWS | GLAND SWA 20MMs TERMINATION | 2 | no. | 5
ESSB1 | ESSB1-1GANG BOX | 5 | no. | 15
K1040 | MK SWITCHED SPUR | 5 | no. | 70
ESSB2 | ESSB2-2GANG BOX | 12 | no. | 50
K2747 | MK 2GANG SWITCHED SOCKET | 12 | no. | 106
N32 | METRES OF NYM CABLE 3X2.5sq | 200 | m | 187
MT2 | MTSPS2 4X2 2GANG GRID FRAME | 6 | no. | 21
ABBA123010 | ABB CONTACTOR 230V | 1 | no. | 49
22185217 | TRIDONIC PC 2X36 T8 PRO SI BALLAST | 10 | no. | 380
PT2 | LENGTH OF PVC TRUNKING 50X50 | 1 | no. | 17
EOD2G | ECLIPSE TWIN SOCKET OUTDOOR IP65 | 1 | no. | 47
CCN52 | METRES OF NYM CABLE 5x2.5sq | 15 | no. | 34
G20 | GLAND PVC 20MM | 2 | no. | 3
643 | ENCLOSURE 150X110X70 PVC | 1 | no. | 11
XL9147 | DIMPLEX PANEL SWITCH | 3 | no. | 74
SP | ROCKER SWITCH DPST ON OFF16A-4406929 | 4 | no. | 83
PLX3000 | PANEL HEATER PLX3000 | 1 | no. | 180
FLUC | METRES OF FLUORESCENT CABLE | 100 | m | 91
13975 | 3 MODULAR ENCLOSURE+DOOR SCHNEIDER | 2 | no. | 47
22176408 | TRIDONIC PC 1/2X26-42 TC PRO | 5 | no. | 284
32661 | CONNEKT GEAR 2G MULTI SOCKET USB 2 PORT | 1 | no. | 24
13975 | 3 MODULAR ENCLOSURE+DOOR SCHNEIDER | 1 | no. | 23
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 4 | no. | 455
EL2X1435NGN | HELVAR 2X14-35 T5 BALLAST | 16 | no. | 564
EL3414 | HELVAR BALLAST HF ELECTRONIC 3/ 4 x14 | 3 | no. | 113
VF601 | 24V DC DOOR RETAINER | 1 | no. | 70
ELT10 | CENTRAL TEST UNIT ELT10 | 1 | no. | 104
CRNLED100 | CESCO LED HI OUTPUT CORN LIGHT 100W E40 6500K | 1 | no. | 166
S8705 | ENERGIZER LED GLS 9.2W E27 806LM WARM WHITE | 1 | no. | 13
248856 | EATON CONTACTOR 63 AMP 4-POLE N/O | 1 | no. | 75
CCSY52 | METRES OF SYLFLEX CABLE 5x2.5 sq | 15 | no. | 56
G25 | GLAND PVC 25MM | 4 | no. | 7
2011 | LOW VOLTAGE MR11 DICHROIC LAMP 12V 20W | 10 | no. | 40
I32 | ISOLATOR SURFACE 3-PHASE 32 AMP | 1 | no. | 46
3322P | 3PIN 32AMP 240V PLUG | 1 | no. | 18
3322S | 3PIN 32AMP 240V WALL MOUNTED SOCKET | 1 | no. | 15
22185218 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 2 | no. | 75
LPEXISO01 | VENTILUX EMERGENCY EXIT LEGEND LEFT ARROW | 6 | no. | 63
LPEXISO03 | VENTILUX EMERGENCY EXIT LEGEND RIGHT ARROW | 6 | no. | 63
CT12D | 12 MODULAR ENCLOSURE+DOOR | 1 | no. | 41
242477 | EATON MCB 3-POLE 32 AMP C TYPE | 1 | no. | 55
242474 | EATON MCB 3-POLE 16 AMP "C" CURVE | 2 | no. | 111
MCB10 | MCB SINGLE POLE 10AMP | 2 | no. | 17
193T1AB20 | ALLEN BRADLEY OVERLOAD 1.4-2AMP | 1 | no. | 60
CCSY52 | METRES OF SYLFLEX CABLE 5x2.5 sq | 5 | no. | 19
CCS56 | METRES OF SWA CABLE 5x6sq | 15 | no. | 84
CCN36 | METRES OF NYM CABLE 3X6sq | 14 | no. | 40
SE | STOP END 20mm | 15 | no. | 25
C440 | CONTACTOR 40 AMP 4-POLE N/O | 1 | no. | 66
23802 | FLASH 23802 TIMECLOCK | 1 | no. | 88
AC7 | FIRETUFF CLIP AC7 | 12 | no. | 5
CT8D | 8 MODULAR ENCLOSURE+DOOR | 1 | no. | 33
QC8 | QC8 CLEAT 20.3MM | 20 | no. | 11
25BW | GLAND SWA 25MM BW | 2 | no. | 8
9502 | METRES OF 2PR SCREENED CABLE 9502 | 300 | m | 230
SP | 100 AMP PANEL MOUNTED ISOLATOR | 1 | no. | 122
CRNLED100 | CESCO LED HI OUTPUT CORN LIGHT 100W E40 6500K | 1 | no. | 166
E40P | PORCELAIN E40 LAMPHOLDER | 1 | no. | 19
3162P | 3PIN 16AMP 240V PLUG | 2 | no. | 11
UB2166 | 16A 3PIN INTERLOCKED SWD | 1 | no. | 85
K3710 | M3.5 EXTENSION STUD | 100 | m | 112
EL3414 | HELVAR BALLAST HF ELECTRONIC 3/ 4 x14 | 2 | no. | 75
ELT10 | CENTRAL TEST UNIT ELT10 | 3 | no. | 110
EL3414 | HELVAR BALLAST HF ELECTRONIC 3/ 4 x14 | 2 | no. | 75
ELT10 | CENTRAL TEST UNIT ELT10 | 3 | no. | 313
22185227 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 3 | no. | 112
RCBO10 | RCBO 10 AMP | 1 | no. | 41
ESSB1 | ESSB1-1GANG BOX | 2 | no. | 3
K4817 | MK TELEPHONE SOCKET | 2 | no. | 12
BCAT5 | BOX OF CAT5-E CABLE (305 MTS PER BOX ) | 1 | no. | 79
H0049 | POWER MASTER RUBBER 2 GANG SOCKET | 10 | no. | 60
SP | GREEEN LARGE PUSH RELEASE C24RTESSD | 1 | no. | 47
SP | 10MT ICE WHITE LED LIGHTS RUBBER CABLE | 2 | no. | 107
GM114 | GARO METAL BOARD 1X14WAY ( 14 MOD ) | 1 | no. | 113
GBSP312511 | GARO NHOO FUSE BOX ONLY METAL | 1 | no. | 218
BFO | FLANGE SIZE 1 | 2 | no. | 9
NHOO50 | NHOO FUSE 50 AMP | 3 | no. | 16
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 2 | no. | 227
SOLOT11101030A | VENT AXIA SOLO T FAN CENTRIFUGAL | 2 | no. | 437
PLX1000 | PANEL HEATER PLX1000 | 1 | no. | 123
L108 | LUGS 10sqx 8mm HOLE | 100 | no. | 56
9137130283 | PHILIPS HF-P 254/255 TL5 ELECT BALLAST | 2 | no. | 75
GT2 | LENGTH OF TRUNKING 2X2 GALVANISED | 2 | no. | 53
32BW | GLAND SWA 32MM BW | 2 | no. | 13
S516 | METRES OF SWA CABLE 5x16sq | 25 | no. | 307
86457897 | TRIDONIC 35W HI BALLAST | 1 | no. | 66
86458600 | TRIDONIC 20W HI BALLAST | 1 | no. | 63
ECP5T | EMERGENCY CORROSIVE PROOF 5FT TWIN C/W LAMPS | 1 | no. | 149
R208SC01 | DOWNLIGHT DIRECTIONAL WHITE GU10 | 6 | no. | 51
R50GU10DWW | ROBUS GU10 LED LAMP 5W 3000K DIMMABLE | 6 | no. | 73
CO | COFFIN OBO BOX | 6 | no. | 16
22185218 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 2 | no. | 75
87500087 | TRIDONIC TIMED IGNITOR ZRM4.5 / 35-400W | 1 | no. | 28
Z0327M49 | M6 MILD STEEL WING NUT | 200 | no. | 73
G12LH | G12 LAMPHOLDER | 2 | no. | 27
SP | GEL SHEET GREEN | 1 | no. | 19
CYBD30 | THORSMANN 2G PVC DADO FLUSH BOX | 5 | no. | 38
CYBD29 | THORSMANN 1G PVC DADO FLUSH BOX | 5 | no. | 37
SP | GEL SHEET GREEN | 2 | no. | 38
HZM3LEDCH013 | VENTILUX MNT LED HANGING BLADE CHROME | 1 | no. | 76
QT254 | OSRAM BALLAST QT 2X54W | 8 | no. | 267
C2O | CONTACTOR 20 AMP 2-POLE N/O | 1 | no. | 32
C4O | CONTACTOR 24 AMP 4-POLE N/O | 1 | no. | 37
QTP2X1840 | QUICKTRONIC QTP OPTIMAL 2X18-40 | 2 | no. | 66
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 1 | no. | 113
HFM426 | VENTILUX HFM426 INVERTER | 4 | no. | 224
PLX3000 | PANEL HEATER PLX3000 | 1 | no. | 180
MLS80 | BAG BALLAST HF 1X80W MLS80 | 8 | no. | 453
QTP2X1840 | QUICKTRONIC QTP OPTIMAL 2X18-40 | 2 | no. | 66
CCS310 | METRES OF SWA CABLE 3X10sq | 6 | no. | 34
20BW | GLAND SWA 20MM BW TERMINATION | 2 | no. | 5
NSF | NEOZ SWITCH FUSE SINGLE POLE | 1 | no. | 20
N63 | NEOZ FUSE 63 AMP | 1 | no. | 2
MCB50 | MCB SINGLE POLE 50 AMP | 1 | no. | 15
SAK16 | SAK CONNECTOR 16sq | 4 | no. | 16
BAT620 | BATTERY 6V 20AMP HOUR | 2 | no. | 152
EL1X54SC | HELVAR BALLAST HF DIMMABLE 1X54SC | 2 | no. | 113
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 1 | no. | 113
C4O | CONTACTOR 24 AMP 4-POLE N/O | 1 | no. | 37
CCS56 | METRES OF SWA CABLE 5x6sq | 12 | no. | 67
25BW | GLAND SWA 25MM BW | 2 | no. | 8
15011070 | ENCLOSURE 150X110X70 PVC P5 PEMCO | 1 | no. | 11
96241698 | THORN OMEGA2 4X14W RECESSED FTG CWL | 1 | no. | 85
4I | LENGTH OF CABLE TRAY 4 INCH | 3 | no. | 64
SOB4 | CABLE TRAY STAND OF BRACKET 4 INCH | 10 | no. | 31
Y4062U2A | PEMCO 2G MULTI SOCKET USB 2 PORT | 4 | no. | 96
F4 | FAN 4 INCH | 2 | no. | 57
SP | ELMDENE EXIT ALARM X12D | 1 | no. | 170
SP | 12V DOOR BUZZER | 1 | no. | 9
22185156 | TRIDONIC BALLAST 2X54 T5 PRO | 5 | no. | 188
3322S | 3PIN 32AMP 240V WALL MOUNTED SOCKET | 1 | no. | 15
22176408 | TRIDONIC PC 1/2X26-42 TC PRO | 2 | no. | 113.32
CHH88020MA | CESC LED DRIVER 100-240V INPUT - 56VDC | 1 | no. | 38
GZSH | SHOWER DOWNLIGHT WHITE GU10 DROP GLASS 80MM | 4 | no. | 19
S8824 | ENERGIZER LED GU10 5W 350LM WARM WHITE **** | 4 | no. | 49
E2163223 | GARO 25A RCBO B CURVE 1 MOD | 3 | no. | 122
O | OBO BOX | 2 | no. | 6
FSM1 | FLOOR SOCKET 1GANG MCO | 2 | no. | 117
427478B | VENT AXIA TIMER SOLO T FAN 427478b | 1 | no. | 189
22176094 | TRIDONIC PC 1X58 T8 PRO BALLAST | 2 | no. | 57
TDL18WLED | TEGRAL 18W PL LED FTG C/W DRIVER | 1 | no. | 67
AA | BATTERY AA * | 3 | no. | 2.91
FDC515N | HONEYWELL WIRELESS DOORBELL C/W HALO 150M | 1 | no. | 69
SOLOT11101030A | VENT AXIA SOLO T FAN CENTRIFUGAL | 1 | no. | 218
16453500 | DISANO CORR PROOF FTG 2X58W HF CWL | 6 | no. | 60
POLEMCB | POLESTAR MCB SP 6 - 40 AMP | 1 | no. | 23
WBHLEDM | PROFILE MNT LED BULKHEAD | 1 | no. | 42
K4893 | MK MODULE SWITCH 20 AMP INTERMEDIATE | 2 | no. | 23
188618 | VOSSLOH BALLAST 2X54W | 6 | no. | 340
MPL3 | MPL3 LED DRIVER 3X1W | 6 | no. | 267
HL16WW | 3X1W 350MA WARM WHITE LED | 6 | no. | 796
22176408 | TRIDONIC PC 1/2X26-42 TC PRO | 6 | no. | 340
K3636 | MK 6 MODULE PLATE | 1 | no. | 7.5
K4880 | MK MODULE BLANK | 3 | no. | 8.5
K4892 | MK MODULE SWITCH 20 AMP 2 WAY | 3 | no. | 21.5
K3703 | MK 3GANG ALM GRID | 2 | no. | 7.5
S4040 | LENGTH OF SELF ADHESIVE TRUNKING 40X40 | 2 | no. | 15.9
CT4D | 4 MODULAR ENCLOSURE+DOOR | 5 | no. | 23.7
120677 | EATON RCBO C20 AMP 3 PHASE & NEUTRAL 30MA | 5 | no. | 112.29
LN | LOCK NUT 20mm | 8 | no. | 2.2
LSP20M20A | METRES OF KOPEX 20mm | 16 | no. | 90
LSP20 | KOPEX GLAND 20MM | 8 | no. | 32
F4 | FAN 4 INCH | 1 | no. | 28.2
9502 | METRES OF 2PR SCREENED CABLE 9502 | 100 | m | 81
22176407 | TRIDONIC PC 1/2X18 TC PRO | 4 | no. | 132
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 3 | no. | 341
T51X28 | TEGRAL CORROSIVE FTG 4FT SINGLE 1X28W CWL | 10 | no. | 497
550230 | TCB 32X5MM 1MT THREADED BUSBAR | 1 | no. | 130
DB35PM6 | 35.5MM INSULATOR | 6 | no. | 39
22185227 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 2 | no. | 75
10050999 | BAG BALLAST HF T8 3/4/ X 18W | 2 | no. | 85
WBHLEDM | PROFILE MNT LED BULKHEAD | 1 | no. | 42
22185227 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 4 | no. | 150
22185227 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 5 | no. | 188
CT6D | 6 MODULAR ENCLOSURE+DOOR | 1 | no. | 31
DCTU | CENTRAL TEST UNIT DIN RAIL DCTU | 1 | no. | 104
C4C | CONTACTOR 25 AMP 4-POLE N/C | 1 | no. | 31
ZEXM3LED2 | VENTILUX LED DOUBLE SIDED EXIT SIGN | 3 | no. | 450
LPEXISO03 | VENTILUX EMERGENCY EXIT LEGEND RIGHT ARROW | 3 | no. | 31
LPEXISO03 | VENTILUX EMERGENCY EXIT LEGEND RIGHT ARROW | 3 | no. | 31
22185087 | TRIDONIC 2x28W SMART BALLAST | 2 | no. | 166
MSC15 | FAN SPEED CONTROL 1.5AMP SINGLE PHASE | 1 | no. | 66
22176410 | TRIDONIC PC 2X26-42 TC PRO | 4 | no. | 150
248848 | EATON CONTACTOR 24 AMP 4-POLE N/C | 1 | no. | 31
NCPS | NURSE CALL PULL SWITCH RED | 1 | no. | 23
CCS516 | METRES OF SWA CABLE 5x16sq | 22 | m | 270
25BW | GLAND SWA 25MM BW | 2 | no. | 8.5
L168 | LUGS 16sq x 8mm HOLE | 10 | no. | 6
NC807C | CEILING PULL UNIT, NO ON BOARD RESET | 1 | no. | 28
S516 | METRES OF SWA CABLE 5x16sq | 32 | m | 393
25BW | GLAND SWA 25MM BW | 2 | no. | 9
NSF3 | NEOZ SWITCH FUSE THREE POLE | 1 | no. | 53
N63 | NEOZ FUSE 63 AMP | 3 | no. | 9
13442 | 6 MODULAR ENCLOSURE+DOOR KAEDRA IP65 | 1 | no. | 34
WXPSS82 | HAGER TWIN SOCKET OUTDOOR | 1 | no. | 47
ELT10 | CENTRAL TEST UNIT ELT10 | 1 | no. | 110
447492 | VENT AXIA MAN250M CENTRIFUGAL FAN | 1 | no. | 129
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 1 | no. | 113
563P | 5PIN 63AMP 380V PLUG | 2 | no. | 123
248847 | CONTACTOR 24 AMP 4-POLE N/O | 1 | no. | 37
R201SC01 | ROBUS DOWNLIGHT GU10 WHITE | 4 | no. | 40
S8824 | ENERGIZER LED GU10 5W 350LM WARM WHITE **** | 4 | no. | 50
583120 | CALEX PAR38 20W WARM WHITE | 6 | no. | 113
ODH3 | ATC SUNRAY 3KW OVER DOOR HEATER & REMOTE CONT | 1 | no. | 183
CO | COFFIN OBO BOX | 14 | no. | 40
S15 | STRIP CONNECTOR 15 AMP | 4 | no. | 7.5
CO | COFFIN OBO BOX | 4 | no. | 11.21
SGLSDIME27WW | SOURCE 10W E27 A60 LED DIMMABLE WARM WHITE | 9 | no. | 127
7204 | STEINEL PIR IS7204 | 1 | no. | 87
7204 | STEINEL PIR IS7204 | 1 | no. | 87
R201SC01 | ROBUS DOWNLIGHT GU10 WHITE | 7 | no. | 65
S8824 | ENERGIZER LED GU10 5W 350LM WARM WHITE **** | 7 | no. | 86
CO | COFFIN OBO BOX | 7 | no. | 19
22176408 | TRIDONIC PC 1/2X26-42 TC PRO | 2 | no. | 113
HFP21435TL5 | PHILIPS BALLAST 2X14-35W TL5 HF | 2 | no. | 75
QTPTE1X182X18 | QUICKTRONIC QTP TE 1X18,2X18 | 9 | no. | 338
D3203 | FRIEDLAND LED BELL PUSH | 1 | no. | 21
74172 | GE MERCURY MBFU LAMP 80W | 1 | no. | 19
B414 | BALLAST HF 4X14W T5 | 2 | no. | 75
K3434 | MK BRC PLATE 4GANG | 2 | no. | 20
K3704 | MK 4GANG ALM GRID | 2 | no. | 3
K4898 | MK MODULE SWITCH 20 AMP KEY SW 2 WAY | 6 | no. | 11
K4892 | MK MODULE SWITCH 20 AMP 2 WAY | 4 | no. | 7.5
92196 | LUXOMAT 92196 OCCUPANCY DETECTOR | 1 | no. | 85
EL2X58NGN | HELVAR BALLAST HF ELECTRONIC BALLAST 2X58 | 2 | no. | 75
TDL8WLED83 | TEGRAL 8W/830 PL LED FTG C/W DRIVER | 1 | no. | 55
MT2 | MTSPS2 4X2 2GANG GRID FRAME | 4 | no. | 13
MT1 | MTSPS1 4X2 1GANG GRID FRAME | 2 | no. | 6
PCR2000 | HAGER CEILING ROSE 3 PIN | 2 | no. | 13
CR64AX | HAGER CEILING ROSE 4 PIN EMERGENCY | 2 | no. | 20
R100LEDE01SEN | ROBUS 10W LED GOLF SENSOR & EMERGENCY | 2 | no. | 285
E12 | QUEST 40W E12 CANDLE LAMP | 12 | no. | 55
PSD220R | DG BEACON 230V RED PULSED FLASHING | 1 | no. | 56
70DE | METAL HALIDE LAMP DOUBLE ENDED 70W | 24 | no. | 454
PNL66LED | CESC LED PANEL 600X600MM 45W 4000K | 4 | no. | 338
RSWP44C00 | ROBUS SWIFT 4 PIN CONNECTOR | 4 | no. | 15
WXPSS82 | HAGER TWIN SOCKET OUTDOOR | 1 | no. | 47
QTPTE1/2X18 | OSRAM BALLAST QTP-TE 1/2X18W 2X36W | 20 | no. | 760
PT1 | EXCEL GREY PEDESTAL TWIN 1 SIDED BOX | 1 | no. | 34
K3369 | MK 2GANG ALM BLANK | 1 | no. | 4
CS2 | CHROME SOCKET SWITCHED 2GANG | 1 | no. | 18
3322C | 3PIN 32AMP 240V COUPLER | 1 | no. | 22
25BW | GLAND SWA 25MM BW | 2 | no. | 8
516P | 5PIN 16AMP 380V PLUG | 1 | no. | 11
LRD08 | SCHNEIDER OVERLOAD 2.5 - 4 AMP | 1 | no. | 45
LE1D12P7 | SCHNEIDER STARTER 220V | 1 | no. | 75
5016 | LOW VOLTAGE MR16 DICHROIC LAMP 12V 50W | 4 | no. | 12
ELT10 | CENTRAL TEST UNIT ELT10 | 1 | no. | 104
R100LEDESENS | ROBUS 10W LED EMERGENCY & SENSOR & BODY | 1 | no. | 142
18600 | SDS 18X600mm | 1 | no. | 28
SP | ELECTROAUMATION HOA KEY SWITCH | 1 | no. | 113
SOLOT11101030A | VENT AXIA SOLO T FAN CENTRIFUGAL | 2 | no. | 437
2011 | LOW VOLTAGE MR11 DICHROIC LAMP 12V 20W | 12 | no. | 47
COMCW230A | MANROSE 9" WALL FAN C/W SHUTTERS | 1 | no. | 170
COMTSCVR | MANROSE CONTROLLER REVERSIBLE 9+12" FAN | 1 | no. | 85
2AC | FLUKE VOLT ALERT 2AC-E2 | 2 | no. | 60
C20375 | LENGTH OF CONDUIT 20mm GALVANISED (3.75 MTR) | 16 | no. | 136
PCR2000 | HAGER CEILING ROSE 3 PIN | 3 | no. | 19
K3591 | MK 1GANG SWITCH ALM | 1 | no. | 10
48999400 | PHILIPS MASTER LED 8W SPOT MR16 50W 27K | 4 | no. | 93
22176218 | TRIDONIC PC 2X36 T8 PRO A2 BALLAST | 2 | no. | 75
Y4062U2A | PEMCO 2G MULTI SOCKET USB 2 PORT | 1 | no. | 24
RFA0505504 | ROBUS FALCON 50W LED WALL LIGHT IP65 | 4 | no. | 638
N52 | METRES OF NYM CABLE 5x2.5sq | 100 | m | 132
CR64AX | HAGER CEILING ROSE 4 PIN EMERGENCY | 6 | no. | 62
PCR2000 | HAGER CEILING ROSE 3 PIN | 3 | no. | 19
ER25 | EXTENSION RING 25mm GALVANISED | 11 | no. | 30
GUB | U BOX 20mm GALVANISED | 10 | no. | 37
516S | 5PIN 16AMP 380V WALL MOUNTED SOCKET | 1 | no. | 15
9508 | METRES OF 8PR SCREENED CABLE 9508 | 80 | no. | 224
89800177 | TRIDONIC EMPOWER LED 15W CLE CPS DRIVER | 1 | no. | 59
ESSB2 | ESSB2-2GANG BOX | 6 | no. | 24
E2163222 | GARO 20A RCBO B CURVE 1 MOD | 1 | no. | 42
SFL50W | SOURCE 50W LED FLOODLIGHT 85 - 265V | 2 | no. | 246
P5 | PLUG 3PIN 5 AMP | 2 | no. | 6
PL284B | CED BRASS PICTURE LIGHT 40W | 1 | no. | 66
S9218 | ENERGIZER S15 STRIP TUBE 5.5W WW | 2 | no. | 37
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 1 | no. | 113
WXPSS82 | HAGER TWIN SOCKET OUTDOOR | 1 | no. | 48
8622 | EXTENSION REEL 50MTR 2GANG 240V | 1 | no. | 67
FDC515NBS | HONEYWELL WIRELESS DOORBELL CUBE 150M | 1 | no. | 75
FDCP311 | HONEYWELL WIRELESS PUSHBUTTON LED WHITE | 1 | no. | 27
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 1 | no. | 113
248856 | EATON CONTACTOR 63 AMP 4-POLE N/O | 1 | no. | 170
DR | LENGTH OF DIN RAIL | 1 | no. | 13
7204 | STEINEL PIR IS7204 | 1 | no. | 87
NHOO | NHOO FUSE 2-100 AMP | 9 | no. | 50
RLEDSTR3W | ROBUS 3W LED STRIPLIGHT 275MM | 1 | no. | 38
RLEDSTR14W | ROBUS 14W LED STRIPLIGHT 815MM | 2 | no. | 69
PLH | PORCELAIN LAMPHOLDER | 4 | no. | 26
LR2K0310 | SCHNEIDER OVERLOAD 2.6 - 3.7 AMP | 1 | no. | 44
MCB32 | MCB SINGLE POLE 32AMP | 1 | no. | 8.5
I63 | ISOLATOR SURFACE 3-PHASE 63 AMP | 1 | no. | 66
22176215 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 1 | no. | 40
7204 | STEINEL PIR IS7204 | 2 | no. | 170
3322P | 3PIN 32AMP 240V PLUG | 1 | no. | 18
3322S | 3PIN 32AMP 240V WALL MOUNTED SOCKET | 1 | no. | 15
3322C | 3PIN 32AMP 240V COUPLER | 1 | no. | 22
7204 | STEINEL PIR IS7204 | 1 | no. | 86
LR2K0310 | SCHNEIDER OVERLOAD 2.6 - 3.7 AMP | 1 | no. | 44
CP5T | CORROSIVE PROOF FTG 5FT TWIN C/W LAMPS | 2 | no. | 105
PCR2000 | HAGER CEILING ROSE 3 PIN | 10 | no. | 66
CR64AX | HAGER CEILING ROSE 4 PIN EMERGENCY | 6 | no. | 62
RRP14 | PDU 1U 19" 4WAY ABS BLOCK | 2 | no. | 86
22185156 | TRIDONIC BALLAST 2X54 T5 PRO | 2 | no. | 75
E40P | PORCELAIN E40 LAMPHOLDER | 4 | no. | 72
2D55 | 2D 55W 4PIN LAMP GE | 12 | no. | 250
SP | CRABTREE POLESTAR 32A SP MCB | 2 | no. | 36
WXPSS82 | HAGER TWIN SOCKET OUTDOOR | 2 | no. | 94
CCPF16 | METRES OF PANEL FLEX 16sq | 5 | m | 16
CCN56 | METRES OF NYM CABLE 5x6sq | 25 | m | 117
516S | 5PIN 16AMP 380V WALL MOUNTED SOCKET | 1 | no. | 14
532S | 5PIN 32AMP 380V WALL MOUNTED SOCKET | 1 | no. | 16
167508 | EATON RCBO C32 AMP 3 PHASE & NEUTRAL 30MA | 1 | no. | 112
MCP3A | BREAKGLASS GREEN RE-SETTABLE | 1 | no. | 35
PP158 | BATTEN FITTING SINGLE 5FT C/W LAMP | 5 | no. | 142
LPS100WHFR | PHILIPS HFR DIMMER WHITE LRD9211/00 | 1 | no. | 75
RSA0640 | ROBUS SABRE 6W T8 LED FTG 4000K 300MM | 1 | no. | 33
SP | EU1230SS UPLIGHTER | 1 | no. | 115
SP | SIN62647 & SIN59145 | 1 | no. | 0
601598 | 2.5 X 6MM RING LUGS BLUE INSULATED | 1 | no. | 200
601585 | 1.5 X 5MM RING LUGS RED INSULATED | 1 | no. | 100
E40P | PORCELAIN E40 LAMPHOLDER | 3 | no. | 54
PLH | PORCELAIN LAMPHOLDER | 4 | no. | 26
HFP254TL5 | 2x54W TL5 2X55W PLL PERFORMER BALLAST | 2 | no. | 75
9502 | METRES OF 2PR SCREENED CABLE 9502 | 100 | m | 75
ESSB2 | ESSB2-2GANG BOX | 5 | no. | 20
4443 | EXTENSION LEAD 4GANG 5MTR | 1 | no. | 16
3162P | 3PIN 16AMP 240V PLUG | 2 | no. | 11
3162S | 3PIN 16AMP 240V WALL MOUNTED SOCKET | 2 | no. | 24
400ST | SON-T LAMP 400W | 1 | no. | 35
25363 | K150 XL SILEO CIRC DUCT FAN | 4 | no. | 568
L106 | LUGS 10sqx 6mm HOLE | 10 | no. | 5.6
L108 | LUGS 10sqx 8mm HOLE | 10 | no. | 5.6
10L | GU10 LAMP HOLDER | 8 | no. | 22
IE24 | IMMERSION ELEMENT 24 INCH | 1 | no. | 37
FT215 | METRES OF FIRETUFF CABLE 2X1.5sq | 100 | m | 113
PCR2000 | HAGER CEILING ROSE 3 PIN | 10 | no. | 66
22176215 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 3 | no. | 112
83378 | DIMPLEX RED NEON ROCKER SWITCH | 4 | no. | 83
ZSC6LEDNM3 | VENTILUX SILVER NMT EMERGENCY TWIN SPOT LED | 1 | no. | 229
C2C | EATON CONTACTOR 20 AMP 2-POLE N/C | 1 | no. | 35
265193 | EATON CONTACTOR 20 AMP 2-POLE N/O | 1 | no. | 31
22185218 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 2 | no. | 75
22185216 | TRIDONI BALLAST HF 2X18W T8 PRO | 2 | no. | 62
22088943 | TRIDONIC PC 2/26/32 TCT PRO | 2 | no. | 95
756336 | HR2 Cable Ramp with 3 channels and lid 960mm | 10 | no. | 850
MCB10 | MCB SINGLE POLE 10AMP | 7 | no. | 59
BBT | BUSBAR THREE POLE | 1 | no. | 42
POLEMCB3 | POLESTAR MCB SP 6 - 63 AMP TRIPLE POLE | 1 | no. | 75
CT6 | 6 MODULAR ENCLOSURE | 1 | no. | 17
MCB310 | MCB 3-POLE 10 AMP | 1 | no. | 55
CCPF10 | METRES OF PANEL FLEX 10sq | 5 | no. | 9
K3706 | MK 6GANG ALM GRID | 3 | no. | 16
K4882 | MK MODULE SWITCH 10 AMP 2 WAY | 14 | no. | 60
K4880 | MK MODULE BLANK | 4 | no. | 11
K3508 | MK ALM PLATE 18GANG | 1 | no. | 25
K8898 | MK 18GANG ALM BOX | 1 | no. | 21
RFA0505504 | ROBUS FALCON 50W LED WALL LIGHT IP65 | 1 | no. | 159
7204 | STEINEL PIR IS7204 | 1 | no. | 86
NN6 | NYLON M6 NUT | 100 | no. | 46
NR6 | LENGTH OF 6mm ROD NYLON X 1MT | 2 | no. | 45
PAX3 | GREY PAXOLENE SHEET 3FT X 3FT | 1 | no. | 37
22185154 | TRIDONIC PC 2X49 T5 PRO BALLAST | 2 | no. | 40
G50 | GLAND PVC 50MM | 2 | no. | 11
G40 | GLAND PVC 40MM | 2 | no. | 10
CT6 | 6 MODULAR ENCLOSURE | 1 | no. | 17
248847 | CONTACTOR 24 AMP 4-POLE N/O | 3 | no. | 93
UB4636 | 5PIN 63AMP 380V ISOLATOR SOCKET UB4463-6 | 1 | no. | 94
CO | COFFIN OBO BOX | 20 | no. | 56
BG20 | GROMMET BLIND 20mm | 100 | no. | 37
HI11 | EATON AUXILLARY CONTACT-FOR ISOLATORS | 2 | no. | 24
NSF3 | NEOZ SWITCH FUSE THREE POLE | 1 | no. | 53
N63 | NEOZ FUSE 63 AMP | 3 | no. | 8
96241698 | THORN OMEGA2 4X14W RECESSED FTG CWL | 2 | no. | 170
KLVAP45W | EATON MCB BLANK 6 MOD | 4 | no. | 11
7204 | STEINEL PIR IS7204 | 1 | no. | 86
E2163222 | GARO 20A RCBO B CURVE 1 MOD | 1 | no. | 40
BSH400 | BALLAST 400W SON/HQI | 1 | no. | 66
SC070 | KAC TEST KEY FORK ( BGU) | 50 | no. | 92
I63 | ISOLATOR SURFACE 3-PHASE 63 AMP | 1 | no. | 75
7204 | STEINEL PIR IS7204 | 1 | no. | 86
22185215 | TRIDONIC PC 1X58 T8 PRO BALLAST | 1 | no. | 28
22176094 | TRIDONIC PC 1X58 T8 PRO BALLAST | 1 | no. | 28
22176407 | TRIDONIC PC 1/2X18 TC PRO | 1 | no. | 33
63MRVAL4036DM1MG3B | PHILIPS 6.3W MR16 35W 380LM 4000K WW | 24 | no. | 318
9137003330 | PHILIPS LRM2080/10 SENSOR MOV DET ST | 1 | no. | 113
22185227 | TRIDONIC PC 2X58 T8 PRO A2 BALLAST | 2 | no. | 75
ETSLEDNM3 | VENTILUX NMT EMERGENCY TWIN SPOT LED | 1 | no. | 113
S8705 | ENERGIZER LED GLS 9.2W E27 806LM WARM WHITE | 4 | no. | 53
3CS | PEMCO FLOOR BOX 3 COMPARTMENT TWIN SOCKET | 6 | no. | 108
B2516 | LENGTH OF BROWN S/ADHESIVE TRUNKING 16X25 | 3 | no. | 25
3000E | BRASS LAMPHOLDER CORDGRIP | 2 | no. | 15
BR | BRASS REDUCER | 2 | no. | 2
S8705 | ENERGIZER LED GLS 9.2W E27 806LM WARM WHITE | 10 | no. | 132
7204 | STEINEL PIR IS7204 | 2 | no. | 172
FFSB2 | FALCON 2G DADO BOX | 5 | no. | 37
7204 | STEINEL PIR IS7204 | 2 | no. | 172
22185215 | TRIDONIC PC 1X58 T8 PRO BALLAST | 8 | no. | 227
22176218 | TRIDONIC PC 2X36 T8 PRO A2 BALLAST | 8 | no. | 301
SC1875 | LENGTH OF 3 COMP. WALKOVER PROTECTOR 1875 | 1 | no. | 37
S56 | METRES OF SWA CABLE 5x6sq | 18 | no. | 101
25BW | GLAND SWA 25MM BW | 2 | no. | 8
MCB332 | MCB 3-POLE 32 AMP | 1 | no. | 55
QC12 | QC12 CLEAT 30MM | 40 | no. | 26
MCB363 | EATON MCB THREE POLE 63 AMP | 1 | no. | 55
RSA0940 | ROBUS SABRE 9W T8 LED FTG 4000K 600MM | 1 | no. | 37
7204 | STEINEL PIR IS7204 | 1 | no. | 86
CT4 | 4 MODULAR ENCLOSURE | 2 | no. | 22
XMX712 | STORAGE HEATER XMX712 1.43KW | 1 | no. | 312
XB4BS9442 | SCHNEIDER D40 EMERGENCY STOP KR 455E | 1 | no. | 34
TDL12WLED840 | TEGRAL 12W/840 PL LED FTG C/W DRIVER | 1 | no. | 47
SP | ROCKER SWITCH & NEON 2 MOD | 5 | no. | 66
SP | ROCKER SWITCH & NEON 1 MOD | 5 | no. | 52
SC1875 | LENGTH OF 3 COMP. WALKOVER PROTECTOR 1875 | 2 | no. | 75
22185156 | TRIDONIC BALLAST 2X54 T5 PRO | 6 | no. | 226
MLS80 | BAG BALLAST HF 1X80W MLS80 | 6 | no. | 339
248847 | CONTACTOR 24 AMP 4-POLE N/O | 1 | no. | 37
265193 | EATON CONTACTOR 20 AMP 2-POLE N/O | 1 | no. | 31
13442 | 6 MODULAR ENCLOSURE+DOOR KAEDRA IP65 | 1 | no. | 34
FLUC | METRES OF FLUORESCENT CABLE | 100 | m | 90
EMLED3M | ETERNA LED MNT EMERGENCY BULKHEAD | 2 | no. | 85
BULKFRAME | ETERNA SEMI REC BULKHEAD FRAME | 2 | no. | 37
HFP258 | HELVAR BALLAST HF ELECTRONIC BALLAST 2X58 | 2 | no. | 75
10050992 | BAG BALLAST HF T5/T8 18-26W | 4 | no. | 150
N51 | METRES OF NYM CABLE 5x1.5sq | 100 | m | 122
Eurosales (23/08/15 ---To--- 23/02/2017)18 Months of Data
Item Code | Description | Quantity | Unit | Net Value
WMSU83 | SOLLYSTA 13AMP SPUR UNSWITCHED | 10 | no. | 36.5
WMSSU83N | SOLLYSTA 13AMP SPUR SW C/W NEON | 30 | no. | 167.1
WMSS82 | SOLLYSTA 2G 13A SWITCHED SOCKET | 100 | no. | 234.3
WMPS12 | SOLLYSTA 10A 1G 2W SWITCH | 50 | no. | 64.03
WMPS11 | SOLLYSTA 10A 1G 1W SWITCH | 30 | no. | 35.68
WMP1 | SOLLYSTA SINGLE BLANK PLATE | 50 | no. | 41.5
TLE22840 | PHILIPS TLE 22W/84 FL LAMP CIRCULAR 1300LM | 24 | no. | 122.88
TL5C40840 | PHILIPS 40W TL5 COL 84 CIRCULAR TUBE 3300 LM | 140 | no. | 1314.6
SONT250PLUSPIA | PHILIPS SONT PIA PLUS 250W GES 33200LM | 6 | no. | 72.06
SL2LED | LITETRON 11 WATT PLS DUAL VOLTAGE SHAVERLIGHT 230-115 VOLT PULL CHORD LAMP INCLUDED WHITE | 8 | no. | 163.68
RS10165GZ-01 | ROBUS IP65 GU/GZ10 SHOWER DOWNLIGHTER WH | 20 | no. | 97.8
RL032/3PM-D1 | SONTHEIMER 32A 3P ISOLATOR C/W N&PE | 5 | no. | 53.3
RL025/3PM-D1 | SONTHEIMER 25A 3P ISOLATOR C/W N&PE | 5 | no. | 51.3
RE2520 | GALVANISED REDUCER 25-20mm | 20 | no. | 7.42
R100LEDE-01 | GOLF 10W LED EMERGENCY WITH PRO-DIFFUSER | 12 | no. | 756
R100LED-01 IP65 | ROBUS 10W LED GOLF SUR FTG 530LM | 36 | no. | 1218.6
PPZ236 | THORN POP PACK 2x36W HF CW LAMP 84 | 5 | no. | 122.48
PLT26844P | PHILIPS PLT 26W 4PIN COL 84 COMP FL 1800LM | 50 | no. | 175
PLT26842P | PHILIPS PLT26W 2 PIN COL 84 COMP FL 1800LM | 30 | no. | 105
PLT18842P | PHILIPS PLT 18W 2 PIN COL 84 COMP FL 1200LM | 30 | no. | 105
PLS1184 | PHILIPS PL 11W/84 2 TUBE 2 PIN H28 900LM | 230 | no. | 294
PLL5584 | PHILIPS PL55W/84 2 TUBE 4 PIN 2G11 4800LM | 50 | no. | 135
PLL3684 | PHILIPS PL36W/84 2 TUBE 4 PIN 2G11 2900LM | 65 | no. | 139.75
PC2X36EO11 | THORN HF BALLAST 2x36W | 50 | no. | 651.88
PC1/36T8PRO | THORN 1X36W TRIDONIC HF ELEC BALLAST | 120 | no. | 1371
NY525 | 5 x 2.5 NYM-J cable (COIL 100M) | 100 | no. | 82.22
NY325 | 3 x 2.5 NYM-J cable (COIL 100M) | 2300 | no. | 1203.49
NSLED5.2 | R100LED-01 ROBUS 10W GOLF FITTING | 97 | no. | 3167.15
NSFTG+1 | SB130 3FT FITTING C/W LAMP | 1 | no. | 20
NSE | 42W B22 CANDLE LAMP | 262 | no. | 652.3
MIE2 | 20mm INSPECTION ELBOW PVC | 20 | no. | 14.26
MC2 | 20mm STRAIGHT COUPLER PVC | 80 | no. | 11.04
MBN120A | HAGER 20A MCB 1 POLE B | 10 | no. | 32.5
MBN110A | HAGER 10A MCB 1 POLE B | 20 | no. | 65
M420 | M4x20 PAN HEAD BRASS SCREW | 1000 | no. | 40.01
K4891 | 20 SP SWITCH MODULE 1 WAY | 6 | no. | 18.18
K4878P | MK LOGIC PLUS 1 GANG SWITCH PRESS | 10 | no. | 50.34
JC10 | NO.10 GAL/JACK CHAIN 4.5x10Mts | 13 | no. | 59.02
HR753 | .75 3CORE PVC HT/RESISTANT FLX 3093Y | 100 | no. | 33.24
HER642 | OSRAM HALOLUX CLASSIC 42W R63 ES (GLS 60W) | 200 | no. | 428
EHC28G9CL | PHILIPS 28W G9 CLEAR 40W EQUIVALENT 340LM | 110 | no. | 207.9
EG103 | DIGITAL TIME SWITCH BASIC MODEL | 10 | no. | 451.1
ECOSTK18B22 | PHILIPS CFL STICK 18W WW BC 1100 LN 83 WATT | 150 | no. | 247.2
ECOSTK11B22 | PHILIPS CFL STICK 11W WW BC 660 LN 55WATT | 120 | no. | 192
CT75080B | CABLE TIES 750 x 8.0mm BLACK (PACK 100) | 2000 | no. | 286.66
CR64AX | KLIK PLUG-IN ROSE 4 PIN EMER. | 20 | no. | 85.2
CR2 | 20mm ROUND CONDUIT LG MT (LENGTH 3M) | 120 | no. | 30
CGLNM25G | NYLON GLAND 25mm C/W NUT | 25 | no. | 8.03
CGLNM20G | NYLON GLAND 20MM C/W LOCKNUT | 1000 | no. | 219.72
CDMT7094 | PHILIPS MASTERCOLOUR LAMP 70W 94 S/END 6600LM | 24 | no. | 277.92
CDMT35 | PHILIPS MASTERCOLOUR LAMP 35W S/ENDED 3300LM | 12 | no. | 138.96
CDMT15094 | PHILIPS MASTERCOLOUR LAMP 150W 94 SEND 12700LM | 25 | no. | 289.5
APLEDDVRL | 8W PROFILE DUAL VOLTAGE LED RAZOR /SHAVER LIGHT 4K | 40 | no. | 816.4
AD920J | RCBO 6KA B 20AMP 30MA CLASS A | 11 | no. | 185.9
A14TP/T5 | 14W 618MM TRIPHOSPHOR FTG | 10 | no. | 141
80840 | PHILIPS 80W TL5 COLOUR 84 LAMP 6150 LM | 160 | no. | 384
5GU10COREPRO | PHILIPS 5 WATT GU10 COREPRO 827 36 DEGREE 350lm NON DIMMABLE | 100 | no. | 376.6
44165 | 2 SLICE TOASTER WHITE MORPHY RICHARDS | 26 | no. | 344.78
43RER | RED RING TERMINAL 1.5 4mm (PACK 100) | 100 | no. | 2.21
43BER | BLUE RING TERMINAL 2.5 4mm (PACK 100) | 100 | no. | 2.58
43530 | MORPHY RICHARDS JUG KETTLE | 54 | no. | 786.44
42SESPCC | PHILIPS ECOCLASS30 42W E14 B35 CL 60WGLSEQ 630LM | 320 | no. | 416
42ESCL | PHILIPS ECOCLASS30 42W E27 A60 CLEAR(55WGLS)630L | 420 | no. | 575.4
42BCCL | PHILIPS ECOCLASS 42W B22 A60 CLEAR(55W GLS)630LM | 426 | no. | 583.62
3MBBS | 25mm MALE BRASS BUSHING SHORT | 20 | no. | 3.74
37520B | INSULATION TAPE 20M x 19mm BLACK (2420103) | 80 | no. | 30.49
34225 | 15 AMP 10 SQ MM STRIP CONNECTOR | 100 | no. | 55.41
2LN | 20mm GALVANIZED LOCKNUT | 200 | no. | 6.74
2GN | 20mm GALVANIZED NIPPLE | 20 | no. | 2.66
28460C | 284MM DOUBLE ENDED TUBULAR 240V 60WATT S15 CLEAR | 500 | no. | 620
25SES45C | TOUGH LAMP - GOLF BALL 45MM 240/50V 25WATT SES/E14 CLEAR | 50 | no. | 29.5
25PVCBL | 2.5 PVC ONLY BLUE 6491X (COIL 100M) | 500 | no. | 98.62
253 | 2.5 3 CORE PVC FLEX WHITE 3183Y (COIL 100M) | 300 | no. | 190.44
20DZ2 | 20 AMP DZ 2 FUSE 5SB171 | 25 | no. | 5.88
19404R | 160W T/H LAMP 240V R7S 117MM | 30 | no. | 41.4
16DZ2 | 16 AMP DZ 2 FUSE 5SB161 | 25 | no. | 5.59
153 | 1.5 3 CORE PVC FLEX WHITE 3183Y (COIL 100M) | 500 | no. | 197.18
National Electrical Wholesale 18 Months of Data
Item Code | Description | Quantity | Unit | Net Value
5/16SWA | 5 X 16 SWA CABLE | 60 |  | 454
G25BWK | GLAND KIT 25MM BW(PACK OF 2) | 1 |  | 3
GM1-14 | 1 ROW 14 MOD DIST. BOARD METAL 335x300x111MM | 1 |  | 84
5/6SWA | 5 X 6SQ SWA CABLE | 32 |  | 110
G25BWK | GLAND KIT 25MM BW(PACK OF 2) | 1 |  | 4
G20SBWK | GLAND KIT 20MM BW SMALL | 2 |  | 5
CEDSSK2USB | 2G 3.6A SWITCHED SOCKET USB CHARGING PORTS | 15 |  | 228 | 4
bs4 | TWIN PED BOX WHITE BACK TO BACK | 6 |  | 183
DF36840 | OSRAM 36 WATT COL 840 2G10 DULUX F LAMP | 200 |  | 1696
BELR6440W | 40W ES R64 REFLECTOR | 5 |  | 3.5
plusrc414hf | 4X14 T5 REC MODULAR FITTING | 4 |  | 118
ph14840 | PHILIPS 14W T5 LAMP COL 840 (EMC 5.1) | 16