| TENDER RESPONSE DOCUMENT |  |
| --- | --- |
| Open Procedure Tender deadline 12PM on 17th JULY 2026 |  |
| Establishment of a Single Supplier for; | Supply, Delivery, Installation, Commissioning & Validation of a Dilution Refrigerator with Magnetic field for Tyndall National Institute, University College Cork (UCC) TENDER REFERENCE: UCC-2025-04 |
| Procedure | Open OJEU Procedure |
| Name of Tenderer | Open (OJEU) Procedure for the Supply, Delivery, Installation, Commissioning & Validation of a Dilution Refrigerator with Magnetic field for Tyndall National Institute, University College Cork (UCC). TENDER REFERENCE: UCC-2025-04 |
| Contact |  |
| Email |  |
| Phone |  |
| Postal Address |  |

Contents

INSTRUCTIONS FOR COMPLETION	3

SECTION 1 – LEGAL COMPLIANCE	4

1.1	DECLARATION RE PERSONAL SITUATION (Appendix 4. RFT doc)	5

1.2	DECLARATION RE STATUTORY OBLIGATIONS	8

SECTION 2 – SELECTION CRITERIA	9

2.1	General Information Relating to the Tenderer	9

2.2	Economic and Financial Standing	11

2.3	Technical and Professional Ability	14

2.3.1 Relevant Company Experience	14

2.3.2 Technical Resources	17

2.3.3 Regulatory Compliance	17

2.3.4 Quality Assurance	19

2.3.5 Health & Safety	20

2.3.6 Tenders Statement	21

SECTION 3   RELATING TO TECHNICAL SPECIFICATION	23

Notes for Completion of the Tender Response Document	23

APPENDIX 1: Technical Specification & Tenderer Response Document	25

3.4.	Authorised Signatory	82

SECTION 4    TENDERER RESPONSE CHECKLIST	82

4.0 Tenderer Response Checklist.	82

# INSTRUCTIONS FOR COMPLETION

Tenderers must ensure they complete this document in full.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.  Please ensure you contact the Contracting Authority and they may decide to issue an updated Tender Response Document.

This document covers the selection and award criteria as relating to the Open Procedure.

Tenderers must complete all sections.  However, tenderers must note they MUST meet and pass all the rules contained in the selection criteria, in order to be considered eligible for assessment, against the award criteria.

# SECTION 1 – LEGAL COMPLIANCE

Legal Compliance

Tenderers are required to complete the Declaration of Personal Circumstances as per Art. 57 of Directive 2014/24/EU as implemented by SI 284 of May 2016.

Compliance with Relevant Statutory Obligations

Tenderers are required to complete the Declaration regarding their compliance with relevant statutory obligations. Where tenderers are established and operating outside of Ireland compliance with equivalent legislation as applicable in the country of establishment / operation is required.

General Information relating to the Tenderer

Please provide contact and general information on the tendering organisation - company name, address and contact details for individual responsible for this tender and company overview as well as information on sub-contractors and consortium members if applicable.

| I confirm that I have completed the art. 57 declaration contained in this section, and I acknowledge that any changes in the circumstances confirmed in this declaration will be notified immediately to the contracting authority. | Yes |  | No |  |
| --- | --- | --- | --- | --- |
| I confirm that I am opting to respond to the selection criteria by employing a completed European Single Procurement Document. | Yes |  | No |  |

  - DECLARATION RE PERSONAL SITUATION (Appendix 4. RFT doc)

| DECLARATION RE PERSONAL CIRCUMSTANCES AS PER ART. 57 OF DIRECTIVE 2014/24/EU Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |
| --- | --- | --- | --- |
| - Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | YES | NO |
|  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 1.1.a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |
| 1.1.b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |
| 1.1.c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |
| 1.1.d | the subject of a conviction for terrorist offences or offences linked to terrorist activities, as defined in Articles 1 and 3 of Council Framework Decision 2002/475/JHA respectively or for inciting or aiding or abetting or attempting to commit an offence; as referred to in Article 4 of the Framework Decision. |  |  |
| 1.1.e | the subject of a conviction for money laundering or terrorist financing, as defined in Article 1 of Directive 2005/60/EC of the European Parliament and of the Council. |  |  |
| 1.1.f | the subject of a conviction of child labour and other forms of trafficking in human beings as defined in Article 2 of Directive 2011/36/EU of the European Parliament and of the Council. |  |  |
| Non-payment of taxes or social security obligations - Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? Note: If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved |  |  |  |

| 2.1 Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. |  | YES | NO |
| --- | --- | --- | --- |
|  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 2.1.a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union ( Award of Public Contracts) Regulations 2016 ( Statutory Instruments 284 of 2016) |  |  |
| 2.1.b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |
| 2.1.c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |
| 2.1.d | has entered into agreements with other economic operators aimed at distorting competition; |  |  |
| 2.1.e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |
| 2.1.f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |
| 2.1.g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |
| 2.1.h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the Selection Criteria; or |  |  |
|  | - has withheld such information or is not able to submit supporting documents required under Regulation 59 of the European Union ( Award of Public Authority Contracts) Regulations 2016 ( Statutory Instrument 284 of 2016) Directive 2014/24/EU; or |  |  |
| 2.1.i | has undertaken to: - unduly influence the decision-making process of the contracting entity, obtain confidential information that may confer upon the Tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |
| 2.1.j | Does not come within the category of prohibited economic operators identified in Regulation ( EU) No 833/2014 of 31 July 2014 ( as amended by EU Regulation 2022/576 or any subsequent amendments to same); |  |  |
| 2.1.k | Any subcontractor, supplier or other entity on whose capacity ( enter the name of the entity her) relies as part of the Tender does not come within the category of prohibited economic operators identified in Regulation ( EU) No 833/2014 of 31 July 2014 ( as amended by EU Regulation 2022/576 or any subsequent amendments to same); |  |  |

  - DECLARATION RE STATUTORY OBLIGATIONS

| DECLARATION RE STATUTORY OBLIGATIONS |  |  |  |  |
| --- | --- | --- | --- | --- |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment/operation: |  |  | YES | NO |
|  | Employment Equality Acts 1998-2011 |  |  |  |
|  | Equal Status Acts 2000-2011 |  |  |  |
|  | National Minimum Wage Act 2000 as amended |  |  |  |
|  | Organisation of Working Time Act 1997 as amended |  |  |  |
|  | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |
|  | Disability Act 2005 |  |  |  |
|  | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  |  |  |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in the Declaration re Personal Circumstances and the Declaration re Statutory Obligations is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in these Declarations will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |
| Name of Economic Operator |  |  |  |  |
| Authorised Signatory |  |  |  |  |
| Signature |  |  |  |  |

# SECTION 2 – SELECTION CRITERIA

  - General Information Relating to the Tenderer

| Tendering Party Name: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contact Person: |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |
| Address & Postal Code: |  |  |  |  |  |  |
| Phone: |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |
| Date of Establishment, if applicable |  | VAT Registration No: |  |  |  |  |
| Legal Structure – partnership, limited company, etc. |  | Please confirm if you are an SME (Small and Medium Enterprise) as defined in Commission Recommendation 2003/361/EC |  |  |  |  |
|  |  | Yes |  |  | No |  |
| Definition as per 2003/361/EC The category of micro, small and medium-sized enterprises (SMEs) is made up of enterprises which employ fewer than 250 persons and which have an annual turnover not exceeding EUR 50 million, and/or an annual balance sheet total not exceeding EUR 43 million. |  |  |  |  |  |  |
| Name of other parties forming part of the tender submission: |  |  |  |  |  |  |
| Name: | Proposed Role |  |  | Confirmation Relevant information provided for each party |  |  |
| Member #1 |  |  |  |  |  |  |
| Member #2 |  |  |  |  |  |  |
| Member #3 |  |  |  |  |  |  |

In submitting a tender, please ensure confirm Acceptance of the following Terms and Conditions

| Confirmation of Acceptance of Contract Terms & Conditions (Appendix 5 within the RFT) | Yes |  | No |  |
| --- | --- | --- | --- | --- |

  - Economic and Financial Standing

| FINANCIAL CAPACITY INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Irish Tax Clearance |  |  |  |  |  |  |  |  |  |  | Please confirm YES/NO |  |
| I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Ireland’s Revenue online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  |  |  |  |  |  |  |  |  | Yes |  |
|  |  |  |  |  |  |  |  |  |  |  | No |  |
| Tenderer Name: |  |  |  |  |  |  |  |  |  |  |  |  |
| Tenderer PPSN/ Tax Reference Number |  |  |  |  |  |  |  |  |  |  |  |  |
| Access Number |  |  |  |  |  |  |  |  |  |  |  |  |
| OR I confirm that I hold a current valid paper Irish Tax Clearance Certificate (generally relates to Non-Residents) |  |  |  |  |  |  |  |  |  |  |  |  |
| Registration Number |  |  |  |  |  |  | Certificate Number |  |  |  |  |  |
| OR I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  |  |  |  |  |  |  |  |  | Yes |  |
|  |  |  |  |  |  |  |  |  |  |  | No |  |
| Turnover |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following turnover to be considered for the contract. |  |  |  |  |  |  |  |  |  |  |  |  |
| Turnover Requirement: |  |  |  |  | At least €1,518,600 each of the previous 3 financial years |  |  |  |  |  |  |  |
| Financial Year |  |  |  | 2024 |  |  | 2023 |  | 2022 |  |  |  |
| Month for Financial Year End (e.g. July) |  |  |  |  |  |  |  |  |  |  |  |  |
| Turnover € |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide copies of audited financial statements/accounts promptly on request. NOTE #1: In the case of sole traders or partnerships this condition may be satisfied by a letter of confirmation from a senior partner. |  |  |  |  |  |  |  |  |  |  | Yes |  |
|  |  |  |  |  |  |  |  |  |  |  | No |  |
| Provision of the most recent three years of audited financial statements / accounts. |  |  |  |  |  |  |  |  |  |  |  |  |
| Financial Year |  | 2024 |  |  |  | 2023 |  |  |  | 2022 |  |  |
| I confirm that I will provide evidence of turnover promptly on request. |  |  |  |  |  | Yes |  |  |  | No |  |  |
| Insurances Note – UCC reserves the right to determine whether the insurance evidence provided is sufficient to demonstrate compliance. Where certificates or broker letters do not clearly set out all required information – including limits, basis of cover, excesses, business description or indemnity to principal wording – the tender may be deemed non-compliant. UCC also reserves the right to request copies of relevant policy endorsements (e.g., indemnity to principal, additional insured wording) to verify compliance. |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following insurances in place |  |  |  |  |  |  |  |  |  |  |  |  |
| Insurance Type |  |  | Level in Place |  |  |  | Details of Any Excess |  | Expiry Date |  |  |  |
| Employers Liability Required Level: €13 Million (on an each and every occurrence basis) - Euro or foreign currency equivalent |  |  | € |  |  |  |  |  |  |  |  |  |
| Public Liability Required Level: €6.5Million (on an each and every occurrence basis) - Euro or foreign currency equivalent |  |  | € |  |  |  |  |  |  |  |  |  |
| Product Liability Required Level: €6.5Million (on an aggregate basis) – Euro or foreign currency equivalent |  |  | € |  |  |  |  |  |  |  |  |  |
| Professional Indemnity Required Level: €6.5Million (each and every claim or in the annual aggregate) - Euro or foreign currency equivalent [Note- For claims made basis- Tenderers must confirm; i) the retroactive date; ii) that the min level of cover will be maintained for at least 6 years following completion of the contract] |  |  | € |  |  |  |  |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that if successful, where the levels required under the contract are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place. |  |  |  |  |  |  |  |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request: - evidence of insurances in place or - letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  |  |  |  |  |  |  |  |  |
| Requirements for ALL insurance certificates: - Full legal name of insured entity and any subsidiaries involved in the contract. - Business description, confirming the policy covers the activities associated with the UCC contract. - Reference to the tender (e.g., “Tender Ref #– University College Cork”). - Policy details, including: - Policy type and number - Insurer name - Start and expiry dates - Limits of indemnity, specifying whether limits apply per occurrence or in the aggregate - Basis of cover (e.g., occurrence or claims‑made; retroactive date if claims‑made) - Excess / Deductible / SIR – explicit euro or foreign currency equivalent amounts must be stated - Territorial limits and jurisdiction - Confirmation of any contract‑specific requirements, including: - Indemnity to Principal / Specific Indemnity to UCC |  |  |  |  |  |  |  |  |  |  |  |  |

  - Technical and Professional Ability

### 2.3.1 Relevant Company Experience

Minimum Level Required: Tenderers must demonstrate successful delivery of three (3) previous comparable projects / contracts involving the suite or part thereof below, which have been delivered in the last 5 years.

Dilution Refrigerator with Magnetic field

– Please demonstrate expertise & track record in the installation and implementation of a similar system or part thereof.

The Tenderer MUST provide the relevant reference sites of where at least (3) similar systems have been installed

| Reference contract #1 |  |
| --- | --- |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. (Mere affirmation is not sufficient). |  |
| Reference contract #2 |  |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. (Mere affirmation is not sufficient). |  |

| Reference contract #3 |  |
| --- | --- |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. (Mere affirmation is not sufficient). |  |

- Relevant Company Experience

### 2.3.2 Technical Resources

Tenderers must demonstrate they have at their disposal effective and efficient manpower, skills and technical resources available to them to support the delivery, installation & delivery of the goods.

Please complete the form below to demonstrate that the tenderer has at their disposal effective and efficient manpower, skills and technical resources available to them to support the supply, installation & delivery of the goods. Please include details of names of staff and third parties.

### 2.3.3 Regulatory Compliance

Supply, Delivery, Installation & Validation of a Dilution Refrigerator with Magnetic field for Tyndall National Institute, University College Cork (UCC) must comply with all Irish and European relevant regulatory requirements – including but not limited to the following. - Must be clearly CE marked. If supplying through the UK, please state location of awarding body of the CE marking. As in light of Brexit all UK suppliers, must provide evidence that the CE mark has been certified through an EU Notified Body. (if applicable). - Electrically Safety Class rated

Tenderer’s response

| ### 2.3.4 Quality Assurance Tenderers must demonstrate that they have adequate measures in place to ensure the delivery of a quality service. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Quality Assurance Systems |  |  |  |  |  |
| Do you operate a quality management system? | Yes |  | No |  |  |
| Name of Manager responsible for Quality |  |  |  |  |  |
| If so, is it 3rd party certified or in-house? | 3rd Party Certified |  |  |  |  |
|  | In-House |  |  |  |  |
| If 3rd party certified, please provide the following information: | Date of most recent certification |  |  |  |  |
|  | Scope of Certification |  |  |  |  |
|  | Name of Certification Body |  |  |  |  |
|  | Evidence will be provided on request |  | Yes |  |  |
|  |  |  | No |  |  |
| If in-house, please provide summary of system: |  |  |  |  |  |
| Tenderers must demonstrate a commitment to quality in the delivery of their services either through evidence of an in-house quality assurance system or via third-party certification directly related to the required services. | Please comment |  |  |  |  |
| ### 2.3.5 Health & Safety |  |  |  |  |  |
| Provide a copy of your organization Health & Safety Policy and Statement |  |  |  |  |  |
| Tenderer’s Response |  |  |  |  |  |

### 2.3.6 Tenders Statement

Appendix 3 – Tenderers Statement (Appendix 3. RFT doc)

[Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer.]

#### TENDERERS’ STATEMENT

TO: University College Cork. (the “Contracting Authority”)

RE: Request-for-Tenders under Open (OJEU) Procedure for the Supply, Delivery, Installation, Commissioning & Validation of a

Dilution Refrigerator with Magnetic field for Tyndall National Institute, University College Cork, (UCC)

(Tender Reference: UCC-2025-04)

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Goods Contract, we hereby agree and declare the following:

- We understand the nature and extent of the Goods required to be delivered as described in Appendix 1 to the RFT.

- We accept all of the Terms and Conditions of the RFT, the Goods Contract, and the Confidentiality Agreement and agree if awarded a Goods Contract, to execute the Goods Contract in Appendix 6 to the RFT and the Confidentiality Agreement at Appendix 7 to the RFT.

- We accept all the Selection and Award Criteria as set out in the RFT.

- We agree to supply the Contracting Authority with the Goods in accordance with the RFT and our Tender.

- We agree that, if awarded any Goods Contract we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law.

- We confirm that we have complied with all requirements as set out in the RFT.

- We confirm that all prices quoted in our Tender will remain valid for the period of time commencing from the Tender Deadline, specified at paragraph 2.10.3 of the RFT.

- We shall, if awarded any Goods Contract under the RFT, have in place on the Effective Date of the Goods Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT.

- We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request.

#### SIGNED	COMPANY

#### (Authorised Signatory)

#### PRINT NAME	Address

#### Date

# SECTION 3   RELATING TO TECHNICAL SPECIFICATION

Tenderers MUST complete this Tender Response Document (TRD), including Appendix 1. Technical Specification

# Notes for Completion of the Tender Response Document

Note 1: Only tenders which meet the Selection Criteria and are confirmed as valid and responsive to the specifications set out in this document will be evaluated against the award criteria.

Note 2: Tenderers should ensure that they have submitted sufficient relevant information to allow their tenders to be assessed under each of the award criteria set out in the Technical Specification table below.

Note 3: The contract will be awarded on the basis of the most economically advantageous compliant tender

Note 4: Tenderers should ensure in their tenders that they provide detailed information in respect of all aspects of the contract award criteria as stated above.  This will enable the awarding authority to assess fully the extent of their offers.

Note 5: Overall minimum requirements for award criteria: Tender submissions must achieve the minimum score as listed in the Award Criteria table in the RFT.

If a tender fails to achieve the minimum score for any of the selection criteria, the proposal is eliminated and not evaluated on the award criteria, Total Cost of Ownership. No minimum score is applicable to ‘Cost’.

Note 6: Budget Available

Supply, Delivery, Installation, Commissioning & Validation of a

Dilution Refrigerator with Magnetic field, for Tyndall National Institute,

University College Cork (UCC)

Please note that the budget available is NO Greater than €759,300 EX VAT. This is to include all Costs (Capital Costs and associated Costs) covered within the total Ultimate Cost in Appendix 2.

Note: The Contracting Authority reserves the right to exclude submissions from tenderers which exceed the maximum budget available as stated above.

Note:

UCC reserves the right to buy additional options available with this equipment, at a later stage should the budget become available. This may include OEM accessories and/or consumables specifically required for use with the equipment.  This option will be available for the lifetime of the equipment.

Please refer to the Appendix 2 to complete details of current consumables available relevant to this equipment requirement.

Tenders are asked to complete their responses to Award Criteria A, B, C, D, & E in the section below.

Tenderers MUST provide all information relating to the instrument and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document. Yes/No answers will not suffice in most cases.

# APPENDIX 1: Technical Specification & Tenderer Response Document

Appendix 1 Requirements

| Product Description | QTY |
| --- | --- |
| Dilution Refrigerator with Magnetic field | 1 |

The tender MUST supply all related items to this tender, listed in the product description in a single delivery.

| Contracting Authority: | University College Cork (UCC) |
| --- | --- |
| Proposed: | Tenderers to state models. Please type here |

Request-for-Tenders under Open (OJEU) Procedure for the Supply, Delivery, Installation, Commissioning & Validation of a

Dilution Refrigerator with Magnetic field, for Tyndall National Institute,

University College Cork (UCC)

Tender reference: UCC-2025-04

Introduction

University College Cork (UCC)

University College Cork (UCC) is an award-winning institution with a history of independent thinking stretching back over 170 years. UCC is proud to be ranked in the top 2% of universities in the world. This beautiful university opened its gates to just 115 students in 1849. They now have a student population of over 21,000.

Tyndall National Institute

Tyndall National Institute is a leading European research centre in integrated ICT (Information and Communications Technology) hardware and systems. Specialising in both electronics and photonics – materials, devices, circuits and systems. As the national institute for photonics and micro/ nanoelectronics and a research flagship of UCC, the institute employs ~600 researchers, engineers and support staff, including 120 full-time graduate students. Together, we generate over 250 peer-reviewed publications annually. Our institute hosts the only full Silicon CMOS, Micro-Electro Mechanical Systems (MEMS) and III-V Semiconductor Wafer fabrication facilities and services in Ireland. We are experts at designing, miniaturising and prototyping products to drive connectivity. At Tyndall, we deliver research and innovation in Europe with local and global impact. For example, in the Horizon 2020 Research Framework, we participated in 56 projects with a total value of €370m, including significant co-funding by industry partners.

Funding Acknowledgement

This item is to be purchased through Taighde Éireann/Research Ireland funding.

UCC reserves the right to buy additional options available with this equipment at a later stage should the budget become available. This may include OEM accessories and/or consumables specifically required for use with the equipment.  This option will be available for the lifetime of the equipment.

Please refer to the RFT document for details regarding additional drawdown requirements.

Budget Available

Please note that the budget available for this total requirement is no greater than €759,300 ex VAT.

Note: The Contracting Authority reserves the right to exclude submissions from tenderers which exceed the maximum budget available as stated above.

Summary of Requirements

Tenders are sought for the Supply, Delivery, Installation, Commissioning & Validation of a

Dilution Refrigerator with Magnetic field, for Tyndall National Institute,

University College Cork (UCC):

The dilution refrigerator will be mainly in support of our quantum transport activities, and specifically for the development of electronic qubits in e.g. semiconductor quantum dots. It will also support the development of novel quantum materials and devices. The dilution refrigerator (reaching less than 20 millikelvin in an unloaded configuration) will have to be equipped with an (at least) 3 Tesla superconducting magnet to allow probing advanced spin physics. It should also allow for sample direct and fibre based optical access. The system should be mountable/mounted on an optical table to allow easy integration with quantum optics experiments.

The equipment must fulfil the minimum specifications listed in the Technical Requirements table below.

The equipment will be supplied and maintained at the following site:

- Laboratory A2.2.13

- Tyndall National Institute,

- University College Cork.

Requirements & Specification

Tenderers MUST provide all information relating to the instrument and the associated consumables in the response table comment boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: Appendix 2 – Pricing Schedule.

Please refer to the Appendix 2 to complete details of current consumables available relevant to this equipment requirement.

UCC will consider tenders offering new instrumentation only for this procurement. The Goods/Instrument(s) must be functional as new and be delivered with a full mechanical and electrical warranty.

Technical Specification

This is the minimum specification required.  All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.

Additional functionality should be identified in the comments section to facilitate scoring under the award criteria.

Programme Requirements

  - Tenderers MUST note that contractors do not have exclusive access and will be required to work around and accommodate other suppliers and contractors who will be active in the building and laboratories simultaneously.

  - UCC working hours are Monday to Friday from 9.00am to 5.00 pm (Business Hours). Access to the site outside the Business Hours shall at all times be arranged through the appointed representative in UCC if essential and where it can be facilitated.  The delivery location is

Laboratory A2.2.13, Tyndall National Institute,

Lee Maltings, Dyke Parade, Cork T12 R5CP, Ireland.

Note: Working outside Business Hours may be required to comply with work programmes. Where this becomes necessary as a result of changes to the start dates set out above, all reasonable efforts will be made to accommodate same.

  - Contractors are responsible for security of their own equipment, materials, etc.

Prior to any deliveries, the successful tenderer(s) (and/or relevant sub-contractors, etc.) will be required to meet the representatives from UCC to clarify the requirements for Health & Safety, site access, services etc. to ensure compliance with standard operating procedures, and other regulatory/ statutory requirements as appropriate.

##### Specification Required & Tenderer Response

| Product Description | QTY | Tendering (Y/N) |
| --- | --- | --- |
| Please State description | 1 |  |

Instructions for completion:

3.5.1	Tenderers MUST provide all information relating to the instruments and the associated       consumables in the blue response boxes below.

3.5.2	Please ensure all cost submissions are kept separate and included in the Excel file entitled:          Appendix 2 – Pricing Schedule

3.5.3	NOTE: where the Tenderer is supplying published numerical data in answer to the tender questions, citing the source of that data would be required (i.e. data sheet, third party published results etc.)

##### 3.5.4 Technical Specifications Table

| UCC-2025-04 RFT for the Supply, Delivery, Installation, Commissioning & Validation of a Dilution Refrigerator with Magnetic field for Tyndall National Institute, University College Cork (UCC) |  |
| --- | --- |
| Proposed System: (Tenderers please state model type here) |  |
| REQUIREMENT |  |
| - Technical Merit (Equipment Specifications) |  |
| Technical Merit will be assessed under the performance parameters and functional requirements as described in the technical specifications. |  |
| Provide clear details of the system’s technical specifications. |  |
| REF. | General/Functional Requirements |
|  | The Tenderer MUST supply a Dilution Refrigerator with Magnetic field (and direct optical access to the samples) Responses MUST state that the system is New (N). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Dilution Refrigerator with Magnetic field MUST include, but not limited to the following: - The main cryostat assembly, including the vacuum chamber, internal cold stages, radiation shields - Cryocooler Units as necessary - Gas-Handling System as necessary, - A Mixing Chamber (MC) as necessary - An (at least) 3 Tesla superconducting magnet, including power and control units - A “full system” control unit as necessary - Appropriate vibration Isolation set-ups as necessary - Main chamber integrated into an optical table with its experimental plate on the same level as the tabletop to facilitate quantum optics experiments Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Dilution Refrigerator with Magnetic field MUST allow for direct optical access to the samples by means of: - specific optical windows and by - fiber access Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Dilution Refrigerator with Magnetic field MUST allow mounting space for the insertion of x,y,z, cryogenic piezo actuators (e.g. the Attocube ANP X,Y,Z stack series or equivalent) at the Mixing Chamber (MC) level. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST specify the total footprint and the access clearance requirements for transportation, including packaging from point of delivery to the laboratory. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | All Dilution Refrigerator with Magnetic field system parts MUST fit into laboratory space with total area of: 3 x 2 x 2.6 (in meters, L, W, H space to laboratory ceiling). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Dilution Refrigerator with Magnetic field vacuum and dilution chamber set-up SHOULD be of compact dimensions, with a diameter <40 cm and a height <120 cm Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Performance |  |
|  | The proposed Dilution Refrigerator with Magnetic field MUST be capable of achieving: A base temperature: <= 20 mK at the Mixing Chamber experimental plate for the unloaded cryostat and under appropriate conditions. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST demonstrate: - Cooling power at 100mK: >150 μW for the unloaded cryostat and under appropriate conditions. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD demonstrate: Cooldown time to base temperature < 4 h for the unloaded cryostat and under appropriate conditions Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | - Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST be preloaded with the necessary Helium-3 / Helium-4 mixture for the tenderer’s proposed system. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a temperature control system, with default factory calibration for its thermometers. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include: a temperature control system with: - thermometer units e.g. 100K, 20K, 4K stages (or at equivalent stages for a given system) and - Still stage/unit with wiring Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include: - a temperature control system with a thermometer unit and wiring, properly located to measure base temperature Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include: - the temperature control system with thermometer unit to evaluate base temperature as required in A14 with factory calibration and with the sensor in a rigid copper housing. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include: - a temperature control system with resistance heater mounting on the Still stage for continuous heating. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include: - a temperature control system with resistance heater mounting at base temperature for continuous and PID regulated heating Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include: - a temperature control system with electronic control for continuous and PID regulated heating of elements listed at points A13-A17 Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a Gas Handling System (GHS) as required to operate the dilution refrigerator Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a GHS Control Unit with its own mounting frame with components as appropriate for efficient operation. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include: - A GHS Control Unit with all required cabling and control box. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a GHS Control Unit with appropriate Pipe system, including: - gas/liquid interconnections - Cabling of magnetic valves and electrical parts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a GHS Control Unit with - Ethernet modules with multiport switch, - Micro control unit (MCU) for autonomous operation - All necessary cables for e.g. Power, USB and network software for operations Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include all the pumping systems needed for operation, including: - dry vacuum pump(s) - pumps required for Helium-4 circulation, - pumps required for Helium-3/Helium-4 mixture circulation Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include an electrical insulation of the cryostat head from the Gas Handling System (GHS) and CryoCooler Units (CCU) of > 1 MOhm Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include He-4 gas tanks for storage if required for correct system operation Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include: - A He-3/He-4 mixture gas tank if it is required for correct system operation Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a cryocooler unit. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field cryocooler unit SHOULD be water cooled (please specify if not water cooled). Tenderer MUST provide a description of water-cooling requirement. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a cryocooler unit with base temperature<3.5 K. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include an integrated cryogenic cold trap for He-3/He-4 circulation with automatic and remote cleaning. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include He-4 transfer lines if He-4 is needed for operations. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include rigid support of the connecting pipes, (e.g. to bolt to the floor) to minimizes residual vibration from vacuum pumps, compressors and cryocooler. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include the following DC (Direct Current) wiring termination set configuration: - Vacuum ports with at least 24-pin Fischer Connectors socket(s) - EMI shielding - at least two connectors Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include the following DC wire bundle, RT (Room Temperature) to base temperature (MC stage (Mixing Chamber)): - at least 24 wire bundle, normal conducting, approx. 97 Ohms/m @ 20°C - Gender at least 24-pin micro-D at MC stage: receptacle/female - EMI shielding as semi-rigid CuNi tube or equivalent Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include the following DC wiring for piezo based nano-positioning, necessary for actuating an x,y,z, system (including, Atto Cube piezo system or an Qlibri cavity systems): - Low-resistance wiring for 3D system of piezo positioner/scanner - Min. 6x twisted wires, R < 5 Ω at 4K and RT (piezo voltage) - Min. 9x twisted wires, R < 20 Ω at 4K and RT (sensor) - Jumper socket with 2mm pitch on MC plate or equivalent Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST specify as an option the possibility to extend the minimum configuration or DC wiring for piezo based nano-positioning (e.g. for accommodating a Qlibri Microcavity cavity system) discussing the technical need and advantage, and such option MUST be listed as optional within the Pricing Schedule 2. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include the following DC power wiring set for low noise amplifiers (LNA): - at least 9-pin Nano-D connector at 4 K - at least 20 low loss DC wiring for LNA power supply - Room temperature connection cables from cryostat to power supplies - at least 4 possible LNA connections Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include an option to expand the DC power wiring set for low noise amplifiers to accommodate four more LNAs, and such option MUST be listed as optional within the Pricing Schedule 2. Please confirm and detail. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include the following RF termination set, 50 Ω: - Vacuum port with keyed hermetic feedthrough, SMA (18 GHz) - F-F feedthrough at all stages, SMA (18 GHz) - At least 12 lines Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include at least 10 Coax, 18 GHz, SMA-SMA standard RF lines, RT to MC with the following characteristics: - SCuNi (silver plated) inner conductor, (or equivalent) - CuNi outer conductor, Ø 1.19 mm (or equivalent) - 50 Ω characteristic impedance. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include at least 2 Coax, 18 GHz, SMA-SMA low resistance RF lines, split as RT to 4K and as 4K to MC Plate with the following characteristics (or equivalent): - SCuNi (silver plated) inner conductor, RT to 4K, (or equivalent) - CuNi outer conductor, Ø 1.19 mm, (or equivalent) - NbTi inner conductor, 4K to MC Plate, (or equivalent) - NbTi outer conductor, Ø 1.19 mm (or equivalent) - 50 Ω characteristic impedance. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a preparation (e.g. appropriate place holders) for later installation at 4K of at least four low noise amplifiers (HEMTs). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include as an option to purchase, a preparation (e.g. appropriate place holders) for later installation at 4K of at least four other low noise amplifiers (HEMTs). Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include low noise cryogenic amplifiers (LNAs), installed and thermalised (4K): - 2x Low Noise Factory LNF-LNC4_8 (or equivalent) Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a low noise current supplier capable of serving at least four LNAs: - 1x Low Noise Factory LNF-PS4 (or equivalent) Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a low noise power block to enable power-up the LNF-PS4 units: - Low Noise Factory LNF-PBA (or equivalent) Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include the installation and thermalization at mK of: - at least, two cryogenic dual junction isolator/circulator - 2x Low Noise Factory LNF-ISISC4_8 (or equivalent) Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include optical access windows for vertical and horizontal direct optical access. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include: - a central window with at least Ø 25 mm quartz glass - three lateral windows parallel to the tabletop window with at least Ø 25 mm quartz glass (opposite window orientation 90°) Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include windows on Vacuum Shielding and Radiation Shieldings with: - At least λ/10 UV quartz glass, Ø 25 mm - AR-coating. 400 to 1000 nm, Ravg ≤ 1.25% @ 400 - 1000 nm. - Clear aperture of at least 17 mm. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include Orifice plates for vacuum and radiation shielding. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a system preparation from optical fiber insertion with: - Custom hermetic fiber feedthroughs for bare-fiber access - Standard hermetic seal for fiber with coating diameter of 250 ±15 μm - Incl. blind seals for hermetic closure without fiber - Metal tube from RT to MC for mechanical guiding, thermalization and fixation Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include at least one superconducting magnet system-1D solenoid. (Note- additional superconducting magnet system-1D solenoids provided will score higher). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a superconducting magnet system with maximum isolated central nominal field in field-direction: > 3.0 T (in single-coil configuration). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a superconducting magnet system with an experimental footprint for the available diameter of least Ø 38 mm. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a superconducting magnet system with an experimental footprint for the available height as appropriate for to fit a microscope objective (approx. 50mm or more is expected). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include at least 3x high-current lines for ≤ 20 A per line serving the superconducting magnet. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include a superconducting magnet and its high current lines which present active cooling with Helium-4 monitored by a Flux meter for Helium-4 regulation Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a superconducting magnet equipped with at least 20A GS power supply power supply featuring: - Mains supply: 230 V - 50 Hz - Output current range: at least ±20 A - Input control voltage: at least ±10 V Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field MUST include a superconducting magnet equipped with an external voltage control with its software control and connections to an external existing Tyndall laboratory PC. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed Dilution Refrigerator with Magnetic field SHOULD include an optical table for dilution refrigerator system lodging, equipped with pneumatic isolator legs. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST state when the equipment model was introduced and when the system is likely to be superseded. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST specify any tools required for the operation (or for maintenance if required), e.g. power supply, mechanical lifters or similar. These SHOULD be supplied as part of the system. Should they be available commercially elsewhere, they MUST be clearly described and MUST be listed as optional within the Pricing Schedule 2. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. Insert Comment |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Roadmap & Flexibility: As with all pieces of equipment in UCC, the ability to upgrade in the future to add additional functionality not currently specified is very important, i.e., the tool should have a future roadmap of development. Please confirm and detail. Please provide details describing any future possible upgrades for the Dilution Refrigerator with Magnetic field and provision for these. Please indicate any associated upgrade options price, as an optional to purchase, in Appendix 2 – Pricing Schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority at any time up to 12 months from contract signing and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Hardware/Software Requirements |  |
|  | Should the proposed system need to be controlled by an external computer, it MUST be compatible to run on a software based on Windows 11 (or later if relevant) or be platform independent. Note-The PC is not required to be provided by the tenderer. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Dilution Refrigerator with Magnetic field MUST be running on a software generating data files in one of the ASCII formats, e.g. - .csv, - .txt Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Dilution Refrigerator with Magnetic field MUST include the necessary drivers and/or software for PC control. Please detail the software provided and any requirements for operation. If drivers are provided, please clarify which software platforms they are designed to be compatible with. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Dilution Refrigerator with Magnetic field MUST have Software with minimum security vulnerabilities and minimise the need for frequent upgrades. Please confirm and detail |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | System software SHOULD be user friendly. Please provide details describing any future possible software or firmware upgrades and provision for these. Please indicate any associated upgrade options price, as an optional to purchase, in Appendix 2 – Pricing Schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority at any time up to 12 months from contract signing and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Software updates to the system, which become available during the life of the contract, MUST be provided free of charge during the warranty period. Please confirm and detail and update Appendix 2 with any associated costs. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | All necessary software and perpetual licenses MUST be provided (unless the equipment is compatible with some of open-source scripting languages) as required for operation of instrumentation and analysis of results. Please confirm and detail and update Appendix 2 with any associated costs. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Minimum Host Computer Specifications: Tenderers MUST specify the minimum host computer specifications to run the proposed software. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Quality and Health & Safety |  |
| QC & Validation Requirements & Health & Safety |  |
|  | All goods supplied in accordance with the contract MUST be of good construction, sound material, robust, free of design defects and manufactured to be safe and without risk when properly used. Please outline and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Compliance with all relevant European health and safety standards, quality assurance and protocols are MANDATORY. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Goods and Services MUST comply with all necessary standards, i.e. Irish Standards Institution, European Union, CE, International Standards Organisation or other applicable standard the Tenderer MUST, on the request of the buyer, provide a copy of the standard free of charge. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If there are manufacturing defects known to the tenderer, they MUST identify such defects and state their policy regarding the repair of known defects. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The equipment operation MUST be FAT (Factory Acceptance Test) validated prior to shipment to Tyndall to ensure it meets performance specifications. Validation certificates MUST be provided prior to shipment to Tyndall. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Site Acceptance Test After functional acceptance at Validation, the Site Acceptance Test (SAT) of the equipment shall be done jointly by engineers assigned by Tyndall and by the tenderer. A final acceptance document shall be prepared with the following content: - The purchase order reference. - The procurement specification reference. - A list of outstanding issues, including an action time frame for resolving these issues and the division of responsibility for this work. - The signatures and functions of the accepting engineers on each side, the Tyndall, MCCI Head of Group and Tenderer’s appointed engineers. - The date of acceptance. - Serial number of the equipment. If the items in the list are satisfied, the equipment will be accepted. If one or more items are not accepted, the tenderer will be required to rectify the deficiency or, alternatively, a partial acceptance may be agreed combined with an extension of the warranty period. Terms shall be negotiated between Tyndall and tenderer based on the results of the acceptance tests. If there is a serious problem on the system, a mutually agreed plan of correction will be generated to correct the problem. Tyndall may waive any portion of the plan. The plan may include the replacement of the system at the discretion of the tenderer. Please confirm compliance. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST advise if there are any hazards associated with the operation or maintenance of this instrument? (E.g. manual handing, chemicals, gases etc.). Compliance with all relevant health and safety standards, quality assurance, CE markings and analytical protocols is MANDATORY. Please detail and confirm. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer SHOULD, as part of the submission, include copies of any relevant testing or compliance certificates for the Goods. Confirm compliance and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Warranty/Spare Parts, After-Sales and Training Support |  |
| Warranty & Customer Support |  |
|  | A minimum warranty of two (2) years MUST be supplied with the Dilution Refrigerator with Magnetic field from Validation & SAT and MUST be included as part of the quoted price, to include all hardware, software, spare parts, labour, call outs (24 hour), visit, travel and parts, Note: Longer Warranty period is preferable. Please state warranty period provided. Detail specific inclusions and exclusions of warranty. Preventative Maintenance MUST be provided for one year if necessary. Provision of additional warranty is desirable. Please confirm and detail and outline breakdown in Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If UCC decide to extend the warranty period, Tenderers are asked to outline cost of any additional warranty. The Tenderer MUST state the details of any extended warranty and details of preventative maintenance and calibration and servicing check and any associated costs. Detail specific inclusions and exclusions of extended warranty with respect to: the Dilution Refrigerator with Magnetic field for Years 3,4 &5 Please include price per annum, details of coverage and maximum term of coverage. Please include price per annum for additional years of coverage and maximum term of coverage. Please confirm, detail and also specify what is included in the warranty options outlined in the Appendix 2 pricing schedule. Detail specific inclusions and exclusions of extended warranty. Please confirm detail and specify what is included in the warranty options outlined, as optional to purchase, in the Appendix 2, Pricing schedule. Note: Pricing MUST only be included in the Further Options – Optional to Purchase, Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please provide separately a list and approximate cost of any consumable items/parts that are to be replaced during each service visit. Please update Appendix 2 Pricing Schedule – Consumables Parts tab with detail. Prices provided for consumable items/parts must be valid for a minimum of one (1) year. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please advise of any items/part of the instrument that require routine replacement during the normal lifetime of the instrument, the timeframe in which they require replacing and if such items will be supplied with the instrument or as part of the warranty. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A list of checks carried out at Preventative Maintenance MUST be provided, along with any information about which (if any) parts are routinely replaced. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide a description of the arrangements and lead times for guaranteed responses times in the event of equipment breakdown under warranty both in relation to phone support, online/remote support, the provision of technical support, annual service/ maintenance, emergency call-out response, and spare parts. Please detail lead time for arrival on site by a fully trained service engineer during the warranty period (s) and post-warranty. This response time SHOULD be no more than 24 hours via phone call or remote service, and within seven (7) working days for onsite repair. Please confirm and detail information on remote diagnostic / Telecom-based service support. Please confirm detailing response times. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Outside of Warranty Period: The Tenderer MUST provide typical prices and lead time for servicing and repairs (including travel, subsistence and price per day) charged outside a warranty/ maintenance contract. Detail specific inclusions and exclusions outside of warranty period. Please confirm and detail. Please indicate the price in Appendix 2 – Pricing Schedule. This is optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Further Options – Optional to Purchase, Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If UCC decide to take out a Service Level Agreement, tenderers are asked to outline Options for subsequent years. Detail specific inclusions and exclusions of Service Level Agreement with respect to: Dilution Refrigerator with Magnetic field: Years 3,4 & 5 Option to include: - On-going calibration to appropriate schedule - preventative maintenance - remote diagnostics of faults, if applicable - repair of the Instrument in case of breakdown) Tenderers are asked to outline full details of what is included and to outline cost of maintenance and calibration for each year option offered in Appendix 2, Pricing Schedule. Please confirm detail and specify what is included in the Service Level Agreement options outlined, as optional to purchase, in the Appendix 2, Pricing schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST have dedicated fully trained and qualified service engineering specialists at their disposal who can respond to all service calls and any form of breakdown call. This remote response time SHOULD be no more than 24 hours via phone call or remote service, and within 7 working days for onsite repair. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| After-Sales, Repair & Breakdown Support |  |
|  | Please outline the company’s Customer Support Proposal and escalation policy. Tenderers MUST describe what process is in place for escalating a call-out, if a breakdown cannot be resolved on the first visit. Please confirm detail and specify what is included in Customer Support Proposal, as optional to purchase, in the Appendix 2, Pricing schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST indicate the arrangements for and specify the level of experience of applications specialists and engineers who will be in charge of after sales service. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Same day phone/online helpdesk support MUST be provided. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender MUST specify the lead-time for Customer Support during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender MUST provide onsite response, when required, within 7 working days. Please specify the lead-time for Onsite Support during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender SHOULD specify the lead-time for repairs during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Warranty commences post full installation and Final Tool Acceptance and SAT Validation by nominated UCC representative. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Replacement and Spare Parts & Equipment Consumables |  |
|  | Please indicate the lead-time for parts during the warranty period(s) and post-warranty, with and without service contract options. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | In event of a system breakdown, the tenderer MUST state the availability and guaranteed minimum response time for spare and replacement parts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Spare Parts: Availability of all spare parts SHOULD be maintained ten (10) years after the warranty period. Please confirm and detail. Please indicate the availability and lead time of spare part stock centres, with maximum lead-time for any part. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Critical spares SHOULD be held at a location no more than 48 hours delivery time from Tyndall. Please confirm and detail |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Recommended spares lists: If applicable, should be provided by Tenderer. E.g. typical consumables, high-turnover parts. The tenderer MUST supply, where information is available, to the buyer a schedule of spare parts showing in tabular form or, otherwise, the following information on OEM parts: - Names and address of all OEM suppliers - Part Name - Part Description - OEM Supplier Part Number. This SHOULD include typical consumables and high turnover parts. Prices provided for consumable items/parts MUST be valid for a minimum of one (1) year. Please detail in Appendix 2, Pricing Schedule- Consumable Parts tab. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. This is for information only and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Consumable Parts: Sufficient consumable parts MUST be supplied for the initial installation, commissioning and training. These consumable parts MUST be provided free of charge and at the point of commissioning. A full one year of consumable parts MUST also be supplied post-commissioning. Prices provided for consumable items/parts MUST be valid for a minimum of one (1) year. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. (Consumables Tab) Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide confirmation of the availability of service for at least five (5) years after commissioning. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Training and Technical Support Proposal |  |
|  | The tenderer MUST specifically outline the level and duration of application support offered with the instrument where “application support” refers to the expert technical support (on-line or on-site) available from the manufacturer for using the instrument in novel research applications. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Following the delivery of the Dilution Refrigerator with Magnetic field, the successful tenderer MUST provide on-site or online training for a minimum for up to two (2) Laboratory staff by fully qualified personnel immediately after installation and for at least 2 days. Training SHOULD be completed within three (3) Weeks, or earlier, of delivery. Both Validation and demonstration/training of equipment MUST conducted on same day. The training MUST include: - Equipment set up - Ongoing necessary maintenance - Daily Operation Please specify if training is onsite or online. Please confirm and detail and update Appendix 2 Pricing schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The training MUST incorporate: SAT and Validation tests (this can be delivered on-site or online) following the equipment installation at Tyndall. The (Site Acceptance Test) will ensure accuracy and overall performance of the Spectrometer has not been affected by transport and shipping. These tests will also be used for on-site training purposes. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers are requested to provide a summary of scheduled maintenance and calibration required to keep instrument working to the full specification as per manufactures recommendations. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Relevant training and maintenance manuals in English MUST be provided in soft copy with the system. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Delivery Plan |  |
| Lead Time & Delivery |  |
|  | The Dilution Refrigerator with Magnetic field SHOULD be delivered within sixteen (16) months of receipt of Purchase Order. Please state the exact number of months for delivery. A range of months is not acceptable. (Note that shorter delivery time is highly desirable and will be scored favourably). - Tenderers must provide full details of lead times for the delivery of equipment including installation, commissioning & validation (if applicable), from receipt of the purchase order. - Tenderers must provide the facility requirements to UCC a minimum of four (4) weeks in advance of the equipment delivery. - Tenderers must provide advance notice, three (3) weeks of any requirements for tool unloading, number of containers and weight of each. Height, length and width of containers/ crates to be provided as well. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Delivery MUST include all shipping charges, insurance, customs clearance and all aspects as outlined in DAP (Delivery At Place) incoterms. Delivery must be to Tyndall National Institute-University College Cork: Goods In/Goods Out Dept Tyndall National Institute, University College Cork Lee Maltings Dyke Parade T12R5CP Cork, Ireland Advance notice MUST be given, two (2) weeks of any requirements for tool unloading, number of containers and weight of each. Height, length and width of containers/crates MUST also be provided. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of actions that have been taken to ensure the future timely supply and delivery of goods and services, including ongoing supply of replacement/spare parts and consumables. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of their contingency plans for any changes in the delivery programme (alternative sources/routes of supply) for any delays in delivery should they arise. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Installation Commissioning, Calibration & Validation |  |
|  | The supply of all electrical items MUST be in full accordance with, but not limited to, European standards / regulations and all relevant amendments. Please provide electrical requirements for operation and approximate power consumption. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST be suitable for use with the 400V, 50Hz, 3-phase electrical supply at the proposed installation site. If a transformer unit is required to achieve this, it MUST be supplied as part of the system. Please confirm and detail. Tenderers should also note that the following facilities will be available at the installation site: - 3-phase electrical supply as above - Process cooling water supply - Waste water drainage - Compressed air supply - Nitrogen gas line - Air exhaust Please confirm and detail. |
|  | Validation of the equipment MUST be carried out on-site or online, by or supported by (if online) trained engineers provided by the tenderer. Please confirm and detail. |
|  | Insert Comment |
|  | Validation of the equipment MUST be carried out on-site or online, by or supported by (if online) trained engineers provided by the tenderer. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST provide a qualified Engineer to perform the SAT, post installation and validation, to ensure accuracy and overall performance have not been affected by shipping. These tests will also be used for on-site training purposes. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST validate the system and verify full functionality at the Tyndall National Institute site (as an on-site or on-line process). Tyndall will provide for any labour and materials as reasonably requested for the purpose of installation. Tenderer has to make a written request for this support at least four (4) weeks in advance of installation. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1. Document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A signed certificate for successful Site Acceptance Test (SAT) MUST be provided upon completion of training delivered by the tenderer on the operation and use of the equipment. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Documentation |  |
|  | A detailed User Operational Manual for the Dilution Refrigerator with Magnetic field MUST be provided. This should include the following. - Full electrical and design specifications. - Manuals MUST be supplied in English language. - Manuals MUST be provided in softcopy, and preferentially in hard copy too Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A maintenance and validation manual for the system MUST be provided to include the following: - Cleaning requirements service if needed - Maintenance and Validation requirements. - Manuals MUST be supplied in English language. - Manuals MUST be provided in softcopy, and preferentially in hard copy too. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A Technical Specification for the Unit MUST be provided covering all major components of the system. The specification MUST be supplied in the English language and at least as soft copy. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST as part of the submission, include soft copies of any relevant testing or compliance certificates for the Goods. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Energy & Environmental |  |
| Energy & Environmental Considerations |  |
| E1 | Please outline your company’s commitment to the sustainable life cycle of the tendered equipment in a manner that minimises adverse environmental impacts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E2 | Energy & Environmental Requirements: The Contracting Authority requires the equipment provided to be as energy and economically efficient as possible. The Dilution Refrigerator with Magnetic field equipment SHOULD have low running costs allowing the equipment to be as energy & economically efficient as possible. Please provide details on any “warm-up” times required for the equipment to operate to specification. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E3 | Tenderers SHOULD provide details of any takeback arrangements they may offer when the equipment reaches end of life and how that may be availed of. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E4 | Tenderers SHOULD indicate typical Energy Consumption during operational time while the equipment is in use. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E5 | Where possible, use of a standby mode/reduced power mode of operation when the system is not in use. The tenderer SHOULD specify the stand-by energy consumption. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E6 | It is DESIRABLE that all Tender requirement is delivered using environmentally friendly Packaging Materials; packaging, tape, labels and stretch wraps. Ideally, this packaging SHOULD avoid any single use plastic and be recovered or at a minimum reusable. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E7 | Tenderers SHOULD provide details of expected lifetime of the equipment required. Tenderers must state how long the model of equipment has been on the market and indicate the expected working life of the proposed models and longevity of equipment, etc. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Ultimate Cost. (Refer to Appendix 2: Pricing Schedule for Completion) |  |

Notes to Tenderer

Risk and Title Any equipment provided in this contract shall be with an unencumbered title and the Contracting Authority reserves the right to use any successfully contracted equipment for any purpose including commercial purposes as it may require

TAXATION – RCT Relevant Contracts Tax (RCT) is a withholding tax system that operates in the construction sector. Where a principal contractor in that sector makes a “relevant payment” to a subcontractor, RCT must be operated. Please be advised that University College Cork (“UCC”) is a principal contractor for RCT purposes. If the equipment provided to UCC are deemed to fall within the scope of RCT, then UCC will be obliged to withhold this tax and pay it over to Irish Revenue. There are three withholding tax rates in the new electronic RCT system: 0%, 20% & 35%. In general, the 35% rate will be applied to subcontractors who are not known to Irish Revenue and to subcontractors where Irish Revenue consider that these subcontractors have compliance issues which have not been addressed. Please note that this is a complex area and it will not always be obvious from the outset as to whether a particular contract might fall within the scope of RCT. This will be dependent on the circumstances relating to each specific contract awarded. In some instances, contracts relating to the supply and installation of equipment may fall within the scope of RCT. For more information on RCT, please see links to the Irish Revenue website below: - RCT for subcontractors - http://www.revenue.ie/en/tax/rct/subcontractor.html - RCT for non-resident subcontractors http://www.revenue.ie/en/tax/rct/non-resident-contractors.html

  - Authorised Signatory

This form MUST be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 180 days from the date of deadline for submission of tenders.

- I/ We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.  The Goods supplied MUST comply with the express terms of the Contract and all implied conditions, warranties and terms contained in the Sale of Goods Act of the Republic of Ireland, as applicable to the Contract and as amended by any related statutes, and any statutory re-enactment(s) or modification(s) thereof.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process.

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |
| Company Name: |  | Date: |  |
| Address: |  |  |  |
| Email: |  |  |  |

# SECTION 4    TENDERER RESPONSE CHECKLIST

| # 4.0 Tenderer Response Checklist. |  |  |  |  |
| --- | --- | --- | --- | --- |
| I confirm that I have completed the Declaration re Statutory Obligations | Yes |  | No |  |
| I confirm that I have completed the Response to Selection Criteria in this document. | Yes |  | No |  |
| I confirm that I have completed European Single Procurement Document (ESPD) as per 2.2.1 (a) of the RFT document. | Yes |  | No |  |
| I confirm that I have completed the responses to the Award Criteria as per Section 3 of this document. | Yes |  | No |  |
| I confirm that I have completed the responses to the Technical Specification Section 3 (Appendix 1) of the TRD document. | Yes |  | No |  |
| I confirm that I have completed Appendix 2 - Pricing Schedule (attached in Excel) | Yes |  | No |  |
| I confirm that I have completed the Tenders Statement, Appendix 3 in TRD | Yes |  | No |  |
| I confirm that I have completed the Financial Statements Schedules A, B, C, D & E of Appendix 3A in TRD. | Yes |  | No |  |
| I confirm that I have completed the Declaration to Personal Circumstances, Appendix 4 in TRD. | Yes |  | No |  |

| Note Re File Uploads to eTenders |  | Please tick ü |  | Please tick ü |
| --- | --- | --- | --- | --- |
| Please ensure that files are named and zipped before uploading. This is to allow the encryption process to only encrypt the overall file name, and the filenames inside the zip will maintain their original title. | YES |  | NO |  |

Document end