CONTENTS

| Section | Title |
| --- | --- |
| 1 | Introduction |
| 2 | Tuath Housing Overview |
| 3 | Scope of Services |
| 4 | Service Delivery Principles |
| 5 | Legislative and Regulatory Compliance |
| 6 | Resident and Customer Service Standards |
| 7 | Responsive Repairs Requirements |
| 8 | Void Property Requirements |
| 9 | Planned Compliance Requirements |
| 10 | Health and Safety |
| 11 | Safeguarding and Vulnerable Residents |
| 12 | Operational Delivery Requirements |
| 13 | Emergency and Out of Hours Services |
| 14 | Quality Assurance and Inspections |
| 15 | Materials and Workmanship |
| 16 | IT Systems and Reporting |
| 17 | Commercial Administration |
| 18 | KPI and Performance Monitoring |
| 19 | Mobilisation Requirements |
| 20 | Environmental and Sustainability Requirements |
| 21 | Social Value and Community Benefit |
| 22 | Supply Chain and Subcontracting |
| 23 | Data Protection and Confidentiality |
| 24 | General Operational Requirements |

1. Introduction

1.1 Purpose of Specification

This Specification and Operational Requirements document sets out the operational, technical, compliance and service delivery requirements relating to the Tuath Housing Repairs and Voids Multi-Contractor Framework.

This document forms part of the Framework procurement documentation and shall apply to all Framework Contractors appointed under the Framework Agreement.

1.2 Framework Objectives

The objectives of the Framework include:

- delivery of safe, compliant and high-quality maintenance services;

- provision of responsive and resident-focused service delivery;

- maintenance and protection of Tuath Housing assets;

- achievement of value for money;

- collaborative and transparent operational delivery;

- support for sustainability and social value objectives;

- and establishment of long-term collaborative contractor relationships.

1.3 Collaborative Delivery Model

Tuath Housing intends to operate the Framework in a collaborative and partnership-based manner.

Framework Contractors shall work proactively with Tuath Housing to:

- improve operational performance;

- support continuous improvement;

- identify efficiencies;

- improve resident outcomes;

- and support future service development.

2. Tuath Housing Overview

Tuath Housing is one of Ireland’s largest Approved Housing Bodies providing safe, secure and affordable homes throughout Ireland.

The Framework shall support the maintenance and operational management of Tuath Housing’s residential portfolio across multiple geographical regions.

The housing portfolio includes:

- general needs housing;

- apartments;

- houses;

- sheltered housing;

- supported accommodation;

- and mixed tenure developments.

3. Scope of Services

The Framework may include but shall not be limited to:

- responsive repairs;

- emergency repairs;

- urgent repairs;

- routine repairs;

- void reinstatement works;

- planned compliance programmes;

- electrical testing and remedials;

- smoke detector replacement programmes;

- heat detector replacement programmes;

- carbon monoxide detector programmes;

- minor planned works;

- specialist repairs;

- quoted works;

- and associated maintenance services.

Services may be instructed individually or in combination.

4. Service Delivery Principles

Framework Contractors shall deliver services in accordance with the following principles:

- resident-focused service delivery;

- right first-time workmanship;

- operational responsiveness;

- transparency and accountability;

- collaborative working;

- value for money;

- health and safety compliance;

- safeguarding awareness;

- professionalism;

- and continuous improvement.

Framework Contractors shall act in a manner consistent with good industry practice and the standards reasonably expected of experienced social housing maintenance contractors.

5. Legislative and Regulatory Compliance

5.1 General Compliance

Framework Contractors shall comply with all applicable Irish and European legislation, regulations, codes of practice and statutory requirements.

5.2 Relevant Legislation

This includes but is not limited to:

- Safety, Health and Welfare at Work Act 2005;

- Safety, Health and Welfare at Work (Construction) Regulations;

- Building Control Acts;

- Building Regulations;

- Housing legislation;

- Fire safety legislation;

- Electrical safety requirements;

- Waste Management legislation;

- Environmental legislation;

- GDPR and Data Protection legislation;

- Employment legislation;

- Equality legislation;

- and all other applicable statutory requirements.

5.3 Competency Requirements

Framework Contractors shall ensure that:

- operatives are appropriately trained;

- qualifications are maintained;

- registrations remain valid;

- and all personnel are competent to undertake the services.

5.4 Electrical Compliance

All electrical works shall be undertaken by appropriately qualified and registered electrical operatives.

Framework Contractors shall comply with:

- ETCI requirements;

- Safe Electric registration requirements;

- and all applicable electrical regulations.

6. Resident and Customer Service Standards

6.1 Customer Service

Framework Contractors shall:

- treat residents respectfully;

- communicate professionally;

- minimise disruption;

- maintain appropriate appearance and conduct;

- and provide resident-focused service delivery.

6.2 Appointments

Residents shall be provided with appropriate appointments and communication relating to:

- attendance times;

- delays;

- cancellations;

- follow-on works;

- and completion confirmation.

6.3 Resident Communication

Framework Contractors shall maintain clear communication before, during and after works.

6.4 Identification

All operatives shall:

- carry identification;

- wear appropriate branded clothing;

- and present professionally.

6.5 Complaints

Framework Contractors shall:

- cooperate fully with complaint investigations;

- provide information promptly;

- and implement corrective actions where required.

7. Responsive Repairs Requirements

7.1 General

Responsive repairs shall include emergency, urgent and routine repairs arising during occupation of the property.

7.2 Repair Categories

Repairs may be categorised as:

- emergency repairs;

- urgent repairs;

- routine repairs;

- specialist repairs;

- and follow-on works.

7.3 Emergency Repairs

Emergency repairs shall include situations involving:

- risk to life;

- risk to property;

- major water leaks;

- loss of essential services;

- unsafe electrical installations;

- insecure properties;

- or other urgent operational risks.

Framework Contractors shall provide emergency response capability including out-of-hours cover.

7.4 Attendance and Completion

Framework Contractors shall:

- attend within agreed response periods;

- complete repairs promptly;

- minimise repeat visits;

- and maximise first-time fix performance.

7.5 Making Safe

Where immediate permanent repair is not possible, Framework Contractors shall:

- make safe;

- minimise risk;

- and arrange follow-on works promptly.

7.6 Materials

All materials shall be:

- new;

- fit for purpose;

- compliant with applicable standards;

- and suitable for residential use.

7.7 Access

Framework Contractors shall:

- manage appointments effectively;

- minimise failed access;

- and maintain records of attendance attempts.

7.8 Photographs and Records

Framework Contractors may be required to provide:

- pre-works photographs;

- post-works photographs;

- job notes;

- completion evidence;

- and resident sign-off.

7.9 Variations and Additional Works

Additional works outside original instruction scope shall be managed in accordance with agreed commercial procedures.

8. Void Property Requirements

8.1 General

Void works shall include all works necessary to return properties to a safe, compliant and lettable standard.

8.2 Void Categories

Void works may include:

- minor voids;

- medium voids;

- major voids;

- and specialist reinstatement works.

8.3 Scope Validation

Framework Contractors may be required to:

- validate scopes;

- identify variations;

- and provide recommendations.

8.4 Void Standards

Properties shall be returned:

- safe;

- clean;

- secure;

- compliant;

- and ready for occupation.

8.5 Turnaround Times

Framework Contractors shall support minimisation of void turnaround periods.

8.6 Cleaning and Waste

Framework Contractors shall:

- remove waste;

- leave properties clean and tidy;

- and dispose of materials legally.

8.7 Certification

All required certification shall be provided before handover.

8.8 Utility Safety

Framework Contractors shall ensure that properties are safe regarding:

- electrical installations;

- water systems;

- and other associated services.

9. Planned Compliance Requirements

9.1 General

Framework Contractors may be required to deliver planned compliance programmes.

9.2 Planned Compliance Activities

These may include:

- EICRs;

- smoke detector replacement programmes;

- heat detector replacement programmes;

- carbon monoxide detector programmes;

- associated remedial works;

- and related compliance activities.

9.3 Resident Engagement

Framework Contractors shall:

- communicate clearly with residents;

- manage appointments;

- support vulnerable residents;

- and minimise failed access.

9.4 EICRs

EICRs shall:

- comply with applicable electrical regulations;

- be undertaken by competent operatives;

- and include all required certification.

9.5 Remedial Works

Framework Contractors shall complete identified remedial works in accordance with agreed procedures.

9.6 Detector Programmes

Detector programmes may include:

- installation of new hardwired smoke detectors;

- replacement of existing detectors;

- installation of heat detectors;

- installation of carbon monoxide detectors;

- testing;

- certification;

- and resident instruction.

9.7 Reporting

Framework Contractors shall provide:

- programme progress reports;

- certification records;

- failed access reporting;

- and compliance information.

10. Health and Safety

10.1 General

Framework Contractors shall comply fully with health and safety legislation.

10.2 Risk Assessments

Suitable and sufficient risk assessments and method statements shall be prepared where required.

10.3 Operative Safety

Framework Contractors shall ensure:

- safe systems of work;

- PPE usage;

- appropriate supervision;

- and training.

10.4 Resident Safety

Framework Contractors shall minimise risks to residents and members of the public.

10.5 Asbestos

Framework Contractors shall comply with asbestos management procedures.

11. Safeguarding and Vulnerable Residents

Framework Contractors shall:

- recognise safeguarding concerns;

- support vulnerable residents;

- escalate concerns appropriately;

- and comply with safeguarding procedures.

Operatives may be required to complete safeguarding awareness training.

12. Operational Delivery Requirements

Framework Contractors shall maintain:

- sufficient staffing;

- supervisory capability;

- operational resilience;

- out-of-hours capability;

- and business continuity arrangements.

Framework Contractors shall cooperate with Tuath Housing operational teams throughout delivery.

13. Emergency and Out of Hours Services

13.1 Out of Hours Cover

Framework Contractors shall maintain out-of-hours response capability where required.

13.2 Escalation

Appropriate escalation procedures shall be maintained for:

- major incidents;

- emergency situations;

- and resident welfare concerns.

14. Quality Assurance and Inspections

14.1 Quality Standards

All works shall be completed to high professional standards.

14.2 Inspections

Tuath Housing may undertake:

- post inspections;

- quality inspections;

- audits;

- and compliance inspections.

14.3 Defects

Framework Contractors shall rectify defects promptly.

14.4 Continuous Improvement

Framework Contractors shall support continuous improvement initiatives.

15. Materials and Workmanship

15.1 General

All workmanship shall:

- comply with applicable standards;

- be fit for purpose;

- and reflect good industry practice.

15.2 Compliance Hierarchy

Works shall comply with:

- Statutory requirements;

- Building Regulations;

- Manufacturer requirements;

- Irish Standards;

- British Standards where applicable;

- Industry best practice;

- Tuath Housing requirements.

15.3 Materials

Materials shall:

- be new and unused;

- suitable for intended purpose;

- appropriately certified;

- and from reputable manufacturers.

15.4 Product Substitution

Alternative products shall not be used without approval where approval is required.

16. IT Systems and Reporting

Framework Contractors shall:

- utilise appropriate operational systems;

- support mobile working;

- maintain secure information management;

- and cooperate with Tuath Housing IT integration requirements.

Framework Contractors may be required to integrate with future Tuath Housing systems.

17. Commercial Administration

Framework Contractors shall comply with agreed commercial procedures including:

- variations;

- quoted works;

- invoicing;

- cost validation;

- and commercial audit arrangements.

Commercial procedures may evolve during the Framework term.

18. KPI and Performance Monitoring

Framework Contractors shall support performance management arrangements.

KPIs may include:

- response times;

- completion times;

- first-time fix rates;

- resident satisfaction;

- compliance;

- complaints;

- and quality performance.

19. Mobilisation Requirements

Framework Contractors shall participate fully in mobilisation activities.

Mobilisation may include:

- systems integration;

- process mapping;

- reporting setup;

- resident communication planning;

- staffing arrangements;

- and operational readiness reviews.

20. Environmental and Sustainability Requirements

Framework Contractors shall:

- minimise waste;

- support recycling;

- reduce environmental impact;

- and support sustainability objectives where reasonably practicable.

21. Social Value and Community Benefit

Framework Contractors shall support social value objectives including:

- local employment;

- apprenticeships;

- community engagement;

- local supply chains;

- and resident wellbeing initiatives.

22. Supply Chain and Subcontracting

Framework Contractors shall remain responsible for all subcontractors.

Supply chains shall comply with:

- Framework requirements;

- health and safety obligations;

- safeguarding;

- and data protection requirements.

23. Data Protection and Confidentiality

Framework Contractors shall:

- comply with GDPR;

- protect resident information;

- maintain confidentiality;

- and comply with Tuath Housing data protection requirements.

24. General Operational Requirements

24.1 Cooperation

Framework Contractors shall cooperate fully with Tuath Housing and other appointed contractors.

24.2 Continuous Improvement

Framework Contractors shall proactively identify opportunities to improve:

- service delivery;

- resident outcomes;

- efficiency;

- sustainability;

- and value for money.

24.3 Framework Evolution

Tuath Housing reserves the right to:

- amend operational procedures;

- introduce new systems;

- revise reporting requirements;

- amend KPIs;

- and develop commercial arrangements

throughout the Framework term.

Framework Contractors shall cooperate reasonably with such developments.

END OF SPECIFICATION