## Equipment Search - Export
Ac Unit | Asset: Number | Task Title | Description | Sub Area | Make | Model | Serial Number
1 | FLEX10353 | Dexta Bone Scan | Outside OPD | Physio Dept | Mitsubishi Electric | MUZ -AP25VG | OE029391TR
2 | FLEX10352 | PABX Physio | Outside yard | Physio Dept | Mitsubishi Electric | MUZ -GF60Ve | 8003336T
3 | FLEX10350 | Foundation Portacabin | Portakabin | Portakabin | Mitsubishi Electric | MUZ -SF 50VE | 7005727T | New Unit, Old Stripped out, to be sized
4 | FLEX10347 | Theatre Manager | ROOF AT CANTEEN | Theatre Dept | Toshiba Old Fixed Speed | RAS-240A-P R22 | 54980084 | Change to Theatre canteen for 5kw,New Unit, Old Stripped out, to be sized
5 | FLEX10346 | Theatre Training Room | Old CEO office | Theatre Dept | Toshiba Old Fixed Speed | RAS-13UA-ES-3 R410A | 42301876
6 | FLEX10343 | Theatre Dept Breakroom | Roof over canteen | Theatre Dept | Toshiba Old Fixed Speed | RAS-24UA-ES-1 R410A | 32900003
7 | FLEX10338 | IT Comms Room 1 | Roof over IT | Bone Bank Dept | Toshiba Old Fixed Speed | RAS – 18 UA – ES3 R22 | 42900136
8 | FLEX10337 | IT Comms Room 2 | Roof over IT | Bone Bank Dept | Toshiba 7kw | RAV – SP804ATP-E R410A | 32300031
9 | FLEX10336 | IT Comms Room 3 | Roof over IT | Bone Bank Dept | Toshiba 7kw | RAV – SP804ATP-E R410A | 32300012
10 | FLEX10335 | IT store room bone bank | Roof on IT | Bone Bank Dept | Toshiba Old Fixed Speed | RAS – 24 UAH ES-1 R410A | 42300005
11 | FLEX10334 | lab biochemistry | Back of LAB | Lab | Panasonic 7kw | CU-YL24HBe5 R410A | 7544603059
12 | FLEX10333 | Lab biochemistry | Back of Lab | Lab | Panasonic 7kw | CU-YL24HBe5 R410A | 7544603169
13 | FLEX10332 | Lab microbiology | Roof over boiler house | Lab | Toshiba 5kw | RAV – SP564ATP-e R410A | 201442600450
14 | FLEX10331 | LAB blood transfusion | Roof over Boiler room | Lab | Hitachi | RAS – 50FH6 | 853550698
15 | FLEX10330 | LAB blood transfusion | Back of Lab | Lab | Panasonic | CU-E18NKE | 65123001103
16 | FLEX10329 | Theatre Plantroom 7 | Outside Plantroom | Theatre Plantrooms | Mitsubishi | PUZH-RP35VKA4 R410A | OYU 05577
17 | FLEX10328 | Theatre Plantroom 7 | Outside Plantroom | Theatre Plantrooms | Mitsubishi Electric | PUZH-RP35VKA4 R410A | OYU 05571
18 | FLEX10327 | Theatre Plantroom 6 | Outside Plantroom | Theatre Plantrooms | Mitsubishi Electric | PUZH-RP35VKA4 R410A | OYU 05574
19 | FLEX10326 | Theatre Plantroom 6 | Outside Plantroom | Theatre Plantrooms | Mitsubishi Electric | PUZH-RP35VKA4 R410A | OYU 05579
20 | FLEX10325 | Theatre plant room 5 | Outside Plantroom | Theatre Plantrooms | Mitsubishi Electric | PUZH-RP35VKA4 R410A | OYU 05580
21 | FLEX10324 | Theatre Plantroom 5 | Outside plantroom | Theatre Plantrooms | Mitsubishi Electric | PUZH-R[35VKA4 R410A | OYU05578
22 | FLEX10321 | St Pauls Kitchen |  | St Pauls Ward | Mitsubishi Electric | MUZ-6625VA | 8009467T
23 | FLEX10320 | Hygiene office 1 | Yard back of household | Household Offices | SANYO | SAP-CRU96EH | 00181976
24 | FLEX10317 | Hygiene office 2 | Yard at back of household | Household Offices | Toshiba | RAS-M18YAU-e | 307P0139
25 | FLEX10315 | Canteen | Roof above canteen | Restaurant Seating Area | Toshiba | RAV – 164AH – PE | 45080035
26 | FLEX10314 | HDU | Roof on HDU | HDU | LG | AUUW1260 | 385OA28472W
27 | FLEX10312 | REHAB GYM OFFICE | ARU GYM | Physio Dept | Mitsubishi | MUZ-HR50VF | OC017269TR
28 | FLEX10311 | St Pauls Comms | Back of ST Pauls | St Pauls Ward | Mitsubishi Electric | MUZ-AP35VG | 8XC 26133TR
29 | FLEX10310 | Cappagh Kids Comms | Roof at IT | Bone Bank Dept | Mitsubishi Electric | MUZ-HR7IVF | 1000637T
30 | FLEX10309 | IT Dept | Yard MRI | IT Dept | Toshiba | RAS – M18YAV – E | 307P0138
31 | FLEX10308 | IT Dept Comms | STAIRS AT MRI | IT Dept | Toshiba | RAS – 137 SAV E3 | 22600784
32 | FLEX10307 | IT Dept | Yard at MRI 1.5 | IT Dept | Sanyo | SAP – CRV 96EH | 00180276
33 | FLEX10306 | REHAB GYM | Outside Gym | Physio Dept | Mitsubishi | SUZ-KA60VA4 | 53P00532
34 | FLEX10305 | REHAB GYM | ARU Gym | Physio Dept | Mitsubishi | SUZ-KA60VA4 | 53P00533
35 | FLEX10302 | CDU Comms Room | CDU | CDU Dept | Mitsubishi Electric | PUHZ-ZRP35VKA | 35402610
36 | FLEX10300 | MRI Control room | Yard at MRI 1.5 | MRI Dept | Hitachi | RAS – 5182CH R22 | 576520
37 | FLEX10299 | MRI Waiting room | Yard at MRI 1.6 | MRI Dept | Hitachi | RAS – 5182CH R22 | 576718
38 | FLEX10296 | XRAY Radiology | Room over XRay | Radiology | Sanyo | CRV186EH | 00047495