Tender Response Document

Tender Reference: UL1066 LOT 1

Request-for-Tenders under Open  Procedure for the

Supply & Delivery of a Mobile Robot Motion Capture System for University of Limerick (UL)

Location:

University of Limerick, Limerick.

| Issue Date: | Thursday 11th June 2026 |
| --- | --- |
| Contact Person for Queries: | Joe Downey |
| Contact Details for Queries: | E-Tenders Mailbox |
| Closing Date for Receipt of Queries: | 17.00pm On Thursday 25th June 2026 |
| Deadline For Receipt of Tenders: | 14.00pm On Thursday 2rd July 2026 |

Contents

1.	Instructions for the Completion of the Tender Response Document.	3

2.	Introduction	4

3.	Summary of Requirements	5

4.	Section A: Selection Criteria – RFT Section 3.2	6

A1: Insurance	6

A2: Tax Clearance	7

A3: Statement of Turnover	8

A4: Audited Accounts & Reports	8

A5: Data Protection	9

A6: Quality Assurance & Accreditation	9

A7: Organisational Summary	10

A8: Previous Experience	10

A9: Health & Safety	12

A10: Appendix 3 Tenderers’ Statement	13

A11: Appendix 4 Declaration as to Personal Circumstances of Tenderer	15

5.	Sections B: Tender Response	18

B1: Requirements & Specifications	18

B2: Award Criteria	20

B3: Appendix 1-Technical Specification	23

B4: Appendix 2- Pricing Schedule	39

B5: Checklist for Tender Submissions	39

# Instructions for the Completion of the Tender Response Document.

Tenders MUST submit the Tender Response Document (TRD) duly completed. When completing this TRD please note the following:

- Please ensure you complete all of Section A before you progress to Section B.

- Tenderers should note they MUST meet and ‘Pass’ all the requirements contained in Section A, the Selection Criteria, to be considered eligible for assessment against the award criteria, Section B.

- You need to COMPLETE AND RETURN 2 DOCUMENTS. This TRD and the accompanying Appendix 2 Pricing Schedule.

- You DO NOT need to return the RFT Document. The RFT document is for information purposes only.

TRD - Section A Selection Criteria

- A1-A4: Economic & Financial Standing

- A5-A9 Technical & Professional Ability

- A10: Appendix 3 Tenderer’s Statement

- A11: Appendix 4 Declaration as to Personal Circumstances of Tenderer

TRD - Section B: Tender Response

- B1: Requirements & Specifications

- B2: Award Criteria

- B3: Appendix 1-Technical Specification

- B4: Appendix 2- Pricing Schedule (separate Excel File)

- B5: Checklist for Tender Submissions

The completed TRD must be returned in accordance with Section 2.6 of the RFT.

# Introduction

University of Limerick (UL)

With over 18,000 students and 2,000 members of staff, the University of Limerick (UL) is an energetic, research led and enterprising institution with a proud record in innovation and excellence in education, research, and scholarship. The dynamic, entrepreneurial and pioneering values which drive UL’s mission and strategy ensure that we capitalise on local, national, and international engagement and connectivity. We are renowned for providing an outstanding student experience and conducting leading-edge research. Our commitment is to make a difference by shaping the future through educating and empowering our students. With the River Shannon as a unifying focal point, UL is situated on a superb riverside campus of over 130 hectares. Outstanding recreational, cultural, and sporting facilities further enhance the campus’s exceptional learning and research environment.

Funding Acknowledgement

Funding for the equipment is provided by the Higher Education Authority (HEA) under the Higher Education Research Equipment Grant (HEREG) 2025 Scheme.

# Summary of Requirements

University of Limerick request the supply of a Mobile Robot Motion Capture System for the localisation and tracking of mobile robotic platforms within an indoor laboratory environment. The purpose of the instrument is to provide high-accuracy, low-latency, real-time 3D positional and orientation data for multiple aerial, ground and surface robotic vehicles operating simultaneously within a defined capture volume. The system will support research, teaching and industrial collaboration in autonomous systems, multi-agent robotics, navigation and human–robot interaction.

Budget Available

The Contracting Authority estimates that the expenditure on the Goods to be covered by the proposed Goods Contract may amount to/is no greater than €60,000 ex VAT (including Optional Items/ NOT including Optional Items).

Note: The Contracting Authority reserves the right to exclude submissions from suppliers which exceed the maximum budget available as stated above.

Proposals for the provision of Ex-demo/Refurbished model Goods/Instrument(s) are NOT Acceptable to University of Limerick in this instance.

If multiple equipment types are available which suit the specifications required, please provide details of each option on a separate Tender Response Document and Appendix 2 Pricing Schedule, clearly defining each option.

# Section A: Selection Criteria – RFT Section 3.2

Tenderers will either Pass OR Fail each of the Selection Criteria. In the event of one or more of the Selection Criteria achieving a fail, the Tenderer will be excluded from participating in this Competition.

Economic and Financial Standing A1 – A4

## A1: Insurance

|  |  | Employer Liability |  | Public Liability |  |  |  | Product Liability |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Minimum Limit of Indemnity |  | €13,000,000 |  | €6,500,000 |  |  |  | €6,500,000 |
| I confirm that we have the following insurances in place: |  |  |  |  |  |  |  |  |
| Insurance Type |  |  | Level in Place |  | Details of Any Excess | Expiry Date |  |  |
| Employers Liability |  |  | € |  |  |  |  |  |
| Public Liability |  |  | € |  |  |  |  |  |
| Product Liability |  |  | € |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |
| I confirm that if successful, where the levels required under the contract are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place. |  |  |  |  |  |  | Yes/No |  |
| AND |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request: - evidence of insurances in place or - letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  |  |  | Yes/No |  |
| Signed: |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |

## A2: Tax Clearance

- Please provide a copy of a valid Irish Tax Clearance Certificate and complete the information below:

| Valid Tax Clearance Certificate: |  |
| --- | --- |
| Evidence Attached | Yes/No |
| Appendix Number |  |
| Expiry Date: |  |

(ii) Alternatively, please provide the following information to enable online verification.

| Tax Registration Number |  |
| --- | --- |
| Tax Clearance Access number |  |

(iii) Or - Please provide evidence that a Tax Clearance Certificate has been applied for from The Irish Revenue Commissioners

| Evidence Attached | Yes/No |
| --- | --- |
| Appendix Number |  |

Note: All non-resident companies MUST apply for a general TCC where tax clearance is required in connection with a Public-Sector Contract (formal or otherwise).

Both Resident and Non-Resident Tax Clearance Certificate information may be obtained from the Irish Revenue Commissioners http://www.revenue.ie/en/tax/it/forms/webtc1.pdf

## A3: Statement of Turnover

Applicants should provide evidence, from your company’s Auditor/Accountant, that their turnover relating to the services specified in Appendix 1 only, has exceeded €150,000 per annum averaged over the three years 2023/2024/2025.

| Lot | Yearly Turnover | 2023 | 2024 | 2025 |
| --- | --- | --- | --- | --- |
| 1 | €150,000 |  |  |  |

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Confirm Yes/No | Yes/No |
| --- | --- |
| Appendix Number |  |

## A4: Audited Accounts & Reports

Three (3) years Audited accounts, from your company’s Auditor/Accountant, must be provided to support the turnover statement. In line with current legislation, where a company has an annual turnover of less than €4.4M then audited accounts are not necessary. In these instances, a Statement of Accounts from the company’s accountants will suffice. Please note: a link to audited accounts will not be accepted.

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Audited Accounts, Yes/No | Yes/No |
| --- | --- |
| Statement of Accounts from Accountant (if turnover < €4.4M), YES/NO | Yes/No |
| Appendix Number |  |

Technical and Professional Ability A5-A9

## A5: Data Protection

The Tenderer must ensure that the security of Personal Data at all times is in line with the Data Protection Acts 1998 and 2003 and guidance issued by the Data Protection Commissioner of Ireland. Tenderers are required to be compliant under the EU General Data Protection Regulation (GDPR) replacing the Data Protection Directive 95/46/EC, which came into effect on 25/05/2018. Please provide a copy of your Data Protection Policy.

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Confirm Yes/No | Yes/No |
| --- | --- |
| Appendix Number |  |

## A6: Quality Assurance & Accreditation

A certificate confirming an accreditation (e.g. accredited partnership) exists between the Instrument source manufacturer and the Tenderer for the proposed solution, confirming the Tenderer’s ability as authorised provider of the solution to the Contracting Authority.

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Confirm Yes/No | Yes/No |
| --- | --- |
| Appendix Number |  |
| Expiry Date of Certification |  |
| We are the Source Manufacturer | Yes/No |

## A7: Organisational Summary

Please complete the following table(s) with your Company Summary.  If the Tenderer is a grouping, separate information must be completed for each group member.

| Contact Name: |  |
| --- | --- |
| Address: |  |
| Landline telephone number: |  |
| Mobile number: |  |
| Out of hours contact telephone number: |  |
| Email address: |  |
| Please provide a brief company profile including an organisation chart (Please expand this box as necessary) |  |

## A8: Previous Experience

Please provide details of two (2) contracts undertaken within the last three (3) years that demonstrate your experience of successfully providing a service of similar scope, scale and complexity to the service anticipated under this contract. Be very clear what your organisation delivered under this contract.

Note: No references can be submitted from the Contracting Authority noted in the title of this Tender Response Document. Please ensure permission has been sought before submitting reference information as these will be checked by the evaluation team.

Please confirm that this information has been completed and submitted with your tender.

| Confirm Yes/No | Yes/No |
| --- | --- |

| Previous Experience | Reference 1 |  |  |
| --- | --- | --- | --- |
| Title of Project: |  |  |  |
| Client Name & address: (Note: where name is confidential, please indicate nature / type of client and location) |  |  |  |
| Client contact person: |  | Phone no: |  |
| Contact E-mail Address: |  |  |  |
| Annual Value: |  |  |  |
| Any associated subcontractors |  |  |  |
| Start Date: |  | End Date: |  |
| Please describe this contract in full |  |  |  |
| Insert, expanding this table as necessary. |  |  |  |
| Please outline the extent to which this contract is similar in nature and scale to the Contracting Authority’s current requirements.. Insert, expanding this table as necessary. |

| Previous Experience | Reference 2 |  |  |
| --- | --- | --- | --- |
| Title of Project: |  |  |  |
| Client Name & address: (Note: where name is confidential, please indicate nature / type of client and location) |  |  |  |
| Client contact person: |  | Phone no: |  |
| Contact E-mail Address: |  |  |  |
| Annual Value: |  |  |  |
| Any associated subcontractors |  |  |  |
| Start Date: |  | End Date: |  |
| Please describe this contract in full |  |  |  |
| Insert, expanding this table as necessary. |  |  |  |
| Please outline the extent to which this contract is similar in nature and scale to the Contracting Authority’s current requirements.. Insert, expanding this table as necessary. |

## A9: Health & Safety

Confirmation of Organisation’s Health and Safety statement must be provided.  All Tenderers should demonstrate any other relevant standards in relation to the supply of the tendered equipment.

Please confirm below that this information has been submitted with your tender response and the Appendix number of the information provided:

| Confirm Yes/No | Yes/No |
| --- | --- |
| Appendix Number |  |

## A10: Appendix 3 Tenderers’ Statement

[Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer.]

TENDERERS’ STATEMENT

TO: The University of Limerick (the “Contracting Authority”)

RE: Request for Tenders for the Supply & Delivery of a Mobile Robot Motion Capture System for University of Limerick (UL)

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Goods Contract, we hereby agree and declare the following:

| 1. | We understand the nature and extent of the Goods required to be delivered as described in Requirements and Specifications at Appendix 1 to the RFT. |
| --- | --- |
| 2. | We accept all of the Terms and Conditions of the RFT, the Goods Contract, and the Confidentiality Agreement and agree, if awarded a Goods Contract, to execute the Goods Contract at Appendix 5 to the RFT and the Confidentiality Agreement at Appendix 6 to the RFT. |
| 3. | We accept all the Selection and Award Criteria as set out in Part 3 of the RFT. |
| 4. | We agree to supply the Contracting Authority with the Goods in accordance with the RFT and our Tender. |
| 5. | We agree that, if awarded any Goods Contract we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law. |
| 6. | We confirm that we have complied with all requirements as set out at Part 2 of the RFT. |
| 7. | We confirm that all prices quoted in our Tender will remain valid for the period of time, commencing from the Tender Deadline, specified at paragraph 2.10.3 of the RFT. |
| 8. | We shall, if awarded any Goods Contract under the RFT, have in place on the Effective Date of the Goods Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT. |
| 9. | We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request. |
| 10. | We do not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same). |
| 11. | The origin of goods connected to our Tender, if any, are not subject to the prohibitions set out in Regulation (EU) No 833/2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same). |
| 12. | The subcontractor(s) on whose capacity we rely as part of our Tender (where the value of that subcontract exceeds 10% of the value of the Services Contract) does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same). |

| SIGNED (Authorised Signatory) | Company |
| --- | --- |
| Print name | Address |
| Date |  |

[

## A11: Appendix 4 Declaration as to Personal Circumstances of Tenderer

Re: Request for Tenders for the Supply & Delivery of a Mobile Robot Motion Capture System for University of Limerick (UL)

NAME:   	[Click here and insert name]

ADDRESS: 	[Click here and insert address]

I, [Click here and insert name of Declarant], of [Click here and insert name of entity]  do solemnly and sincerely declare that:

- I am a [insert role of Declarant] of [Click here and insert name of entity] and am authorized by [Click here and insert name of entity]  to make this declaration which relates to a tender (“the Tender”) submitted by [Click here and insert name of entity]  in response to an RFT dated titled [insert description of competition] published by [insert name of contracting authority] (“the Contracting Authority”).

- Neither [Click here and insert name of entity]  nor any person who is a member of the administrative, management or supervisory body of [Click here and insert name of entity]  nor any person who has powers of representation, decision or control in [Click here and insert name of entity]  has:

- ever been the subject of a conviction for participation in a criminal organisation, as defined in Article 2 of Council Framework Decision 2008/841/JHA.

- ever been the subject of a conviction for corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in the national law of the Contracting Authority or the law of the state in [Click here and insert name of entity] is established.

- ever been the subject of a conviction for fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests.

- ever been the subject of a conviction for terrorist offences or offences linked to terrorist activities, as defined in Articles 1 and 3 of Council Framework Decision 2002/475/JHA respectively, or for inciting or aiding or abetting or attempting to commit an offence, as referred to in Article 4 of that Framework Decision.

- ever been the subject of a conviction for money laundering or terrorist financing, as defined in Article 1 of Directive 2005/60/EC of the European Parliament and of the Council.

- ever been the subject of a conviction for child labour and other forms of trafficking in human beings as defined in Article 2 of Directive 2011/36/EU of the European Parliament and of the Council.

- [Click here and insert name of entity]:

- is not in breach and has not breached its obligations relating to the payment of taxes or social security contributions.

- has carried out the preparation of the Tender independently.

- [Click here and insert name of entity]:

- has, in the performance of all public contracts, complied with applicable obligations in the field of environmental social and labour law that apply at the place where the works are carried out or the services provided, that have been established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016).

- is not bankrupt or the subject of insolvency or winding-up proceedings, its assets are not being administered by a liquidator or by the court, it is not in an arrangement with creditors, its business activities are not suspended nor is it in any analogous situation arising from a similar procedure under national laws and regulations.

- is not guilty of grave professional misconduct.

- has not entered into agreements with other economic operators aimed at distorting competition.

- is not aware of any conflict of interest due to its participation in the Competition;

- has not had any prior involvement in the preparation of the Competition;

- has not shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions.

- is not guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the Selection Criteria for this Competition and did not withhold such information and did not fail or is not able to submit supporting documents in respect of this Competition as required under Regulation 59 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016) .

- has not undertaken to unduly influence the decision-making process of the Contracting Authority in respect of the Competition, or obtain confidential information that may confer upon it undue advantages in respect of the Competition; or negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award.

- [Click here and insert name of entity] does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same);

- The origin of goods connected to the Tender, if any, are not subject to the prohibitions set out in Regulation (EU) No 833/2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same);

- Any subcontractor, supplier or other entity on whose capacity [Click here and insert name of entity]  relies as part of the Tender does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same).

I understand and acknowledge that the provision of inaccurate or misleading information in this declaration may lead to my business/firm/company/partnership being excluded from participation in this or future tenders, and I make this solemn declaration conscientiously believing the same to be true and by virtue of the Statutory Declarations Act, 1938. This declaration is made for the benefit of the Contracting Authority.

________________________ Signature of Declarant

Declared before me by ___________________________________ who is personally known to me (or who is identified to me by ______________________________who is personally known to me) or* at ____________________________ this ___________ day of _______________ 20__ ________________________________ (signed) Practicing Solicitor/Commissioner for Oaths

*Please include such other form of identification used to identify the Declarant as permitted by the Statutory Declarations Act, 1938 (as amended)

# Sections B: Tender Response

## B1: Requirements & Specifications

Suppliers MUST provide all information relating to the instrument and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: UL1066 Lot 1 Appendix 2 – Pricing Schedule.

This is the minimum specification required.  All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.  Additional functionality should be identified in the comments section to facilitate scoring under the award criteria. The Contracting Authority may award a higher marking if the additional functionality is desirable or adds value.

Supplier Notes

- This specification document is designed to assist the contracting authority in its evaluation of your tender and to enable suppliers provide structured responses to key deliverables. It is structured to reflect the award criteria as set out in the RFT.

- Please note responses to individual questions will NOT be scored separately but collectively they will provide a basis for assessing the merits of the tenderer’s overall response to each award criterion and sub-criterion.

- Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances the phrase “or equivalent” is inferred.

- It is acknowledged that each Tender’s product line may differ from these specifications.  As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item must meet or exceed the specified characteristics or level of performance.

- Where abnormally low tenders are received the Evaluation team shall require the tenderer to explain the price proposed in Appendix 2. (Per Article 69 of the EU Procurement Directives 2014/24). Where the tenderer cannot provide a sufficient explanation, the contracting authority is entitled to reject the tender.

- The award of any contract is subject to the successful tenderer meeting the required specification and standards as set out in this RFT and Appendix 1. Should the required specification and standards not be met, the University of Limerick reserves the right, to award any contract to the next highest-ranked Tenderer.

- If the evaluation outcome results in a tie between two or more Tenders, then the Tender with the highest score for the highest weighted criterion shall be deemed the most economically advantageous tender. If the score remains in a tie, the remaining criterion will be assessed by the highest weighted until there is no longer a tie.  If the score remains a tie after all criterions are assessed, the tenderers will be asked to submit a Best and Final Offer (BAFO).

A failure to answer question(s) may leave the contracting authority with insufficient information on which to base a thorough evaluation and in turn may result in loss of marks in respect of the relevant Award Criterion. Therefore, please ensure you complete ALL sections of this questionnaire.

Only those Tenderers who have qualified in accordance with paragraph 3.2 of this RFT will proceed to be evaluated under this paragraph 3.3.1

## B2: Award Criteria

The Goods Contract will be awarded on the basis of the most economically advantageous tender(s) as identified in accordance with the following award criteria:

| UL1066 LOT 1 RFT for the Supply, Delivery, Installation, Commissioning and Calibration of a Mobile Robot Motion Capture System for University of Limerick (UL) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Award Criteria: Please Note: All sub criteria for sections B, C & D carry equal weight/marks. For section A some sub criteria carry its own weighting. | Weighting | Total Maximum Score | Minimum Score (60%) Requirement |
| M | Mandatory Requirements | Pass/Fail | n/a | n/a |
| - Technical Merit |  |  |  |  |
| A | - General Functional Requirements - Hardware & Software Requirements - QC & Validation Requirements | 45% 30% 10% 5% | 450 300 100 50 | 270 180 60 30 |
| - After Sales Support, Warranty & Training |  |  |  |  |
| B | - Customer Support, Repair/Breakdown Requirements & Spare Parts - Warranty - Training | 5% | 50 | 30 |
| - Method |  |  |  |  |
| C | - Lead Time & Delivery - Installation, Commissioning & Calibration | 10% | 100 | 60 |
| - Sustainability |  |  |  |  |
| D | - Environmental Policy | 10% | 100 | 60 |
| - Ultimate Cost (Total Cost of Ownership) |  |  |  |  |
| E | - Please see Appendix 2 – Pricing Schedule for details. | 30% | 300 | n/a |
|  | - Total Maximum Score Available | 100% | 1000 |  |

Tenderers must achieve a minimum of 60% on all tender award criteria above, excluding Ultimate Cost, in order to avoid elimination from the competition. Only tenderers who have achieved the 60% will be evaluated against Ultimate Cost.

No commitment of any kind, contractual or otherwise shall exist unless and until a formal written contract has been executed by or on behalf of the Contracting Authority. Any award of notification of preferred bidder status by the Contracting Authority shall not give rise to any enforceable rights by the Tenderer. The Contracting Authority may cancel this public procurement competition at any time prior to a formal written contract being executed by or on behalf of the Contracting Authority. The Contracting Authority does not bind itself to accept the lowest priced or any tender.

The award of contract will be on the basis of the Most Economically Advantageous Tender received, in accordance with the detailed award criteria and weightings set out below.

The lowest Ultimate Cost tender, will receive the maximum score achievable under this criterion.

| Pricing Score = | Lowest Tendered Price x Max Points |
| --- | --- |

Price being evaluated.

Responses for non-cost/qualitative Award Criteria items will be scored using the following matrix:

| Scoring Methodology |  |
| --- | --- |
| Scoring Range | Meaning |
| 91% – 100% | Excellent response that fully meets and exceeds requirements, providing comprehensive, detailed, and convincing assurance that the Tenderer will deliver to an exceptional standard. |
| 80% – 90% | A very good response that demonstrates real understanding and fully meets the requirements and provides convincing assurance that the Tenderer will deliver to high standard. |
| 60% – 79% | A satisfactory response which demonstrates a reasonable understanding of requirements and provides reasonable confidence that the minimum requirements will be delivered. However, it does not provide sufficiently convincing assurance to award a higher mark. |
| 30% - 59% | A response where reservations exist due to a lack of convincing details and comprehensive credibility. There is a significant risk that the requirements will not be delivered to a satisfactory standard. |
| 1% – 29% | A response that raises significant reservations, due to insufficient detail, critical or notable deficiencies, that seriously lacks credibility, presenting a high risk of non-delivery. |
| 0% | No Response or partial Response that completely fails to address the criterion under consideration |

## B3: Appendix 1-Technical Specification

Suppliers MUST provide all information relating to the instrument and the associated consumables in the blue response boxes below. Responses will be scored accordingly by the Evaluation team as set out in the Award Criteria in the RFT document.

Where an additional document is required to support your response, the document MUST be attached and the relevant section within the document MUST be clearly referenced in your answer.

Please note that website links are not sufficient as a supporting document.

Only referenced documents will form part of the evaluation. Brochures that have not been referenced will NOT be evaluated.

Please ensure all cost submissions are kept separate and included in the Excel file entitled:  Appendix 2 – Pricing Schedule

| UL1066 LOT 1 – RFT for the Supply, Delivery, Installation, Commissioning and Calibration of a Mobile Robot Motion Capture System for University of Limerick |  |
| --- | --- |
| State proposed model here: |  |

Pass/Fail Criteria

Mandatory Requirements Tenderers must respond to the mandatory requirement list below; a failure of any of the mandatory requirements will mean the evaluation process for the supplier stops at that point. No marks are awarded for answers to mandatory questions; they will only be used for the suitability of the supplier to continue to the next stage – Section A

| M1 | The Tenderer MUST supply a complete optical motion capture system comprising a minimum of twelve (12) cameras, calibration accessory, tracking software, all required cabling, power-over-Ethernet network infrastructure and a control workstation, suitable for the localisation and tracking of mobile robotic platforms (aerial, ground and surface vehicles) within an indoor laboratory environment. Please confirm and detail. |
| --- | --- |
| Insert Response |  |

- Technical Merit

General Functional Requirements

| A1 | The Tenderer MUST supply a Mobile Robot Motion Capture System. Please confirm and detail the make, model and specifications of all components. Please confirm and detail, stating make, model and full specifications of proposed unit. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| --- | --- |
| Insert Response |  |
| A2 | The system MUST be based on optical, passive (retro-reflective marker) motion capture technology, suitable for the simultaneous tracking of multiple rigid bodies within a defined capture volume. Please confirm and detail. |
| Insert Response |  |
| A3 | The system MUST be capable of delivering sub-millimetre 3D positional accuracy under standard laboratory conditions. State the manufacturer-quoted positional accuracy and the conditions under which it is achieved. Please confirm and detail. |
| Insert Response |  |
| A4 | The system MUST be capable of tracking a minimum of six (6) independent rigid bodies simultaneously within a single capture volume. State the maximum number of rigid bodies supported. Please confirm and detail. |
| Insert Response |  |
| A5 |  |
| Insert Response |  |
| A6 | The system MUST be scalable in capture volume, suitable for deployment across volumes ranging from 2m x 2m x 2m to a minimum of 10m x 10m x 5m. The proposed configuration MUST be capable of covering a target volume of approximately 7m x 7m x 4m. Please confirm and detail. |
| Insert Response |  |
| A7 | The cameras MUST be wall- or rail-mountable and MUST NOT require dedicated floor space. Cameras SHOULD be compact and lightweight, suitable for mounting at height using standard photographic clamps or rail-mounting systems. State camera weight, dimensions and mounting interface. Please confirm and detail. |
| Insert Response |  |
| A8 | The proposed configuration MUST include a minimum of twelve (12) cameras. State the model, quantity and per-camera specifications. Please confirm and detail. |
| Insert Response |  |
| A9 | The system MUST be suitable for tracking heterogeneous robotic platforms, including small aerial vehicles (e.g. quadrotor drones below 2 kg), ground vehicles and surface vehicles. State any constraints relating to minimum marker size, marker placement or platform geometry. Please confirm and detail. |
| Insert Response |  |
| A10 | The cameras MUST be powered via Power over Ethernet (PoE+ or higher). The proposed configuration MUST include a Power-over-Ethernet network switch with sufficient port count and PoE budget to power all supplied cameras. Please confirm and detail. |
| Insert Response |  |
| A11 | The system MUST be capable of robust marker tracking under typical indoor laboratory ambient lighting. The tracking method SHOULD use active illumination at near-infrared wavelengths (approximately 850 nm) to minimise interference from visible-spectrum lighting. Please confirm and detail. |
| Insert Response |  |
| A12 | The system MUST include an active or passive calibration wand sufficient to perform initial system calibration. Detail the calibration procedure, including expected calibration time and the calibration accuracy reported by the system. Please confirm and detail. |
| Insert Response |  |
| A13 | The system MUST be expandable. It MUST be possible to add additional cameras of the same type to the system in future without replacement of existing hardware. State the maximum number of cameras supported per system and any infrastructure constraints (switch capacity, software licensing, processing capacity). Please confirm and detail. |
| Insert Response |  |
| A14 | The proposed system MUST be supplied with all necessary cabling to connect each camera to the supplied network switch, with sufficient cable length to permit perimeter wall-mounting in a room of approximately 7m x 7m x 4m. Minimum cable length per camera SHOULD be 30 m. Please confirm and detail. |
| Insert Response |  |
| A15 | The proposed system MUST be supplied with marker kits, mounting bases and consumables required for initial system commissioning and for the simultaneous tracking of at least four (4) independent rigid body platforms. Please outline costs of any optional or additional marker kits in the Appendix 2 Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| Hardware & Software Requirements |  |
| A16 | Each camera MUST have a minimum sensor resolution of 2 megapixels. State the exact sensor resolution and the corresponding image dimensions. Please confirm and detail. |
| Insert Response |  |
| A17 | Each camera MUST be capable of capturing at a minimum frame rate of 330 fps at full resolution. State the exact maximum frame rate at full resolution and any higher rates available at reduced resolution. Please confirm and detail. |
| Insert Response |  |
| A18 | Each camera MUST include a varifocal lens or equivalent adjustable optical assembly, permitting field-of-view adjustment without lens replacement. State the focal-length range and the corresponding field-of-view range. Please confirm and detail. |
| Insert Response |  |
| A19 | The system MUST be supplied with a tracking software package providing, at minimum: real-time multi-rigid-body tracking; data streaming to external applications; system health and quality reporting; user-configurable tracking workflow. The software MUST be compatible with Microsoft Windows 11 or later. Confirm the name and version of the software, all included licences, and whether software maintenance updates are included for the duration of the warranty. Please confirm and detail. |
| Insert Response |  |
| QC & Validation Requirements |  |
| A20 | The system MUST provide a documented Software Development Kit (SDK) and/or native integration with widely adopted robotics middleware, including the Robot Operating System (ROS and ROS2). Detail the available SDKs, APIs and middleware integrations supported. Please confirm and detail. |
| Insert Response |  |
| A21 | The system MUST support real-time data streaming using one or more open or widely adopted protocols suitable for autonomous platform control. Supported protocols MUST include, at minimum, one of: VRPN, NatNet, or native ROS/ROS2 publishing, and MUST support integration with the PX4 autopilot via the MAVLink protocol. Detail the supported protocols and any constraints relating to data rate or latency. Please confirm and detail. |
| Insert Response |  |
| A22 | End-to-end system latency from image capture to data output MUST be minimised. State the manufacturer-quoted system latency for the supplied configuration. A latency of less than 10 ms is highly desirable for closed-loop control applications. Please confirm and detail. |
| Insert Response |  |
| A23 | The system MUST provide quality-of-data and system health diagnostic reporting in real-time, including reporting of marker visibility, camera status, calibration residuals and tracking quality. The system SHOULD be capable of integration with widely used commercial engineering software, including MATLAB and LabVIEW, either via supplied plug-ins or via published data-streaming protocols. Please confirm and detail. |
| Insert Response |  |

- After Sales Support, Warranty & Training

Customer Support, Repair/Breakdown Requirements & Spare Parts

| B1 | The Tenderer MUST have a dedicated specialist available and fully qualified service personnel who can respond to service calls. Please confirm and detail. |
| --- | --- |
| Insert Response |  |
| B2 | The Tenderer MUST provide a description of the arrangements and lead times for the provision of technical support, annual service/maintenance, emergency call-out response, and spare parts. Please confirm and detail response times. |
| Insert Response |  |
| B3 | The Tenderer MUST provide confirmation of the availability of service and replacement parts after installation. Please confirm and detail. |
| Insert Response |  |
| B4 | The Tenderer MUST supply a full list of spare parts and consumables. Please outline costs in the Appendix 2 Pricing Schedule, Additional Pricing Request. These are optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. |
| Insert Response |  |

| Warranty |  |
| --- | --- |
| B5 | At least a one (1) year warranty MUST be included as part of the quoted price. Please confirm and detail, outlining costs in the Appendix 2 Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. |
| Insert Response |  |
| B6 | The Tenderer MUST state the details of any extended warranty options and any associated costs. Detail specific inclusions and exclusions of extended warranty. Please include price per annum for years 2, 3 and 4, details of coverage and maximum term of coverage. These are optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. |
| Insert Response |  |
| B7 | The successful Tenderer SHOULD make available software upgrades and feature releases that become available during the warranty period at no additional cost to the Contracting Authority. Please confirm and detail. |
| Insert Response |  |
| B8 | The Tenderer MUST clearly state the warranty commencement date and the warranty period definition (e.g. from date of installation acceptance, or from date of shipment). Please confirm and detail. |
| Insert Response |  |
| Training |  |
| B9 | Training for at least two (2) personnel onsite at University of Limerick for a minimum of two (2) days MUST be included after commissioning to cover set up and system familiarisation, operation of the tendered equipment, calibration, troubleshooting, maintenance and associated software once the system is in place. Date(s) and timing of training to be confirmed with UL and the winning Tenderer. Please confirm cost (if any) in Appendix 2 Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. |
| Insert Response |  |
| B10 | A detailed description of the training and support to be provided for staff and technical personnel is required. Please confirm and detail. |
| Insert Response |  |
| B11 | Relevant training and maintenance manuals in English MUST also be provided with the instrument. Please confirm and detail. |
| Insert Response |  |
| B12 | The Tenderer SHOULD provide access to additional ongoing training resources (e.g. online learning, recorded tutorials, user community forum) for the duration of the warranty period and beyond. Please confirm and detail. |
| Insert Response |  |

| - Method & Sustainability |  |
| --- | --- |
| Lead Time & Delivery |  |
| C1 | Delivery MUST include all shipping charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. The instrument/instruments/system MUST be delivered to: University of Limerick, Centre for Robotics and Intelligent Systems (CRIS), Main Building, University of Limerick, Castletroy, Co. Limerick, V94 T9PX, Ireland. Please confirm cost (if any) in Pricing Schedule, Appendix 2. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| C2 | Tenderers MUST provide an appropriate lead time and delivery plan including installation and commissioning, sign off and acceptance, from PO placement, in weeks for the required equipment. Give details of timeline for the lead-time to installation, commissioning and training. Shorter lead times are highly desirable. Please confirm and detail. |
| Insert Response |  |
| C3 | The Tenderer MUST clearly state, in weeks from receipt of Purchase Order, the lead time for delivery and the further time required for installation, commissioning and acceptance testing. Please confirm and detail. |
| Insert Response |  |
| Installation & Commissioning & Calibration |  |
| C4 | The instrument MUST be installed and commissioned at the location defined by the Contracting Authority by an appropriately qualified engineer on an agreed date. Please confirm, providing details of experience/qualifications of installation team. Please confirm cost (if any) in Appendix 2 Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. |
| Insert Response |  |
| C5 | All instrument documentation relating to service and maintenance, parts list, and operation MUST be supplied in the English language. Please confirm and detail. |
| Insert Response |  |
| C6 | The Tenderer MUST clearly identify any pre-installation works required from the Contracting Authority (e.g. wall or ceiling rail systems, mounting points, electrical infrastructure, network drops) and provide a written specification of those requirements sufficient to permit the Contracting Authority to complete them prior to the Tenderer's arrival on site. Please confirm and detail. |
| Insert Response |  |
| C7 | The Tenderer MUST provide a written Installation Certificate following successful commissioning, marking the formal acceptance date and the commencement of the warranty period. Please confirm and detail. |
| Insert Response |  |

| - Sustainability |  |
| --- | --- |
| Environmental Policy |  |
| D1 | Please provide any Green/Environmental and/or Social Responsibility Statement your company has accomplished, and outline any sustainability or environmental accreditations held (e.g. ISO 14001). Please confirm how environmental policy will apply to this tender. Please confirm and detail. |
| Insert Response |  |
| D2 | Tenderers SHOULD make all reasonable efforts to minimise adverse environmental impact in the methods of service delivery and in materials used. What actions have you taken to improve efficiency and to lessen your impact on the environment? Please confirm and detail. |
| Insert Response |  |
| D3 | Please outline measures currently in place and planned future measures for managing energy consumption associated with this instrument, including any standby or low-power modes available on the supplied cameras and infrastructure. Please confirm and detail. |
| Insert Response |  |
| D4 | Tenderers SHOULD make all reasonable efforts to minimise adverse environmental impact through efficient transportation management. What actions have you taken to reduce carbon emissions through logistical planning? Please confirm and detail. |
| Insert Response |  |
| D5 | The Tenderer MUST confirm compliance with the Waste Electrical and Electronic Equipment (WEEE) Directive (2012/19/EU) and outline arrangements for end-of-life recycling and take-back of the supplied equipment. Please confirm and detail. |
| Insert Response |  |

| - Ultimate Cost |  |
| --- | --- |
| E1 | Please see Appendix 2 – Pricing Schedule for details. |

## B4: Appendix 2- Pricing Schedule

Please use the Appendix 2 – which is provided as a supplementary Excel – titled:

UL1066 Lot 1 Appendix 2 Pricing Schedule

The Appendix 2 Pricing Schedule provided in the Excel file MUST be completed per Lot/section(s) you are Tendering for. Please submit in excel format. The relevant Pricing Schedule must be completed in full, totalled, and returned as part of the Tender submission.

Tenderers are reminded that the prices/discounts quoted MUST be in compliance with the requirements set out in paragraph 2.10 of the RFT, i.e.: they MUST be all-inclusive, fixed, expressed in Euro, exclusive of VAT and remain fixed for the term stated in the RFT.

Any particulars and merits should be identified in the comments section to facilitate scoring under paragraph 3.3 Award Criteria of the RFT.

## B5: Checklist for Tender Submissions

| Please confirm that all the information requested in Sections A1-A9 has been provided | Confirm Yes/No |
| --- | --- |
| Please confirm that the Appendix 2 Pricing Schedule has been returned and included in your proposal. | Confirm Yes/No |
| Please confirm that Appendix 3 (on headed paper) has been completed and returned as requested. | Confirm Yes/No |
| Please confirm that Appendix 4 has been signed and completed and returned as requested. This document MUST also be signed, stamped and dated by a Practising Solicitor / Commissioner for Oaths. | Confirm Yes/No |
| Tenderers must address each of the issues and requirements and submit a detailed description in each case which demonstrates how these issues and requirements will be dealt with / met and their approach to the proposed delivery of the Goods. A mere affirmative statement by the Tenderer that it can / will do so or a reiteration of the tender requirements is NOT sufficient in this regard. | Confirm Yes/No |
| If multiple equipment types are available which suit the specifications required, please provide details of each option on a separate TRD and Appendix 2, clearly defining each option. | Confirm Yes/No |
| Please ensure that all supporting documentation is submitted in the English language. | Confirm Yes/No |
| Please ensure all documents are named accordingly and submitted within a zipped/compressed folder. | Confirm Yes/No |

Please ensure to sign confirmation form at end of this document.

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders.

- We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |
| Company Name: |  | Date: |  |
| Address: |  |  |  |
| Email: |  |  |  |

Document end