## Instructions
Appendix 2 - Pricing Schedule
General Information
| Project Title | UL1066 Lot 1 - Request for Tenders for the Supply, Delivery, Installation, Commissioning and Calibration of a Mobile Robot Motion Capture System for the University of Limerick
| Required Date | 14.00pm Thursday 2nd July 2026
| Lot | Product Description | QTY
| Lot 1 | Mobile Robot Motion Capture System (complete optical tracking system, software, installation, commissioning and training) | 1
Instructions
| 1 | Provide a detailed breakdown of pricing for the Lots you are applying for.
| 2 | All prices MUST be quoted in Euro (EUR), exclusive of VAT. Where the original quote is denominated in another currency, please state the conversion rate applied and its source.
| 3 | All prices MUST remain fixed for the validity period of the tender as set out in the RFT.
| 4 | Delivery MUST be quoted on a DDP (Delivered Duty Paid) basis to University of Limerick. Any customs duties, taxes or charges payable in addition to VAT MUST be itemised.
| 5 | Optional items listed in Section C are priced for information only and will NOT be included in the cost evaluation.
| 6 | Please ensure the signature box at the bottom of the UL1066 LOT 1 worksheet is completed.

## UL1066 LOT 1
UL1066 Lot 1 Mobile Robot Motion Capture System
Contract Title: UL1066 lot 1 - Request for Tenders for the Supply, Delivery, Installation, Commissioning and Calibration of a Mobile Robot Motion Capture System for the University of Limerick
Ultimate Cost Schedule
Mobile Robot Motion Capture System
Company Name
Requirements
Item | Price in Euro (ex. VAT) | Notes | Dear Supplier, please include all relevant information for your Quotation in the table provided. Should alternative options be available, please copy the table and provide the additional information.
Discounts offered |  |  | Briefly outline discounts offered (e.g. public sector discount, academic discount); if no discount is offered please state "n/a".
Section A: Equipment & Software (mandatory - included in cost evaluation)
A1: Optical tracking cameras (minimum 12 off; ≥2 MP sensor; ≥330 fps at full resolution; varifocal lens; IR strobe ≈850 nm; PoE+ powered) |  |  | State make, model, sensor resolution, max frame rate, lens range, weight and dimensions.
A2: Camera cables (one per camera; minimum 30 m each) |  |  | State cable type, length and any termination supplied.
A3: System calibration wand (active or passive) |  |  | State make/model and calibration accuracy reported.
A4: PoE+ network switch (sufficient port count and PoE budget for all supplied cameras) |  |  | State port count, PoE budget (W) and supported PoE standards.
A5: Control workstation (Windows 11 compatible; specified to run the supplied tracking software at full system capacity) |  |  | State CPU, RAM, GPU (if applicable), OS and any peripherals included.
A6: Display monitor |  |  | State size, resolution and cable included.
A7: Tracking software (all licences required to operate the supplied system, including any rigid-body / robotics tracking workflow) |  |  | State software name, version, licence model (perpetual / subscription), included maintenance period.
A8: Marker / accessory kit (sufficient for commissioning + four (4) rigid bodies + two (2) pilot experiments) |  |  | State marker count, sizes and any consumables included (e.g. mounting bases, tape, Velcro).
A9: Camera mounting hardware (clamps, microball heads or equivalent for 12 cameras) |  |  | State mounting type and maximum rail/post diameter supported. NOTE: wall/rail infrastructure is NOT in scope for the supplier.
Section A subtotal (Equipment & Software, ex VAT) | 0
Section B: Services (mandatory - included in cost evaluation)
B1: Delivery to University of Limerick (DDP - Delivered Duty Paid) |  |  | Itemise shipping, insurance and any customs duties. Quote €0 if already included in Section A.
B2: On-site installation, setup and commissioning at UL |  |  | State number of engineer-days included and any travel/subsistence inclusions.
B3: On-site training (minimum 2 days for at least 2 UL personnel) |  |  | State number of training days and maximum number of attendees.
B4: Standard 12-month warranty (parts and labour cover, on-site or return-to-base) |  |  | State warranty period, commencement basis, inclusions and exclusions. If on-site cover is at additional cost, price separately under Section C.
Section B subtotal (Services, ex VAT) | 0
TOTAL EVALUATED PRICE (Sections A + B, ex VAT) - used for cost award criterion | 0
Section C: Optional Items (to be piced maybe ordered in the future - NOT included in cost evaluation)
C1: Extended warranty - Year 2 (per annum) |  |  | State inclusions and exclusions, and whether on-site or return-to-base.
C2: Extended warranty - Year 3 (per annum) |  |  | State inclusions and exclusions.
C3: Extended warranty - Year 4 (per annum) |  |  | State inclusions and exclusions.
C4: Preventative maintenance visit (per annum, post-warranty) |  |  | State scope of a typical preventative maintenance visit.
C5: On-site warranty / call-out upgrade (if not included in B4) |  |  | Price the difference between return-to-base and on-site warranty cover, if applicable.
C6: Additional marker / accessory kit (per kit) |  |  | State marker count and sizes per additional kit.
C7: Additional cameras for future expansion (per camera, ex cables/mounts) |  |  | Quote unit price for additional cameras of the same model.
C8: Additional camera cable (per cable, 30 m or stated length) |  |  | State length and unit price.
C9: Spare parts (full list to be attached separately) |  |  | Provide full spare parts list with unit prices; attach to tender response.
C10: Other optional items (please specify) |  |  | Itemise any other optional accessories, software modules, or services offered.
Section C subtotal (Optional Items, ex VAT - for information only, NOT cost-evaluated) | 0
VAT rate (e.g. 23%) | 23% | Standard rate of VAT for goods supplied to UL is 23%. State if different.
VAT amount on Total Evaluated Price | 0
Total Evaluated Price including VAT | 0
Currency conversion (if original quote in non-EUR currency) |  | State original currency, conversion rate applied, source and date of rate.
Lead time (weeks from receipt of Purchase Order to delivery on site) |  | State in weeks. Shorter lead times are highly desirable.
Additional time required for installation, commissioning and acceptance (weeks from delivery) |  | State in weeks.
Other costs (specify) |  | State any additional costs not already itemised above.
Signed: |  | Position:
Print Name: |  | Phone No:
Company Name: |  | Date:
Address:
Email: