Tender Response Document

Tender Reference: LA3652C

Lot 3: Thermo-Mechanical Analyser (TMA)

Location:

Technological University of the Shannon, Midlands Campus,

University Road, Athlone, Co. Westmeath, Ireland.

Contents

1.	Instructions for the Completion of the Tender Response Document.	3

2.	Summary of Requirements	4

3.	Sections B: Tender Response	5

B1: Requirements & Specifications	5

B2: Award Criteria	7

B3: Appendix 1-Technical Specification	9

B4: Appendix 2- Pricing Schedule	28

B5: Checklist for Tender Submissions	29

# Instructions for the Completion of the Tender Response Document.

Tenders MUST submit the Tender Response Document B (TRD) duly completed. When completing this TRD please note the following:

- Please ensure you complete all of Section A in the document “LA3652C-TRD A” before you progress to Section B below.

- Tenderers should note they MUST meet and ‘Pass’ all the requirements contained in Section A, the Selection Criteria (TRD A), to be considered eligible for assessment against the award criteria, Section B.

- You need to COMPLETE AND RETURN 3 DOCUMENTS. TRD A, the TRD B for the relevant lot you are applying for and the accompanying Appendix 2 Pricing Schedule.

- You DO NOT need to return the RFT Document. The RFT document is for information purposes only.

TRD B-Lot 1- Section B: Tender Response

- B1: Requirements & Specifications

- B2: Award Criteria

- B3: Appendix 1-Technical Specification

- B4: Appendix 2- Pricing Schedule (separate Excel File)

- B5: Checklist for Tender Submissions

The completed TRD B-Lot 1 must be returned in accordance with Section 2.6 of the RFT.

# Summary of Requirements

A thermo-mechanical analyser (TMA) is a precision laboratory instrument used to measure how a material’s dimensions change in response to temperature and applied force. By carefully heating or cooling a sample while applying a controlled load, the instrument can detect expansion, contraction, softening, or deformation with extremely high sensitivity. This allows researchers to determine key material properties such as the coefficient of thermal expansion, glass transition temperature, and softening point. TMAs are widely used in materials science, polymers engineering, electronics, and quality control to evaluate how materials will behave under real-world thermal and mechanical stresses, making them essential for designing components that must maintain stability and performance across varying temperatures.

# Sections B: Tender Response

## B1: Requirements & Specifications

Suppliers MUST provide all information relating to the instrument and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: Appendix 2 – Pricing Schedule.

This is the minimum specification required.  All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.  Additional functionality should be identified in the comments section to facilitate scoring under the award criteria. The Contracting Authority may award a higher marking if the additional functionality is desirable or adds value.

Supplier Notes

- This specification document is designed to assist the contracting authority in its evaluation of your tender and to enable suppliers provide structured responses to key deliverables. It is structured to reflect the award criteria as set out in the RFT.

- Please note responses to individual questions will NOT be scored separately but collectively they will provide a basis for assessing the merits of the tenderer’s overall response to each award criterion and sub-criterion.

- Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances, the phrase “or equivalent” is inferred.

- It is acknowledged that each Tender’s product line may differ from these specifications.  As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item must meet or exceed the specified characteristics or level of performance.

- Where abnormally low tenders are received the Evaluation team shall require the tenderer to explain the price proposed in Appendix 2. (Per Article 69 of the EU Procurement Directives 2014/24). Where the tenderer cannot provide a sufficient explanation, the contracting authority is entitled to reject the tender.

- The award of any contract is subject to the successful tenderer meeting the required specification and standards as set out in this RFT and Appendix 1. Should the required specification and standards not be met, the EPS reserves the right, in consultation with the Contracting Authority, to award any contract to the next highest-ranked Tenderer.

- If the evaluation outcome results in a tie between two or more Tenders, then the Tender with the highest score for the highest weighted criterion shall be deemed the most economically advantageous tender. If the score remains in a tie, the remaining criterion will be assessed by the highest weighted until there is no longer a tie.  If the score remains a tie after all criterions are assessed, the tenderers will be asked to submit a Best and Final Offer (BAFO).

A failure to answer question(s) may leave the contracting authority with insufficient information on which to base a thorough evaluation and in turn may result in loss of marks in respect of the relevant Award Criterion. Therefore, please ensure you complete ALL sections of this questionnaire.

Only those Tenderers who have qualified in accordance with paragraph 3.2 of this RFT will proceed to be evaluated under this paragraph 3.3.1

## B2: Award Criteria

The Goods Contract will be awarded on the basis of the most economically advantageous tender(s) as identified in accordance with the following award criteria:

| LA3652C Lot 3: Thermo-Mechanical Analyser (TMA) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Award Criteria: Please Note: All sub criteria for sections B & C carry equal weight/marks. For section A some sub criteria carry its own weighting. | Weighting | Total Maximum Score | Minimum Score (60%) Requirement |
| - Technical Merit |  |  |  |  |
| A | - General Functional Requirements - Hardware & Software Requirements - QC & Validation Requirements | 55% 30% 15% 10% | 550 300 150 100 | 180 90 60 |
| - After Sales Support, Warranty & Training |  |  |  |  |
| B | - Customer Support, Repair/Breakdown Requirements & Spare Parts - Warranty - Training | 15% | 150 | 90 |
| - Method & Sustainability |  |  |  |  |
| C | - Lead Time & Delivery - Installation, Commissioning & Calibration - Disposal & Environmental Policy | 10% | 100 | 60 |
| - Ultimate Cost (Total Cost of Ownership) |  |  |  |  |
| D | Please see Appendix 2 – Pricing Schedule for details. | 20% | 200 | n/a |
|  | Total Maximum Score Available | 100% | 1000 |  |

Tenderers must achieve a minimum of 60% on all tender award criteria above, excluding Ultimate Cost, in order to avoid elimination from the competition. Only tenderers who have achieved the 60% will be evaluated against Ultimate Cost.

No commitment of any kind, contractual or otherwise shall exist unless and until a formal written contract has been executed by or on behalf of the Contracting Authority. Any award of notification of preferred bidder status by the Contracting Authority shall not give rise to any enforceable rights by the Tenderer. The Contracting Authority may cancel this public procurement competition at any time prior to a formal written contract being executed by or on behalf of the Contracting Authority. The Contracting Authority does not bind itself to accept the lowest priced or any tender.

The award of contract will be on the basis of the Most Economically Advantageous Tender received, in accordance with the detailed award criteria and weightings set out below.

The lowest Ultimate Cost tender, will receive the maximum score achievable under this criterion.

| Pricing Score = | Lowest Tendered Price x Max Points |
| --- | --- |

Price being evaluated.

Responses for non-cost/qualitative Award Criteria items will be scored using the following matrix:

| Scoring Methodology |  |
| --- | --- |
| Scoring Range | Meaning |
| 91% – 100% | Excellent response that fully meets and exceeds requirements, providing comprehensive, detailed, and convincing assurance that the Tenderer will deliver to an exceptional standard. |
| 80% – 90% | A very good response that demonstrates real understanding and fully meets the requirements and provides convincing assurance that the Tenderer will deliver to high standard. |
| 60% – 79% | A satisfactory response which demonstrates a reasonable understanding of requirements and provides reasonable confidence that the minimum requirements will be delivered. However, it does not provide sufficiently convincing assurance to award a higher mark. |
| 30% - 59% | A response where reservations exist due to a lack of convincing details and comprehensive credibility. There is a significant risk that the requirements will not be delivered to a satisfactory standard. |
| 1% – 29% | A response that raises significant reservations, due to insufficient detail, critical or notable deficiencies, that seriously lacks credibility, presenting a high risk of non-delivery. |
| 0% | No Response or partial Response that completely fails to address the criterion under consideration |

## B3: Appendix 1-Technical Specification

Suppliers MUST provide all information relating to the instrument and the associated consumables in the blue response boxes below. Responses will be scored accordingly by the Evaluation team as set out in the Award Criteria in the RFT document.

Where an additional document is required to support your response, the document MUST be attached and the relevant section within the document MUST be clearly referenced in your answer.

Please note that website links are not sufficient as a supporting document.

Only referenced documents will form part of the evaluation. Brochures that have not been referenced will NOT be evaluated.

Please ensure all cost submissions are kept separate and included in the Excel file entitled:  Appendix 2 – Pricing Schedule

| LA3652C – Lot 3- Thermo Mechanical Analyser |  |
| --- | --- |
| State proposed model here: |  |

- Technical Merit

General Functional Requirements

| A1 |  |  | The Tenderer MUST supply, deliver, install and commission a new Thermo Mechanical Analyser (TMA), equipped with furnace(s), all necessary attachments, software and heating and cooling ancillaries to perform testing as specified below. Please note that refurbished, previously used or ex demo equipped is not acceptable, all equipment must be new and free from defects. Please confirm and detail, outlining costs in the Appendix 2 Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| --- | --- | --- | --- |
| Insert Response |  |  |  |
| A2 |  |  | The Tenderer MUST supply a TMA which is capable of achieving and maintaining a testing temperature of -150°C or lower. Please confirm and detail. |
| Insert Response |  |  |  |
| A3 |  |  | The Tenderer MUST supply a TMA which is capable of achieving and maintaining a testing temperature of 500°C or greater. Please confirm and detail. |
| Insert Response |  |  |  |
| A4 |  |  | The Tenderer MUST supply a suitable cooling unit which is capable of safely achieving and maintaining -150°C or lower and which can be fully controlled through the TMA software. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A5 |  |  | The Tenderer MUST supply a TMA which can accept multiple furnace types, which can be easily changed by the operator to allow for testing flexibility. Please confirm and detail. |
| Insert Response |  |  |  |
| A6 |  |  | The Tenderer MUST supply a TMA which can perform tensile and tension testing and a suitable test fixture, and sample tube(s) MUST be included. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A7 |  |  | The Tenderer MUST supply a TMA which can perform CTE and linear thermal expansion testing and a suitable test fixture, and sample tube(s) MUST be included. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A8 |  |  | The Tenderer MUST supply a TMA which can perform penetration, glass transition temperature (Tg), and heat deflection temperature (HDT) testing and a suitable test fixture(s), and sample tube(s) MUST be included. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A9 |  |  | The Tenderer MUST supply a TMA which can perform compression testing and a suitable test fixture, and sample tube(s) MUST be included. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A10 |  |  | The Tenderer MUST supply a TMA which can perform 3-point bending testing and a suitable test fixture, and sample tube(s) MUST be included. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A11 |  |  | The Tenderer MUST supply a TMA which incorporates support for ISO / ASTM compliance workflows. Please confirm and detail. |
| Insert Response |  |  |  |
| A12 |  |  | The TMA MUST be supplied with a humidity and/or water vapour generator to enable testing under various temperatures, humidities or moisture levels to replicate the temperatures and humidities used during the sterilisation of polymers. The humidity and/or water vapour generator and the humidity or moisture level within the furnace MUST be fully controlled through the TMA software to ensure accurate and repeatable testing. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A13 |  |  | The TMA MUST be capable of testing in a variety of atmospheres such as inert, reducing, vacuum, oxidizing these atmospheres MUST be software controlled. Please confirm and detail. |
| Insert Response |  |  |  |
| A14 |  |  | The TMA MUST be capable of performing DMTA/modulated force testing across a range of temperature and humidities and corresponding software MUST be included. Please confirm and detail. |
| Insert Response |  |  |  |
| A15 |  |  | The TMA MUST be supplied with all relevant sample alignment tools or jigs to ensure correct positioning of samples within the testing fixtures to ensure testing accuracy. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A16 |  |  | The Tenderer MUST supply TMA which has integrated safety systems which ensure the safety of operators when the equipment is correctly used. Please confirm and detail. |
| Insert Response |  |  |  |
| A17 |  | The TMA MUST be capable of applying a load of 3N or greater to the sample being tested. Please confirm and detail. |  |
| Insert Response |  |  |  |
| A18 |  |  | The ability of the TMA equipment to replicate the pressures used in the steam sterilisation of polymers is DESIREABLE. |
| Insert Response |  |  |  |
| Hardware & Software Requirements |  |  |  |
| A19 | A suitable hardware and software interface for PC connection MUST be included. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |  |
| Insert Response |  |  |  |
| A20 |  |  | All necessary Software & licenses MUST be provided as required for operation of the TMA and cooling unit and any other included ancillaries. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A21 |  |  | Software updates for the lifetime of the instrument MUST be included. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |  |
| A22 |  |  | The TMA software MUST contain pre-defined thermal testing methods for polymers and a library of polymer specific data to enable efficient analysis, characterisation and identification of known and unknown samples. Please confirm and detail. |
| Insert Response |  |  |  |
| A23 |  |  | The TMA software MUST control all ancillaries which are connected to the TMA and MUST provide integrated operation which ensures correct, safe and repeatable testing can be performed. Please confirm and detail. |
| Insert Response |  |  |  |
| QC & Validation Requirements |  |  |  |
| A24 |  |  | The tenderer MUST provide details of the ease of use/user friendliness of the equipment and how this is of benefit to the operator, highlighting the specific features of the instrument that make it easy to use. Please confirm and detail. |
| Insert Response |  |  |  |
| A25 |  |  | All goods supplied in accordance with the contract MUST be of good construction, sound materially, of adequate strength and free of defects in design materials and workmanship and will be designed and manufactured so as to be safe and without risk to health when properly used. Please confirm and detail. |
| Insert Response |  |  |  |
| A26 |  |  | Compliance with all relevant health and safety standards, quality assurance and analytical protocols is a MUST. Please confirm and detail. |
| Insert Response |  |  |  |
| A27 |  |  | If there are manufacturing defects known to the tenderer, they MUST identify such defects and state their policy regarding the repair of known defects. Please confirm and detail. |
| Insert Response |  |  |  |
| A28 |  | The tenderer MUST state when the equipment model was introduced and when the system is likely to be superseded. Please confirm and detail. |  |
| Insert Response |  |  |  |
| A29 |  | Information regarding the machine physical footprint, approximate power consumption, electrical, gas, water and any other connection requirements for the operation of the instrument and any supplied ancillaries MUST be provided. Please confirm and detail. |  |
| Insert Response |  |  |  |
| A30 |  | Tenderers MUST advise any hazards associated with the operation or maintenance of this instrument. Please confirm and detail. |  |
| Insert Response |  |  |  |
| A31 |  |  | The Tenderer MUST provide documentation confirming: - Serial number traceability - Manufacturing date - CE conformity declaration - Electrical certification documentation - Operating manual in English - Preventative maintenance manual Please outline and detail. |
| Insert Response |  |  |  |

- After Sales Support, Warranty & Training

Customer Support, Repair/Breakdown Requirements & Spare Parts

| B1 | A list of checks which need to be carried out during preventative maintenance MUST be provided, along with any cost information about any parts that are routinely replaced. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule, Additional Pricing Request. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. These are optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. |
| --- | --- |
| Insert Response |  |
| B2 | The tenderer MUST have dedicated fully trained and qualified service engineering specialists at their disposal who can respond to all service calls and any form of breakdown call. This response time MUST be no more than 48 hours via phone call or remote service, and within 20 working days for onsite repair. Please confirm and detail. |
| Insert Response |  |
| B3 | The tenderer MUST specifically outline the level and duration of application support offered with the instrument where “application support” refers to the expert technical support (on-line or on-site) available from the manufacturer for using the instrument in novel research applications. Please confirm and detail. |
| Insert Response |  |
| B4 | In the event of full system breakdown, the tenderer MUST guarantee a maximum response time of 20 working days with a fully trained service engineer. Please confirm and detail. |
| Insert Response |  |
| B5 | The tenderer MUST provide confirmation of the availability of service and replacement parts for at least 10 years after commissioning. Please confirm and detail. |
| Insert Response |  |
| B6 | The tenderer MUST supply a full list of spare parts and consumables. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule, Additional Pricing Request. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. These are optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. |
| Insert Response |  |

| Warranty |  |  |  |
| --- | --- | --- | --- |
| B7 |  | At least a one (1) year warranty MUST be included as part of the quoted price, to include all hardware, labour, call outs, visit, travel and parts. Detail specific inclusions and exclusions of warranty. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |
| Insert Response |  |  |  |
| B8 |  | The Tenderer SHOULD provide the lead time for parts during the warranty period(s) and post-warranty, with and without service contract options. Please confirm and detail. |  |
| Insert Response |  |  |  |
| B9 |  | The Tenderer MUST state the details of any extended warranty and any associated costs. Detail specific inclusions and exclusions of extended warranty. Please include price per annum for year 2, 3, 4 and 5 details of coverage and maximum term of coverage. Please confirm and detail and also specify what is included in the warranty options outlined in the pricing schedule Appendix 2. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. These are optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. |  |
| Insert Response |  |  |  |
| B10 |  | The Tenderer MUST state details of preventative maintenance / servicing options included. Detail specific inclusions and exclusions of preventative maintenance / servicing options. Please confirm and detail. |  |
| Insert Response |  |  |  |
| B11 |  | If, during the warranty period, the model does not meet the criteria specified the contracting authority SHOULD have the right to return the instrument for a full refund of the cost of the instrument. Please confirm compliance |  |
| Insert Response |  |  |  |
| B12 |  | The successful tenderer SHOULD upgrade the equipment supplied to reflect any improvements or new developments that become available during the term of the contract at no additional cost to the Contracting Authority. Please confirm and detail. |  |
| Insert Response |  |  |  |
| Training |  |  |  |
| B13 |  | The tenderer MUST provide on-site training for a minimum of one (1) Day for at least three (3) Laboratory staff by fully qualified personnel immediately after installation and include: - aspects of system familiarization, - system, operation, - software & hardware familiarisation, - troubleshooting and Preventative Maintenance. Please specify inclusions and exclusion of this along with pricing in the Appendix 2 pricing schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |
| Insert Response |  |  |  |
| B14 |  | Following the installation of all equipment in the relevant areas, the successful tenderer MUST demonstrate the correct operation of all relevant equipment in that room to the satisfaction of a nominated TUS employee(s). Please confirm and detail. |  |
| Insert Response |  |  |  |
| B15 |  | Relevant training and maintenance manuals in English MUST also be provided with the instrument. Please confirm and detail. |  |
| Insert Response |  |  |  |

| - Method & Sustainability |  |  |
| --- | --- | --- |
| Lead Time & Delivery |  |  |
| C1 |  | Full details of the lead time and delivery plan including installation and commissioning, sign off and acceptance MUST be received within eight (8) weeks of receipt of purchase order. Please confirm and detail expected ETA. |
| Insert Response |  |  |
| C2 |  | Delivery MUST include all shipping charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. Technological University of the Shannon (TUS), University Road, Athlone, County Westmeath, Ireland, N37 HD68 Please specify inclusions and exclusion of this along with pricing in the Appendix 2 pricing schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |  |
| C3 |  | The tenderer MUST provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. Please confirm and detail. |
| Insert Response |  |  |
| C4 |  | The tenderer MUST provide details of actions that have been taken to ensure the future timely supply and delivery of goods and services, including ongoing supply of replacement/spare parts and consumables. Please confirm and detail. |
| Insert Response |  |  |
| C5 |  | The tenderer MUST provide details of their contingency plans (alternative sources/routes of supply) for any delays in delivery should they arise. Please confirm and detail. |
| Insert Response |  |  |
| C6 |  | The tenderer MUST provide details of the effects of any regulation change to the purchase of these goods should they arise. What mitigation plan is proposed to address changes in regulation should they arise? Please confirm and detail. |
| Insert Response |  |  |
| C7 |  | The tenderer MUST provide details of the overall dimensions, weight and number of containers being shipped, any specific handling or health and safety requirements i.e. forklift requirements, clearance requirements etc. Please outline and detail. |
| Insert Response |  |  |
| Installation, Commissioning & Calibration |  |  |
| C8 | The installation of all electrical items MUST be in full accordance with, but not limited to, European standards / regulations and all relevant amendments. Please confirm and detail. |  |
| Insert Response |  |  |
| C9 | The installation, commissioning & calibration of the equipment MUST be carried out by the trained engineers. This entails the instruments being transported to the lab and unpacked and functioning correctly. In addition, a full calibration kit MUST be supplied. Please specify inclusions and exclusion of this along with pricing in the Appendix 2 pricing schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |
| Insert Response |  |  |
| C10 | Following the installation of all equipment in the relevant area, the successful tenderer MUST fully demonstrate the safe and correct operation of the TMA equipment, cooling unit and any other ancillaries in that room to the satisfaction of a nominated employee(s). Please confirm and detail. |  |
| Insert Response |  |  |
| C11 | The Tenderer MUST supply adequate consumables to enable training, commissioning and working demonstration(s) of the TMA after installation. Please note this MUST include adequate calibration materials, and any other necessary materials or parts to ensure training can be thoroughly completed and machine operation demonstrated to the satisfaction of a nominated member or members of staff in TUS. Please confirm cost (if any) in Pricing Schedule, Appendix 2. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |
| Insert Response |  |  |
| C12 | The TMA installation MUST be performed by trained and certified engineers. The Installation Qualification (IQ) MUST verify: - Correct positioning and levelling of equipment - Electrical supply conformity - Verification of emergency stop functionality - Validation of all interlocks and safety systems of any attached ancillaries - System boot and functionality - Demonstration of the correct operation and performance of all equipment An IQ certificate or sign-off sheet MUST be provided. Please outline and detail. |  |
| Insert Response |  |  |
| Disposal & Environmental Policy |  |  |
| C13 | Tenderers SHOULD provide any Green/Environmental and or Social Responsibility Statement your company has accomplished. Please confirm and detail. |  |
| Insert Response |  |  |
| C14 | Tenderers SHOULD make all reasonable efforts to minimize reduce and understand the environmental impact of TMA testing procedures. It is DESIRABLE that the C02 footprint can be tracked and estimated. Please confirm and detail. |  |
| Insert Response |  |  |
| C15 | Tenderers SHOULD outline measures currently in place and planned futures measures for managing energy consumption associated with this instrument. Please confirm and detail. |  |
| Insert Response |  |  |
| C16 | Tenderers SHOULD make all reasonable efforts to minimise adverse environmental impact through efficient Transportation Management. What actions have you taken to reduce carbon production through logistical planning? Please confirm and detail. |  |
| Insert Response |  |  |
| C17 | Tenderers SHOULD provide any other relevant measures your organisation has taken or will be taking in the future in order to maximise sustainability and reduce carbon production. Please confirm and detail. |  |
| Insert Response |  |  |

| - Ultimate Cost |  |
| --- | --- |
| D1 | Please see Appendix 2 – Pricing Schedule for details. |

## B4: Appendix 2- Pricing Schedule

Please use the Appendix 2 – which is provided as a supplementary Excel – titled:

LA3652C Appendix 2 Pricing Schedule Lot 3

The Appendix 2 Pricing Schedule provided in the Excel file MUST be completed per Lot/section(s) you are Tendering for. Please submit in excel format. The relevant Pricing Schedule must be completed in full, totalled, and returned as part of the Tender submission.

Tenderers are reminded that the prices/discounts quoted MUST be in compliance with the requirements set out in paragraph 2.10 of the RFT, i.e.: they MUST be all-inclusive, fixed, expressed in Euro, exclusive of VAT and remain fixed for the term stated in the RFT.

Any particulars and merits should be identified in the comments section to facilitate scoring under paragraph 3.3 Award Criteria of the RFT.

## B5: Checklist for Tender Submissions

| Tenderers must address each of the issues and requirements and submit a detailed description in each case which demonstrates how these issues and requirements will be dealt with / met and their approach to the proposed delivery of the Goods. A mere affirmative statement by the Tenderer that it can / will do so or a reiteration of the tender requirements is NOT sufficient in this regard. | Confirm Yes/No |
| --- | --- |
| Please ensure that you have completed LA3680C-TRD A. | Confirm Yes/No |
| If multiple equipment types are available which suit the specifications required, please provide details of each option on a separate TRD and Appendix 2, clearly defining each option. | Confirm Yes/No |
| Please ensure that all supporting documentation is submitted in the English language. | Confirm Yes/No |
| Please ensure all documents are named accordingly and submitted within a zipped/compressed folder. | Confirm Yes/No |

Please ensure to sign confirmation form at end of this document.

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders.

- We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |
| Company Name: |  | Date: |  |
| Address: |  |  |  |
| Email: |  |  |  |

Document end