Tender Response Document

Tender Reference: LA3652C

Lot 1 - Vapour Smoothing (VS) Machine:

Location:

Technological University of the Shannon, Midlands Campus,

University Road, Athlone, Co. Westmeath, Ireland.

Contents

1.	Instructions for the Completion of the Tender Response Document.	3

2.	Summary of Requirements	4

3.	Sections B: Tender Response	5

B1: Requirements & Specifications	5

B2: Award Criteria	6

B3: Appendix 1-Technical Specification	8

B4: Appendix 2- Pricing Schedule	23

B5: Checklist for Tender Submissions	23

# Instructions for the Completion of the Tender Response Document.

Tenders MUST submit the Tender Response Document B (TRD) duly completed. When completing this TRD please note the following:

- Please ensure you complete all of Section A in the document “LA3652C-TRD A” before you progress to Section B below.

- Tenderers should note they MUST meet and ‘Pass’ all the requirements contained in Section A, the Selection Criteria (TRD A), to be considered eligible for assessment against the award criteria, Section B.

- You need to COMPLETE AND RETURN 3 DOCUMENTS. TRD A, the TRD B for the relevant lot you are applying for and the accompanying Appendix 2 Pricing Schedule.

- You DO NOT need to return the RFT Document. The RFT document is for information purposes only.

TRD B-Lot 1- Section B: Tender Response

- B1: Requirements & Specifications

- B2: Award Criteria

- B3: Appendix 1-Technical Specification

- B4: Appendix 2- Pricing Schedule (separate Excel File)

- B5: Checklist for Tender Submissions

The completed TRD B-Lot 1 must be returned in accordance with Section 2.6 of the RFT.

# Summary of Requirements

Lot 1: Vapor Smoothing Machine

A vapour smoothing (VS) machine is an advanced post-processing system used to significantly improve the surface quality of 3D-printed polymer parts. It operates by exposing components to a carefully controlled solvent vapour within a sealed chamber. This vapour temporarily softens the outer surface of the parts, allowing microscopic layer lines and surface imperfections—commonly associated with additive manufacturing processes such as SLS, MJF, and FDM—to smooth out and fuse, without affecting the overall geometry.

The system is designed for automated and repeatable operation, making it well suited for research, prototyping, and low-volume production environments. In addition to enhancing visual appearance by producing a smooth, uniform, and often semi-gloss finish, the process also improves mechanical performance. By reducing surface porosity, it increases part strength, durability, and resistance to moisture, chemicals, and wear. In practical applications, vapour smoothing machines are particularly valuable where both functional performance and high-quality surface finish are required, such as in medical, aerospace, and engineering components. The enclosed and controlled process ensures consistent results and safe operation, supporting the reliable production of end-use additively manufactured parts.

# Sections B: Tender Response

## B1: Requirements & Specifications

Suppliers MUST provide all information relating to the instrument and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: Appendix 2 – Pricing Schedule.

This is the minimum specification required.  All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.  Additional functionality should be identified in the comments section to facilitate scoring under the award criteria. The Contracting Authority may award a higher marking if the additional functionality is desirable or adds value.

Supplier Notes

- This specification document is designed to assist the contracting authority in its evaluation of your tender and to enable suppliers provide structured responses to key deliverables. It is structured to reflect the award criteria as set out in the RFT.

- Please note responses to individual questions will NOT be scored separately but collectively they will provide a basis for assessing the merits of the tenderer’s overall response to each award criterion and sub-criterion.

- Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances, the phrase “or equivalent” is inferred.

- It is acknowledged that each Tender’s product line may differ from these specifications.  As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item must meet or exceed the specified characteristics or level of performance.

- Where abnormally low tenders are received the Evaluation team shall require the tenderer to explain the price proposed in Appendix 2. (Per Article 69 of the EU Procurement Directives 2014/24). Where the tenderer cannot provide a sufficient explanation, the contracting authority is entitled to reject the tender.

- The award of any contract is subject to the successful tenderer meeting the required specification and standards as set out in this RFT and Appendix 1. Should the required specification and standards not be met, the EPS reserves the right, in consultation with the Contracting Authority, to award any contract to the next highest-ranked Tenderer.

- If the evaluation outcome results in a tie between two or more Tenders, then the Tender with the highest score for the highest weighted criterion shall be deemed the most economically advantageous tender. If the score remains in a tie, the remaining criterion will be assessed by the highest weighted until there is no longer a tie.  If the score remains a tie after all criterions are assessed, the tenderers will be asked to submit a Best and Final Offer (BAFO).

A failure to answer question(s) may leave the contracting authority with insufficient information on which to base a thorough evaluation and in turn may result in loss of marks in respect of the relevant Award Criterion. Therefore, please ensure you complete ALL sections of this questionnaire.

Only those Tenderers who have qualified in accordance with paragraph 3.2 of this RFT will proceed to be evaluated under this paragraph 3.3.1

## B2: Award Criteria

The Goods Contract will be awarded on the basis of the most economically advantageous tender(s) as identified in accordance with the following award criteria:

| LA3652C Lot 1 - Vapour Smoothing (VS) Machine: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Award Criteria: Please Note: All sub criteria for sections B & C carry equal weight/marks. For section A some sub criteria carry its own weighting. | Weighting | Total Maximum Score | Minimum Score (60%) Requirement |
| - Technical Merit |  |  |  |  |
| A | - General Functional Requirements - Hardware & Software Requirements - QC & Validation Requirements | 55% 30% 15% 10% | 550 300 150 100 | 180 90 60 |
| - After Sales Support, Warranty & Training |  |  |  |  |
| B | - Customer Support, Repair/Breakdown Requirements & Spare Parts - Warranty - Training | 15% | 150 | 90 |
| - Method & Sustainability |  |  |  |  |
| C | - Lead Time & Delivery - Installation, Commissioning & Calibration - Environmental & Sustainability Policy | 10% | 100 | 60 |
| - Ultimate Cost (Total Cost of Ownership) |  |  |  |  |
| D | Please see Appendix 2 – Pricing Schedule for details. | 20% | 200 | n/a |
|  | Total Maximum Score Available | 100% | 1000 |  |

Tenderers must achieve a minimum of 60% on all tender award criteria above, excluding Ultimate Cost, in order to avoid elimination from the competition. Only tenderers who have achieved the 60% will be evaluated against Ultimate Cost.

No commitment of any kind, contractual or otherwise shall exist unless and until a formal written contract has been executed by or on behalf of the Contracting Authority. Any award of notification of preferred bidder status by the Contracting Authority shall not give rise to any enforceable rights by the Tenderer. The Contracting Authority may cancel this public procurement competition at any time prior to a formal written contract being executed by or on behalf of the Contracting Authority. The Contracting Authority does not bind itself to accept the lowest priced or any tender.

The award of contract will be on the basis of the Most Economically Advantageous Tender received, in accordance with the detailed award criteria and weightings set out below.

The lowest Ultimate Cost tender, will receive the maximum score achievable under this criterion.

| Pricing Score = | Lowest Tendered Price x Max Points |
| --- | --- |

Price being evaluated.

Responses for non-cost/qualitative Award Criteria items will be scored using the following matrix:

| Scoring Methodology |  |
| --- | --- |
| Scoring Range | Meaning |
| 91% – 100% | Excellent response that fully meets and exceeds requirements, providing comprehensive, detailed, and convincing assurance that the Tenderer will deliver to an exceptional standard. |
| 80% – 90% | A very good response that demonstrates real understanding and fully meets the requirements and provides convincing assurance that the Tenderer will deliver to high standard. |
| 60% – 79% | A satisfactory response which demonstrates a reasonable understanding of requirements and provides reasonable confidence that the minimum requirements will be delivered. However, it does not provide sufficiently convincing assurance to award a higher mark. |
| 30% - 59% | A response where reservations exist due to a lack of convincing details and comprehensive credibility. There is a significant risk that the requirements will not be delivered to a satisfactory standard. |
| 1% – 29% | A response that raises significant reservations, due to insufficient detail, critical or notable deficiencies, that seriously lacks credibility, presenting a high risk of non-delivery. |
| 0% | No Response or partial Response that completely fails to address the criterion under consideration |

## B3: Appendix 1-Technical Specification

Suppliers MUST provide all information relating to the instrument and the associated consumables in the blue response boxes below. Responses will be scored accordingly by the Evaluation team as set out in the Award Criteria in the RFT document.

Where an additional document is required to support your response, the document MUST be attached and the relevant section within the document MUST be clearly referenced in your answer.

Please note that website links are not sufficient as a supporting document.

Only referenced documents will form part of the evaluation. Brochures that have not been referenced will NOT be evaluated.

Please ensure all cost submissions are kept separate and included in the Excel file entitled:  Appendix 2 – Pricing Schedule

| LA3652C – Lot 1- Vapor Smoothing (VS) Machine |  |
| --- | --- |
| State proposed model here: |  |

- Technical Merit

General Functional Requirements

| A1 | The Tenderer MUST supply an automated chemical vapour smoothing system suitable for post-processing thermoplastic polymer 3D printed parts. The system MUST include: - Integrated process chamber - Consumable canister system - Integrated control system (HMI) - All safety systems and accessories required for normal operation Please note Ex-Demo equipment is not acceptable; the system MUST be supplied new. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |
| --- | --- | --- |
| Insert Response |  |  |
| A2 | The system /solution MUST have a minimum effective process chamber size of 380 × 280 × 380 mm (W × D × H) to ensure compatibility with 3D printing equipment currently in use on site. Please confirm and detail. |  |
| Insert Response |  |  |
| A3 | The system MUST provide fully automated chemical vapour smoothing with repeatable and controlled process parameters to ensure consistent surface finish and sealing of parts. Please confirm and detail automation level. |  |
| Insert Response |  |  |
| A4 | The vapour smoothing system MUST have a minimum effective chamber Volume of 40 litres. Please confirm volume of chamber. |  |
| Insert Response |  |  |
| A5 | The system MUST be compatible with a wide range of thermoplastic polymers, including materials with properties comparable to: - Polyamide (PA 11, PA 12) - Thermoplastic Polyurethane (TPU / TPE) Please confirm and detail material compatibility. |  |
| Insert Response |  |  |
| A6 | All consumables supplied for operation of the vapour smoothing system, including solvents, finishing agents, additives, and process fluids, SHOULD be classified as non-flammable in accordance with CLP/GHS regulations. Please confirm consumables are non-flammable. |  |
| Insert Response |  |  |
| A7 | The system SHOULD allow controlled adjustment of process parameters to influence surface finish and functional performance. Please confirm and detail adjustable parameters. |  |
| Insert Response |  |  |
| A8 | Information regarding the electrical requirements for operation and approx. power consumption MUST be provided. Please detail and confirm. |  |
| Insert Response |  |  |
| A9 | The system MUST operate as a fully enclosed, closed-loop unit. Please confirm and detail. |  |
| Insert Response |  |  |
| A10 | The vapour smoothing system MUST be standalone and not exceed maximum external dimensions of 1,000 × 1,500 × 2,000 mm (W × D × H). Please confirm system dimensions. |  |
| Insert Response |  |  |
| A11 | The system MUST utilise consumables capable of producing end use parts that are Safe for Skin Contact. Please confirm and detail. |  |
| Insert Response |  |  |
| Hardware & Software Requirements |  |  |
| A12 | The system MUST include an integrated touchscreen Human-Machine Interface (HMI) for process control, monitoring, and recipe management. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |
| Insert Response |  |  |
| A13 | All necessary Software & licenses MUST be provided by the tenderer as required for operation of instrumentation and analysis of results. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |  |
| Insert Response |  |  |
| A14 | The system MUST be capable of connection to a Local Exhaust Ventilation (LEV) or dedicated extraction system. The Tenderer MUST specify: Recommended airflow rate (m³/hr), Duct diameter and connection type, Static pressure requirements, Filtration requirements (e.g., activated carbon, solvent-rated filtration), Maximum duct length and routing limitations. Please confirm and detail. |  |
| Insert Response |  |  |
| QC & Validation Requirements |  |  |
| A15 |  | All goods supplied in accordance with the contract MUST be of good construction, sound materially, of adequate strength and free of defects in design materials and workmanship and will be designed and manufactured so as to be safe and without risk to health when properly used. Please outline and detail. |
| Insert Response |  |  |
| A16 | The vapour smoothing system MUST be CE certified and compliant with applicable electrical and machinery directives for installation within the EU. Please outline and detail. |  |
| Insert Response |  |  |
| A17 | The Tenderer MUST provide documentation confirming: - Serial number traceability - Manufacturing date - CE conformity declaration - Electrical certification documentation - Operating manual - Preventative maintenance manual - Safety data sheets (SDS) for consumables Please outline and detail. |  |
| Insert Response |  |  |
| A18 | The Tenderer SHOULD manage the full supply chain of all consumables required for operation of the vapour smoothing system, including manufacture, distribution, storage guidance, collection of used materials, and final disposal or recycling. Please confirm and detail. |  |
| Insert Response |  |  |
| A19 | The Tenderer SHOULD provide documented evidence that the proposed vapour smoothing system, when used to process MJF-printed TPU materials, is capable of producing end-use TPU parts compliant with the following standards after solvent vapour smoothing: For MJF BASF Ultrasint TPU01 Material - Skin Irritation – ISO 10993-10:2013 – Pass - Skin Sensitisation (Skin Sensitivity) – ISO 10993-10:2013 – Pass For MJF Lubrizol TPU Material - Skin Irritation (Medical) – ISO 10993-10:2013 – Pass - Cytotoxicity (Medical) – ISO 10993-5:2009 – Pass Compliance SHOULD relate specifically to MJF-printed TPU parts that have undergone solvent vapour smoothing using the proposed system and approved consumables. Please confirm. |  |
| Insert Response |  |  |
| A20 | The Tenderer SHOULD provide documented evidence that the proposed vapour smoothing system, when used to process MJF-printed PA11 material, is capable of producing end-use parts compliant with the following biocompatibility standards after solvent vapour smoothing: - Hemolysis – ISO 10993-4 - Cytotoxicity – ISO 10993-5:2009 - Skin Irritation – ISO 10993-10:2013 Compliance SHOULD relate specifically to MJF PA11 material processed using the proposed system and approved consumables. Please confirm. |  |
| Insert Response |  |  |
| A21 | The Tenderer SHOULD provide documented evidence that the vapour smoothing system, when used to process MJF-printed PA12 parts, is capable of producing end-use components that meet the following standards after solvent vapour smoothing: - Automotive Flammability – FMVSS 302 – Pass - Antibacterial Activity (Medical/Dental) – ISO 22196:2011 – Pass - Aquatic / Acute Toxicity – ISO 11348-3 – Pass - Cytotoxicity (Medical) – ISO 10993-5:2009 – Pass - Intradermal Reactivity – ISO 10993-10 (or equivalent recognised standard) – Pass Compliance SHOULD relate specifically to MJF PA12 material processed using the proposed system and approved consumables. Please confirm. |  |
| Insert Response |  |  |

- After Sales Support, Warranty & Training

Customer Support, Warranty, Repair/Breakdown Requirements & Spare Parts

| B1 | The tenderer MUST have dedicated fully trained and qualified service engineering specialists at their disposal who can respond to all service calls and any form of breakdown call. This response time MUST be no more than 48 hours via phone call or remote service, and within 20 working days for onsite repair. Please confirm and detail. |
| --- | --- |
| Insert Response |  |
| B2 | A list of checks carried out during preventative maintenance MUST be provided, along with any cost information about any parts that are routinely replaced. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule, Additional Pricing Request. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. These are optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. |
| Insert Response |  |
| B3 | The tenderer MUST specifically outline the level and duration of application support offered with the instrument where “application support” refers to the expert technical support (on-line or on-site) available from the manufacturer for using the instrument in novel research applications. Please confirm and detail. |
| Insert Response |  |
| B4 | In the event of full system breakdown, the tenderer MUST guarantee a maximum response time of 20 working days with a fully trained service engineer. Please confirm and detail. |
| Insert Response |  |

| Warranty |  |
| --- | --- |
| B5 | At least a one (1)-year warranty MUST be included as part of the quoted price, to include all hardware, labour, call outs, visit, travel and parts. Detail specific inclusions and exclusions of warranty. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| B6 | The tenderer MUST indicate the lead time for parts during the warranty period(s) and post-warranty, with and without service contract options. Please confirm and detail. |
| Insert Response |  |
| B7 | The Tenderer MUST state the details of any extended warranty and any associated costs. Detail specific inclusions and exclusions of extended warranty. Please include price per annum for year 2, 3, 4, and 5, details of coverage and maximum term of coverage. Please confirm and detail and also specify what is included in the warranty options outlined in the pricing schedule Appendix 2. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. These are optional for the Contracting Authority to purchase and will not be included for the purposes of cost evaluation. |
| Insert Response |  |
| B8 | The Tenderer MUST state details of preventative maintenance / servicing options included. Detail specific inclusions and exclusions of preventative maintenance / servicing options. Please confirm and detail. |
| Insert Response |  |
| B9 | If, during the warranty period, the model does not meet the criteria specified the contracting authority SHOULD have the right to return the instrument for a full refund of the cost of the instrument. Please confirm compliance |

Insert Response

| Training |  |
| --- | --- |
| B10 | The tenderer MUST provide on-site training for a minimum of one (1) Day for at least three (3) Laboratory staff by fully qualified personnel immediately after installation and include : - aspects of system familiarization, - system, operation, - software & hardware familiarisation, - troubleshooting and Preventative Maintenance. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| B11 | Following the installation of all equipment in the relevant areas, the successful tenderer MUST demonstrate the correct operation of all relevant equipment in that room to the satisfaction of a nominated Technical University of Shannon employee. Please confirm and detail. |
| Insert Response |  |
| B12 | Relevant training and maintenance manuals in English MUST also be provided with the instrument. Please confirm and detail. |
| Insert Response |  |

| - Method & Sustainability |  |
| --- | --- |
| Lead Time & Delivery |  |
| C1 | Full details of the lead time and delivery including installation and training MUST be within 12 weeks from receipt of purchase order. Please confirm and detail ETA |
| Insert Response |  |
| C2 | Delivery MUST include all shipping charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms to the below address: Applied Polymer Technologies Building (APT) Technological University of the Shannon, University Road, Athlone, Co. Westmeath, Ireland Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| C3 | The tenderer MUST provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. Please confirm and detail. |
| Insert Response |  |
| C4 | The tenderer MUST provide details of the overall dimensions, weight and number of containers being shipped, any specific handling or health and safety requirements i.e. forklift requirements, clearance requirements etc. Please confirm and detail. |
| Insert Response |  |
| C5 | The tenderer MUST provide details of their contingency plans (alternative sources/routes of supply) for any delays in delivery if they arise. Please confirm and detail. |
| Insert Response |  |
| Installation, Commissioning & Calibration |  |
| C6 | The installation of all electrical items MUST be in full accordance with, but not limited to, European standards / regulations and all relevant amendments. Please confirm. |
| Insert Response |  |
| C7 | The installation, commissioning & calibration of the equipment MUST be carried out by the trained engineers. This entails the instruments being transported to the lab and unpacked and functioning correctly. Please confirm and detail including costs (if any) in Pricing Schedule, Appendix 2. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| C8 | Following the installation of all equipment in the relevant area, the successful tenderer MUST fully demonstrate the correct operation of the vapour smoothing equipment in that room to the satisfaction of a nominated employee. Please confirm and detail. |
| Insert Response |  |
| C9 | The Tenderer MUST supply adequate consumables to enable training, commissioning and a working demonstration of the Vapour smoothing process after installation. Please note: this MUST include adequate material, build plates, print heads, print bed glue and support material to ensure training can be thoroughly completed and machine operation demonstrated to the satisfaction of a nominated member or members of staff in TUS. Please confirm detailing all inclusions and any addition pricing in the Appendix 2 pricing schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| C10 | The vapour smoothing system installation MUST be performed by trained and certified engineers. The Installation Qualification (IQ) MUST verify: - Correct positioning and levelling of equipment - Electrical supply conformity - Verification of emergency stop functionality - Validation of chamber door interlocks - Verification of consumable canister installation - System boot and HMI functionality An IQ certificate or sign-off sheet MUST be provided. Please outline and detail. |
| Insert Response |  |
| Environmental & Sustainability Policy |  |
| C11 | Tenderers SHOULD provide any Green/Environmental and or Social Responsibility Statement your company has accomplished. Please confirm and detail. |
| Insert Response |  |
| C12 | Tenderers SHOULD make all reasonable efforts to minimise adverse environmental impact in the methods of services delivery and in materials used. What actions have you taken to improve efficiency and to lessen your impact on the environment? Please confirm and detail. |
| Insert Response |  |
| C13 | Tenderers SHOULD outline measures currently in place and planned futures measures for managing energy consumption associated with this instrument. Please confirm and detail. |
| Insert Response |  |
| C14 | Tenderers SHOULD provide any other relevant measures your organisation has taken or will be taking in the future in order to maximise sustainability and reduce carbon production. Please confirm and detail. |
| Insert Response |  |

| - Ultimate Cost |  |
| --- | --- |
| D1 | Please see Appendix 2 – Pricing Schedule for details. |

## B4: Appendix 2- Pricing Schedule

Please use the Appendix 2 – which is provided as a supplementary Excel – titled:

LA3652C Appendix 2 Pricing Schedule Lot 1

The Appendix 2 Pricing Schedule provided in the Excel file MUST be completed per Lot/section(s) you are Tendering for. Please submit in excel format. The relevant Pricing Schedule must be completed in full, totalled, and returned as part of the Tender submission.

Tenderers are reminded that the prices/discounts quoted MUST be in compliance with the requirements set out in paragraph 2.10 of the RFT, i.e.: they MUST be all-inclusive, fixed, expressed in Euro, exclusive of VAT and remain fixed for the term stated in the RFT.

Any particulars and merits should be identified in the comments section to facilitate scoring under paragraph 3.3 Award Criteria of the RFT.

## B5: Checklist for Tender Submissions

| Tenderers must address each of the issues and requirements and submit a detailed description in each case which demonstrates how these issues and requirements will be dealt with / met and their approach to the proposed delivery of the Goods. A mere affirmative statement by the Tenderer that it can / will do so or a reiteration of the tender requirements is NOT sufficient in this regard. | Confirm Yes/No |
| --- | --- |
| Please ensure that you have completed LA3680C-TRD A. | Confirm Yes/No |
| If multiple equipment types are available which suit the specifications required, please provide details of each option on a separate TRD and Appendix 2, clearly defining each option. | Confirm Yes/No |
| Please ensure that all supporting documentation is submitted in the English language. | Confirm Yes/No |
| Please ensure all documents are named accordingly and submitted within a zipped/compressed folder. | Confirm Yes/No |

Please ensure to sign confirmation form at end of this document.

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders.

- We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |
| Company Name: |  | Date: |  |
| Address: |  |  |  |
| Email: |  |  |  |

Document end