Design, Installation and Commission of Roof Top Solar PV at two locations - MRH Portlaoise and Abbeyleix CNU. Provide a feasibility assessment on potential carport & covered pedestrian walkway system at MRHP

# Pricing Document

HSE Estates Midlands

HSE Area Office, Arden Road, Tullamore, Co. Offaly, R35 TY28

Midlands Regional Hospital Tullamore (MRHT)

Arden Road,

Tullamore,

Co. Offaly,

R35 NY51

| CURRENT ISSUE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Issue No: | T2 | Reason for Issue | Tender Issue | Issue Date | 25/03/2026 |

| REVIOUS ISSUES (Type Names) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Issue No: | Date: | Originator: | Checker: | Reason For Issue: |
| 1.0 | 01/04/2025 | Evan Weatherup |  | Tender |
| 2.0 | 18/06/2026 | Martin Breen |  | Tender |

Table of Contents

1.	Pricing Schedule MRH Tullamore	1

# Pricing Schedule MRH Portlaoise and Abbeyleix CNU

| Item: | Description: MRH Portlaoise | Cost (€) |
| --- | --- | --- |
| 1.1 | Preliminaries (Including Schedule of Works) |  |
| 1.2 | Site Supervision and Setting Out |  |
| 1.3 | Health & Safety (Including undertaking PSDP + PSCS roles. Including Site-Specific Health & Safety Method Statement, Prelim Health & Safety Plan, etc.) |  |
| 1.4 | Design of Roof Mounted PV System & Production of PV Design Report and feasibility assessment for carport & pedestrian walkway system |  |
| 1.5 | Supply, Installation & Commissioning of ___ no. PV Modules to achieve 250 kWp |  |
| 1.6 | Supply of ________ no. _____kW inverters (250 kWp) |  |
| 1.7 | Design, Installation & Supply of EGIP / G10 Relay (G10 relay to ESB Network Specification) |  |
| 1.8 | DNO Communications including NC5 etc. |  |
| 1.9 | Civil & Builder’s Works, including flashing and making good as required |  |
| 1.10 | Electrician’s Works to include alteration to onsite Electrical Panels, Equipment, main-distribution board cabling, as necessary. |  |
| 1.11 | Structural survey of existing roofs |  |
| 1.11a | Fire Risk survey of existing roofs/ |  |
| 1.12 | Professional Indemnity Insurance for all 3rd Party Services |  |
| 1.13 | Plant Hire (as necessary for full completion of works) |  |
| 1.14 | Cranage (Rate per lift) |  |
| 1.15 | Configuration of inverter to online portal |  |
| 1.16 | Tie-in to existing Energy management system on site BMS |  |
| 1.17 | Containment, Associated Control & Distribution Panels, cabling and safety devices, and support brackets/systems. |  |
| 1.18 | Lightning Protection and Over Voltage Protection |  |
| 1.19 | Testing & Commissioning, Handover & Demonstration |  |
| 1.20 | O&M Manual and full record of drawings |  |
| 1.21 | 3 year contract to Wi-Fi for portal communications (Wi-Fi with sim card) |  |
| 1.22 | Design, supply, install and certify 1100mm high free standing roof edge galvanised guardrail system with counterweight feet (non-penetrable fixing) providing collective protection to all roof spaces indicated in drawing “Site Plan”, in Appendix folder. Selected system to be approved by Client and Engineer prior to installation and to be tested to all relevant regulations and standards including EN:13374, BS13700:2021, EN 10255, EN ISO 1461 Estimated length: 700 metres. (Contractor to confirm own site measurements on contract award. This is an estimate from site plans, for the purpose of a pricing document) |  |
| 1.23 | Any other items not listed above but required to complete the works in accordance with the contract drawings and specification |  |
|  | Other: |  |
| 1.24 | Drone time lapse recording for entire installation. 3 stages of drone footage: (1) Before works commence. (2) During installation. (3) Project completion. |  |
|  | Subtotal: |  |
|  | Description: Abbeyleix CNU |  |
| 2.1 | Preliminaries (Including Schedule of Works) |  |
| 2.2 | Site Supervision and Setting Out |  |
| 2.3 | Health & Safety (Including undertaking PSDP + PSCS roles. Including Site-Specific Health & Safety Method Statement, Prelim Health & Safety Plan, etc.) |  |
| 2.4 | Design of Roof Mounted PV System & Production of PV Design Report |  |
| 2.5 | Supply, Installation & Commissioning of ___ no. PV Modules to achieve 250 kWp |  |
| 2.6 | Supply of ________ no. _____kW inverters (250 kWp) |  |
| 2.7 | Design, Installation & Supply of EGIP / G10 Relay (G10 relay to ESB Network Specification) |  |
| 2.8 | DNO Communications including NC5 etc. |  |
| 2.9 | Civil & Builder’s Works, including flashing and making good as required |  |
| 2.10 | Electrician’s Works to include alteration to onsite Electrical Panels, Equipment, main-distribution board cabling, as necessary. |  |
| 2.11 | Structural survey of existing roofs |  |
| 2.11a | Fire Risk survey of existing roofs/ |  |
| 2.12 | Professional Indemnity Insurance for all 3rd Party Services |  |
| 2.13 | Plant Hire (as necessary for full completion of works) |  |
| 2.14 | Cranage (Rate per lift) |  |
| 2.15 | Configuration of inverter to online portal |  |
| 2.16 | Tie-in to existing Energy management system on site BMS |  |
| 2.17 | Containment, Associated Control & Distribution Panels, cabling and safety devices, and support brackets/systems. |  |
| 2.18 | Lightning Protection and Over Voltage Protection |  |
| 2.19 | Testing & Commissioning, Handover & Demonstration |  |
| Abbeyleix CNU |  |  |
| 2.20 | O&M Manual and full record of drawings |  |
| 2.21 | 3 year contract to Wi-Fi for portal communications (Wi-Fi with sim card) |  |
| 2.22 | Design, supply, install and certify 1100mm high free standing roof edge galvanised guardrail system with counterweight feet (non-penetrable fixing) providing collective protection to all roof spaces indicated in drawing “Site Plan”, in Appendix folder. Selected system to be approved by Client and Engineer prior to installation and to be tested to all relevant regulations and standards including EN:13374, BS13700:2021, EN 10255, EN ISO 1461 Estimated length: 700 metres. (Contractor to confirm own site measurements on contract award. This is an estimate from site plans, for the purpose of a pricing document) |  |
| 1.23 | Any other items not listed above but required to complete the works in accordance with the contract drawings and specification |  |
|  | Other: |  |
| 1.24 | Drone time lapse recording for entire installation. 3 stages of drone footage: (1) Before works commence. (2) During installation. (3) Project completion. |  |
|  | Subtotal: |  |
|  | Total (Subtotal 1 + Subtotal 2) |  |
|  | I confirm that the above tender complies with all relevant Standards and Specifications and that there is no VAT included in the above tender price. I confirm that this tender is inclusive of all costs to deliver the specified PV system in accordance with the Code of Practice, Specifications and all site-specific constraints, conditions and requirements. This quotation is valid for 6 months from the date below. Works will be completed within 3 months of contract confirmation |  |
| Contractor’s Signature: |  |  |
| Print Name: |  |  |
| Date: |  |  |