## Instructions
Appendix 2- Pricing Schedule |  |  | Tender Ref: UCC-2025-29
PLEASE NOTE THAT THERE ARE THREE (3) SUPPLEMENTARY WORKSHEETS FOR COMPLETION IN THIS APPENDIX Please complete sections highlighted in yellow. Notes may be added where necessary
General Information
Project Title | TENDER REFERENCE: UCC-2025-29 - Request-for-Tenders under Open OJEU Procedure for the the Supply, Delivery, Installation, Commissioning, and Validation of an Integrated Glove Box-Linked Dual Atomic Layer Deposition (ALD) Reactor System with Collocated Ellipsometer System for Tyndall National Institute, University College Cork (UCC)
Tender Reference | Tender Reference UCC-2025-29
Instructions
a. | Tenderers must complete the "Pricing schedule" tab with a full breakdown of the costs in the prescribed format requested.
b. | Provide a detailed breakdown of pricing for any Consumables/Parts required (Separate Tab)
c. | Please ensure all prices are provided in € Euro
d. | In addition, a separate itemised quotation may also be provided in support of this Pricing Schedule
Table of Lots
| Product Description | Qty
| Integrated Glove Box-Linked Dual Atomic Layer Deposition (ALD) Reactor System with Collocated Ellipsometer System | 1

## Pricing schedule
TENDER REFERENCE: UCC-2025-29 - Request-for-Tenders under Open OJEU Procedure for the the Supply, Delivery, Installation, Commissioning, and Validation of an Integrated Glove Box-Linked Dual Atomic Layer Deposition (ALD) Reactor System with Collocated Ellipsometer System for Tyndall National Institute, University College Cork (UCC)
Tender Reference UCC-2025-29
Appendix 2 - Pricing Schedule
Company Name |  | Insert Name
Description | Qty | Price in Euro Ex VAT | Notes- Tenderer's Comment
Current List Price for an Integrated Glove Box-Linked Dual Atomic Layer Deposition (ALD) Reactor System with Collocated Ellipsometer System to include: • Two (2) x independently operable Atomic Layer Deposition (ALD) reactors • One (1) high-quality linking glove box module • A minimum of one (1) ellipsometer | 1 | 0 |  | Above this Total , items included in the System price may be listed if there is potentially an associated cost. If there is no associated cost, please list as zero cost value and add Tenderer's comment. Please note that theses costs are included in the Cost Evaluation for the tendered system.
Tendered Price for a Integrated Glove Box-Linked Dual Atomic Layer Deposition (ALD) Reactor System with Collocated Ellipsometer System to include: • Two (2) x independently operable Atomic Layer Deposition (ALD) reactors • One (1) high-quality linking glove box module • A minimum of one (1) ellipsometer (A1) | 1 | 0
Delivery Cost to Tyndall National Institute, - Delivery MUST include all Shipping charges, insurance, and all aspects as outlined in DAP (Delivery at Place) incoterms. Note - Vendors MUST confirm all aspects considered for shipping and account for all associated costs. -( Specification D2) | 1 | 0
Transformer suitable for use with 230 V single line 50Hz electrical supply, if required (D10) | 1 | 0
Installation, Commissioning & Validation (D13) Onsite | 1 | 0
Warranty inc. one (1) Preventative Maintenance Visit - Mandatory (if not included in purchase cost) (C.1) - Years 1 & 2 | 1 | 0
Necessary drivers and/or software for PC control (A78) | 1 | 0
Software Perpetual licenses (A82) | 1 | 0
Customer Training Proposal - Mandatory onsite or online (C.29) Training for a minimum of TWO (2) Laboratory staff by fully qualified personnel for a minimum of Three(3) Days immediately after installation. (Mandatory if not already included in the overall price) | 1 | 0 | Please specify onsite or online here
Ultimate Cost (this includes the Total Purchase Cost/Capital Cost (ex. VAT) and the After Sales Service & Warranty Costs (Service Cost) exc. VAT |  | 0
Optional To Purchase items |  |  | Comments
Annual (SLA) Service & Maintenance Contract Cost inc. one (1) Preventative Maintenance Visit - Year 3 (C10) |  | 0 |  | For information purposes only and will not form part of the Cost evaluation
Annual (SLA) Service & Maintenance Contract Cost inc. one (1) Preventative Maintenance Visit - Year 4 (C10) |  | 0
Annual (SLA) Service & Maintenance Contract Cost inc. one (1) Preventative Maintenance Visit - Year 5 (C10) |  | 0
Extended Warranty - Year 3 (C4) |  | 0
Extended Warranty - Year 4 (C4) |  | 0
Extended Warranty - Year 5 (C4) |  | 0
Customer Support Proposal - (C.14) |  | 0
Software - Admin (A85) |  | 0
Software Updates- post warranty (A81) |  | 0
Additional Options- Optional Extras To Purchase items |  |  | Comments
Ellipsometer upgrade options from base system, including spectral range and mapping capability (A51) Please list in rows here under. Additional rows may be added if required.
Add upgrade option here |  | 0
Add upgrade option here |  | 0
Add upgrade option here |  | 0
Add upgrade option here |  | 0
ALD Reactor 1- Auxiliary tools, utilities, or accessories required for system operation (A62) |  | 0
ALD Reactor 2- Auxiliary tools, utilities, or accessories required for system operation (A72) |  | 0
ALD Reactor 1 - future upgrade for substrate bias (A19) |  | 0
ALD Reactor 1 vacuum pump heated fore line (A20) |  | 0
ALD Reactor 2 - future upgrade for substrate bias (A36) |  | 0
ALD Reactor 2 vacuum pump heated fore line (A37) |  | 0
Software - Recipe Sharing (A94) |  | 0
Control software GUI (A80) |  | 0
Maintenance and Calibration Software routines for pumps, valves, plasma ignition, and safety checks.(92) |  | 0
Outside Warranty/maintenance contract - prices for servicing and repairs (C9) |  | 0
Other Additional Options not outlined in Specification (please list separately if applicable)
Please list any additional accessories here |  | 0 |  | For information purposes only and will not form part of the Cost evaluation
Please list any additional accessories here |  | 0
Please list any additional accessories here |  | 0
Please list any additional accessories here |  | 0
Additional Information Requested
HS Code (Harmonized System Code) Please include in notes field.
Country of Origin. Please include in notes field.

## Consumables & Spare Parts
Appendix 2 - Pricing Schedule
TENDER REFERENCE: UCC-2025-29 - Request-for-Tenders under Open OJEU Procedure for the the Supply, Delivery, Installation, Commissioning, and Validation of an Integrated Glove Box-Linked Dual Atomic Layer Deposition (ALD) Reactor System with Collocated Ellipsometer System for Tyndall National Institute, University College Cork (UCC) | [9 empty] | Tender Ref: UCC-2025-29
N.B. Instruction to Tenderer: Please provide information and pricing of Spare parts/Consumables that are necessary for your instrument (please note that this pricing will not be included in cost evaluation - Prices should be held for a minimum of 12 months) from effective date of contract.
Additional Capability Function Options, Spare Parts & Consumables- Product Name/Code | Description | Routinely Stocked Y/N | Lead Time (Days) | Number of years available after system installation | Number of years price will be held for this product | Qty | List Price, € (ex. VAT) | Discount Off The List Price (%) | Discounted Price, € (ex. VAT) | VAT Rate Charged | Total Discounted Price, € (incl. VAT)
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
1
Total Cost | [10 empty] | 0
Signed: |  | Position:
Print Name: |  | Phone No:
Company Name: |  | Date:
Address:
Email:

## Payment Milestones
Please complete and update the table below with your proposed payment milestones.
The table may be adjusted if necessary.
Integrated Glove Box-Linked Dual Atomic Layer Deposition (ALD) Reactor System with Collocated Ellipsometer System
Payment Milestone | Please complete | Please add Comment if required
On receipt of PO | ____ %
On Delivery | ____ %
On Final Acceptance | ____ %