## Sheet3
Pricing summary
Please include all costs envisaged for this tender, additional costs can be added to end of sheet, please include all information for any additional costs added
Price must include all labour and all materials
Price must include removal/disposal of all waste material and equipment
Section 1. Assessment, Design and engineering | Condition surveys, asset assessment, system design, engineering calculations, environmental compliance review and project planning.
Section 2. Existing System Investigation | Inspection and condition assessment of existing pipework, pumps, pressurisation systems, AHUs, corridor ventilation, fresh air systems, valves and filtration equipment.
Section 3. Chilled Water and Mechanical Systems | Chiller integration, pump refurbishment, hydraulic separation, filtration, air separation, flushing, cleaning, water treatment and pressure testing.
Section 4. Pipework Replacement (if required: Additional to tender amount ) | Replacement of chilled water pipework, insulation, valves, supports, testing and commissioning, priced separately on a per-metre basis.
Section 5. Air Handling and Air Distribution | AHU refurbishment or replacement, supply air socks, ductwork modifications, fresh air systems, corridor ventilation, isolation valves and air balancing.
Section 6. Building Managerment System | BMS assessment, recommissioning, sensor calibration, actuator replacement, controls integration, alarm configuration, trending and functional testing.
Section 7. Electrical and builders Works | Electrical installations, controls wiring, containment, supports, fire stopping, penetrations, making good and associated builders works.
Section 8. Decommissioning and Disposal | Equipment removal, waste disposal, refrigerant recovery, refrigerant destruction, recycling and provision of all required disposal certifications.
Section 9. Commissioning, Validation & Acceptance Testing | HVAC commissioning, balancing, temperature validation, humidity validation, environmental stability testing, 24-hour operational testing and site acceptance testing.
Section 10. Documentation, Training & Handover | O&M manuals, as-built drawings, asset registers, maintenance schedules, FGAS records, warranties and operator training.
Section 11. Maintenance Costs (Separate Pricing) | Five-year maintenance pricing, lifecycle support, spare parts availability and post-installation service proposals.
Section 1. Assessment, Design and engineering | Sub Total | Total
Comprehensive engineering assessment of existing HVAC infrastructure, including Condition Assessment Report.
Detailed HVAC design, calculations and project programme, including Design Report and Drawings.
Total Cost Section 1
Section 2. Existing System Investigation | Sub Total | Total
Inspection and condition assessment of pipework, pumps, pressurisation systems, AHUs, ventilation systems and filtration, including Assessment Reports.
Inspection and condition assessment of control valves, actuators and existing infrastructure proposed for retention, including Asset Reuse and Lifecycle Report.
Total Cost Section 2
Section 3. Chilled Water and Mechanical Systems | Sub Total | Total
Integration and recommissioning of existing chiller, pumps and pressurisation systems, including Test and Commissioning Reports.
Supply and installation of hydraulic separation, filtration, flushing, cleaning and water treatment works, including Certificates and Test Reports.
Total Cost Section 3
Section 4. Pipework Replacement (if required: Seperate to tender cost ) | Sub Total | Total
Water testing, pressure testing and structural assessment of existing pipework for continued service, including Pipework Condition Report.
Replacement of sections of main chilled water pipework where required, including welding/threading, insulation, supports, connectors, testing and commissioning, with rate to be provided per metre and supported by Installation, Pressure Test and Commissioning Certificates. (Per meter price)
Total Cost Section 4
Section 5. Air Handling and Air Distribution | Sub Total | Total
Refurbishment or replacement of AHUs, fresh air systems and corridor ventilation systems, including Installation and Commissioning Reports.
Supply and installation of air socks, ductwork modifications, isolation valves and air balancing works, including Airflow and Balancing Reports.
Total Cost Section 5
Section 6. Building Managerment System | Sub Total | Total
Assessment, recommissioning and remediation of existing BMS sensors, actuators and controls, including BMS Assessment and Commissioning Reports.
Integration of new HVAC infrastructure into BMS including alarms, trends, graphics and functional testing, including BMS Integration Report.
Total Cost Section 6
Section 7. Electrical and builders Works | Sub Total | Total
All electrical works associated with HVAC and BMS installations, including Electrical Completion Certificates.
All builders works, supports, penetrations, fire stopping and making good, including Completion Certificates.
Total Cost Section 7
Section 8. Decommissioning and Disposal | Sub Total | Total
Decommissioning, removal and disposal of redundant equipment and materials, including Waste Transfer Documentation and Disposal Certificates.
Refrigerant recovery and destruction in accordance with F-Gas requirements, including Recovery and Destruction Certificates.
Total Cost Section 8
Section 9. Commissioning, Validation & Acceptance Testing | Sub Total | Total
Commissioning and balancing of HVAC, chilled water and control systems, including Commissioning, Air Balancing and Water Balancing Reports.
Validation of temperature, humidity, stability and 24-hour operation requirements, including Validation Reports and SAT Certificate.
Total Cost Section 9
Section 10. Documentation, Training & Handover | Sub Total | Total
Provision of complete O&M manuals, as-built drawings, asset registers, maintenance schedules, lifecycle information and warranty documentation, including Handover Pack
Operator training and handover, including Training Records and Training Materials.
Total Cost Section 10
Section 11. Maintenance Costs (Separate Pricing) | Sub Total | Total
Provision of annual maintenance pricing for Years 1-5 including Annual Service Reports.
Confirmation of five-year spare parts, filters and air sock availability including Manufacturer Supporting Statement.
Total Cost Section 11
Additional items [please list] | Sub Total | Total
Delivery/Freight/Insurance Costs (if applicable)
Total
Total [exclusive Vat]
Notes
Other General HVAC Plant / systems
The existing chiller and boilers will be used to provide heating and cooling to all Air Handling Plant on the roof.
Existing Boilers will be used to supply heat to new heating circuits and radiators.