Estates Department

Connolly Connolly Hospital

Blanchardstown

Dublin 15

Tel: 01-6465400

Fax: 01-6465401

Date; 22nd  of June 2026

Invitation Letter for Electrical Design Services

In Operating Theatres Connolly Hospital

Dear Sirs

You are invited to submit a tender for the professional services associated with electrical engineering design and project management for the project of replacing the General Lighting Systems, the Emergency Lighting Systems and the Isolated Power Systems within the Operating Theatres of Connolly Hospital.

Connolly Hospital requires electrical engineering design services to design, specify and supervise the works as outlined in the ‘Technical Specification for Electrical Design Consultancy Services’ copy attached. This to include drawings of the new electrical design with specification and relevant tender documents. The existing systems should be surveyed for detailed analysis allowing the new design to show connection to existing services or re-routing of existing services where necessary.

The PSDP role and Project Management is to be incorporated into the scope of works of the electrical design company and priced as line items.

The new design will need to take cognisance of the fact that the Operating Theatres will remain in operation for the duration of the works with vacancy only possible in one theatre at a time. The new design will be required to demonstrate resilience in the continuance supply of electrical power and lighting to the Operating Theatres during the construction phase and show a phased strategy for the works that will allow the contractor to complete the project in an incremental manner to suit continuing use of the theatres.

The architectural plans and existing services drawings as attached, shows the general outline of the Operating Theatre and services. The architectural layout will be available digitally for future work but will require verification to ensure accuracy of existing details.

The design should allow for compliance with all statutory regulations for public health care facilities i.e. IS 10101, IS 3217, HTM 06, Building Regulations and relevant best practice guidelines. Connolly Hospital utilises KNX and Dali to control its lighting systems and ATS for Emergency Lighting and the new system will incorporate these into the design.

The appointment will be subject to the terms of the Public Works Standard Conditions of Engagement for Consultancy Services. Please submit a fee proposal to carry out the work above by the time stipulated on the etenders portal. The design of the project will commence immediately and is to be completed by end of October 2026 and the tender of the electrical works package will commence in November 2026 with the completion of the electrical works scheduled for September of 2027.

Yours sincerely,

Bill O’Reilly

Estates Manager, Connolly Hospital