## Summary
The Wonderful Barn Pricing Document
Code | Description | Total
| PREAMBLES TO PRICING DOCUMENT | 0
| PRELIMINARIES AND INSURANCES | 0
| DEMOLITIONS & ALTERATIONS | 0
| SUBSTRUCTURE | 0
| WALL FINISHES: EXTERNALLY | 0
| WALL FINISHES: INTERNALLY | 0
| EXTERNAL WALLS: COMPLETION | 0
| FLOOR FINISHES | 0
| MECHANICAL SERVICES INSTALLATIONS | 0
| ELECTRICAL SERVICES INSTALLATIONS | 0
| FITTINGS | 0
| SITEWORKS | 0
| SITE SERVICES - PIPED AND DUCTED | 0
| SITE SERVICES - ELECTRICAL | 0
| TOTAL | 0

## 4-PREAMBLES TO PRICING DOCUMENT
PREAMBLES TO PRICING DOCUMENT
Code | Description | Quantity | Unit | Rate | Total
PREAMBLES TO PRICING DOCUMENT
| The Currency for this Contract shall be the Euro. |  | note
| The pricing Document is to be completed in FULL and the appropriate rates inserted against ALL work items. |  | note
| This document shall be read in conjunction with the "Public Works Contract for Minor Building and Civil Engineering Works Designed by the Employer" PWCF5, latest issue, clauses as listed below. The Contract will take precedence where any inconsistencies, discrepancies or ambiguities exist. |  | note
| This Pricing Document IS NOT a specification; all information contained therein has been provided by the project designers; if in any doubt the Contractor should check with the Architect, Structural Engineer and/or Services Engineers, and seek any clarification or confirmation from them before ordering any materials or putting any work in hand based solely on information contained in the Pricing Document. |  | note
| This document shall be read in conjunction with the works requirements with particular reference to all drawings and specifications etc prepared by Howley Hayes Cooney Architects |  | note
| The hierarchy of Contract documents as set out in clause 1.3 of the Contract, determines precedence where any inconsistencies, discrepancies or ambiguities exist between Contract documents. |  | note
| The Currency for this Contract shall be the Euro. |  | note
| Approved' shall mean in writing by the Employers Representative. |  | note
| Instructed' shall mean in writing by the Employers Representative. |  | note
| The Pricing Document shall be issued in pdf format and excel format. The returned Pricing Document shall be an inked hard copy or a printed hard copy and a soft copy. The completed hard copies Documents must be signed, in ink, by an authorised representative of the Contractor. By doing so, tenderers will be deemed to have confirmed that they have made no alterations to the descriptions, quantities or units contained in the issued Pricing Document. Should a discrepancy occur the master document shall be the pdf document issued with the tender documents. |  | note
| All items in this Pricing Document(s) must be priced, extended and totaled in detail at time of tendering. Any items left unpriced shall be held to be included in the prices given for other items of the work. The completed General Summary must be signed, in ink, by an authorised representative of the Contractor. |  | note
| By pricing these works the Contractor will be held to have visited the site and formed his own opinion as to the extent of the actual work involved, including for all temporary works over and above those measured below, and for monitoring any adjacent buildings for both movement and vibration, as necessary to properly carry out the works. |  | note
| The Contractor shall price the items in the Pricing Document exclusive of Value Added Tax with VAT added in the summary page only. |  | note
| Nothing in the Specifications nor the Pricing Document shall override, modify or affect in any way whatsoever, the application or interpretation of that which is contained in the Conditions of Contract. |  | note
| Total |  |  |  | 0

## 5-PRELIMINARIES AND INSURANCES
PRELIMINARIES AND INSURANCES
Code | Description | Quantity | Unit | Rate | Total
PRELIMINARIES AND INSURANCES
Generally
| The Contractor shall enter in this section of the PRICING DOCUMENT, in the money column, whatever payments he requires under the heading of Preliminaries and Insurances as described below and include for any other items not specifically described below but deemed necessary by the contractor in order to complete all works in the works requirements documents. |  | note
Description of the Work
Parties and Consultants
Definitions
Examinations before Tendering
Tenders
Conditions of Contract
Schedule
Contract Guarantee Bond - Not Required
4.A | Assignment and Sub-Letting |  | item
4.B | Building Regulations incl Building Control |  | item
4.C | Value Added Tax |  | item
4.D | Tax Clearance Certificate |  | item
4.E | Drawings etc. Copies |  | item
4.F | Upkeep of Documents on the Site |  | item
4.G | Sequence of Works |  | item
4.H | Contractor Requests for Information |  | item
4.J | Period for Substantial Completion of Works and Damages for Delay |  | item
4.K | Programme of Operations |  | item
4.L | Programme Up-Dating |  | item
4.M | Progress Meetings |  | item
4.N | Availability of Site |  | item
4.P | Consents |  | item
4.Q | Access to Site |  | item
4.R | Site Restrictions |  | item
4.S | Security |  | item
4.T | Setting Out of the Works |  | item
4.U | Notice to Employers Representative for Inspection |  | item
5.A | Pipe Courses etc. |  | item
5.B | Access for Local Authority Officers to Site |  | item
5.C | Surveying Equipment |  | item
5.D | Temporary Buildings |  | item
5.E | Office for Site Meetings |  | item
5.F | Facilities for Employers Representative and others |  | item
5.G | Control of Site, Perimeter Fences, etc. |  | item
5.H | Telephones |  | item
5.J | Water |  | item
5.K | Artificial Lighting, Electric Current, Etc. |  | item
5.L | Contractor's supervision and site administration |  | item
5.M | Services Co-ordination |  | item
5.N | Co-ordination of Fit-out and Finishes |  | item
5.P | Labour |  | item
5.Q | Local Labour |  | item
5.R | Plant, Tools and Vehicles |  | item
5.S | Scaffolding |  | item
5.T | Materials and Workmanship |  | item
5.U | Provision of Described Materials and Processes |  | item
5.V | Samples for Employer's Representative's Approval of required Characteristics |  | item
5.W | Materials, Products or Works to the Employer's Representative's Approval |  | item
5.X | High Alumina Cement |  | item
5.Y | Proprietary Items |  | item
5.Z | Ownership of Goods and Materials delivered to Site |  | item
5.AA | Sub-Contractors |  | item
5.AB | Tests |  | item
5.AC | Patent Rights and Royalties |  | item
5.AD | Specialist Tests and Fees |  | item
5.AE | Payment for Daywork |  | item
5.AF | Overtime |  | item
5.AG | Night or Sunday Work |  | item
5.AH | Employment of or Payments to Persons in the Service of the Employer |  | item
6.A | Checking Schedules, Drawings, Etc. |  | item
6.B | Protect Work and Buildings |  | item
6.C | Demolitions |  | item
6.D | Procedure for carrying out the Temporary Works |  | item
6.E | Survey of Conditions and Defects |  | item
6.F | Shoring and Strutting |  | item
6.G | Existing Services to be Maintained |  | item
6.H | Protection of Persons and Property |  | item
6.J | Watching Lighting and Security |  | item
6.K | Work to or affecting Adjoining Properties |  | item
6.L | Trespass and Nuisance |  | item
6.M | Environmental Report |  | item
6.N | Spoil Dumping |  | item
6.P | Construction Noise |  | item
6.Q | Safety, Health and Welfare of Work People |  | item
6.R | Sanitary Accommodation |  | item
6.S | Notices and Fees |  | item
6.T | Covid-19 |  | item
6.U | Fire Precautions |  | item
6.V | Roads |  | item
6.W | Traffic Regulations |  | item
6.X | Employers Sign Board |  | item
6.Y | Historical Finds |  | item
6.Z | Service providers |  | item
6.AA | Drying out of the Works |  | item
6.AB | Leave in a fit condition for occupation |  | item
6.AC | Completion - Maintenance Instructions |  | item
6.AD | Landscaping - planting and maintenance |  | item
6.AE | Insurances |  | item
6.AF | Statutory Insurance/Labour Costs |  | item
| Total |  |  |  | 0

## 6-DEMOLITIONS & ALTERATIONS
DEMOLITIONS & ALTERATIONS
Code | Description | Quantity | Unit | Rate | Total
DEMOLITIONS
Generally
| Buildings to be demolished using the 'top down pull back' method of works. All machinery must operate away from retained trees |  | Note
| For details of the nature and extent of required Conservation Works please refer to the Architect's Specification |  | Note
| Particular care shall be exercised in the demolition of structures to be removed so as not to cause any damage to attached structures retained. The Contractor shall examine carefully all buildings BEFORE commencing any demolition and shall be responsible for and reinstate any damage whatsoever caused by demolition or subsequent construction work. |  | Note
| Providing, erecting, maintaining and clearing away of all temporary works e.g. shoring, propping, needling, pinning, scaffolding etc. in connection with demolition or alteration works shall be deemed to be included in the rates here-in-after. Likewise all making good work necessitated by such temporary works shall be deemed included. |  | Note
| All structural connection between the Building and attached structures to be demolished must be carefully removed using hand tools prior to the demolition of the said structures |  | Note
| Any structural repair work, to the satisfaction of the Engineer, must be completed to the Building prior to the demolition of said structures. |  | Note
| The Contractor shall provide to the Structural Engineer, in advance of any works commencing, a detailed method statement showing how and in what sequence the Contractor intends to carry out the structural alterations to the building |  | Note
| All debris will be removed to legally authorised landfill sites |  | note
| The Contractor shall allow in his rates hereunder for removing/capping off existing mechanical and electrical services installations |  | Note
| The Contractor shall allow in his rates hereunder for working around existing services to be retained during demolition work |  | Note
| All pallets used for storage to be robust treated timber. All contents to be clearly labeled and visible through wrapping. Pallets to be shrink wrapped when full and labeled. |  | Note
Demolish part of structure; carefully demolishing parts of existing structures down to underside of foundations; grubbing up and removing foundations and rising walls, backfilling with cut stone to clause 804; grubbing up and removing associated services; breaking up; taking down; removing and disposal off site; include shoring, propping; all making good
Break up, take down, remove the following; remove all debris; dispose off site (unless otherwise noted); ALL MAKING GOOD AND PATCHING to finishes and structure disturbed and voids created/uncovered in the process.
9.A | Break out existing concrete floors 100mm thick and floor finishes inside existing building, (setting aside any bricks for re-use), including hardcore base 225mm thick, associated drainage and services - 124m2 - Building 1; All as indicated on Architects Drawing L010 | 1 | item
9.B | Extra; demolist existing below ground dwarf to reduce wall height by 600mm high | 1 | item
9.C | Break out concrete screed to existing oculus; c. 650mm diameter; saw cutting as necessary; remove existing rusted metal plate; low vibration methods only; propping as necessary; As per Engineers Drawing 2001 | 1 | item
9.D | Extra; allow for test core prior to works taking place | 1 | nr
9.E | Carefully break out brick flooring to dovecote; As per Engineers Drawing 1036 Note 21 | 23 | m2
9.F | Extra; removal of organic material under floor | 23 | m2
Removal of Herbaceous Plant life; topically spray vegetation with glyphosate; remove all plant life and biological growth; remove all debris; dispose off site; ; ALL MAKING GOOD AND PATCHING to finishes and structure disturbed and voids created/uncovered in the process; including application of roundup pro bioactive or eco plug as necessary; All in accordance with Howley Hayes Cooney Specification C41 & Design ID Structural & Civil Engineers Drawings
9.G | Remove all herbaceous plant life from buildings; including all associated organic matter - North Dovecote - Refer to Engineers Dwg 1062 | 1 | item
9.H | Extra; wildlife survey prior to vegetation works commencing | 1 | item
ALTERATIONS
Cutting to existing structure; carrying out all needling, shoring and temporary works; providing all labour and materials in breaking out or building up as necessary to execute the following work in relation to opes in existing masonry walls and include for forming level cills / thresholds; square jambs as necessary; all disposal and making good structures and finishes disturbed; making good around demolished elements with brick/ masonry as specified
Cutting to form opening in existing masonry wall previously blocked up with 100mm thick blockwork; all making good
9.J | 640 x 595mm; triangle shaped; previousy blocked up opening - As per Architects Drawing L010 | 2 | nr
9.K | 290 x 715mm; previousy blocked up opening - As per Architects Drawing L010 | 3 | nr
10.A | 355 x 895mm; previousy blocked up opening - As per Architects Drawing L010 | 8 | nr
ALTERATIONS
Removing existing finishes; clean and prepare surface and leave ready to receive new floor finish
Wall finishes
10.B | Hack off external loose/friable render - (removal by hand); clean, prepare, rake out joints to receive new finish | 24 | m2
Remove the following - Note the Contractor shall be deemed to have examined on site the extent of rubbish, loose items etc to which the following items refers
Loose items, rubbish; general debris; furniture; loose fittings; curtains, blinds, netting with associated rails, hangers etc; loose floor finishes etc
10.C | various locations in ground and first floors | 1 | item
Remove temporary protection to existing doors complete including frame; make good finishes disturbed; disposal
10.D | 2470 x 2300mm - As per Architects Drawing L010 | 1 | nr
Remove timber window complete including frame, cover moulds, window board; make good finishes disturbed; temporary weathering; disposal
10.E | 625 x 595mm high; triangle shaped; Window Type 1 - W-04, W-10 | 2 | nr
10.F | 290 x 715mm high; Window Type 2 - W-02, W-08, W-12 | 3 | nr
10.G | 355 x 895mm high; Window Type 3 - W-01, W-03, W-05, W-06, W-07, W-09, W-11, W-13 | 8 | nr
Carefully remove timber louvre vent unit including frame, cover moulds, window board; set aside for re-use; make good finishes disturbed; temporary weathering; disposal
10.H | 890 x 835mm; triangle shaped; window Type 4; All as indicated on Architects Drawing L-011 | 2 | nr
Remove timber external doors including frame, cover moulds make good finishes disturbed; temporary weathering; disposal
10.J | double door 2470 x 2300mm - As per Architects Drawing L010 | 1 | nr
TREATMENT/REPAIRS
| The Contractor shall allow for carrying out the work in stages or sections as necessary to maintain the integrity and stability of the structures. |  | note
Wall Repairs
Carefully cutting out decayed, defective and cracked masonry including any necessary propping, needling etc; replacing to match existing; cutting, toothing and bonding to existing; all making good
11.A | two brick thick; isolated areas not exceeding 1.00 sqm | 5 | m2
| Total |  |  |  | 0

## 7-SUBSTRUCTURE
SUBSTRUCTURE
Code | Description | Quantity | Unit | Rate | Total
GENERAL
| It will be deemed that the Contractor has inspected the drawings and site and has consulted available information concerning sub-soil conditions before submitting his tender. |  | note
| By pricing these works the Contractor will be held to have visited the site and formed his own opinion as to the extent of the actual work involved, including for all temporary works over and above those measured below, and for monitoring the adjacent buildings for both movement and vibration, as necessary to properly carry out the works. |  | note
| The quantities for excavation items are based on the volume as per the substructure design and no allowance is made for overdig, the contractor's operational requirements or temporary works when excavating other than as required in the Agreed Rules of Measurement e.g. working space. |  | note
| Where concrete in foundations, beds etc. is measured as cast against the faces of the excavations; and should the Contractor opt to use shuttering the following rates for concrete shall be deemed to include for all such shuttering. |  | note
| Daywork joints in concrete are at the discretion of the Contractor |  | note
GROUND INVESTIGATION
Trial Holes (6nr)
Excavating
13.A | depth not exceeding 2.00m; through masonry floor construction; inside existing building | 4 | m3
EXCAVATION
Excavation
Excavating to reduce levels
13.B | depth not exceeding 2.00m - Inside existing building | 74 | m3
Breaking out existing
13.C | brick, block, stonework | 7 | m3
Disposal
Keeping the surface of the site and excavations free of
13.D | surface water | 1 | item
13.E | ground water | 1 | item
Excavated material
13.F | off site | 74 | m3
Filling
Recycled foam glass layer, Galpor foam glass gravel equal or other approved; depositing in layers maximum 200 thick; compacting; All in accordance with Architects Specification
14.A | to make up levels; average thickness exceeding 250mm | 37 | m3
Surface treatments
Blinding filling with 50 thick sand Type T3
14.B | generally | 124 | m2
IN-SITU CONCRETE
TY-Mawr Sublime equal or other approved Limecrete slab; 2:1 aggregate:lime by volume; Roundtower NHL5, well graded sharp sand; screed fibres at 1kg per tonne of aggregate; vibrating; all as per the suppliers recommendations; all as per Architects specification M14/110
Beds
14.C | not exceeding 150mm thick inside existing building; poured on or against earth or unblinded hardcore | 19 | m3
Screeds
14.D | 100mm thick | 124 | m2
Cocciopesto flooring (lime-pozzolanic monolithic screed); mix 1:1.5:1.5 binder:cocciopesto fines:Sharp Sand; NHL 3.5; crushed terracotta/brick (cocciopesto) grading 0-4 fines (40-50%) 4-8mm (30-40%) 8-12mm (10-20%; vibrating; Merseille soap wash; all as per Architects specification M15/110
Screeds
14.E | 100mm thick | 19 | m2
REINFORCEMENT
Reinforcement; Stainless Steel Grade 316 as specified
Straight or bent
14.F | nominal size not exceeding 12mm diameter | 0.31 | tonne
FORMWORK
Formwork; Type B finish, as specified
Edges of beds
14.G | height not exceeding 250mm high; vertical | 44 | m
14.H | height not exceeding 250mm high; vertical; CURVED | 18 | m
SUNDRIES
SUNDRIES
Designed joints
Isolation joints incorporating 20 thick 'Korkpack' compressible filler board
15.A | 100 deep; sealing with approved two-part polysulphide sealant; in accordance with the manufacturers instructions | 9 | m
15.B | 150 deep; sealing with approved two-part polysulphide sealant; in accordance with the manufacturers instructions | 9 | m
Surface finishes
Trowelled
15.C | level | 247 | m2
Closed trowelled; light honing
15.D | level | 19 | m2
Geotextile membrane; Geotextile - Multitrack 100; including proprietary tapes and sealants at junction with existing walls and at junctions and penetrations; all as per Engineers specification
Floors inside existing building
15.E | over 300mm wide; horizontal; laid on concrete/sand blinding | 247 | m2
15.F | not exceeding 300mm wide; vertical; laid against masonry | 20 | m2
Insulation
Cork edge insulation; as per the suppliers recommendations; all in accordance with Architects specification P10/225
Floors inside existing building
15.G | 40 thick x 150 high; vertical at edge of slab | 5 | m
15.H | 40 thick x 150 high; vertical at edge of slab | 39 | m
15.J | 40 thick x 150 high; vertical at edge of slab; CURVED | 18 | m
15.K | Extra; 25mm thick lime mortar levelling coat applied to wall; Sand:NHL 3.5 Lime | 62 | m
SURFACE PAVING, FENCING AND LANDSCAPING
Gravel; Selected washed and graded Wexford beach pebble; sized 10-16mm; placed in pre-formed trench to edge of floor slab; all installed as per Architects Specification Q25/450
Pavings
15.L | 100mm wide x 150mm deep; falls and crossfalls | 54 | m
| Total |  |  |  | 0

## 8-WALL FINISHES EXTERNALLY
WALL FINISHES: EXTERNALLY
Code | Description | Quantity | Unit | Rate | Total
IN-SITU FINISHES
New lime render works to masonry; walls to be washed down with water and stiff brush to remove dust and any organic matter prior to plastering; all loose material to be removed; rake out joints to provide key; undercoat 8-10mm thick, second undercoat 6 -8mm thick; mix 1:2:5 lime putty to wexford sand 5mm down, 7kg hair perm m3; final coat 3-6mm thick mix 1:2:5 lime putty to wexford sand 5mm down, 3-5kg hair per m3; apply scud coat as necessary; all as per Manufacturer's instructions and in accordance with Architects specification M20 310
Walls
17.A | 6 thick (nominal); over 300 wide; fearthered to reveals | 82 | m2
| Total |  |  |  | 0

## 9-WALL FINISHES INTERNALLY
WALL FINISHES: INTERNALLY
Code | Description | Quantity | Unit | Rate | Total
GENERAL
| The following prices are to include for all labours associated with works to the existing building, a protected structure, where appropriate including all raking or curved cutting to existing as indicated on the drawings and complying with the Conservation Specification and Method Statements. |  | Note
TREATMENT/REPAIRS
| The Contractor shall allow for carrying out the work in stages or sections as necessary to maintain the integrity and stability of the structures. |  | note
Specialist Cleaning System to existing external facade before and after works; Stonehealth Steam DOFF III System Stonehealth Thermatech system or equivalent; soiling and coating removal; superheated water system; including inspection, samples, protection of elements being retained including windows, doors, features, etc, sealing to ensure no water ingress into building; chemical additives as necessary; number of coats as necessary to complete clean; make good any disturbed mortar/ pointing using matching repair methods as per the Conservation Specification; all as per Contractor's appointed Specialist; as per Conservation Architects Specification
Clean down and treat existing brick masonry walls
19.A | walls; over 300mm wide | 103 | m2
19.B | Extra; light steam cleaning upon completion | 103 | m2
19.C | vaulted ceiling; over 300mm wide | 493 | m2
19.D | Extra; light steam cleaning upon completion | 493 | m2
Existing brickwork walls; carefully cut/rake out all existing joints to nominal 25mm depth, taking care not to damage the existing brickwork; dampen and re-point with flush joint using lime mortar to match existing (exact mix to be determined through test samples); 1:2 1/2 NHL 2 hydraulic lime:sand (Wicklow sand); samples required for approval of colour and grading; samples required for approval of colour and grading; all in accordance with the Architects specification C41/810 & 820
Walls
19.E | sample panel; 1m2 each; including removal | 5 | nr
19.F | over 300mm wide; in isolated areas not exceeding 1m2; making good | 10 | m2
19.G | over 300mm wide; CURVED; in isolated areas not exceeding 1m2; making good | 49 | m2
Crack Repairs
Existing brickwork walls; carefully cut/rake out all existing joints to nominal 25mm depth, taking care not to damage the existing brickwork; dampen and re-point with flush joint using lime mortar to match existing (exact mix to be determined through test samples); 1:3 feebly hydraulic lime:sand (Wicklow sand); samples required for approval of colour and grading; samples required for approval of colour and grading; all in accordance with the Architects specification C41-610
Walls
20.A | over 300mm wide; in isolated areas not exceeding 1m2; making good | 5 | m2
20.B | over 300mm wide; CURVED; in isolated areas not exceeding 1m2; making good | 5 | m2
Brick, Block and Stonework Repairs
Carefully cut out section of existing failed brick to full depth of existing brick; re-build with matching brick, new brick to match existing; dampen and re-point with flush joint using lime mortar to match existing (exact mix to be determined through test samples) 1:2 1/2 NHL 2 hydraulic lime:sand (Wicklow sand); samples required for approval of colour and grading; all to match existing
Walls
20.C | sample panel; 1m2 each; including removal | 1 | m2
20.D | 215mm wide; in isolated areas not exceeding 1m2; making good where fixings removed | 3 | m2
20.E | Extra; replacing damaged bricks to match existing | 3 | m2
20.F | 215mm wide; CURVED; in isolated areas not exceeding 1m2; making good where fixings removed | 5 | m2
20.G | Extra; replacing damaged bricks to match existing | 3 | m2
Carefully cut out section of existing failed brick minimum 20mm depth of existing brick; re-build with matching mortar repair; austentitic stainless steel , phosphor bronze or copper alloy wire 2-4mm diameter, formed to profile of repair, including drilling oles for fixing with and including epoxy resin; repair mortar sand:stone dust mix, proportions determined by site trials, built up in 12mm layers; scraped back; finish to match existing in 1:3 non hydraulic lime putty:sand and stone dust; felt faced float finish to match existing bricks; samples required for approval of colour and grading; all to match existing
20.H | standard brick units to walls | 12 | nr
20.J | standard brick units to ceiling - Curved | 12 | nr
IN-SITU FINISHES
New lime render works to masonry; walls to be washed down with water and stiff brush to remove dust and any organic matter prior to plastering; all loose material to be removed; rake out joints to provide key; undercoat 8-10mm thick, second undercoat 6 -8mm thick; mix 1:3 lime NHL 3.5 to 40% wexford sand 5mm down, 50% wexford beach pebble 10% limestone dust; all as per Manufacturer's instructions and in accordance with Architects specification M20 340
Walls
21.A | 20 thick (nominal); over 300 wide; fearthered to reveals | 82 | m2
| Total |  |  |  | 0

## 10-EXTERNAL WALLS COMPLETION
EXTERNAL WALLS: COMPLETION
Code | Description | Quantity | Unit | Rate | Total
EXTERNAL WALLS: COMPLETIONS
| The work shall include the detailed design, shop drawings, supply, fitting and weathering of aluminium and timber windows, screens and doors. |  | note
| Hinges to opening sections are to be heavy duty and shoot bolt locking. |  | note
| All glazing shall be factory fitted hermetically sealed double glazed units to meet the environment and acoustic performance requirements. |  | note
| Fitted windows and frames shall achieve airtight seal. |  | note
| In all cases Contractor shall refer to Architects Drawings and Specification. Descriptions below are indicative and the Contractor shall read the descriptions below in conjunction with the detailed drawings and specification when pricing |  | note
WOODWORK
Softwood; sawn; work permanently concealed in the finished work; pressure impregnated
First fixings; grounds for frames
23.A | 75 x 15 | 103 | m
Ecological Building Systems, Pro Clima 'Intello Plus' equal or other approved high performance airtightness sealant tape; forming continuous airtight seal at junctions; dressed over window straps; joints sealed with approved joint adhesive to concrete/blockwork; all as per the manufacturer's instructions and Architects Specification
Junction windows and reveals
23.B | lapped joints, sealed; vertical/horizontal; 150-300mm girth | 103 | m
Composite item, doors, Hardwood for joinery, selected for high quality work; Vac-Vac treated; all as specified; framed in
Zyle Fenster equal or other approved doorset; contemporary front door; Mechanical strength Class 3; 1.6 W/m2K thermal performance; leaf thickness, head, stiles and bottom rail, hardwood panels and beads, frames all to manufacturers standards; plugged and screwed; including manufacturers standard ironmongery in Grade 316 including hinges, closers, handles, locks & push / kick plates; finished complete; 20mm thick Partel Alma Vert (300kg/m2) at junction of frame and wall, S/S fastners with 70mm dia retaining heads; PDM weatherseal; including fixings; all supplied, fixed with and including packing, bolts, drips, flashings, weathering, sealing junctions, bends at jambs, angles, mastic etc.; all as specified and indicated on Drawings L20.430
New solid timber double door unit with fixed glazed fanlight
23.C | double doors 2470 x 2300mm high; Type 1A - D01 | 1 | nr
23.D | double doors 2470 x 2715mm high; Type 1B - D02 | 1 | nr
NON-STRUCTURAL METALWORK
| Door and frame sizes are nominal |  | note
Schuco Jansen Janisol Arte 2.0 equal or other approved; External proprietary louvered vent; u-value 1.6W/m2K; profiled aluminium frame to head and jambs; all factory finished Anodic bronze metallic RAL finish - Interpon B2525 Sable YX355X, Grade C3 by GSB international approved applicator;; all supplied, fixing and sealing in mastic complete; 20mm thick Partel Alma Vert (300kg/m2) at junction of frame and wall, S/S fastners with 70mm dia retaining heads; EPDM weather seal; fixed with bolts and including all flashings, angles, lugs, brackets, mastic etc.; All in accordance with the manufacturer's instructions and as specified L10 311 and as per Drawing C-001 Window Schedule
Composite item; aluminium louver and frames
24.A | 625 x 595mm high; triangle shaped; Window Type 1 - W-04, W-10 | 2 | nr
24.B | 290 x 715mm high; Window Type 2 - W-02, W-08, W-12 | 3 | nr
24.C | 875 x 835mm high; Window Type 4 - W-14, W-15 | 2 | nr
Schuco Jansen Janisol Arte 2.0 equal or other approved; External glazed window; u-value 1.6W/m2K; profiled aluminium frame to head and jambs; all factory finished Anodic bronze metallic RAL finish - Interpon B2525 Sable YX355X, Grade C3 by GSB international approved applicator; all supplied, fixing and sealing in mastic complete; 20mm thick Partel Alma Vert (300kg/m2) at junction of frame and wall, S/S fastners with 70mm dia retaining heads; EPDM weather seal; fixed with bolts and including all flashings, angles, lugs, brackets, mastic etc.; All in accordance with the manufacturer's instructions and as specified L10 310 and as per Drawing C-001 Window Schedule
Composite item; alu-clad windows and frames
24.D | 355 x 895mm high; Window Type 3 - W-01, W-03, W-05, W-06, W-07, W-09, W-11, W-13 | 8 | nr
| Total |  |  |  | 0

## 11-FLOOR FINISHES
FLOOR FINISHES
Code | Description | Quantity | Unit | Rate | Total
GENERAL
The following prices are to include for all labours associated with working in the existing building, a protected structure, where appropriate including all raking or curved cutting to existing as indicated on the drawings and complying with the Conservation Specification and Method Statements.
STONEWORK
Leinster Limestone natural cut stone sills/tresholds; tooled finish; bedded and jointed in 1:2 NHL5:wexford sand; all as per ARchitects Specification F30/721
Threshold piece
26.A | 2750 x 250 x 100mm thick; to limecrete base | 2 | nr
26.B | 2750 x 350 x 100mm thick; to limecrete base | 2 | nr
Sundries
Damp proof courses; Ethylene propylene diene monomer (EPDM); 1.25mm thick; 200mm sealed laps; welded joints
26.C | over 225mm wide; horizontal/vertical to thresholds | 3 | m
TILE, SLAB AND MOSAIC FINISHES
Clay Pavers; Vande Moortel (Clay & Co) equal or other approved; colour pearl grey; 188 x 46 x 63mm; SRV/PTV 40 wet & dry; herringbone pattern; bedded in 40mm thick 2:5 NHL5 lime:sharp well graded sand; Lime:sand grout per manufacturers standard; all in accordance with manufacturer's instructions and the Architect's specification M40 110
Floors
26.D | over 300mm wide; to limecrete | 105 | m2
26.E | Extra; curved cutting | 34 | m
26.F | Extra; achieving required moisture content in limecrete floors prior to laying of floor finish; to manufacturers requirements | 105 | m2
26.G | Extra; brushed Stainless Steel trim; grade 316; 100mm high; fixed to limecreet screed with and including fixings; to junction of clay pavers and cocciopesto floor screed; CURVED | 16 | m
Re-lay existing bricks to dovecote; previously set aside; bedded and grouted in 40mm thick 2:5 NHL5 lime:sharp well graded sand; Lime:sand; all in accordance with manufacturer's instructions and the Architect's specification
Floors
26.H | over 300mm wide; to limecrete | 23 | m2
26.J | Extra; new bricks to match existing | 3 | m2
| Total |  |  |  | 0

## 12-MECHANICAL SERVICES INSTALLA
MECHANICAL SERVICES INSTALLATIONS
Code | Description | Quantity | Unit | Rate | Total
MECHANICAL INSTALLATION
General
| The Mechanical Installation is to be undertaken as a Domestic Sub-Contract to the Main Contractor. The prices hereunder shall be deemed to include for profit, general attendance and special attendances as necessary by the Main Contractor. |  | Note
| The following section is not in accordance with ARM5. The Contractor shall include for all items in the Mechanical Services Installations as per the Specification and Drawings as issued by Renaissance Engineering. |  | Note
| The prices hereunder shall include for all work in the design, execution and testing of mechanical installation in accordance with the Specification. |  | Note
| The prices hereunder shall include for the co-ordination of the design and installation of the mechanical installation. The Contractor shall ensure compatibility of design performance and consistency of any design assumptions for the mechanical installation. |  | Note
Mechanical Services Installation; provide everything necessary for the proper installation of the mechanical services, all in accordance with the 2hp Hayes Higgins Partnership, Drawings, Site Specific Mechanical Specification, Site Specific Controls Specification, Mechanical Datasheets, General Mechanical Specification, General Controls Specification
28.A | Element 51 - Heating Center | 1 | item
28.B | Element 53 - Water Distribution | 1 | item
28.C | Element 56 - Heating & Cooling Installation | 1 | item
28.D | Element 58 - Fire Suppression | 1 | item
28.E | Element 59 - Preliminaries
28.F | General preliminaries | 1 | item
28.G | Insurances | 1 | item
28.H | Compliance with Programme | 1 | item
28.J | Site supervision & setting out | 1 | item
28.K | Co-ordination with other trades and staff | 1 | item
28.L | Attendances on utilities suppliers | 1 | item
28.M | Mobile platforms, hoisting, temporary power, scaffolding | 1 | item
28.N | Record drawings (hard copies and electronic copies on CD) | 1 | item
28.P | Testing, commissioning & completion certificates | 1 | item
28.Q | Handover Attendances, Aftercare (incl. 1 year maintenance) | 1 | item
28.R | Spare Parts | 1 | item
29.A | Complete O&M Manuals (hard copies and electronic copies on CD) | 1 | item
SUNDRIES AND BUILDERS WORK
| It should be noted that where opes for services are measured as cut or formed in the structure and they are to facilitate both mechanical and electrical services routes they are generally measured as Builders Works under the Mechanical Services Installations. |  | Note
| Special works such as firestopping shall only be measured and allowed for where specifically required. |  | Note
Sundries
Marking positions of holes, mortices and chases
29.B | mechanical installation | 1 | item
| Total |  |  |  | 0

## 13-ELECTRICAL SERVICES INSTALLA
ELECTRICAL SERVICES INSTALLATIONS
Code | Description | Quantity | Unit | Rate | Total
ELECTRICAL INSTALLATION
General
| The Electrical Installation is to be undertaken as a Domestic Sub-Contract to the Main Contractor. The prices hereunder shall be deemed to include for profit, general attendance and special attendances as necessary by the Main Contractor. |  | Note
| The following section is not in accordance with ARM5. The Contractor shall include for all items in the Electrical Services Installations as per the Specification and Drawings as issued by Renaissance Engineering. |  | Note
| The prices hereunder shall include for all work in the design, execution and testing of electrical installation in accordance with the Specification. |  | Note
| The prices hereunder shall include for the co-ordination of the design and installation of the electrical installation. The Contractor shall ensure compatibility of design performance and consistency of any design assumptions for the electrical installation. |  | Note
Electrical Services Installation; provide everything necessary for the proper installation of the electrical services, all in accordance with the 2hp Hayes Higgins Partnership Drawings, Electrical Datasheets, General Electrical Specification, Site Specific Electrical Specification
31.A | Element 60 - Site Services | 1 | item
31.B | Element 61 - Electrical Supply and Mains Distribution Installation | 1 | item
31.C | Element 62 - Power | 1 | item
31.D | Element 63 - Lighting | 1 | item
31.E | Element 64 - Data & Communication | 1 | item
31.F | Element 67 & 68 Protection & Communications | 1 | item
31.G | Element 69 Miscellaneous Electrical Services | 1 | item
| Element 69 - Preliminaries | 1
31.H | General preliminaries | 1 | item
31.J | Insurances | 1 | item
31.K | Compliance with Programme | 1 | item
31.L | Site supervision & setting out | 1 | item
31.M | Co-ordination with other trades and staff | 1 | item
31.N | Attendances on utilities suppliers | 1 | item
31.P | Mobile platforms, hoisting, temporary power, scaffolding | 1 | item
31.Q | Record drawings (hard copies and electronic copies on CD) | 1 | item
32.A | Testing & Commissioning, including IST tests & Bcar Certs | 1 | item
32.B | Handover Attendances, Aftercare (incl. 1 year maintenance) | 1 | item
32.C | Spare Parts as per schedule | 1 | item
32.D | Complete O&M Manuals (hard copies and electronic copies on CD) | 1 | item
SUNDRIES AND BUILDERS WORK
| It should be noted that where opes for services are measured as cut or formed in the structure and they are to facilitate both mechanical and electrical services routes they are generally measured as Builders Works under the Mechanical Services Installations. |  | Note
| Special works such as firestopping shall only be measured and allowed for where specifically required. |  | Note
Sundries
Marking positions of holes, mortices and chases
32.E | electrical installation | 1 | item
| Total |  |  |  | 0

## 14-FITTINGS
FITTINGS
Code | Description | Quantity | Unit | Rate | Total
BUILT IN FITTINGS
| All Fittings to Comply with drawings and Architect's Specification |  | note
| Please refer to Section N of the Architects Specification for fittings specification |  | note
| Contractor to submit design and detail of all fitted furniture before manufacture for approval |  | note
| The sizes given below are indicative and based on dimensions on drawings, confirm dimensions on site for all units prior to production and installation |  | note
Composite Items; to BS 1186-2; Services Cabinet; unit complete; softwood timber carcassing; European Oak to BS EN 13990, Grade A, 22mm thick, tongued and grooved, Plywood to BS EN 636; square edges; fixings 50 x 8 gauge wood screws, pilot holes; including all necessary doors, shelves, shelf support, infill panels, wall caps; cutting for openings, buffers, hinges, locks, approved ironmongery in brushed stainless steel; allow for keylocks to doors; holes and gromits for cabling; including all decoration; All in accordance with Architects Drawing Nr. C-020 and Specification
Services Cabinet
| Floor mounted unit; overall length 3095mm x 600 deep x 1500mm high; 150mm high plinth skirting; intermediate vertical supports at equal centres; 3nr equal width doors; all as per Architects Drawing L-020 | 1 | nr
34.A | Extra; 800mm wide x 400mm high laminated glass glazed vision panel; including all frames, bedding, trims and beads | 1 | nr
NON STRUCTURAL METALWORK
Composite items; Plate to oculus
Stainless Steel perforated cover above oculus; Stainless steel Grade 1.4404 to BS EN 10088 (Grade 316 L); consisting of 12mm thick perforated sheet; frame and M20 bolt stainless steel grade A4; As per Architects Specification H75/460
34.B | 1600mm diameter | 1 | nr
Composite items; Barn Light Fitting
Stainless Steel lighting support unit; Stainless steel Grade Grade 316; T Section 50 x 100mm high - CURVED, bolted to L bracket 35 x 50mm 12Nr in total fixed to masonry wall 2nr M10 bolt stainless steel grade 150mm long; As per Architects Specification F30/265
34.C | 4820mm diameter; Refer to Drawing L101 and Detail A-020 | 1 | nr
| Total |  |  |  | 0

## 15-SITEWORKS
SITEWORKS
Code | Description | Quantity | Unit | Rate | Total
GENERAL
| It will be deemed that the Contractor has inspected the drawings and site and has consulted available information concerning sub-soil conditions before submitting his tender. |  | note
| By pricing these works the Contractor will be held to have visited the site and formed his own opinion as to the extent of the actual work involved, including for all temporary works over and above those measured below, and for monitoring the adjacent buildings for both movement and vibration, as necessary to properly carry out the works. |  | note
GROUND INVESTIGATION
Trial Holes (2nr)
Excavating
36.A | depth not exceeding 2.00m | 2 | m3
EXCAVATION
Excavation
Excavating foundation trenches
36.B | depth not exceeding 2.00m | 16 | m3
Extra on excavation items for
Breaking out existing
36.C | brick, block, stonework | 1.6 | m3
Disposal
Keeping the surface of the site and excavations free of
36.D | surface water | 1 | item
36.E | ground water | 1 | item
Excavated material
36.F | off site | 16 | m3
Filling
Cut stone, T1 Struc; compliant to S.R. 21 Annex E; depositing in layers maximum 150 thick; compacting to clause 802 of D.O.E. Specification for Roadworks
36.G | to excavations; average thickness over 250mm | 5 | m3
UNDERPINNING
| The measured work hereinafter includes the underpinning of approximately 5 metres of the foundations of the existing Wonderful Barn; in sections not exceeding 1000mm in length |  | Note
Temporary supports
To existing walls total length 4m, in 4Nr. sections; sections and sequence to be agreed with the Structural Engineer
37.A | generally | 1 | Item
Preparation
Cutting away existing projecting foundation; concrete
37.B | 1200 x 300; 1000 long (maximum) sections; access from both sides | 4 | m
Preparing surfaces of existing foundation to receive new concrete underpinning
37.C | 1000 wide; approximately 1000 long sections; access from both sides | 4 | m
Excavation
Preliminary trench
37.D | maximum depth not exceeding 2.00m; access from both sides | 4 | m3
Under existing structure
37.E | maximum depth not exceeding 2.00m; access from one side | 2 | m3
Extra on excavation items for
Breaking out existing
37.F | rock | 2 | m3
Working space
Excavating; backfilling with cut stone, clause 804; depositing in 150 layers; compacting; disposing of surplus excavated material by removing from site
37.G | depth not exceeding 2.00m | 4 | m2
Underpinning
Reinforced poured concrete; Grade C25/N20; all as specified
37.H | underpinning to existing foundations; against face of excavation one side; shuttering one side; 1000 long sections; access from one side | 4 | m3
Non-shrinkable grout handpacked between new and underside of existing foundations
37.J | 75 thick; access from one side | 4 | m2
Filling
Cut stone, clause 804; depositing in layers maximum 150 thick; compacting
37.K | to excavations; average thickness exceeding 250mm; access from one side | 4 | m3
IN-SITU CONCRETE
Concrete; Grade C20; all as specified
Blinding
38.A | poured on or against earth or unblinded hardcore | 1 | m3
Reinforced poured concrete; Grade C20; all as specified
Foundations
38.B | poured on or against earth or unblinded hardcore; in trenches | 3 | m3
REINFORCEMENT
Reinforcement; B.S. 4483 as specified
Fabric
38.C | reference A142, weighing 2.22 kg/m2; 450 laps; horizontal | 31 | m2
FORMWORK
Formwork; Type A finish, as specified
Sides of foundations
38.D | height 250 - 500mm; vertical | 33 | m
SUNDRIES
Dowel bars; 16 diameter; Fischer FIS-V chemical mortar 300 deep into existing structure at abutments; set projecting and cast into new reinforced concrete
38.E | 750 long; to foundations | 12 | nr
STONEWORK
Random rubble stone wall to match existing; courses and layout to match existing; rubble stone core; through stones every 1m2 or 2nr band stones per m2; bedded, jointed and pointed in lime mortar in accordance with the Specification for Lime Mortar; complete including all necessary cutting, miters, fitted ends, bonding, etc; all in accordance with Architects Specification
Walls in trenches
38.F | 550mm thick; faced both side | 12 | m2
Walls
38.G | 550mm thick; faced both side | 41 | m2
38.H | Extra; tooting and bonding to existing | 13 | m
Sundries
Helifix Cem Ties equal or other approved grouted tie; one side drilled and grouted in existing masonry other side bonded into bed joint; All in accordance with the Manufacturers instructions and Engineers Drawings
38.J | at 600 centres; minimum 300mm each side of joint | 12 | nr
38.K | at 600 centres; minimum 450mm each side of joint | 24 | nr
Wall Top
Turf garden wall tops; consisting of topsoil layer, commercial turf layer, capping turf obtained from on site, edges tinned with hand sawand turned overhanging walls; all firmly consolidated with rubber mallet; butt joints; fixed with bamboo pegs, malletted in at various angles; wall tops re-bedded in lime mortot; flaunching to wall top;, taking care not to damage the existing masonry using lime mortar NHL5 to Specification Z21/315 (exact mix to be determined through test samples); samples required for approval of colour and grading; including all necessary formwork; all in accordance with the Architects specification and Drawing A-050
Wall tops
39.A | sample panel; 1m each; including removal | 2 | nr
39.B | top of new walls 550mm wide | 17 | m
39.C | Extra; weepholes | 11 | nr
| Total |  |  |  | 0

## 16-SITE SERVICES PIPED AND DU
SITE SERVICES - PIPED AND DUCTED
Code | Description | Quantity | Unit | Rate | Total
RADON DEPRESSURIZATION
Excavating trenches; grading bottom; earthwork support; backfilling with granular material, Clause 804; compacting; disposing of surplus excavated material off site
For pipes not exceeding 250 nominal diameter
41.A | average 1.00m deep | 11 | m
Plain poured concrete, Class C20 Grade ST4 to BS EN 206
Beds and surrounds; poured against face of excavation; 12mm breaks at 5m centers; breaks filled with compressible material
41.B | 350 x 350 thick; to 100 nominal diameter pipe | 11 | m
"Wavin", equal or other approved, uPVC drain and fittings; joints in running length, couplers; all in accordance with manufacturers instructions
Pipes; 100mm nominal diameter
41.C | laid in trenches | 11 | m
41.D | laid in trenches; vertical | 2 | m
Extra over pipes on which they occur for
41.E | junctions | 2 | nr
41.F | upstand bends | 2 | nr
41.G | Necoflex easi-sump cap-link; radon vent caps in external concrete paths | 2 | nr
Accessories
Sump; including excavation and disposal, etc.; comprising Necoflex or equal approved easi-sump
41.H | laid in position; connecting all pipework | 1 | nr
| Total |  |  |  | 0

## 17-SITE SERVICES ELECTRICAL
SITE SERVICES - ELECTRICAL
Code | Description | Quantity | Unit | Rate | Total
ALTERATIONS
Cutting to existing structure; carrying out all needling, shoring and temporary works; providing all labour and materials in breaking out or building up as necessary to execute the following work in relation to opes in existing masonry walls and include for forming level cills / thresholds; square jambs as necessary; all disposal and making good structures and finishes disturbed; making good around demolished elements with brick/ masonry as specified
Cutting to form opening in existing 600 (nominal) thick masonry wall, plastered both sides with lime plaster; inserting precast concrete lintels 100 x 65mm, wedging and pinning to underside of existing construction and packed with dry mixed mortar; forming level threshold; square jambs; all making good
43.A | ope size 1000 wide x 600 high - below ground | 3 | nr
SITE SERVICES - ELECTRICAL
General
| The Contractor shall include within the Preliminaries for all necessary liaison and coordination with the relevant services providers in respect of service connections |  | note
Service trenches
Excavating trenches; grading bottom; earthwork support; backfilling with clause 804/ 808 material; compacted as per clause 802; disposing of surplus excavated material off site; marker tape with trace wire shall be in accordance with the relevant services providers
43.B | average 1.00m deep; 1Nr. 160mm ducts | 27 | m
43.C | average 1.00m deep; 1Nr. 160mm ducts; 2Nr. 100mm ducts | 39 | m
Extra over excavating trenches irrespective of depth
Breaking out existing
43.D | concrete | 2 | m3
43.E | brick, block, stonework | 2 | m3
Disposal
43.F | surface water | 1 | item
43.G | ground water | 1 | item
Pipe bedding; sand or pea-gravel; 75 minimum fine sand/pea gravel bedding below; 100 minimum fine sand/pea gravel backfilling over pipe or cable; 200 minimum fine sand/pea gravel backfilling around pipe or cable; warning tape & marker boards shall be in accordance with the relevant services providers
Beds and surrounds
44.A | to 1Nr. 160mm ducts | 27 | m
44.B | to 1Nr. 160mm ducts; 2Nr. 100mm ducts | 39 | m
Ducts
Class 'B' uPVC ducting laid in trench including approved cable draw-wire threaded through
44.C | 160 diameter | 105 | m
44.D | Extra; bend | 10 | nr
44.E | Extra; easy sweep upstand bend | 4 | nr
Chambers
Excavating; removing spoil off site; 150mm plinth C/W A393 central mesh in base and min 1 top course of engineering brickwork; brick corbelled internally; 40mm max corbel per course; solid concrete block walls 215 thick, 5N strength; cutting/forming opes for pipes; mortar surround to pipes; 800x800mm class F900 cast iron/ductile iron cover and frame, marked to suit site service distribution
44.F | 1200mm x 1200mm x 800mm deep internal | 2 | nr
Connections
44.G | Electrical connection; to existing ESB pole | 1 | nr
| Total |  |  |  | 0