| TENDER RESPONSE DOCUMENT |  |
| --- | --- |
| Open Procedure |  |
| Award of a Contract for | Supply, Delivery, Installation and Commissioning of Nuclear Magnetic Resonance Spectrometry (NMR) System |
| Name of Tenderer |  |
| Contact Name |  |
| Email address |  |
| Phone Number |  |
| Funding provided by the Higher Education Authority |  |

CONTENTS

INSTRUCTIONS FOR COMPLETION	3

1.	RESPONSE TO SELECTION CRITERIA	4

2.	RESPONSE TO THE AWARD CRITERIA	16

# INSTRUCTIONS FOR COMPLETION

Tenderers must ensure they complete this document in full.

Tenderers should ensure they have read the Invitation to Tender before they attempt to complete this Tender Response Document.

If you consider that the Tender Response Document is missing any sections which would prevent you from preparing a comprehensive response, please contact the Contracting Authority as soon as possible.

Where there is a discrepancy between the contents / instructions in this document and the Invitation to Tender, the Invitation to Tender will take precedence.  Please ensure you contact the Contracting Authority, and they may decide to issue an updated Tender Response Document.

Tenderers must follow the instructions contained in this document in relation to attachments, word limits, formats for submissions etc.

This document covers the selection and award criteria as relating to the open procedure.

Tenderers must complete all sections.  However, tenderers should note they must meet and pass all of the rules contained in the selection criteria, in order to be considered eligible for assessment against the award criteria.

Where tenderers are relying on other parties to meet the selection criteria, those parties must be available to deliver elements of the contract and be clearly identified throughout the response.

# RESPONSE TO SELECTION CRITERIA

## GENERAL INFORMATION RELATING TO THE TENDERER

| Weighting: Pass/Fail Pass Requirement: Tenderers must complete this Section |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Organisation Name: |  |  |  |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |
| Telephone (Office): |  |  |  |  |  |  |  |  |  |
| Telephone (Mobile): |  |  |  |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |  |  |  |
| VAT Registration Number: |  |  |  |  |  |  |  |  |  |
| Date of Establishment: |  |  |  |  |  |  |  |  |  |
| Legal Status (Company, Sole Trader, etc.): |  |  |  |  |  |  |  |  |  |
| Is the Tenderer a Small and Medium Enterprise (SME)? | Yes |  |  |  | No |  |  |  |  |
| SMEs are enterprises which employ fewer than 250 persons and which have an annual turnover not exceeding €50 million, and/or an annual balance sheet total not exceeding €43 million |  |  |  |  |  |  |  |  |  |
| Is the tenderer a consortium / group of Economic Operators? | Yes |  |  |  | No |  |  |  |  |
| If yes, please provide the following information |  |  |  |  |  |  |  |  |  |
| Company / Party Name |  | Address |  | Element being relied upon - Selection criteria such as turnover or previous experience - Elements of contract delivery |  |  |  |  |  |
| Confirmation that relevant information is provided for all 3rd parties. |  |  |  | Yes |  |  | No |  |  |

## CONTRACT TERMS

| I confirm that I have read and accept DCU’s Terms and Conditions outlined in Appendix 1 of the Invitation to Tender, and agree to be bound by them, if successful. | Yes |  | No |  |
| --- | --- | --- | --- | --- |
| Name of Economic Operator |  |  |  |  |
| Authorised Signatory |  |  |  |  |
| Title |  |  |  |  |
| Mobile No |  |  |  |  |
| Email |  |  |  |  |
| Signature |  |  |  |  |

## FINANCIAL INFORMATION

| Weighting: Pass/Fail Pass Requirement: Tenderers must complete this Section |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Tax Compliance |  |  |  |  |  |  |  |  |  |  |  |
| Option 1: I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Revenue’s online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  | Yes |  |  |  |  |  |  |  |  |
|  |  |  | No |  |  |  |  |  |  |  |  |
| Tenderer Name: |  |  |  |  |  |  |  |  |  |  |  |
| Tax Reference Number (PPSN): |  |  |  |  |  |  |  |  |  |  |  |
| Access Number: |  |  |  |  |  |  |  |  |  |  |  |
| Option 2: I confirm that I hold a current valid Tax Clearance Certificate (generally relates to Non-Residents) To this end, please confirm: |  |  | Yes |  |  |  |  |  |  |  |  |
|  |  |  | No |  |  |  |  |  |  |  |  |
| Registration Number: |  |  |  |  |  |  |  |  |  |  |  |
| Certificate Number: |  |  |  |  |  |  |  |  |  |  |  |
| Option 3: I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  | Yes |  |  |  |  |  |  |  |  |
|  |  |  | No |  |  |  |  |  |  |  |  |
| Financial Capacity |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that our turnover exceeded €180,000 per annum in each of the last three financial years. If turnover figures for 202x are unavailable, please use 2025, 2024 and 2023. |  |  |  |  |  |  |  |  |  |  |  |
| Financial Year |  | 2025 | 2024 |  |  |  |  |  | 2023 |  |  |
| Turnover |  | € | € |  |  |  |  |  | € |  |  |
| Month of financial year end |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the tender list being finalised: (Evidence of turnover for the past three financial years) |  |  |  |  | Yes |  |  |  |  | No |  |
| I confirm that I will supply evidence of financial standing, by way of auditor’s letter, ensuring the tenderer party has the financial capacity to pay its debts identified on the current statement of assets and liabilities as being the debts as they fall due. |  |  |  |  | Yes |  |  |  |  | No |  |
| Insurances |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following insurances in place: |  |  |  |  |  |  |  |  |  |  |  |
| Insurance Type |  | Level in place |  | Details of Excess |  |  | Expiry Date |  |  |  |  |
| Employer Liability |  | € |  |  |  |  |  |  |  |  |  |
| Public Liability |  | € |  |  |  |  |  |  |  |  |  |
| Product Liability |  | € |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the award decision being made: Evidence of insurances in place or Letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  | Yes |  |  |  |  |  |  |  |
|  |  |  |  | No |  |  |  |  |  |  |  |
| I confirm that if successful, where the levels required under the contract or framework are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place promptly. |  |  |  | Yes |  |  |  |  |  |  |  |
|  |  |  |  | No |  |  |  |  |  |  |  |
| Please note that the Contracting Authority will seek to verify self-declarations regarding financial capacity prior to next stage of the competition. |  |  |  |  |  |  |  |  |  |  |  |
| Signed |  |  |  |  |  |  |  |  |  |  |  |
| Position |  |  |  |  |  |  |  |  |  |  |  |
| Date |  |  |  |  |  |  |  |  |  |  |  |

## DECLARATION OF BONA FIDES & STATUTORY OBLIGATIONS

| Declaration of Bona Fides & Statutory Obligations (Under Public Sector Directive 2014/24/EU - Article 57) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass requirement: Tenderers must complete, sign and date this Declaration. The Contracting Authority reserves the right at its discretion to exclude a non-compliant tenderer under each heading. |  |  |  |  |  |
| Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |  |  |
| 1.1 | Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | Yes | No |  |
|  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |  |
| 1.1a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |  |  |
| 1.1b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |  |  |
| 1.1c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |  |  |
| 1.1d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  |  |  |  |
| 1.1e | the subject of a conviction for money laundering or terrorist financing; |  |  |  |  |
| 1.1f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  |  |  |  |
| 1.2 | Non-payment of taxes or social security obligations Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved. |  |  |  |  |
| An Economic Operator who answers ‘Yes’ in any of the situations set out in paragraphs 2.1.a to 2.1.i will be excluded. |  |  |  |  |  |
| 2.1 | Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply to your organisation. The Economic Operator: |  | Yes | No |  |
|  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |  |
| 2.1a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  |  |  |  |
| 2.1b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |  |  |
| 2.1c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |  |  |
| 2.1d | has entered into agreements with other Economic Operators aimed at distorting competition; |  |  |  |  |
| 2.1e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |  |  |
| 2.1f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |  |  |
| 2.1g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |  |  |
| 2.1h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  |  |  |  |
| 2.1i | has undertaken to: - unduly influence the decision-making process of the contracting entity, or - obtain confidential information that may confer upon the tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |  |  |
| Declaration re Statutory Obligations |  |  |  |  |  |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment / operation: |  |  | Yes |  | No |
| (i) | Employment Equality Acts 1998-2011 |  |  |  |  |
| (ii) | Equal Status Acts 2000-2011 |  |  |  |  |
| (iii) | National Minimum Wage Act 2000 as amended |  |  |  |  |
| (iv) | Organisation of Working Time Act 1997 as amended |  |  |  |  |
| (v) | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |  |
| (vi) | Disability Act 2005 |  |  |  |  |
| (vii) | General Data Protection Regulation 2016/679 |  |  |  |  |
| (viii) | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  |  |  |  |
| Article 5K Declaration EU Regulation 2022/576 on restrictive measures in the Context of Russian Actions in the Ukraine |  |  |  |  |  |
| A. | In the light of Russian actions in the Ukraine, the European Council adopted a new regulation – EU Regulation 2022/576, aimed at restricting participation in economic activity by economic operators from the Russian Federation. Article 5K of the Regulation prohibits the award or continuation of contracts falling within the scope of the Public Procurement Directives to persons or undertakings related to the Russian Federation. To comply with EU Regulation 2022/576, the Contracting Authority is seeking a declaration from economic operators to this effect. |  |  |  |  |
| B. | I declare that none of the exclusions specified in EU Regulation 2022/576 apply to any party associated with this tender. |  | Yes |  | No |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in this declaration is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this Declaration will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |  |
| Name of Economic Operator: |  |  |  |  |  |
| Authorised Signatory: |  |  |  |  |  |
| Name in Block Capitals: |  |  |  |  |  |
| Position: |  |  |  |  |  |

## PREVIOUS EXPERIENCE

| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should refer to instances within the last three years which demonstrate that they have successfully delivered services of a comparable nature and scale on two (2) occasions. The contracts referenced for consideration should provide comprehensive information to enable the Contracting Authority to determine their comparability to the requirements of this contract. |  |  |  |  |
| --- | --- | --- | --- | --- |
| The contracts listed should be chosen to demonstrate your firm’s skills, efficiency, experience and reliability in the relevant areas of expertise. All fields should be completed in full. In the event that the information requested on the value of contracts or identity of clients is considered confidential, tenderers must ensure that they provide sufficient information to allow the Contracting Authority to judge the similarity of these contracts to the services required. |  |  |  |  |
| Reference Contract #1 |  |  |  |  |
| Client Name: |  |  |  |  |
| Contact Name: |  |  |  |  |
| Contact email: |  |  |  |  |
| Delivery Date: | From |  | To |  |
| Contract Value: | € |  | Period value refers to |  |
| Detailed Description: |  |  |  |  |
| Taking account of the features of the contract / scope of the framework agreement, please provide information in relation to the following, demonstrating comparability with the contract / framework being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |
| Any other relevant information: |  |  |  |  |
| Reference Contract #2 |  |  |  |  |
| Client Name: |  |  |  |  |
| Contact Name: |  |  |  |  |
| Contact email: |  |  |  |  |
| Delivery Date: | From |  | To |  |
| Contract Value: | € |  | Period value refers to |  |
| Detailed Description: |  |  |  |  |
| Taking account of the features of the contract / scope of the framework agreement, please provide information in relation to the following, demonstrating comparability with the contract / framework being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |
| Any other relevant information: |  |  |  |  |

## HEALTH AND SAFETY

| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate compliance with all the relevant Health & Safety legislation. The Contracting Authority reserves the right to seek further information to verify compliance. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Do you comply with the Safety Health & Welfare at Work Act 2005? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Health & Safety: |  |  |  |  |  |  |  |  |
| Health & Safety management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. | Yes |  |  |  | No |  |  |  |

| Declaration re Health & Safety |  |
| --- | --- |
| We confirm that each member of staff is aware of his/her responsibilities under the Safety, Health and Welfare at Work Act 2005 and the Safety Health & Welfare at Work (Construction) Regulations 2006. In particular we are familiar with the general duties of Contractors as outlined in Part 3 Regulations 24-29 of the Safety Health & Welfare at Work (Construction) Regulations 2006; also, with the specific duties enumerated in Parts 4-14, Regulations 30-105 of those Regulations and Schedules 1-6 of those Regulations. We are aware of and will take into account the general principles of prevention as enumerated below when carrying out construction work associated with the project. |  |
| GENERAL PRINCIPLES OF PREVENTION APPLICABLE TO CONTRACTOR |  |
| The purpose of the General Principles of Prevention is to provide a framework within which account is taken when identifying hazards in the risk assessment required under section 19 of the Safety, Health and Welfare at Work Act 2005. (i) The avoidance of risks; (ii) The evaluation of unavoidable risks; (iii) The combating of risks at source; (iv) The adaptation of work to the individual, especially as regards the design of places of work, the choice of work equipment and systems of work, with a view to alleviating monotonous work and work at a predetermined rate and to reduce their effect on health; (v) The adaptation of the workplace to technical progress; (vi) The replacement of dangerous articles, substances or systems of work by non-dangerous articles, substances or systems of work; (vii) The giving to collective protective measures priority over individual protective measure; (viii) The development of an adequate prevention policy in relation to safety, health and welfare at work, which takes account of technology, organization of work, working conditions, social factors and the influence of factors related to the working environment; (ix) The provision of appropriate training and instruction to employees. |  |
| OBLIGATIONS UNDER SECTION 17(3) |  |
| We are aware as Contractors of our obligations under Section 17 (3) of the Safety Health & Welfare at Work Act 2005 to ensure so far as is reasonably practicable that the project ‘is constructed to be safe and without risk to health and that it complies in all respects, as appropriate, with the relevant statutory provisions’. |  |
| COMPLIANCE BY STAFF |  |
| We confirm that all staff have received, read and will apply the Safety, Health and Welfare at Work (General Application) Regulations 2007 and the Guide to the Safety, Health and Welfare at Work (General Application) Regulations 2007. Where the role required is Contractor risk assessments will be carried out and maintained on the job file. We confirm that in our opinion this declaration is deemed to satisfy our obligations in relation to the following areas given the scope and nature of the proposed works: (i) Health and Safety Policy and Organization; (ii) Arrangements; (iii) Competent Advice; (iv) Training and Information; (v) Individual Qualifications and Experience; (vi) Monitoring, Audit and Review; (vii) Workforce Involvement; (viii) Accident/Incident Reporting, Review; (ix) Sub-consulting Procedures; (x) Hazard Management and Risk Assessment; (xi) Health and Welfare. |  |
| ENFORCEMENT ACTIONS, LEGAL PROCEEDINGS, ACCIDENTS, FATALITIES OR INCIDENTS |  |
| In relation to enforcement actions, legal proceedings, accidents, fatalities or incidents associated with the discharge of our duties as Contractor or PSCS (whether the relevant discipline is the subject of this declaration or not) over the last three years: (Please attach any details or, alternatively, confirm that no enforcement actions, legal proceedings, accidents, fatalities or incidents have arisen). |  |
| COMPETENT AND RESOURCED |  |
| We confirm that in our opinion our organization is competent and adequately resourced to fulfil its obligations under the Safety, Health and Welfare at Work Act 2005 and that our organization has adequate resources to fulfil the role of Contractor as stated above. |  |
| Name of Economic Operator |  |
| Authorised Signatory |  |
| Signature |  |

# RESPONSE TO THE AWARD CRITERIA

## COST CRITERION - FORM OF TENDER

THIS FORM OF TENDER MUST BE COMPLETED AND RETURNED BY ALL TENDERERS.

Failure to sign this Form of Tender will invalidate the offer.

| To | Dublin City University |
| --- | --- |
| From |  |
| Re | Supply, Delivery, Installation and Commissioning of Nuclear Magnetic Resonance Spectrometry (NMR) System |

I/We have examined the tender documentation and hereby offer to provide the services in accordance with the details contained within the Invitation to Tender Document and the attached Detailed Breakdown of Charges and Expenses.

Nuclear Magnetic Resonance Spectrometry (NMR) System

| Requirement | Unit Price (€) Excluding VAT | Quantity | Total Cost (€) Excluding VAT |
| --- | --- | --- | --- |
| Equipment (please list all individual pieces of equipment separately) |  |  |  |
| Sub-Total A |  |  |  |
| Delivery (DDP) |  |  |  |
| Installation and Commissioning |  |  |  |
| Training |  |  |  |
| Warranty |  |  |  |
| Supply of cryogenic fluids required for the installation and commissioning of the superconducting magnet |  |  |  |
| Other Costs (Please Specify) |  |  |  |
| Sub-Total B |  |  |  |
| Discounts: - Discounts off list price - Other benefits (extended warranty, free issues, upgrades etc.) |  |  |  |
| Total Cost for Evaluation (A + B – Discounts) |  |  |  |

Additional Costs (Optional - not included in evaluation of cost)

| Requirement | Unit Price (€) Excluding VAT | Quantity | Total Cost (€) Excluding VAT |
| --- | --- | --- | --- |
| Warranty (Year 4) |  |  |  |
| Warranty (Year 5) |  |  |  |
| Service/Maintenance Contract (Year 4) |  |  |  |
| Service/Maintenance Contract (Year 5) |  |  |  |
| Removal of the decommissioned existing 400 MHz system |  |  |  |

I/We confirm that I/we:

- Have priced our tender on the basis of all rates being inclusive of all out of pocket expenses (i.e., mileage, subsistence, phone, postage, etc.) and account / contract management related costs,

- Will keep this offer for the contract / framework open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders,

- Agree that you are not bound to accept the most economically advantageous or any tender you may receive,

- Have read and thoroughly examined the ITT,

- Fully understand the ITT and the Client’s requirements,

- Undertake to treat the details of the ITT, its tender and any subsequent agreements as private and confidential,

- Acknowledge that acceptance by the Contracting Authority of this tender will not constitute a binding and enforceable agreement and that a legally enforceable agreement will not exist until and unless the contract is awarded between the Contracting Authority and the tenderer,

- Have availed of all offers for additional information or have otherwise satisfied myself/ourselves as to conditions that may in any manner affect the performance of the contract,

- Have included all elements necessary for the performance of the specified requirements, which are either expressly stated in the ITT or contained in any supplementary information or which could reasonably be inferred therefrom,

- Have found no errors, omissions, conflicts or ambiguities in the ITT except those which I/We have brought to the attention of the Contracting Authority before the latest date for submitting queries,

- Have included for compliance with all statutory requirements applicable in Ireland and those applicable in any country where parts of the contract may be performed that are in force 7 days prior to the deadline for receipt of tenders,

- Will not, if awarded a contract employ labour in a manner that is discriminatory in relation to gender, civil/family status, sexual orientation, religion, age, disability, race, or membership of the traveller community.

- Agree that as a condition of award, it shall be our sole responsibility to fulfil the obligations under the Contract, notwithstanding any changes in circulars, laws, regulations, taxation, duties or other factors which might arise following the withdrawal of the United Kingdom from membership of the EU.

| Signed |  |
| --- | --- |
| Name (in Capital Letters) |  |
| On behalf of |  |
| Address |  |
| Telephone (Office) |  |
| Telephone (Mobile) |  |
| Email |  |
| Date |  |

## 3.2	RESPONSE TO QUALITATIVE AWARD CRITERIA

| Criterion B | Weighting | Maximum Marks | Minimum Marks Required (50%) |
| --- | --- | --- | --- |
|  | 45% | 4,500 | 2,250 |
| Title | Fitness for Purpose of the Proposed Solution |  |  |
| Description | Technical and functional merit of the proposed solution to meet the specifications of requirements as described in sections 4.1.1 (Core Technical Requirements and 4.1.2 (Desirable/Optional Technical Requirements) of the ITT. Tenderers must submit a detailed description in response to each of the requirements T1 to T29 inclusive which demonstrates in a clear and comprehensive manner how they will meet the requirement. The provision of affirmative statements by the Tenderer that it can or will meet a requirement, or a reiteration of the requirement will not be considered sufficient. Where no response or the response does not sufficiently address the subject matter of the requirement the tenderer may be eliminated from the competition. While Tenderers may upload supporting documents as separate documents with their response, they must be clearly identified (for example, naming the relevant document, referring to the specific Technical Requirement to which it applies) relevant to demonstrating that the Tenderer can meet the specific requirement, and noting the page limits outlined below. |  |  |
|  | Tenderers’ responses under this Criterion are limited to a maximum of 2 A4 pages per Technical Requirement (that is 2 A4 pages for T1, 2 A4 pages for T2 and so on) including the use of additional supporting documents where required. |  |  |

Tenderer’s Response starts here…

| Ref | Requirement |
| --- | --- |
| T1 | The Tenderer MUST supply, delivery, install and commission one (1) x standalone 400MHz Nuclear Magnetic Resonance (NMR) system with two (2) channels. Please confirm and detail stating make, model and full specifications of proposed unit. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T2 | The Tenderer MUST supply an ultra-shielded 400 MHz standard bore fifty-four (54) mm superconducting magnet including magnet stand with damping system. Please confirm and detail outlining costs in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender) |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T3 | The magnet MUST have a liquid helium hold time of equal or longer than three hundred and sixty (360) days and the refill volume MUST not exceed 120 liters. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T4 | The Tenderer MUST supply a liquid helium level measurement system, including a low helium alarm/ warning system. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T5 | The Tenderer MUST supply a liquid helium transfer line to refill the magnet with liquid helium. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T6 | The magnet MUST have a liquid nitrogen hold time of equal or longer than fourteen (14) days. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T7 | The Tenderer MUST supply a liquid nitrogen transfer line to refill the magnet with liquid nitrogen. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T8 | The Tenderer MUST provide all necessary electronics and accessories to fully operate the NMR system for liquid NMR. The Tenderer MUST provide a five (5) mm double resonance broad band probe for direct X-nuclei observation with 1H decoupling and/or observation. The X-nuclei range MUST correspond to 19F and the broad band range of 31P-109Ag. The probe MUST have a Z-gradient with min. 5 G/A*cm, 2H lock, automated tuning and matching, and a VT range from at least -20C to +150C. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T9 | The NMR system MUST have two (2) individual RF channels. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T10 | The Tenderer MUST provide RF Amplifiers to assure the correct functioning of the specified liquid NMR probe. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T11 | The Tenderer MUST provide all required external RF filters. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T12 | The NMR system MUST provide a variable temperature control unit. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T13 | The Tenderer MUST provide sample installation kits for the probe for the commissioning process of the probe. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T14 | The system MUST have a sample changer with at least sixty (60) positions and be compatible with standard 5 mm NMR tubes. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T15 | The Tenderer MUST provide sixty (60) five (5) mm spinners for high resolution liquid NMR tubes for sample changer. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T16 | The system MUST be accompanied by a suitable computer with Windows 11 operating system including a minimum 2TB hard drive, and a 24-inch computer screen. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T17 | Software for controlling the system MUST be provided and provide perpetual minimal functionality for controlling the instrument. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T18 | All goods supplied in accordance with the contract MUST be of good construction, sound materially, of adequate strength and free of defects in design materials and workmanship will be designed and manufactured to be safe and without risk to health when properly used. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T19 | Compliance with all relevant health and safety standards, quality assurance and analytical protocols is MANDATORY. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T20 | If there are manufacturing defects known to the tenderer, they MUST identify such defects and state their policy regarding the repair of known defects. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T21 | The Tenderer MUST, as part of the submission, include copies of any relevant testing or compliance certificates for the proposed equipment. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T22 | The Tenderer SHOULD provide a means by which NMR probes with Thermocouple type ‘T’ sensors can be used with the NMR system. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T23 | The Tenderer SHOULD provide remote monitoring of the instrument’s magnet and the electronic components of the console via internet communication. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T24 | The Tenderer SHOULD provide a means to automatically produce a single file archive of experimental data (.zip or similar format). |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T25 | The Tenderer SHOULD provide a means to automatically produce a graphical file showing basic spectrum produced by standard one-dimensional Proton and X-nuclei experiments |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T26 | The Tenderer SHOULD provide a Software for interpreting data that should be available for installation on end users computers, without additional cost |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T27 | Please provide details of the ease of use/user friendliness of the equipment and how this is of benefit to the operator, highlighting the specific features of the instrument that make it easy to use. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T28 | The Tenderer SHOULD provide a facility to interrogate individual components of the controlling console so that investigation, error log examination, resets etc. can all be undertaken by the users, preferably using a dedicated web-browser interface. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| T29 | Software MUST be able to export data in formats which is compatible with Excel (in .csv or .xlsx or equivalent formats) or equivalent programs. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the response to this requirement is a maximum of two (2) A4 pages as set out above.

| Criterion C | Weighting | Maximum Marks | Minimum Marks Required (50%) |
| --- | --- | --- | --- |
|  | 25% | 2,500 | 1,250 |
| Title | Product Service and Support |  |  |
| Description | Technical and functional merits of the proposed solution to meet the Product Service and Support requirements as described in section 4.2 of the ITT. Tenderers must submit a detailed description in response to each of the requirements P1 to P30 inclusive which demonstrates in a clear and comprehensive manner how they will meet the requirement. The provision of affirmative statements by the Tenderer that it can or will meet a requirement, or a reiteration of the requirement will not be considered sufficient. While Tenderers may upload supporting documents as separate documents with their response, they must be clearly identified (for example, naming the relevant document, referring to the specific requirement to which it applies) and relevant to demonstrating that the Tenderer can meet the specific requirement. This criterion will be assessed on the totality of the response. |  |  |

Tenderer’s Response starts here…

| Ref | Requirement |
| --- | --- |
| P1 | Delivery must include all Shipping Charges, insurance, customs duties, and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. Please confirm and detail outlining costs in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender) |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P2 | The installation of all electrical items must be in accordance with but not limited to European standards/ regulations and all relevant amendments. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P3 | At least (3) years warranty MUST be included as part of tendered pricing, to include any repair needed to get the system back up and running, all site visits, labor, travel costs, parts and related to hardware failure. Detail specific inclusions and exclusions of warranty. Please confirm and detail and also specify what is included in the warranty options set out in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender) |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P4 | Maintenance of, and upgrades to software are to be included within the warranty period. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P5 | Equipment should be installed and commissioned by 31 December 2026. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P6 | The equipment should be installed and commissioned in XG25, Lonsdale Building, Glasnevin Campus of DCU by an appropriately qualified engineer on an agreed date with Factory Acceptance Tests at customer site. Please confirm and detail outlining costs in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender) |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P7 | Onsite training for a minimum of 2 DCU personnel should be included after commissioning of the system in DCU to cover set up / system familiarisation, operation of the equipment, troubleshooting, maintenance, and associated software once the equipment is in place. Please confirm and detail outlining costs in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender) |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P8 | Provide details of the full list of spare parts: how long spare parts will be available, specify lead times for replacement spare parts |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P9 | The tenderer MUST have a dedicated specialist at their disposal and fully qualified service personnel who can respond to service calls. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P10 | The tenderer MUST provide a description of the arrangements and lead times for the provision of technical support, annual service/maintenance, emergency call-out response, and spare parts (if necessary). |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P11 | Please outline the company customer service plan and your escalation policy including what process is in place for escalating a call-out if a breakdown cannot be resolved on the first visit. Please detail for both onsite and remote repair. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P12 | The tenderer SHOULD provide full details of service and support infrastructure. Information to be provided includes, but is not limited to, the names, telephone numbers and qualifications of contact individuals in respect of scientific, sales, technical and IT personnel available to service and support the tendered equipment. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P13 | The tenderer MUST provide confirmation of the availability of service and replacement parts for at least ten (10) years after installation. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P14 | The tenderer MUST state when the model was introduced, when the system is likely to be superseded and for how long after purchase replacement parts will be available. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P15 | Tenderers MUST provide all consumables required for training. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P16 | The warranty MUST include one (1) annual preventative maintenance visit per year. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P17 | The Tenderer MUST state the details of any extended warranty and any associated costs. To include any repairs needed to get the system back up and running, all site visits, labor, travel costs, and parts related to hardware failure is covered. Detail specific inclusions and exclusions of extended warranty. Please include price per annum for years 4 and 5 details of coverage and maximum term of coverage. Please confirm and detail and also specify what is included in the warranty options outlined in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender) |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P18 | Tenderer MUST state details of preventative maintenance / servicing options included to include an annual preventative maintenance visit for years 4 and 5. Detail specific inclusions and exclusions of preventative maintenance / servicing options. Please confirm and detail outlining costs in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender) If different levels of service (such as response times) for maintenance cover are available show these with costs. The scope and exclusions for maintenance cover should be made clear. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P19 | Tenderers MUST provide an appropriate lead time and delivery plan including installation and commissioning, sign off and acceptance, from PO placement, in weeks for the required equipment. Give details of timeline for the lead-time to installation, commissioning and training. Shorter lead times are highly DESIRABLE. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P20 | Tenderers MUST provide an appropriate installation plan for the equipment. Give details of timeline for the lead-time to installation, commissioning and training (if applicable). |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P21 | Tenderers MUST provide the cryogenic fluids required for the installation and commissioning of the superconducting magnet. Please confirm and detail outlining costs in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender) |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P22 | Provide details of facility requirements (if any) for delivery to DCU. This should include: - number of containers and approximate weight of each - any clearance requirements (if necessary). - requirements for Health & Safety requirements for site access |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P23 | The tenderer MUST provide details of the logistics/supply chain to the point of customer delivery, i.e., where the goods will come from, how the goods will be transported and what borders the goods will cross. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P24 | The tenderer MUST provide details of your contingency plans (alternative sources/routes of supply) for any delays in delivery. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P25 | All instrument documentation relating to service and maintenance, parts list, and operation MUST be supplied in the English language. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P26 | The tenderer MUST provide details of the effects of any regulation change, if there are any, to the purchase of these goods. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P27 | Following the installation of all equipment in the relevant area, the successful tenderer will MUST fully demonstrate the correct operation of all the equipment to the satisfaction of a nominated employee. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P28 | Relevant training and maintenance manuals in English MUST also be provided with the instrument. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P29 | The successful tenderer SHOULD upgrade the supplied equipment to reflect any improvements or new developments that become available during the term of the contract at no additional cost to DCU. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| P30 | Should responsibilities performed by installation teams, training facilitators or service engineers be affected during a global crisis please outline alternative solutions that are in place from your standard operating procedures |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Criterion D | Weighting | Maximum Marks | Minimum Marks Required (50%) |
| --- | --- | --- | --- |
|  | 5% | 500 | Not applicable |
| Title | Sustainability |  |  |
| Description | Technical and functional merit of the proposed solution to meet the specification requirements as described in 4.3 of the ITT. Tenderers are required to provide responses to each of the Sustainability Requirements listed in 4.3 of the ITT. Tenderers must submit a detailed description in response to each of the requirements S1 to S7 inclusive which demonstrates in a clear and comprehensive manner how they will meet the requirement. The provision of affirmative statements by the Tenderer that it can or will meet a requirement, or a reiteration of the requirement will not be considered sufficient. Where no response or the response does not sufficiently address the subject matter of the requirement the tenderer may be eliminated from the competition. While Tenderers may upload supporting documents as separate documents with their response, they must be clearly identified (for example, naming the relevant document, referring to the specific requirement to which it applies) and relevant to demonstrating that the Tenderer can meet the specific requirement. This criterion will be assessed on the totality of the response. |  |  |

Tenderer’s Response starts here…

| Ref | Requirement |
| --- | --- |
| S1 | Provide power consumption data of running the equipment in various modes of operation |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| S2 | Provide details of approach to reducing environmental impact of service delivery (for example minimising packaging and waste) |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| S3 | The Tenderer SHOULD remove the decommissioned existing 400 MHz system Please confirm and detail outlining costs in the Form of Tender (TRD Section 2.1 Cost Criterion – Form of Tender). |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| S4 | Tenderer SHOULD make all reasonable efforts to minimise adverse environmental impact through efficient Transportation Management. What actions have you taken to reduce carbon production through logistical planning? |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| S5 | Tenderers SHOULD outline measures currently in place and planned futures measures for managing energy consumption associated with this instrument. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| S6 | Tenders SHOULD provide details of relevant measures to maximize sustainability and reduce carbon production. |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.

| Ref | Requirement |
| --- | --- |
| S7 | Tenderer SHOULD provide green reverse logistics by removing and disposing of Packaging & Waste as required by the contracting authority, free of charge. Please provide details on other end-of-life disposal options available to DCU |

Tenderers, please use this free text area for your response (that is, do not respond in the box above) and note the overall response to this Criterion is a maximum of five (5) A4 pages as set out above.