APPENDIX 1 : Technical Specification & Supplier Response Document

Tender Reference: NCTR2668

Request for Tenders for the Supply, Delivery, Installation & Training for a Refrigerated Superspeed Centrifuge for TU Dublin

Open (National) Procedure

Location

Sustainability and Health Research Hub, TU Dublin, City Campus, Grangegorman Dublin 7

| Issue Date: | Friday 26th June 2026 |
| --- | --- |
| Contact Details for Queries: | E-tenders Messaging facility |
| Closing Date for Receipt of Queries: | 14:00pm on Monday 20th July 2026 |
| Deadline for Receipt of Tenders:. | 14:00pm on Monday 27th July 2026 |

Contents

Introduction	3

Summary of Requirements	3

Funding Acknowledgment	4

Section A : Selection Criteria – Mandatory Requirements	4

Section B  - Requirements & Specification	10

Technical Specification	10

Programme Requirements	11

Award Criteria	12

Scoring Methodology	14

Specification Required & Supplier Response	16

Declaration	28

# Introduction

TU Dublin, Ireland’s first Technological University, is where career-focused students, dedicated staff and academic excellence in science, the arts, business, engineering and technology converge to create the leaders of tomorrow. We offer an inclusive and open learning experience with pathways to graduation, from Apprenticeship to PhD. Our 28,500 students learn in a practice-based environment informed by the latest research and enabled by technological advances.

TU Dublin hosts a thriving research community engaged in applying innovation and technology to solve the world’s most pressing challenges. We are deeply committed to collaborating with our national and international academic partners and our many networks in industry and civic society to create new learning experiences and develop impactful research.

TU Dublin is an exciting new milestone in Irish Higher Education.  With campuses in Dublin City, Tallaght and Blanchardstown, it spans the largest population centres of Ireland’s capital city.  Building on the rich heritage of its founding organisations - DIT, IT Blanchardstown and IT Tallaght – TU Dublin is inclusive and adaptable, creating educational opportunities for students at all stages.  TU Dublin students are socially responsible, open-minded global thinkers who are ambitious to change the world for the better. As graduates, they will be enterprising and daring in all their endeavours, ready to play their part in transforming the future.

# Summary of Requirements

Tenders are sought for a Refrigerated Superspeed Centrifuge with a maximum speed of 25,000 -35,000k RPM and refrigerated with temperature range of 0-20 degrees Celsius. A rotor, and any adapters that may be required for spinning 50ml disposable centrifuge tubes are also required with the centrifuge. The proposed instrument must have the option to use a  HEPA filter for biosafety.

The instrument must be fully operational as a standalone unit via its built-in interface without requiring external PC software or recurring software license fees. Any internal firmware or embedded software necessary for standard operations must be pre-installed.

The supplied centrifuge must fit within a footprint no larger than 750 mm by 850 mm.

The instrument must be delivered, installed, and fully operational no later than 31st October 2026.

# Funding Acknowledgment

This procurement is being funded under the Higher Education Authority (HEA) Research and Innovation Equipment Grant, supported by public funding administered by the Higher Education Authority.  The maximum budget available for this procurement is €58,417, exclusive of VAT.

## Section A : Selection Criteria – Mandatory Requirements

| REF | PASS/FAIL CRITERIA | PASS REQUIREMENT |
| --- | --- | --- |
| A1 | Applicant Summary | Tenderers must complete this section. If Tenderer is a grouping, then a separate questionnaire must be completed for each group member. |
| A2 | Financial | Tenderers are required to self-declare compliance with the requirements. Tenderers should note that if deemed the most economically advantageous tender, they will be required to provide the evidence self-declared prior to contract award. |
| A3 | Tax Compliance |  |
| A4 | Insurance |  |
| A5 | Previous Experience | Tenderers must supply contact details and information on services provided for three referees to whom you have provided similar services to the requirements of this RFT. |
| A6 | Health & Safety | Tenderers must demonstrate that they comply with the relevant legislation with reference to Environmental, Health and Safety. |
| A7 | Data Protection Compliance | The Tenderer must ensure the security of Personal Data at all times is in line with the Data Protection Acts 1998 and 2003 and guidance issued by the Data Protection Commissioner of Ireland. Tenderers are required to be compliant under the EU General Data Protection Regulation (GDPR) which came into effect on 25/05/2018. Please confirm compliance. |

SECTION A: PASS/FAIL CRITERIA

| A1. APPLICANT SUMMARY Weighting: Pass/Fail only Pass requirement: Tenderers must complete this section |  |
| --- | --- |
| Organisation Name | Insert Response |
| Contact Name | Insert Response |
| Address | Insert Response |
| Telephone | Insert Response |
| Email | Insert Response |
| Legal Status (if any) (e.g., Company, Partnership, Sole Trader, etc.) | Insert Response |

A2/A3/A4. FINANCIAL/ TAX COMPLIANCE / INSURANCE Weighting: Pass/Fail only Pass requirement: Tenderers must confirm that the meet the following minimum rules

| A2. Financial Summary |  |
| --- | --- |
| Requirement | Yes / No |
| The company is solvent and of good economic standing and can if requested supply an accountant’s/ auditor’s statement for the last three financial years. Availability of a signed statement from accountant/auditor confirming an annual company turnover of €88,000 for each of the last 3 years. | Choose an item. |

| A3. Tax Compliance |  |
| --- | --- |
| Requirement | Yes / No |
| Tenderers hold a current and valid Tax Clearance Certificate(s) from the Revenue Commissioners or in the case of a Candidate outside of the Republic of Ireland hold or can provide an equivalent statement from the relevant taxation authority. | Choose an item. |

| A4. Insurances |  |
| --- | --- |
| Requirement | Yes / No |
| That Tenderers holds, or will hold should they be successful, the following insurances. TU Dublin reserves the right to amend the requirements before a Purchase Order is issued. |  |
| Employer’s Liability - €13 million limit for any one claim or series of claims arising out of a single occurrence. | Choose an item. |
| Public Liability - €6.5 million limit for any one claim or series of claims arising out of a single occurrence. | Choose an item. |
| Product Liability - €6.5 million limit for any one claim or series of claims arising out of a single occurrence. | Choose an item. |

Documentary evidence of economic and financial standing is not required at this stage of the Competition. Instead, Candidates are asked to declare that they meet the minimum standards required by the Contracting Authority and will be in a position to produce the necessary documentation (e.g., bank statements, audited accounts, proof of insurance, etc.) if prior to any award of contract.

| The following are a requirement of each Applicant |  |
| --- | --- |
| Requirement | Yes / No |
| Tenderers must submit a signed Tenderers statement.as per Appendix 3 of the RFT | Choose an item. |
| Tenderers must submit a Signed Declaration as to Personal Circumstances. as per Article 45 of Directive 2004/18/EC & Regulation 53 of SI329); Appendix 4 | Choose an item. |

A5: PREVIOUS EXPERIENCE/REFERENCES

The tenderer MUST have a track record of successful supply and installation of similar systems to those being tendered for.

The Tenderer MUST provide the relevant reference sites of where three (3) similar systems related to that being tendered for, have been successfully installed.

Please complete tables below for each comparable example.

| PREVIOUS EXPERIENCE (CONTRACT ONE) |  |  |  |
| --- | --- | --- | --- |
| Title of Project |  |  |  |
| Client Name |  |  |  |
| Client Contact Details | Contact Name |  |  |
|  | Contact E-mail Address |  |  |
|  | Contact Telephone Number |  |  |
| Annual Value |  |  |  |
| Start Date |  | End Date |  |
| Please provide a summary of the service provided and indicate how it is similar to the goods being sought by TU Dublin. |  |  |  |
| Please insert details here |  |  |  |
| PREVIOUS EXPERIENCE (CONTRACT TWO) |  |  |  |
| Title of Project |  |  |  |
| Client Name |  |  |  |
| Client Contact Details | Contact Name |  |  |
|  | Contact E-mail Address |  |  |
|  | Contact Telephone Number |  |  |
| Annual Value |  |  |  |
| Start Date |  | End Date |  |
| Please provide a summary of the service provided and indicate how it is similar to the goods being sought by TU Dublin. |  |  |  |
| Please insert details here |  |  |  |

| PREVIOUS EXPERIENCE (CONTRACT THREE) |  |  |  |
| --- | --- | --- | --- |
| Title of Project |  |  |  |
| Client Name |  |  |  |
| Client Contact Details | Contact Name |  |  |
|  | Contact E-mail Address |  |  |
|  | Contact Telephone Number |  |  |
| Annual Value |  |  |  |
| Start Date |  | End Date |  |
| Please provide a summary of the service provided and indicate how it is similar to the goods being sought by TU Dublin. |  |  |  |
| Please insert details here |  |  |  |

| A6. Health & Safety |  |
| --- | --- |
| Requirement | Yes / No |
| Candidates must demonstrate that they comply with the relevant legislation with reference to Environmental, Health and Safety. | Choose an item. |

A7: DATA PROTECTION COMPLIANCE

Compliant Yes/No:. Signature:. Tenderers are required to be compliant under the EU General Data Protection Regulation (GDPR) replacing the Data Protection Directive 95/46/EC which came into effect on 25/05/2018. Please confirm compliance.

PLEASE NOTE

In the first instance, all submissions will be checked to ensure they meet the Mandatory Pass/Fail requirements in Section A in order to determine compliancy and responsiveness.

All submissions that meet the mandatory pass/fail criteria will be deemed to be compliant and responsive and will be assessed under the weighted criteria set out in Section B.

Any submission that does not meet the mandatory pass/fail requirements will be deemed to be non-compliant and non-responsive and will be eliminated.

In relation to minimum score required - Tenderers should note that they must achieve a minimum rating set out for each of the individual qualitative criteria to avoid elimination from the competition.

## Section B  - Requirements & Specification

# Technical Specification

This is the minimum specification required.  All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.

Suppliers MUST provide all information relating to the instrument and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Tenderers must use “Appendix 1: Requirements and Specifications to structure their response on how they meet the requirements.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: Appendix 2 – Pricing Schedule.

Notes

- Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances the phrase “or equivalent” is inferred.

- Compliance with all the standards as regards health and safety, quality assurance and analytical protocols is expected.

- It is acknowledged that each Tender’s product line may differ from these specifications.  As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item must meet or exceed the specified characteristics or level of performance.

- Additional functionality should be identified in the comments section to facilitate scoring under the award criteria.

Where the bidder has more than one system matching the specifications, details for each system should be provided separately and is limited to 2 per tenderer.

Ex-Demo Goods/Instrument Models

Proposals for the provision of ex-demo model Goods/Instrument(s) may be acceptable to TU Dublin in this instance.  Please clearly state if your proposal included is an ex-demo model in both the Tender Response Document and Appendix 2 – Pricing Schedule.

# Programme Requirements

- Tenderers MUST note that contractors do not have exclusive access and will be required to work around and accommodate other suppliers and contractors who will be active in the building and laboratories simultaneously.

- TU Dublin working hours are Monday to Friday from 9.00am to 5.00 pm (Business Hours). Access to the site outside the Business Hours shall at all times be arranged through the appointed representative in TU Dublin.

- Note: Working outside Business Hours may be required to comply with work programmes. Where this becomes necessary as a result of changes to the start dates set out above, all reasonable efforts will be made to accommodate same.

- Contractors are responsible for security of their own equipment, materials, etc.

- Prior to any deliveries, the successful supplier(s) (and/or  relevant sub-contractors, etc.) will be required to meet the representatives from TU Dublin to clarify the requirements for Health & Safety, site access, services etc. to ensure compliance with standard operating procedures, and other regulatory/ statutory requirements.

# Award Criteria

The Goods Contract will be awarded on the basis of the most economically advantageous tender(s) as identified in accordance with the following award criteria:

| Award Criteria |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Award Criteria: Tenderers must meet the minimum score of 60% in each Section B - E | Overall Weight | Total Maximum Score | Minimum Score (60%) Requirement |
| B | Technical Merit - Technical Requirements of the System | 35% | 350 | 210 |
| C | After Sales and Technical Assistance - Customer Support, Repair, Maintenance & Breakdown Requirements - Warranty & Preventative Maintenance - Training Proposal | 15% | 150 | 90 |
| D | Delivery Date or Date of Completion - Lead Time & Delivery/Completion Plan - Installation, Commissioning, Calibration & Validation. | 10% | 100 | 60 |
| E | Environmental & Sustainability - Energy Consumption Emissions - Life Cycle & Waste | 10% | 100 | 60 |
| F | Ultimate Cost (Total Cost of Ownership) Including - Capital Cost and all Delivery, Installation, Training, Warranty, Maintenance & Preventative Maintenance Costs (if not included in overall cost). | 30% | 300 | n/a |
|  | Total Maximum Score Available 100% |  | 1000 |  |

The tender award criteria will be applied to each tender who has successfully passed the Selection Criteria. Tenderers must achieve a minimum of 60% on all qualitative tender award criteria above, excluding Ultimate Cost, in order to avoid elimination from the competition. Only tenderers who have achieved the 60% will be evaluated against Ultimate Cost.

No commitment of any kind, contractual or otherwise shall exist unless and until a formal written contract has been executed by or on behalf of the Contracting Authority. Any award of notification of preferred bidder status by the Contracting Authority shall not give rise to any enforceable rights by the Tenderer. The Contracting Authority may cancel this public procurement competition at any time prior to a formal written contract being executed by or on behalf of the Contracting Authority. The Contracting Authority does not bind itself to accept the lowest priced or any Tender.

A failure to answer question(s) may leave the contracting authority with insufficient information on which to base a thorough evaluation and in turn may result in loss of marks in respect of the relevant Award Criterion. Therefore, please ensure you complete ALL sections of this questionnaire.

TU Dublin reserves the right to purchase up to an additional one (1) item and/or accessories,  should such a need arise within eighteen (18) months commencing from the Award Notification date.

# Scoring Methodology

The lowest Ultimate Cost tender, will receive the maximum score achievable under this criterion.

| Pricing Score = | Lowest Tendered Price x Max Points |  |
| --- | --- | --- |
|  | Price of bid being evaluated |  |

Responses for Non-cost/qualitative Award Criteria items will be scored using the following matrix:

| - Band | Scoring Range | Meaning |
| --- | --- | --- |
| Excellent | 91% – 100% | Excellent response that fully meets and exceeds requirements, providing comprehensive, detailed, and convincing assurance that the Tenderer will deliver to an exceptional standard. |
| Very Good | 80% – 90% | A very good response that demonstrates real understanding and fully meets the requirements and provides convincing assurance that the Tenderer will deliver to high standard. |
| Good | 60% – 79% | A satisfactory response which demonstrates a reasonable understanding of requirements and provides reasonable confidence that the minimum requirements will be delivered. However, it does not provide sufficiently convincing assurance to award a higher mark. |
| Fair | 30% - 59% | A response where reservations exist due to a lack of convincing details and comprehensive credibility. There is a significant risk that the requirements will not be delivered to a satisfactory standard. |
| Poor | 1% – 29% | A response that raises significant reservations, due to insufficient detail, critical or notable deficiencies, that seriously lacks credibility, presenting a high risk of non-delivery. |
| 0 | 0% | No Response or partial Response that completely fails to address the criterion under consideration. |

Suppliers please note:

- This specification document is designed to assist the contracting authority in its evaluation of your tender and to enable suppliers provide structured responses to key deliverables. It is structured to reflect the award criteria as set out in the SRFT.

- Please note responses to individual questions will NOT be scored separately but collectively they will provide a basis for assessing the merits of the tenderer’s overall response to each award criterion and sub-criterion.

- Compliance with all the standards as regards health and safety, quality assurance and analytical protocols is expected.

- Where abnormally low tenders are received the Evaluation team shall require the tenderer to explain the price proposed in Appendix 2 (per Article 69 of the EU Procurement Directives 2014/24). Where the tenderer cannot provide a sufficient explanation, the contracting authority is entitled to reject the tender.

- Next Ranked Supplier - The award of any contract is subject to the successful tenderer meeting the required specification and standards as set out in this RFT and Appendix 1. Should the required specification and standards not be met, the Contracting Authority reserves the right to award any contract to the next highest-ranked Tenderer.

- Tie Break - If the evaluation outcome results in a tie between two or more Tenders, then the Tender with the highest score for the highest weighted criterion shall be deemed the most economically advantageous tender. If the score remains in a tie, the remaining criterion will be assessed by the highest weighted until there is no longer a tie. If the score remains a tie after all criterions are assessed, the tenderers will be asked to submit a Best and Final Offer (BAFO).

# Specification Required & Supplier Response

Suppliers MUST provide all information relating to the instrument and the associated consumables in the blue response boxes below. Responses will be scored accordingly by the Evaluation team as set out in the Award Criteria in the RFT document. Yes/No answers will not suffice.

| NCTR2668 - Request for Tenders for the Supply, Delivery, Installation & Training for a Refrigerated Superspeed Centrifuge for TU Dublin |  |  |  |  |
| --- | --- | --- | --- | --- |
| (Suppliers to state model type here) |  |  |  |  |
| REF. |  | REQUIREMENT | CONFIRM (YES/NO) | COMMENT |
| B. Technical Merit |  |  |  |  |
| Functional Requirements |  |  |  |  |
| B1 | A Refrigerated Superspeed Centrifuge is required. Please confirm and provide details of the proposed unit stating make, model and full specifications. Please provide costs in the Appendix 2 - Pricing Schedule. |  | Compliant (Yes / No) | Insert Response |
| B2 | The proposed instrument must have a footprint that does not exceed 750x850mm. Please confirm and detail. |  | Compliant (Yes / No) | Insert Response |
| B3 | Please state if the instrument is an Ex-Demo model or consists of Ex-Demo components. Tenderers must confirm the age in years of the system, confirming it is less than two (2) years old and must include a full service /maintenance history with appropriate warranty for up to four (4) years. Please outline and detail. |  | Compliant (Yes / No) | Insert Response |
| B4 | The proposed instrument must have a maximum speed of 25,000 RPM or better. Please confirm and detail. |  | Compliant (Yes / No) | Insert Response |
| B5 | The proposed instrument must be refrigerated with temperature range of 0-20 degrees Celsius or better. Please confirm and detail. |  | Compliant (Yes / No) | Insert Response |
| B6 | A rotor, and any adapters required for spinning 50ml disposable centrifuge tubes must be included with the centrifuge. Please confirm and detail. |  | Compliant (Yes / No) | Insert Response |
| B7 | The proposed instrument must have the option to use a HEPA filter for biosafety. Please confirm and detail. |  | Compliant (Yes / No) | Insert Response |
| B8 | The tenderer must provide details of all operational modes, together with their corresponding performance specifications, including parameter setpoint accuracy, precision, and any applicable reference standards or validation methods. |  | Compliant (Yes / No) | Insert Response |
| B9 | The proposed System must meet CE certification and EU safety compliance. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B10 | Please provide details of any additional technical features or specifications that may offer a performance advantage. Such features shall be clearly described, including an explanation of how they enhance the overall capability, efficiency, or quality of the instrument. Please provide details (if applicable). If applicable, the tenderer must also highlight if the system requires additional accessories or consumables to be able to function, indicating the cost associated with this accessory, if applicable, under additional purchases in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) | Insert Response |
| B11 | The instrument must be fully operational as a standalone unit via its built-in interface without requiring external PC software or recurring software license fees. Any internal firmware or embedded software necessary for standard operations must be pre-installed and included permanently at no additional cost. All/any third-party software required to operate the instrument must be supplied. Please confirm and detail, indicating the cost, if any, in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) | Insert Response |
| B12 | Any system package must be easy to use/user-friendly, intuitive and accessible while the system is running. Please confirm and detail. |  | Compliant (Yes / No) | Insert Response |
| B13 | The tenderer must provide details on how data can be exported from the proposed instrument/software. The exported data must be in standard formats such as CSV, Excel, PDF, etc. Please confirm and detail. |  | Compliant (Yes / No) | Insert Response |
| B14 | Please provide details of any additional software that may offer a performance advantage which is optional to purchase. The software should be clearly described, including an explanation of how it may enhance the overall datalogging or reporting capability of the instrument. Please indicate the cost under additional purchases in Appendix 2 – Pricing Schedule. |  | Complaint (Yes/No) | Insert Response |

| - After Sales and Technical Assistance |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Customer Support, Repair, Maintenance & Breakdown Requirements |  |  |  |  |  |
| C1 | The tenderer must have dedicated specialists at their disposal and fully qualified service personnel who can respond to service calls. Please confirm and provide details of access to technical support (remote and/or on-site) available to TU Dublin. | Compliant (Yes / No) |  | Insert Response |  |
| C2 | The tenderer must provide details of guaranteed response times in event of instrument issues or breakdown, in relation to phone support, online/remote support and arrival on site by a fully trained service engineer during the warranty period (s) and post-warranty. | Compliant (Yes / No) |  | Insert Response |  |
| C3 | The tender must specify the lead time for repairs during the warranty period(s) and post-warranty, with and without service contract options. | Compliant (Yes / No) |  | Insert Response |  |
| C4 | Please outline the company customer service plan and your escalation policy and process in place for escalating a call-out, if a breakdown cannot be resolved on the first visit. | Compliant (Yes / No) |  | Insert Response |  |
| C5 | The tenderer must provide confirmation of the availability of service and replacement parts for at least seven years (7) years after commissioning. Please provide details. | Complaint (Yes/No) |  | Insert Response |  |
| C6 | The tenderer must provide full details of service and support infrastructure. Customer service contact details and availability must also be provided. Information including, but not limited to, the names, telephone numbers and qualifications of contact individuals in respect of scientific, sales, technical and IT personnel available to service and support the tendered instrument will be requested from the successful tenderer in advance of any award. Please confirm and detail. | Complaint (Yes/No) |  | Insert Response |  |
| Warranty & Preventative Maintenance |  |  |  |  |  |
| C7 | One (1) year’s warranty must be included as part of the tendered price, to include the centrifuge unit, rotor, drive system, refrigeration system as well as all hardware, software, call outs, Travel, and Parts. Two (2) years standard warranty is desirable. Please detail specific inclusions and exclusions of warranty. Please confirm and provide details indicating additional pricing, if any, in Appendix 2 -Pricing Schedule. |  | Compliant (Yes / No) |  | Insert Response |
| C8 | The tenderer should state the details of yearly servicing contracts offered as part of any extended Warranty. Detail specific inclusions and exclusions of extended warranty for up to three (3) years optional to purchase extended warranties on a yearly basis. Please include price per annum, details of coverage and maximum term of coverage, and indicating the cost in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) |  | Insert Response |
| C9 | A preventative maintenance visit as part of the standard warranty in year one is desirable. The tenderer must state details of annual service, calibration and preventative maintenance schedule included along with a recommended 5-year preventative maintenance schedule. Detail specific inclusions and exclusions must be clearly outlined. Please confirm annual price in Appendix 2 – Pricing Schedule including the option to purchase additional preventative maintenance for up to four (4) years, on a yearly basis. |  | Compliant (Yes / No) |  | Insert Response |
| C10 | The Tenderer must provide typical daily rate price for servicing and repairs (including travel, subsistence, and price per day) charged outside a maintenance contract. Please confirm pricing in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) |  | Insert Response |
| C11 | The tender must specify the lead time for repairs during the warranty period(s) and post-warranty, with and without service contract options. |  | Compliant (Yes / No) |  | Insert Response |
| C12 | If, during the warranty period, the model does not meet the criteria specified, TU Dublin must have the right to return the instrument for a full refund of the cost of the instrument. Please confirm your agreement. |  | Compliant (Yes / No) |  | Insert Response |

| Training Proposal |  |  |  |
| --- | --- | --- | --- |
| C13 | Training for at least 2 personnel must be included after commissioning to cover set up / system familiarisation, operation of the tendered instrument, troubleshooting, maintenance, and associated software once the system is in place. A detailed description of the training and support to be provided for staff and technical personnel is required. (Date(s) and timing of training to be confirmed with TUD and the successful tenderer). Please confirm and detail, indicating the cost, if any, in Appendix 2 – Pricing Schedule. | Compliant (Yes / No) | Insert Response |
| C14 | All relevant training and maintenance manuals in English must also be provided with the instrument. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| C15 | Training materials must include access to comprehensive training materials (videos, digital resources). Please confirm and provide details. | Compliant (Yes / No) | Insert Response |
| - Delivery Date or Date of Completion |  |  |  |
| Lead Time & Delivery/Completion Plan |  |  |  |
| D1 | Delivery MUST include all Shipping Charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. Instrument MUST be delivered to: Sustainability & Health Research Hub, TU Dublin, City Campus, Grangegorman, Dublin 7, D07 H6K8. Please confirm cost , if any, in Appendix 2 - Pricing Schedule. | Compliant (Yes / No) | Insert Response |
| D2 | The instrument must be delivered, installed, and fully operational no later than 31st October 2026. Tenderers must provide details of timeline an appropriate lead time and delivery plan including installation, commissioning, training, sign off and acceptance, from PO placement, in weeks, for the required instrument. Shorter lead time are highly desirable. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| D3 | The tenderer must provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| D4 | The tenderer must provide details of their contingency plans (alternative sources/routes of supply) for any delays in delivery. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| D5 | The tenderer must provide details of any actions that have been taken to ensure the future timely supply and delivery of goods and services, including ongoing supply of replacement/ spare parts and consumables. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| D6 | The tenderer must provide details of the effects of any regulation change, if there are any, to the purchase of these goods. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| Installation, Commissioning & Validation |  |  |  |
| D7 | The instrument must be installed (if required) and commissioned in a location defined by the Contracting Authority, by an appropriately qualified engineer on an agreed date. Please confirm, providing details of experience/qualifications of installation team and indicating the cost, if any, in Appendix 2 – Pricing Schedule. | Compliant (Yes / No) | Insert Response |
| D8 | Tenderers MUST provide an appropriate installation plan (if required) for the instrument. Details of timeline for the lead-time to installation, commissioning and training (if applicable) must be provide. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| D9 | Should responsibilities performed by installation teams, training facilitators or service engineers be affected during a global crisis, please outline alternative solutions that are in place from your standard operating procedures. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| D10 | The instrument must be ready for use once delivered and installed. Following the installation of all instrument in the relevant area, the successful tenderer will be required to fully demonstrate the correct operation of all of the equipment to the satisfaction of a nominated employee. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| D11 | The installation of all electrical items must be in accordance with but not limited to European standards/ regulations and all relevant amendments. Installation and commissioning of the equipment must be carried out by the trained engineers. Please confirm and provide details. | Compliant (Yes / No) | Insert Response |
| D12 | All instrument documentation relating to service and maintenance, parts list, and operation must be supplied in English language. Please confirm and provide details. (Documentation is not required as part of your tender submission). | Compliant (Yes / No) | Insert Response |
| - Environmental & Sustainability |  |  |  |

Energy Consumption & Emissions

| E1 | Tenderers must state the energy rating of the proposed system. The system should ideally have low running costs allowing the instrument to be as energy and economically efficient as possible. Your response should include details of the heat level generated, if the instrument requires additional cooling/ventilation, the range of environmental conditions in which it will operate and the energy consumption per hour. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| --- | --- | --- | --- |
| E2 | It is desirable that an ecofriendly refrigerant is used in the centrifuge. Please confirm and provide details. | Compliant (Yes / No) | Insert Response |
| E3 | Tenderers should demonstrate efforts to minimise adverse environmental impact in the methods of services delivery and in materials used. Please confirm and detail stating actions have you taken to reduce your impact on the environment? | Compliant (Yes / No) | Insert Response |
| E4 | Low Noise Operation: The instrument should be designed and manufactured to minimise noise emissions during normal operation. Tenderers shall provide Manufacturers’ technical documentation stating noise emission levels, and the measurement standard used (e.g. EN or ISO equivalent). | Compliant (Yes / No) | Insert Response |
| E5 | The tendered must provide details of any standby or low-power operational modes available on the proposed equipment that may be utilised during periods of non-use or reduced activity. The tenderer must also provide the energy consumption and/or energy efficiency ratings of the equipment under both fully operational and standby conditions, including any relevant power-saving features. | Compliant (Yes / No) | Insert Response |
| Life Cycle and Waste |  |  |  |
| E6 | Tenderers must dispose of all Packaging & Waste, using environmentally friendly sources, after installation and commission has been completed. The instrument SHOULD comply with Directive 2012/19/EU (WEEE) relating to waste electrical and electronic equipment. Tenderers SHOULD be a registered producer of electrical and electronic equipment or shall supply the equipment via a registered producer compliant with Irish WEEE requirements. Please confirm and detail. | Compliant (Yes / No) | Insert Response |

| - Ultimate Cost |  |
| --- | --- |
| F1 | Please see Appendix 2 – Pricing Schedule for details. |

# Declaration

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders.

- I/We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |  |
| Company Name: |  | Date: |  |  |
| Address: |  |  |  |  |
| Email: |  |  |  |  |

End of Document