## 8 Questionnaire
9 | Information requirements |  | Information Provided
| Company Details |  | Yes/No
Name of contractor
Address of head office
Address of relevant Local office
(If applicable)
Date Business commenced trading
Company telephone
Company Fax
Company Email address
Name of authorised Representative
Contact details if different from above
Address
Phone
Email
Company Registration No.
Year established
Number of years trading under present name
Name of Managing Director/owner
Provide evidence of the following
Turnover for the last 5 years
| Public Liability Insurance | Limit of Indemnity | 0
| Employers Liability Insurance | Limit of Indemnity | 0
| Professional Insurance | Limit of Indemnity | 0
Provide details of No. of employees
Administration
Management
Installation
Maintenance
Testers
Apprentices
Provide details of:
Current workload
Similar projects within the last 5 years
Educational Qualifications Management
Educational Qualifications Testers
Measures for ensuring quality
Health & Safety Competence
Accidents over the last 5 years
| Is the intention to use own labour or sub-contractors for the installation of the lifts A & B |  | Y/N | If sub-contractors are intended to be used please submit qualifications of the sub-contractors and submit your quality control processes for using sub-contractors
| Is the intention to use own labour or sub-contractors for the removal of lift A & B |  | Y/N | If sub-contractors are intended to be used please submit qualifications of the sub-contractors and submit your quality control processes for using sub-contractors
Provide details of Hourly Rates
Installation Engineers
| Normal Working Hours 08.00 - 17.00 |  | 0
| Outside Normal Working Hours 17.00 -08.00 |  | 0
| Friday 17.00 -23.59 |  | 0
| Saturday 0.00 - 23.59 |  | 0
| Sunday and Bank Holidays 0.00 -08.00 next working day |  | 0
Maintenance Engineers
| Normal Working Hours 08.00 - 17.00 |  | 0
| Outside Normal Working Hours 17.00 -08.00 |  | 0
| Friday 17.00 -23.59 |  | 0
| Saturday 0.00 - 23.59 |  | 0
| Sunday and Bank Holidays 0.00 -08.00 next working day |  | 0
Standby Engineers - Lifts
| 12 hour weekday |  | 0
| 12 Hours Saturday |  | 0
| 12 hours Sunday/Bank holiday |  | 0
Provide details of:
| Shaft ventilation requirements | Percentage of sq. area of shaft as per EN 81-21 | Yes
| Separate shaft pit earthing requirements | If yes provide details | Yes/No
| Do you require Scaffolding for the installation of the lifts. Cost by Lift Contractor |  | Yes/No

## 9 Pricing Schedule
1 Lift Tender Pricing Document - HSE South - CUH Radiotherapy Passenger Service Lift. |  |  |  |  | This document must not be altererd from its origional format. |  | This document must not be altererd from its origional format.
[5 empty] | Pathology Lift | Pathology Lift | Radiotherapy Lift | Radiotherapy Lift
[5 empty] | Passenger Service Lift | Lift Contractor to confirm specification requirement. Yes / If No, Comment | Passenger Lift | Lift Contractor to confirm specification requirement. Yes / If No, Comment
1 | SEEC Spec | HTM | Principal lift details
1.1 |  |  | Type | Lift Machine Type | Machine Room lift or MRL |  | MRL
1.2 |  |  | Capacity (kg) | maximise cabin dimensions | Maximmum size achievable |  | Maximmum size achievable
|  |  | (Persons) | maximise cabin dimensions | Maximmum size achievable |  | Maximmum size achievable
1.3 |  |  | Speed (m/s) | Minimum requirement | Options |  | Options
1.4 |  |  | Total No. of floors |  | 2 |  | 2
1.5 |  |  | No. of Car Entrances |  | 1 |  | 1
1.6 |  |  | Travel (mm) |  | 3286 |  | 3712
1.7 |  |  | Levels Served |  | 2 |  | 2
1.8 |  |  | Motor Duty Cycle (Starts per hour) | Minimum requirement. Model Number of motor to be supplied | 120 | Model Number of motor to be supplied | 120 | Model Number of motor to be supplied
|  |  | (Starts per annum) | Minimum requirement | High usage |  | Medium usage
1.9 |  |  | Life cycle (Years) |  | 25 |  | 25
2 |  |  | Compliance
2.1 |  |  | Preliminaries & Contract | Included | Yes |  | Yes
2.2 |  |  | Lift Directive 2014/33/EU |  | Yes |  | Yes
2.3 |  |  | S, H & W at Work (General Application) regulations 2007 |  | Yes |  | Yes
2.4 |  |  | Construction Regulations 2013 |  | Yes |  | Yes
2.5 |  |  | Building Control (Amendment) Regulations |  | Yes |  | Yes
2.6 |  |  | EN81-20/50 (Safety rules of new lifts) |  | Yes |  | Yes
2.7 |  |  | EN81-21 (New Lifts in Existing Building |  | Yes |  | Yes
2.8 |  |  | EN81-28 (Telephone communication system) |  | Yes |  | Yes
2.9 |  |  | EN81-58 (Fire resistance on landing doors) | Minutes | 120 |  | 120
2.10 |  |  | EN81-70 (Disabled Access) |  | Yes as much as possible. |  | Yes
2.11 |  |  | EN81-71 (Anti-vandal) | Category | CAT 1 |  | CAT 1
2.12 |  |  | EN81-72 (Fire Fighting) | TGD Part B, HTM 05-02/03 | N/A |  | N/A
2.13 |  |  | EN81-73 (Behaviour in event of Fire) | Fire alarm recall to main evacutaion landing & recall to alternative landings as per EN 81-73 and in line with the fire stratergy for the facility. | Yes |  | Yes
2.14 |  |  | EN81-76 (Evacution Lifts) | TGD Part B, HTM 05-02/03 | N/A |  | N/A
2.15 |  |  | Breeam, Lead energy or equivalent | Energy Regeneration, cabin lighting, mechanical ventilation. | Yes |  | Yes
2.16 |  |  | HTM Reference |  | HTM 08 02 as much as possible |  | HTM 08 02 as much as possible
2.17 |  |  | Wheel Chair Class Accessibility |  | if possible |  | if possible
2.18 |  |  | Application |  | General Passenger / Service |  | General Passenger / Service
2.19 |  |  | Operating Theater Lifts |  | N/A |  | N/A
2.20 |  | 3.7 & 3.14 Section 5 | Lift Planning | Consideration needs to be given in relation to traffic analysis and dual-role lifts as part of building design and development. Subject to independent lift consultant analysis and review. | Yes |  | Yes
2.21 |  | 3.7, 3.14, 5.34 - 5.42 | Lift Traffic Design | Consideration needs to be given in relation to traffic analysis by an independent lift consultant analysis and review. | Yes |  | Yes
3 |  |  | Internal Cabin Dimensions & Internal Shaft Dimensions | Landing Doors to be recessed on to the landing if possible. |  |  | All measurements to be confirmed by lift contractor
3.1 |  |  | ISO 4190 Class |  | III |  | III
3.2 |  |  | Cabin Width (mm) | maximised where possible | to be maximised |  | to be maximised
3.3 |  |  | Cabin Depth (mm) | maximised where possible (Landing doors to be mounted on landings) | to be maximised |  | to be maximised
3.4 |  |  | Cabin Height (mm) | To underside of suspended ceiling | 2000 |  | 2100 mm
3.5 |  |  | Shaft Width (mm) |  | 1838 |  | 1800 mm
3.6 |  |  | Shaft Depth (mm) |  | 1165 |  | 2600 mm
3.7 |  |  | Pit Depth (mm) |  | 1160 |  | 1520 mm
3.8 |  |  | Headroom (mm) |  | 2984 |  | 3480 mm
4 |  |  | Cabin Finishes | All supplier finishes subject to Clients approval
4.1 | 6.24.4, 6.26.2 | 6.122 | Flooring | Floor covering shall be one-piece, water tight and attached to the car walls (Coved). Flooring to be HTM 08-02 compliant | Flooring needs to be same or similar surface characteristic/colour as landing flooring finish. Except if it is dark in colour. |  | Flooring needs to be same or similar surface characteristic/colour as landing flooring finish. Except if it is dark in colour.
4.2 |  |  | Skirting | Not to be considered. | None |  | None
4.3 | 6.24.2, 6.26.1 | 6.127 - 6.130 | Rear Wall | 441 rolled pattern st st | Pattern Linen St. St. |  | Pattern Linen St. St.
4.4 | 6.24.2, 6.26.1 | 6.127 - 6.130 | Side Walls | 441 rolled pattern st st | Pattern Linen St. St. |  | Pattern Linen St. St.
4.5 | 6.24.2, 6.26.1 | 6.127 - 6.130 | Front wall returns | 441 rolled pattern st st | Pattern Linen St. St. |  | Pattern Linen St. St.
4.6 | 6.24.3, 6.26.1 |  | Front wall return protection panels | 441 rolled pattern st st. | Robust Protection for car door nib returns. Anti Vandal CAT 1 |  | Robust Protection for car door nib returns. Anti Vandal CAT 1
4.7 | 6.24.1, 6.26.3 | 6.130 | Ceiling | Ceiling should fit from wall to wall with no crevices and light fittings should be easily maintained. | Yes |  | Yes
4.8 | 6.26.5 | 6.131 | Lighting minimum 2 lights | LED spot lights BREEAM compliant. 100 lux at floor level, Switch off after 15 seconds when not in use. | Yes |  | Yes
4.9 | 6.26.6 | 6.121 | Handrail | 40mm tubular stainless steel. Antibacterial. | Yes to 1 side. To Be Decided |  | Yes
4.10 | 6.26.7 | 6.121 | Bumper Rails | Stainless Steel, shamfered at termination ends and reinfored timber. Must not create a finger trap where they meet at the corners. Rail must stop at least 80 mm from each corner. No hollow construction considered. | Yes |  | Yes
4.11 | 6.26.4 | 6.127 | Mirror | Rear wall. Full width and half height. EN81-71 tamper resistant | Yes |  | Yes
4.12 | 6.24.5 | 6.135 -6.137 | Mechanical and Natural Ventilation required. | Natural ventilation by means of apertures at the upper and lower parts of the lift car, if the flooring is coved the ventilation should be positioned under the bumper rails. | Yes |  | Yes
4.13 | 6.26.8 |  | Folding Seat in Cabin | EN81-70 Compliant | N/A |  | N/A
5 |  |  | Door Dimensions
5.1 |  |  | Width (mm) | As wide as possible | Maximum mm |  | 900 mm
5.2 |  |  | Height (mm) |  | 2000 mm |  | 2000 mm
5.3 |  |  | Centre opening | optional, best fit for equipment | No |  | Yes
5.4 |  |  | Side opening doors | 2-panel accepted (Considered), best fit for equipment. | Yes |  | Yes
6 |  |  | Door operating System
6.1 | 6.25.2, 6.25.3 |  | VVVF drive | To be rated over the rating of the motor power requirements. | Yes |  | Yes
6.2 | 6.25.4 |  | Door speed adjustable |  | Yes |  | Yes
6.3 | 6.25.3 |  | Duty cycle (Operations per annum) |  | 800000 |  | 800000
6.4 | 6.25.3 |  | Life cycle (Years) |  | 20 |  | 20
6.5 | 6.25.13 |  | Mechanical lock for cabin door |  | Yes |  | Yes
|  |  | Shaft Sheeting | This sheeting shall be supplied and fitted regardless if the car door is locked or not during travel. | Yes |  | Yes
6.6 | 6.25.9 |  | Safety Edge | Memco Panachrome or equivalent. The LED for the safety edge must switch to color red before the doors start to close. | Yes |  | Yes
7 |  |  | Door Finishes
7.0 |  |  | Position of Landing Doors |  | Landing doors positioned on landings to increase the car dimensions. |  | Landing doors positioned on landings to increase the car dimensions. Optional to maximise the cabin space.
7.1 | 6.25.10 |  | Panels | Interior use 441 rolled pattern st.st | Pattern Linen St. St. |  | Pattern Linen St. St.
7.2 | 6.25.10 |  | Header | Interior use 441 rolled pattern st.st | Pattern Linen St. St. |  | Pattern Linen St. St.
7.3 | 6.25.10 |  | Posts | Interior use 441 rolled pattern st.st | Pattern Linen St. St. |  | Pattern Linen St. St.
7.4 | 6.25.16.2 |  | Sill | Heavy Duty 316 St. St | 2kN point loading |  | 2kN point loading
7.5 | 6.25.10 |  | Type of door panels | Hollow metal construction with vertical internal channel reinforcements | Yes |  | Yes
7.6 | 6.25.16.1 |  | Door hanging Rollers | Heavy Duty | Yes |  | Yes
7.7 | 6.25.16.1 |  | Door Shoes | Heavy Duty | Yes |  | Yes
7.8 | 6.25.12 |  | Fire Rating | 120 minutes | Yes |  | Yes
8 |  |  | Maintenance Access Panels
8.1 | 6.22.6.7 |  | Integrated in door post | N/A for Motor Room Lifts | N/A |  | N/A
8.2 | 6.22.6.7 |  | Beside door post on top landing | Beside door post on top landing | Yes |  | Yes
9 |  |  | Cabin signals and operating features | EN81-71 Cat 1 & Flush with Cabin Wall | Cat 1 |  | Cat 1
9.1 | 6.22.5.6 |  | Voice Annunciation | English and Irish Language_Door open-Door close, level of arrival, travel direction as a minimum. EN81-70. | Yes |  | Yes
9.2 | 6.22.5.3 | 6.140 | Indicators | Floor position and direction of travel | Yes |  | Yes
9.3 |  |  | Anti Vandal buttons | EN81-71 Category 1 | Yes |  | Yes
9.4 | 6.22.5.10 |  | Door hold facility button | <II> | Yes |  | Yes
9.5 | 6.22.5.11 |  | Door open button |  | Yes |  | Yes
9.6 | 6.22.5.12 |  | Door close button |  | Yes |  | Yes
9.7 |  |  | Car Operating Panel | EN81-70 | Yes |  | Yes
10 |  |  | Landing Signals, Operating Features and Architraves. | EN81-71 Cat 1 & Flush with Exterior Wall |  |  | Cat 1
10.1 | 6.22.6.3 |  | Arrival Gong |  | Yes |  | Yes
10.2 | 6.22.6.2 |  | Direction indicators |  | Yes |  | Yes
10.3 | 6.22.6.2 |  | Indicators | On all landings, EN 81-70. Indicators to display speacial functions such as out of service, Maintenance, and any other speacial functions. | Yes, Angled indicators 135 degress in the lobby and not in the alcove. |  | Yes, Angled indicators 135 degress in the lobby and not in any alcove.
10.4 | 6.22.6.5 |  | Anti Vandal buttons | EN81-71 Category 1 | Yes |  | Yes
10.5 |  |  | Flush with a back box, Push buttons |  | Yes |  | Yes
10.6 | 6.22.6.1 |  | Landing Operating Panels | EN81-70 | Yes |  | Yes
20.2 |  |  | Type 2 full wrap around architraves. | Pattern Linen Grade 441 Stainless Steel to architect’s approval. | Yes |  | Yes
11 |  |  | Traction Motor Drive Systems
11.1 | 6.22.2 |  | Motor |  | Gearless |  | Gearless
11.2 | 6.22.2 |  | Drive VVVF |  | Yes |  | Yes
11.3 | 6.18.2 | 6.83 | Rope Data Plate | To be displayed at on the cross head of the traction lift or on the pulley frame. | Yes |  | Yes
11.4 | 6.4.2 | 6.24 | Acceleration, Decelaration | Should not exceed 0.6m/s². The rate of change should not exceed 1.0m/s². | Standard |  | Standard
11.5 | 6.19.2.2 | 6.126 | Car & CWT Guiding shoes | Sliding shoes for car and counterweight. | Yes |  | Yes
11.6 |  |  | Guiding | No Ruck Sack guided lifts accepted. | Yes |  | Yes
12 |  |  | Control
12.1 | 6.22.4.7 |  | Trip counter | Non Resettable | Yes |  | Yes
12.2 | 6.22.4.9, 6.22.4.10 | 6.148 | Full collective | N/A | Yes |  | Yes
12.3 | 6.22.4.10 | 6.149 | Group control | N/A | Yes |  | Yes
12.4 | 6.22.4.2 | 6.160 | Special Tools | Hardware or Software tools to maintain lift will remain property of the client and should be left with the equipment. | Yes |  | Yes
12.5 | 6.23.1 |  | BMS | Common fault contact only wired between BMS and lift control panel. | Yes |  | Yes
12.6 |  |  | EN 81-73 Fire alarm recall | Fire alarm recall & alternative landing recall as per EN 81-73 and in line with the facility fire stratergy. Interface with Aspiration unit. | Yes |  | Yes
14 |  |  | Health & Safety
14.1 | 6.11.1 |  | Alarm bell min 78dB(A) |  | Yes |  | Yes
14.2 | 6.22.5.7 |  | Induction Loop | Induction Loop and signage in the lift car indicating Induction Loop present. | Yes |  | Yes
14.3 | 6.11 | 6.142 | Auto Dialler EN81-28 Telephone communication system. During the warranty period, the lift contractor shall include for the cost incurred for the provision of a mobile telephone service provider contract including supply and contract of the SIM card for the GSM unit. | Micome Open protocol with SIM. Ability to dial-in to HSE monitoring station if required. The contractor shall also ensure that the GSM unit maintains adequate and reliable signal coverage at all times for its intended operation, and shall take all necessary measures, including the provision of signal boosters or alternative solutions, to achieve and maintain this requirement. | Yes |  | Yes
14.4 | 6.22.4.4 |  | Levelling Accuracy | the | Yes |  | Yes
14.5 | 6.10.4 | 6.131 | Cabin Light levels | >100 lux | Yes |  | Yes
14.6 | 2.17.2 |  | Labels and Safety Warnings | Full signage pack for all areas of lift. | Yes |  | Yes
14.7 | 6.9.1 | 6.133 | Emergency Lighting in cabin | >3 hours full ceiling lights and a key operated test switch should be provided in the COP. | Yes |  | Yes
14.8 | 6.13.1 |  | Shaft Facias | Mechanical door locks provided | Yes |  | Yes
14.9 | 6.9.2, 6.9.3 |  | Battery Drive Back-Up | In case of power outage the lift will travel to the nearest landing and releases any passengers. If there is a conflict with Lift Emergency back up battery drive and Hospital generator secondary power supply then surge protection will be required to protect the Lif from electrical spikes. | Yes |  | Yes
14.10 | 4.3 |  | Maintenance/Landing barriers | 1 No. Set/Lift | Yes |  | Yes
15 |  |  | General
15.1 | 3 |  | Documentation | Electronic and paper format and a full hard copy of manual inclusive of Declaration of Conformity of lift and safety components, electrical drawings, shaft lay-out drawings, maintenance manuals inclusive of all components, log book, etc. to be left in a suitable hard binder in a document holder on top of the lift car. | Yes |  | Yes
15.2 | 3.1.2 |  | Upload of Electronic Documentation | Upload to HSE West digital Maintenance library system | Yes |  | Yes
15.3 | 2.19.5 |  | Certification by independent ISO 17020 certified competent person (assesment body) | S, H & W at Work (General Application Regulations 2007 art. 30, 52 & 53. Thorough Examination (GA1 to be issued) | Yes |  | Yes
15.4 | 7.1 | 3.16 - 3.19 | Staff Training requirements | Daily safety checks and training for appointed staff | Yes |  | Yes
15.5 | 7.4 | 3.19 | Lift Release Warden Training | Lift contractor to provide suitable training to appointed Staff for Emergency Release via in-house training or qualified Sub-contractor. | Yes |  | Yes
15.6 |  |  | Defects Liability Period | 24 Months - Fully Comprehensive. | Yes |  | Yes
15.7 |  |  | Maintenance During Defects Liability Period | 12 visits per year- 1 per month. | Yes |  | Yes
15.8 |  |  | Opening day attendance | 1 person for lifts - 12 Hours | Yes |  | Yes
15.9 |  |  | Site inspection 2 weeks before equipment due on site. RAMS to be submitted 2 weeks before scheduled start. | By lift contractor | Yes |  | Yes
15.10 |  |  | Supply, deliver & test lifting beam/eyes. | Supply, deliver & test lifting beam/eyes. | Yes |  | Yes
15.11 |  |  | Shaft Lighting/Emergency Lighting and Power sockets | Shaft Lighting to be supplied by Lift contractor as part of the lift install as per the requirements of EN81-20 | Yes |  | Yes
15.12 | 6.29 |  | Supply and Installation of Aspiration units | Lift contractor to supply, install, test ans commision the aspiration unit. Including running the cables and connecting to the dedicated fire management panels. | Yes |  | Yes
15.13 |  |  | Painting of Shaft walls and ceiling | To be painted (White paint) | Yes |  | Yes
15.14 |  |  | Paint and Seal Pit | Paint the pit floor with oil resistant paint - non slip. 2 coats. | Yes |  | Yes
15.15 |  |  | Door Clearances | Door clearances to be set at 4 mm in the open and closed positions between panels and door jambs. | Yes |  | Yes
16 |  |  | Removal of Existing Lift
16.1 |  |  | Removal of Exisiting Lift(s) & Associated Equipment | Disposal in accordance with National Regulatioins and by a Certified and Lift trained Contractor | Yes |  | Yes
18 |  |  | Security
18.1 |  |  | CCTV cable | Cabling from Control panel to Lift Car CAT 7 | Yes |  | Yes
Base Price of Lift
General / Removal Lifts / Builder Works
21.1 |  |  | Compound & Security | Compound Area provided by CUH unless previously agreed. | Yes |  | Yes
21.2 |  |  | Main Isolator | If applicable to be replaced with a lockable main isolator. LC to confirm max ratings of MCBs required. | Yes |  | Yes
21.3 | 2.3 |  | Hoarding: Dust Proof - HSE Requirements - see 2.3 for full spec. Sound Proof. Fire Proof. 15 mm pink fire board on each side of horading. Corriboard outer skin | Solid & Dust proof upto 2400 mm height, lockable from the outside with a thumb lock on the inside. LC to provide the internal hoarding dimensions required. Zip lock dust proof door. | Yes |  | Yes
|  |  | Floor Protection - inside hoarding and transport routes inside the hospital. | Lift Contractor | Yes |  | Yes
21.4 |  |  | Motor room |  | Yes |  | Yes
|  |  | Remove All old equipment off site and dispose of enviromentally. | Lift Contractor | Yes |  | Yes
|  |  | Remove concrete, builders debris off site. | Lift Contractor | Yes |  | Yes
|  |  | Blank off rope holes to Motor Room |  | Yes |  | Yes
|  |  | Cut out door openings. Landing doors to be scoped if they can be positioned on the landing. To be surveyed by the lift contractor. Doors to be fireproofed as per the facility requirements. If Metal lintels are used they need to be fireproofed as per the facility requirements. | Lift Contractor & Structural Engineer to identify if this is possible so the lift car size can be maximised. | Yes |  | Yes
|  |  | Removal of concrete near the landing doors opening to allow the doors to open fully at the landings. | To be surveyed by the lift contractor. | Yes |  | Yes
|  |  | Fire proofing - Any existing exposed metal protruding from any concrete structure in the lift shaft or machine room such as lintels, ring beams, headers, or sills must be appropriately fireproofed to the same rating as the facility/building fire strategy requirements. Any exposed metal from builders works must also be fire proofed to the same fire rating as the facility requirements. Structural Engineer to advise on appropriate action. |  | Yes |  | Yes
|  |  | Asbestos in the lift shaft, landings or machine rooms – Survey Reports to follow, any requirents to remove detected asbestos will be conducted using Specialist Asbestos Handling Contractors. |  | No |  | No
21.5 |  |  | Any Other Requirements | LC to indentify any other requirements to facilitate the removal of old equipment and installation of new lift equipment | Yes |  | Yes
21.6 |  |  | Supply, Install & test lifting beam/eyes. | Lift Contractor | Yes |  | Yes
|  |  | Paint Lift Shaft - 2 coats white | Lift Contractor | Yes |  | Yes
21.7 |  |  | Paint the pit floor with oil resistant paint - non slip X 2 coats | Lift Contractor | Yes |  | Yes
|  |  | Mark Out with Permanent marking, Refuge space on pit floor and on top of the lift car. | Lift Contractor | Yes |  | Yes
21.8 | 6.32 |  | Aspiration Unit - Supply, Installation, Intergration and , Commisioning back to the fire alarm control panel - Aspiration units in the lift shaft cables and connections. | Lift Contractor | Yes |  | Yes
21.9 | 6.10.5 |  | Landing Lighting - ensure landing lighting is compliant. | Lift Contractor | Yes |  | Yes
22 | 6.12.2 |  | Motor room Ventilation |  | Yes |  | Yes
23 | 6.13.2 |  | Shaft ventilation | Lift Contractor | Yes |  | Yes
26 | 6.14.3 |  | Electrical Conduit and Trunking. All electrical cables must be ran in conduit, trunking or fixed to cable tray. Including power supply. | Lift Contractor | Yes |  | Yes
|  |  |  | Builders works costs | For Pathology Lift | € | For Radiotherapy Lift | €
Total (Base Price + Works)
Options
20. |  |  | Architraves
20.1 |  |  | Type 2 boxed | Asturias Satin Grade 441 Stainless Steel to architect’s approval | Yes |  | Yes
21 |  |  | Cabin signals and operating features options
21.1 |  |  | Security Key pad |  | N/A |  | N/A
22 |  |  | Landing signals and operating features
22.1 |  |  | Security Key pad |  | N/A |  | N/A
23 |  |  | General
23.1 |  |  | Cost for additional floor 3600mm
23.2 |  |  | Cost deviation +500mm travel | Cost per 500mm deviation
23.3 |  |  | Cost saving per -500mm travel | Cost per 500mm deviation
23.4 |  |  | Cost for through opening lift cabin |  | N/A |  | N/A
23.5 |  |  | Stand-by normal working days | Price per 12 hour day
23.6 |  |  | Weekend Standby - Day rate
23.7 |  |  | Provision and installation of Shaft division screen |  | N/A |  | N/A
24. |  |  | Maintenance - TO INCLUDE FOR LOCAL & NATIONAL REQUIREMENTS
24.1 |  |  | Cost of a Full-comprehensive maintenance agreement based on minimum of 6 visits after defects liability period | 1- year
3- Years
24.2 |  |  | Cost of a semi-comprehensive maintenance agreement based on a minimum of 6 visits. After defects liability period | 1-Year
3-Years
24.3 |  |  | Cost of a basic maintenance agreement based on a minimum of 6 visits. After defects liability period. | 1-Year
3-Years
25 |  |  | Information requirements
25.1 |  |  | Mininum headroom achievable | mm | TBC |  | TBC
25.2 |  |  | Minnimum Pit depth achievable | mm | TBC |  | TBC
25.3 |  |  | Minimum Pit depth achievable with counter weight safety gear. | mm
25.4 |  |  | Standard Headroom | mm | TBC |  | TBC
25.5 |  |  | Shaft width | mm | TBC |  | TBC
25.6 |  |  | Shaft depth | mm | TBC |  | TBC
25.7 |  |  | Pit depth | mm | TBC |  | TBC
25.8 |  |  | Structural door opening height | mm | TBC |  | TBC
25.9 |  |  | Structural door opening width | mm | TBC |  | TBC
25.10 |  |  | Door opening off set from centre line shaft | mm | TBC |  | TBC
25.11 |  |  | Shaft ventilation requirements if required | Percentage of sq. area of shaft | TBC |  | TBC

## 10 Delivery Schedule
11 Delivery Schedule
The Lift Contractor is requested to complete the information below. As this is a fast track project, delivery times are a crucial factor for the assessment and appointement of the successful contractor. The delivery of the overal project will based on this information and contractors are advised that the information contained herein can be incorporated in the overall delivery date for this project.
From Date of Order or Instruction: | Weeks
| Lift 1 | Lift 2
Production of Drawings for Review
Manufacturing of Equipment
Transport & Delivery to Site
Removal of Existing Equipment
Installation of new Equipment
Testing & Commisioning
Total | 0 | 0

## 11 Design Life Span & Obsolence
8 | Declaration of Design Life Span and obselence of Equipment offered with this tender
We hereby Declare that:
The equipment and parts offered with this tender are designed for a life span of 20 years and for the passenger lifts based on a minimum of 300.000 starts per annum.
Parts will be retained for a period of ten (10) years after 20 years or if production of this equipment or parts is stopped past the 20-year period.
Signed:
Date: