## Technical Response Requirements
AMD GPU-Accelerated HPC-AI Server
B. Technical Specification Criteria
Item | Minimum Requirement | Technical Specification of your proposed Server
Server type | Rack-mounted enterprise GPU server suitable for sustained HPC, AI, machine learning, and research workloads | Suppliers insert Response details here
Quantity | 1 | Suppliers insert Response details here
Processor architecture | AMD EPYC-based server architecture | Suppliers insert Response details here
CPU configuration | Dual-socket AMD EPYC configuration preferred | Suppliers insert Response details here
Processor core count | Minimum 32 cores per CPU, or equivalent/better configuration | Suppliers insert Response details here
Memory | Minimum 256GB DDR5 ECC RAM, expandable; 512GB preferred if achievable within budget | Suppliers insert Response details here
GPU accelerators | Minimum 2 × AMD Instinct GPU accelerators suitable for ROCm/HPC-AI workloads | Suppliers insert Response details here
Preferred GPU class | AMD Instinct MI350P PCIe 144GB or equivalent/better AMD Instinct-series accelerator | Suppliers insert Response details here
GPU memory | Minimum 144GB GPU memory per accelerator | Suppliers insert Response details here
GPU form factor | PCIe data-centre GPU form factor or validated equivalent server-supported form factor | Suppliers insert Response details here
Local boot storage | Redundant M.2/NVMe boot storage preferred, configured for RAID1 or equivalent resilience | Suppliers insert Response details here
Local data storage | Minimum 960GB SSD local storage; NVMe preferred where possible | Suppliers insert Response details here
Storage controller | Enterprise storage controller suitable for supplied storage configuration | Suppliers insert Response details here
Networking | Minimum dual-port 100Gb Ethernet adapter, QSFP28/QSFP56 or equivalent, compatible with existing 100Gb Ethernet switch infrastructure | Suppliers insert Response details here
Additional networking | Additional 25GbE or management networking acceptable where provided | Suppliers insert Response details here
PCIe support | PCIe Gen5 support for GPU and network adapters preferred | Suppliers insert Response details here
Power supplies | Dual redundant hot-plug power supplies suitable for GPU workloads | Suppliers insert Response details here
Cooling | Cooling configuration validated for sustained operation of high-power data-centre GPUs | Suppliers insert Response details here
Rack mounting | Rack rails and required mounting accessories to be included | Suppliers insert Response details here
Remote management | Enterprise remote management capability such as iDRAC/iLO/IPMI or equivalent | Suppliers insert Response details here
Operating system | No operating system required, or Linux-compatible configuration | Suppliers insert Response details here
Software compatibility | Must support Linux-based HPC environments, ROCm-compatible workloads, Slurm/OpenCHAMI integration, and containerised research workloads | Suppliers insert Response details here
Power compatibility | Supplier must confirm required power input, plug type, and compatibility with a data-centre rack PDU environment | Suppliers insert Response details here
Cables/accessories | All necessary power cables, GPU cables, rack rails, and accessories required for operation must be included | Suppliers insert Response details here
Warranty/support | Minimum 3-year warranty/support required; 5-year support option desirable | Suppliers insert Response details here
C. Required Server Configuration Summary |  |  | Supplier Response
Tenderers should propose an AMD EPYC-based GPU-accelerated HPC-AI server that meets or exceeds the following baseline specification:
• 1 × rack-mounted AMD EPYC GPU server |  |  | Suppliers insert Response details here
• 2 × AMD EPYC processors, minimum 32 cores per processor or equivalent |  |  | Suppliers insert Response details here
• Minimum 256GB DDR5 ECC RAM, expandable to 512GB or higher |  |  | Suppliers insert Response details here
• Minimum 2 × AMD Instinct data-centre GPUs, preferably MI350P PCIe 144GB or equivalent/better |  |  | Suppliers insert Response details here
• Dual-port 100Gb Ethernet connectivity compatible with existing 100GbE QSFP28 switch infrastructure |  |  | Suppliers insert Response details here
• Redundant boot storage, preferably M.2/NVMe RAID1 |  |  | Suppliers insert Response details here
• Local SSD/NVMe storage for OS and workload staging |  |  | Suppliers insert Response details here
• Dual redundant power supplies |  |  | Suppliers insert Response details here
• Rack rails and required cables included |  |  | Suppliers insert Response details here
• Linux and ROCm compatibility |  |  | Suppliers insert Response details here
• Suitable for sustained HPC-AI research workloads |  |  | Suppliers insert Response details here
*Vendors may propose equivalent or higher specifications, provided the proposed system is fully compatible with the existing HPC Nexus Lab infrastructure and remains within the available budget.
D. Warranty & Support |  |  | Supplier Response
Tenderers must provide full details of the warranty and support services included with the proposed equipment. This should include the warranty period, fault reporting process, response times, repair/replacement process, and any actions required by TU Dublin to avail of the service. This aligns with the warranty information requested in the tender template. |  |  | Suppliers insert Response details here
Tenderers should provide pricing/support details for: |  |  | Suppliers insert Response details here
• 3-year warranty/support term |  |  | Suppliers insert Response details here
• 5-year warranty/support term, where available |  |  | Suppliers insert Response details here
Support should preferably include next-business-day or equivalent enterprise support suitable for academic research infrastructure. |  |  | Suppliers insert Response details here
E. Installation & Lead Time |  |  | Supplier Response
Delivery MUST include all Shipping Charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. |  |  | Suppliers insert Response details here
Tenderers MUST give details of lead time for delivery, installation, commissioning (if required), and training from the date the Purchase Order is received (In weeks). Please confirm and detail |  |  | Suppliers insert Response details here
The installation of all electrical items MUST be in accordance with but not limited to European standards/ regulations and all relevant amendments. |  |  | Suppliers insert Response details here
The Equipmne t MUST be installed (if required) and commissioned in a location defined by the Contracting Authority, by an appropriately qualified engineer. |  |  | Suppliers insert Response details here
F. Sustainability |  |  | Supplier Response
Tenderers MUST state the energy rating of the proposed system; the heat level generated and the range of environmental conditions in which it will operate and the energy consumption per hour. The system SHOULD ideally have low running costs allowing the equipment to be as energy and economically efficient as possible. |  |  | Suppliers Insert Response Details Here
Tenderers SHOULD make all reasonable efforts to minimise adverse environmental impact in the methods of services delivery and in materials used. What actions have you taken to reduce your impact on the environment? Please confirm and detail. |  |  | Suppliers Insert Response Details Here
Declaration
This form must be completed and signed by an authorised officer of the tenderer’s organisation.
· This offer will remain open for acceptance by you for a period of 6months from the date of deadline for submission of tenders.
· I/We acknowledge that you are not obliged to accept the lowest or any offer.
· I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.
· I/We undertake to maintain full confidentiality with regard to all aspects of this tender process
Signed: |  | Position:
Print Name: |  | Phone No:
Company Name: |  | Date:
Address:
Email:

## Pricing
AMD GPU-Accelerated HPC-AI Server
AMD GPU-Accelerated HPC-AI Server- reference Technical Response Requirements
Description | Price in Euro Ex VAT | VAT Rate | Notes
Tendered Package Price for AMD GPU-Accelerated HPC-AI Server outlined in the Technical Specification. (see tab 1) (ex Vat) | 0
Delivery Cost if not already included (to include shipping & any applicable shipping insurance and custom duties etc as outlined in DDP Incoterms) | 0
Installation, Commissioning & Calibration Cost if not already included in the overall price | 0
Support & Warranty for up to 3 years(hardware, labour, call outs, Travel and parts) (if not already included) | 0
Support & Warrantyfor up to 5 years (hardware, labour, call outs, Travel and parts) (if not already included) | 0
Total Purchase Cost (Capital Cost) (ex. VAT) | 0
Additional Information Requested |  |  | Notes
HS Code (Harmonized System Code) Please include in notes field.
Equipment Country of Origin. Please include in notes field.
Overall Total Cost (Excl. VAT)
Print Name: |  |  | Position:
Company Name: |  |  | Phone No:
Address: |  |  | Email:
Date:
Signed: