Appendix 5

Medical Gas & Pipeline Systems (Kerry County)

Pricing Schedule

| Unit | Item |  | Yearly Cost€ |
| --- | --- | --- | --- |
| 1 | Quarterly Service of all Medical Gas Plant/Equipment as per schedule of plant to include but not limited to Gas Manifolds , interconnecting pipework , Outlet assemblies, outlet flow pressure, mechanical function, fault simulation, leak detection. Alarm function parameter checks, pressure holding checks, repeater panels, reviewing of log change in relation to Oxygen Cylinders, hose connections etc |  | € |
| 2 | 1 No -Emergency Call –Out service , Normal working hrs to repair and maintenance service for the equipment/plant with the aim of restoring same function asap after notification by HSE of malfunction or breakdown | Hourly Rate ( to be inclusive of all charges incl travel time) | € |
| 3 | 1 No-Emergency Call –Out service for week day after hours and weekend rate calls for Saturday, Sunday and Public Holidays | Hourly Rate ( to be inclusive of all charges incl travel time) | € |
| 4 | Annual allowance –Undertaking the role of PSCS |  | € |
| 5 | Annual allowance - Undertaking the role of PSDP |  | € |
| 6 | Annual On-Call Allowance for 2 hour response (24/7/365) |  | € |
|  | Total Sum of 1+2 +3+4+5+6 |  | € |