## Deer Lodge
Schedule of Equipment -Deer Lodge Killarney
DESCRIPTION | QTY. | LOCATION | MAKE/MODEL/YEAR
AVSU (O2 & Vac) | 2 | Ward A | 2017
AVSU (O2 & Vac) | 2 | Ward Block B | 2017
AVSU (O2 & Vac) | 2 | Ward Block C | 2017
AVSU (O2 & Vac) | 2 | Treatment & Therapy | 2017
AVSU TOTAL | 8
Central Alarm Panel (O2 & Vac) | 1 | Plant Items - Main recept. | Shires SDX-15
Central Alarm Panel Total | 1
Area Alarm Panel (O2 & Vac) | 1 | Entrance to Ward Block A | SAX-6
Area Alarm Panel (O2 & Vac) | 1 | Ward Block A Nurse Station | SAX-6
Area Alarm Panel (O2 & Vac) | 1 | Ward Block B Entrance | SAX-6
Area Alarm Panel (O2 & Vac) | 1 | Ward Block B Nurse station | SAX-6
Area Alarm Panel (O2 & Vac) | 1 | Ward Block C Entrance | SAX-6
Area Alarm Panel (O2 & Vac) | 1 | Ward Block C Nurse Station | SAX-6
Area Alarm Panel (O2 & Vac) | 1 | Treatment & Therapy | SAX-6
Area Alarm Panel (O2 & Vac) | 1 | Ward Block D | SAX-6
Area Alarm Panel Total | 8
Manifold (Oxygen) | 1 | Manifold room | Auto 500SP-E, Penlon, 2011
Manifold TOTAL | 1
ESM Manifold (Oxygen) | 1 | Manifold room | Pneumatech, 2011
Manifold TOTAL | 1
Medical Vacuum Plant Vessel | 1 | Vacuum Plantroom | Penlon (Serial: GEF15783)
Medical Vacuum Plant Vessels TOTAL | 1
Medical Vac Plant Pumps (140015980) | 1 | Vacuum Plantroom | (Busch) RA0040F503, 2014
Medical Vac Plant Pumps (140024625) | 1 | Vacuum Plantroom | (Busch) RA0040F503, 2014
Medical Vac Plant Pumps (1140007371) | 1 | Vacuum Plantroom | (Busch) RA0040F503, 2014
Vac Plant Pumps TOTAL | 3
Terminal Units (O2 &Vac) | 20 | Ward A | Penlon SP
Terminal Units (O2 &Vac) | 20 | Ward Block B | Penlon SP
Terminal Units (O2 &Vac) | 2 | Ward Block C | Penlon SP
Terminal Units (O2 &Vac) | 8 | Treatment & Therapy | Penlon SP
Terminal Units TOTAL | 50
Notes: | Alarm not in use in block D, no outlets on this AVSU.