## Dingle
Schedule of Equipment-Dingle Community Hospital
DESCRIPTION | QTY. | LOCATION | MAKE/MODEL/YEAR
Area Alarm Panel | 1 | Module 1 | SAX-6
Area Alarm Panel | 1 | Module 2 | SAX-6
Area Alarm Panel | 1 | Module 3 | SAX-6
Area Alarm Panel | 1 | Mental Health | SAX-6
Area Alarm Panel | 1 | Primary Care | SAX-6
Area Alarm Panel Total | 5
Central Alarm Panel | 1 | Plant Items | SDX 15
Central Alarm Panel Total | 1
AVSU | 1 | Module 1 | Zeus
AVSU | 1 | Module2 | Zeus
AVSU | 1 | Module3 | Zeus
AVSU | 2 | Primary Care/Mental Care | Zeus
AVSU TOTAL | 5
Manifold - Oxygen | 1 | Manifold Room | Penlon
Manifold TOTAL | 1
ESM Manifold - Oxygen | 1 | Manifold Room | Penlon
Emergency Supply Manifold TOTAL | 1
Terminal Units | 15 | Module 1 | Zeus
Terminal Units | 16 | Module 2 | Zeus
Terminal Units | 17 | Module 3 | Zeus
Terminal Units | 2 | Primary Care/Mental Care | Zeus
Terminal Units TOTAL | 50
Notes: