## Listowel
Schedule of Equipment Listowel CH
DESCRIPTION | QTY. | LOCATION | MAKE/MODEL/YEAR
Central Alarm Panel (O2) | 1 | Nurse station | SHIRE SDX 15
Area Alarm Panel TOTAL | 1
AVSU (O2) | 1 | Corridor | EH
AVSU TOTAL | 1
Manifold (O2) | 1 | Manifold Room | Pneumat. Auto 2x4, 2020
Manifold TOTAL | 1
ESM Manifold (O2) | 1 | Manifold Room | Pneumatech, 2020
Emergency Supply Manifold TOTAL | 1
Terminal Units (O2) | 17 | Various | EH/G10
Terminal Units TOTAL | 17
Notes: | 2x4 02 manifold and 2x1 02 esm fitted 18/9/2020
No area alarm panel