## Tralee CNU
Schedule of Equipment Tralee CNU-Lot1
DESCRIPTION | QTY. | LOCATION | MAKE/MODEL/YEAR
Area Alarm Panel (O2, Vac) | 1 | Dinish Ward | Shires SAX-6
Area Alarm Panel (O2, Vac) | 1 | Loher Ward | Shires SAX-6
Area Alarm Panel Total | 2
Central Alarm Panel (O2, Vac) | 1 | Loher Ward, Plant Items | Shires, SDX-15
Central Alarm Panel Total | 1
AVSU (O2, Vac) | 2 | Dinish Ward | 2 Gas
AVSU (O2, Vac) | 2 | Loher Ward | 2 Gas
AVSU TOTAL | 4
Manifold - Oxygen | 1 | Manifold Room | Penlon, 2009
ESM Manifold - Oxygen | 1 | Manifold Room | Penlon, 2009
Manifold TOTAL | 2
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.1 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.2 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.3 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.4 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.5, B1 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.5, B2 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.5, B3 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.5, B4 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.7 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.7 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.7 B3 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.7 B4 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.8 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.8 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.8 B3 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.8 B4 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.9 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.9 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.10 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.10 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.11 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.11 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.12 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.13 | Penlon
Terminal Units (O2, Vac) | 2 | Dinish Ward Rm. 1.14 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.1 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.2 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.3 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.4 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.5 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.6 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.6 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.7 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.7 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.7 B3 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.7 B4 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.8 Gym 1 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.8 Gym 2 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.9 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.9 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.9 B3 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.9 B4 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.10 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.10 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.11 B1 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.11 B2 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.12 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.13 | Penlon
Terminal Units (O2, Vac) | 2 | Loher Ward Rm. 2.14 | Penlon
Terminal Units TOTAL | 98
Medical Vacuum Plant Vessel | 1 | Plantroom | Penlon, Serial: 28431
Medical Vacuum Plant Vessel Total | 1
Medical Vacuum Pumps (Serial: 2157508) | 1 | Plantroom | Penlon (Busch)U4.20, 2009
Medical Vacuum Pumps (Serial: 2123718) | 1 | Plantroom | Penlon (Busch)U4.20, 2009
Medical Vacuum Pumps Total | 2
Notes: | All Oxygen O-ring kits changed in Loher ward. - 09.12.20