SOCIAL HOUSING REMEDIATION PROJECT

DESIGNER’S RISK ASSESSMENT (DRA) RECORD

| Project Name: | Minor Temporary Building Works to 26 dwellings spread across three estates in Buncrana - namely the Dun na nlarlai, Pairc Mor and Sliabh Sneachta estates. |
| --- | --- |
| Client: | Donegal County Council – Inishowen MD |
| PSCS: | Donegal County Council |
| Design Team: | Social Housing Remediation Team |
| Project Type: | Blockwork removal and replacement work with replastering. |
| Project Description: | To remove and replace several corners and gables within a list of 26 dwellings in the Dun na nlarlai, Pairc Mor and Sliabh Sneachta estates. These external block walls are to be replaced like-for-like. The corners of each gable (not receiving works) must be replaced for 0.9m into the front/back elevations and the gable elevation. This allowance of 0.9m is to be used to tie into existing blockwork on the front/back elevations and the gables elevation. All new blockworks will receive a new smooth render or dash to match the remainder of each property. On completion, all property gutters/fascia/soffits are to be reinstalled. |
| Date of Review: | 26/06/2026 |
| Reviewed by: | Eamonn Mahon |

Outline any Risks identified during the design process that have been mitigated in the design: No unusual risks were noted during the design stage. *Note: The design is limited to replacing the critically damaged corners and gables of domestic dwellings. Once work starts, risks associated with the existing dwelling gables are beyond the scope of the brief and have not been considered within this design.

Outline any Risks identified during the design process that should be communicated to the PSDP/ PSCS for consideration during Construction: Risks associated with demolishing gables Risks associated with lifting rubble and new blockwork Risks associated with working near live traffic Risks associated with working at height Risks associated with managing the existing services on-site Risks associated with public access to the site Risk associated with Tenants occupying the dwelling during works *Note: The design is limited to replacing the critically damaged corners and gables of domestic dwellings. Once work starts, risks associated with the existing dwelling gables are beyond the scope of the brief and have not been considered within this design.

Outline any Risks identified during the design process that should be communicated to the PSDP for inclusion in the Safety File and for consideration during future maintenance: The placement of services within the structure Any temporary works incorporated into the final construction Any alterations to the proposed works

In preparing this DRA, it is assumed that the project would be constructed and maintained by personnel whose work of this type is not unusual. They are expected to be familiar with the normal risks associated with this work and to have established appropriate Safe Systems of Work Plans, Risk Assessments, and Method Statements to manage these risks adequately. This DRA Report has been prepared to document significant and unusual risks associated with the project, which the Designers identified during the design process. Where it has not been possible to eliminate identified risks entirely, details have been provided to enable the PSDP and construction/maintenance personnel to develop appropriate control measures for use during construction/maintenance.

Eamonn Mahon,

Senior Executive Engineer,

On Behalf of Donegal County Council

29/06/2026

DESIGNERS RISK ASSESSMENT RECORD FORM

GUIDANCE NOTES

BACKGROUND

The Designer’s Risk Assessment is intended to be completed by designers at key stages of the design process to document any unusual or significant risks encountered that may be mitigated by following the General Principles of Prevention.  The sheet can also be used to record any other unusual risk encountered which cannot be mitigated or eliminated in the design process, to ensure these risks are forwarded to the Preliminary Safety & Health Plan and communicated to the PSDP / PSCS for consideration at the construction stage and/or for inclusion in the Safety File.

For major projects requiring a formal Designer's Risk Assessment Report in accordance with the NRA Project Management Guidelines, these DRA’s will inform this report.

DRAs should be completed at key stages, such as the initial assessment, preliminary design, and design approval.  They should be retained in the design file or in a specific Design Stage Safety & Health File if one is maintained.

NOTES ON COMPLETING THE FORM

Project Name, Client, PSCS

Self-explanatory.  Record team members involved in the design.  For small projects, this may be only one person.

The review may be carried out by design team members or by design team members in conjunction with the design team manager at an informal meeting.  The persons involved in each review should be noted on the form.

Project Description

This should be a brief description, e.g.

- Installation of New Road Sign(s) involving Traffic Management, Minor Excavation, Sign Erection

- Construction of a traffic calming scheme involving Traffic Management, Minor Excavation, sign erection, road markings, and public lighting

Risks Identified and Mitigated during Design

This should list any unusual risks identified during the design process that have been mitigated in the final design. Where no unusual risks have been identified, state ‘No unusual risks noted during the design stage’.

Examples of issues which may be considered by a designer may include:
1) Designing a pavement overlay on a narrow road.  The construction risks can be mitigated by ensuring that, at the design stage, a suitable diversion route is available to implement a road closure.  If a suitable diversion is unavailable, the designer may need to consider an alternative design that can be constructed without a road closure.
2) If maintenance operations will need to be carried out on a very high roof, this risk may be mitigated by designing in a rail to attach a harness.

Risks identified that need to be communicated to the PSDP & PSCS for consideration during construction

This should list any unusual risks identified during the design process that have not been fully mitigated in the final design and are considered important for the PSCS to be aware of. Where no unusual risks have been identified, state ‘No unusual risks noted during the design stage’.

Examples may include:
1) Construction of a post and rail fence presents a normal risk which an experienced contractor is expected to be able to foresee. Construction of a post-and-rail fence in close proximity to a body of water may need to be highlighted during both the maintenance and construction phases.
2) Demolition of a building may present ‘normal’ risks.  Demolition of a building containing asbestos may be considered an unusual risk.

Risks identified that need to be communicated to the PSDP for inclusion in the safety file

This should list any unusual risks identified during the design process that have not been fully mitigated in the final design and are considered important to include in the Safety File to inform future maintenance operations. Where no unusual risks have been identified, state ‘No unusual risks noted during the design stage’.

General Principles of Prevention – should be considered when assessing risk elimination at the design stage.

- Avoid risks.

- Evaluate unavoidable risks.

- Combat risks at source.

- Adapt work to the individual, especially the design of places of work

- Adapt the place of work to technical progress.

- Replace dangerous articles, substances, or systems of work with non-dangerous or less dangerous articles, substances, or systems

- Use collective protective measures over individual measures

- Develop an adequate prevention policy

- Give appropriate training and instruction to employees.