## Pricing Document
Peaceplus Community Regeneration & Transformation
County Cavan Rugby Football Club
26-039
4. SCHEDULE OF WORKS & PRICING DOCUMENT
| Columns | Quantity | Rate | Total | Comments
|  | lin M/SqM/CuM | € | €
This is not a Bill of Quantities. It is a Pricing document designed to assist with the preparation of tenders for the above extension. It is not an exhaustive document and the contractor is responsible for pricing all items in full based on the drawings, specification and schedule of works including items implied or that can be reasonably inferred from the drawings regardless of whether or not they are identified in this document. Blank fields are to be used for other costs as considered necessary by the contractor based on the drawings, documents and site visit.
This written description of the works should be read in conjunction with the drawings and specification. In the event of any discrepancy between the drawings and the schedule, the schedule shall take precedence.
Indicative areas and dimensions are given on the drawings. Contractor must satisfy himself with regard to areas and all site dimensions.
Where manufacturers are referred to the works shall comply with their particular instructions and recommendations. References to trade names are for information and equal, approved products may be employed on the works if they are equal in performance and are approved by the client/architect.
The hospital will be occupied by the Clients throughout the works and phasing may be required subject to agreement.
The Contractor may make arrangements with third party landowners with respect to possible access routes to facilitate construction on site. These arrangements shall be the sole responsibility of the contractor and the client will not be party to any such agreement.
The contractor must allow for connecting to existing onsite services and all associated works.
All items must be priced to include: quantity, rate & total. The summary at the end must be completed in full. Any tender document which does not include rates and totals may be excluded as being invalid.
Contract. The form of contract is Public Works contract-CF6-v1.12. Contractors attention is drawn in particular to Clause 4 in respect of compensation events. It is in the Contractors interests to provide a comprehensive pricing schedule and rates in respect of such claims.
All materials must comply with Construction Product Regulations and have appropriate CE marking.
Ancillary Certs will be required for the trades or items summarised on the AC tab.
Insurances Provide for all necessary insurance to indemnify the client in respect of any and all claims that may arise as a consequence of the works, to include (non-exhaustive list) public liability, employer’s liability, contractors all risk and all and any other insurance as may be deemed necessary by the employer’s brokers in respect of these building works.
| Bond the contractor shall obtain a Performance Bond to the value of 25% if the contract value from a recognized bonding house and shall submit same for approval by Client before a contract is signed. The Bond shall remain in force to the end of the Defects Liability Period. | not required | not required | not required | not required | not required | not required | not required
Health & Safety
The contractor will comply with all aspects of current Health & Safety legislation and regulations.
The contractor shall include a sum for acting as PSCS as defined in the Health & Safety Regulations.
After works finish deep cleaning will be required and maintenance manuals to be passed on to PSDP.
After works finish, maintenance and cleaning schedule will be required to be implemented to adhere to Infection Control Guidelines. All works have to comply with Health and Safety Plan.
All necessary PPE shall be used . The Site Specific Health & Safety Plan must take account of the environment within which these works are to take place and make specific provisions for mitigating measures to protect patients and staff.
Temporary works
All temporary works and scaffold shall be designed by a suitable temporary works consultant with PI insurance and include all staging areas, ladder bays necessary to comply with current legislation and best practice.
Temporary protection
The building must be weathered by means of temporary works and the contractor shall be responsible for the integrity of any temporary coverings.
Existing Services
Isolate any electric wiring in the works area and make safe for the duration of the works.
Isolate existing fire detection and emergency lighting systems in the works area. Ensure that the systems remain fully operational outside the works area.
Install temporary electrical supply to facilitate the works with a meter in the contractor’s name.
Install temporary telephone line for site office purposes as may be deemed necessary by the contractor.
Allow for temporary fire detection and alarm in the works area for the duration of the works to be integrated into the existing addressable panel serving the entire building.
There are three aspects to these works:
1: Construct Temporary Decant building to house Gym equipment to be relocated.
2: Carry out works to modify gym to changing areas.
3: Install path as shown on the layout drawings.
1
Supply and install temporary building on concrete base, 150mm insulated slab on mon 300mm well compacted hardcore all to be in accordance with CE, EN and Current building standards.
2
Refer to detailed drawings
Break out new ope to form door and make good in all trades, include for PC concrete lintol to match those elsewhere (refer to photographs).
Block up exisitng door where shown to match surrounding construction.
Break out floor where indicated to form wastes from WCs and Showers etc
Construct partitions in metal stud in an approved system eg Siniat or Gypsum to achieve minimum 43db Rw
All walls in wc and shower areas to be finished with Whiterock or equivalent material to be approved by the architect.
All walls in changing and locker area to be finished in washable soft sheen emulsion paint finish.
Supply and install solid hardwood door frames where shown and install FD30 door leafs, as shown, paintgrade to be finished in colour ot be approved by the architect.
Include for moisture resistant MDF skirting throughout.
Include for hardwood bench seating fised to walls as shown in changing areas .
Supply and install sanitary ware, all to be DocM Compliant, refer to specification.
Supply and install 20 number Philips CL 550 LED light fittings to match new room layout, refer to drawing and all to be switched via PIR sensors.
Include for 2 number Nurse call and indicators one in each assistated wc.
Include for 4 number electic handdryers, Dyson airblade connected to exisitng power supply.
Include for emergency lighting and fire detection connected to existing system and to be in accordance with IS3217 and IS 3218. Commissioning certificates to be provided on completion,
Allow for the removal of the exisitng radiators and replacement with 7 number low level LST radiators, aluminium body, with TRVs all connected to existing heating system.
Allow for the removal of the exisitng radiators and replacement with 7 number low level LST radiators, aluminium body, with TRVs all connected to existing heating system.
Paint all walls ceilings and joinery on completion in accordance with the specification
Allow for 6 number 1200x600 vandal resistant mirrors.
the above to be supplied and installed.
Allow for 6 number 1600x 800 notice boards.
the above to be supplied and installed.
Allow for 20lin metres of Fire Stopping to be directed by the architect. This shall comprise 50mm coated batt, nullifire promat or similar.
3
Refer to layout drawings
Form new path where indicated, Hoggin surface per detail or similar approved,
Supply and install 4 number benches as per detail
All samples to be approved by the Architect.
Clean up all on completion
it is a requirement of this tender that the followind rates are provided
1 | Take out and replace natural slate on high level roof (in tandem with the contracted rain water goods works). Cost per "new" salvage slate of matching size and girth. | item
2 | New heritage grade/profile aluminium gutter, supplied and installed, laid to falls and supported with all necessary brackets, connectors etc. Estimated quantity is 350lin metres | lin metre
3 | New heritage grade/profile aluminium downpipe, supplied and installed, and supported with all necessary brackets, connectors etc. Estimated quantity is 210lin metres. | lin metre
4 | New facia supplied and installed as described above. | lin metre
5 | New soffit supplied and installed as described above. | lin metre
6 | new surface water gully complete with concrete surround in apron | item
7 | 100 mm pvc surface water pipe connected from new gully above, to existing u/g surface water pipework, include saddle or similar connection. | lin metre