Appendix 1

TENDER RESPONSE DOCUMENT

SINGLE-PARTY FRAMEWORK AGREEMENT

UNDER THE OPEN PROCEDURE

| Title: | COSE1835.26 Supply, Delivery, Installation, & Maintenance of a wide-field microscope with a deconvolution system for University of Galway |
| --- | --- |
| University Ref: | COSE1835.26 |
| eTenders CfT Ref: | 8552380 |
| Organisation Name: | University of Galway |
| Contact Name: | via eTenders messaging function only |
| Contact Email: | via eTenders messaging function only |
| The closing date for tenders | 31 July 2026 12:00 |
| The closing date for Queries | 17 July 2026 12:00 |

NOTE: Tenderers must use the Tender Response Document and other documents provided by the Contracting Authority in preparing their response. The response documents must be uploaded in a Zip file on eTenders in order to protect the integrity of file names. Please include your company name in the title of each document.

- Contents

1	Instruction for Completion	1

2	Response to the Selection Criteria	2

2.1	General Information	2

2.2	Declarations	4

2.3	General Data Protection Regulations	7

2.4	Financial and Economic Standing	9

2.5	Previous Experience	11

2.6	Personnel and Skills	13

2.7	Technical Equipment and Resources	13

2.8	Quality Assurance Management System	14

2.9	Health & Safety Management System	15

2.10	Business Continuity Management	17

2.11	Environmental Management System	18

2.12	Supply Chain	18

3	Response to the Award Criteria	19

3.1	Form of Tender – Ultimate Cost (Criterion A)	19

3.2	Response to Qualitative Award Criteria	21

4	Confirmation Check	31

# Instruction for Completion

This document MUST be used for the submission of tenders.

Tenderers should ensure they have read the Request for Tender before they attempt to complete this Tender Response Document.

If you consider that the Tender Response Document is missing any information which would prevent you from preparing a comprehensive response, please contact the Contracting Authority as soon as possible.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.

Tenderers must follow the instructions contained in this document in relation to attachments, format for submission, etc.

Where tenderers are relying on other parties to meet the selection criteria and/or deliver elements of the requirements, those parties must be clearly identified and be available to deliver elements of the contract.

# Response to the Selection Criteria

## General Information

| Tenderer Summary |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass Requirement: Tenderers must complete this Section. |  |  |  |  |  |  |
| Organisation Name: |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |
| Telephone (Office): |  |  |  |  |  |  |
| Telephone (Mobile): |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |
| VAT Registration Number: |  |  |  |  |  |  |
| Date of Establishment: |  |  |  |  |  |  |
| Legal Status (Company, Sole Trader, etc.): |  |  |  |  |  |  |
| Is the Tenderer a Small and Medium Enterprise (SME)? |  | Yes |  |  | No |  |
| SMEs are enterprises which employ fewer than 250 persons and which have an annual turnover not exceeding €50 million, and/or an annual balance sheet total not exceeding €43 million |  |  |  |  |  |  |
| Is the tenderer a consortium / group of Economic Operators? |  | Yes |  |  | No |  |
| If yes, please provide the following information: |  |  |  |  |  |  |
| Name of Party to Tender | Proposed Role in Tender (e.g. meeting selection criteria and/or deliver elements of contract/framework) |  |  | Information provided on behalf of tendering party to meet selection (e.g. turnover, previous experience, personnel, etc.) |  |  |

| Use of Marketplace (Section 1.12 of CFT) |  |  |
| --- | --- | --- |
| Please outline if your organisation has systems in place such as own website portal to facilitate online ordering? | Yes | No |
| Do your online facilities provide real-time order information, e.g. product and price information, live stockholding and purchase order history for orders placed? |  |  |
| Please confirm and provide detail. |  |  |
| Enter detail here…. |  |  |
| Please outline whether your organisation can already provide, or are willing to provide, a static product catalogue or a direct punchout facility using the Advanced Marketplace portal? |  |  |
| Please confirm and provide detail. |  |  |
| Enter detail here…. |  |  |

  - Declarations

| Article 57 Declaration under Public Sector Directive 2014/24/EU |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass requirement: Tenderers must complete, sign and date this Declaration. The Contracting Authority reserves the right at its discretion to exclude a non-compliant tenderer under each heading. This must be completed by each group member. |  |  |  |  |  |
| Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |  |  |
| 1.1 | Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | Yes | No |  |
|  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |  |
| 1.1a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |  |  |
| 1.1b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |  |  |
| 1.1c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |  |  |
| 1.1d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  |  |  |  |
| 1.1e | the subject of a conviction for money laundering or terrorist financing; |  |  |  |  |
| 1.1f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  |  |  |  |
| 1.2 | Non-payment of taxes or social security obligations Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved. |  |  |  |  |
| An Economic Operator who answers ‘Yes’ in any of the situations set out in paragraphs 2.1.a to 2.1.i will be excluded. |  |  |  |  |  |
| 2.1 | Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. The Economic Operator: |  | Yes | No |  |
|  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |  |
| 2.1a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  |  |  |  |
| 2.1b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |  |  |
| 2.1c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |  |  |
| 2.1d | has entered into agreements with other Economic Operators aimed at distorting competition; |  |  |  |  |
| 2.1e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |  |  |
| 2.1f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |  |  |
| 2.1g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |  |  |
| 2.1h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  |  |  |  |
| 2.1i | has undertaken to: - unduly influence the decision-making process of the contracting entity, or - obtain confidential information that may confer upon the tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |  |  |
| Statutory Obligations Declarations |  |  |  |  |  |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment / operation: |  |  | Yes |  | No |
| (i) | Employment Equality Acts 1998-2011 |  |  |  |  |
| (ii) | Equal Status Acts 2000-2011 |  |  |  |  |
| (iii) | National Minimum Wage Act 2000 as amended |  |  |  |  |
| (iv) | Organisation of Working Time Act 1997 as amended |  |  |  |  |
| (v) | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |  |
| (vi) | Disability Act 2005 |  |  |  |  |
| (vii) | General Data Protection Regulation 2016/679 |  |  |  |  |
| (viii) | Children First Act (2015) |  |  |  |  |
| (ix) | Official Languages Acts (2003 & 2021) |  |  |  |  |
| (x) | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  |  |  |  |
| Article 5K Declaration - EU Regulation 2022/576 on restrictive measures in the Context of Russian Actions in the Ukraine |  |  |  |  |  |
| A. | In the light of Russian actions in the Ukraine, the European Council adopted a new regulation – EU Regulation 2022/576, aimed at restricting participation in economic activity by economic operators from the Russian Federation. Article 5K of the Regulation prohibits the award or continuation of contracts falling within the scope of the Public Procurement Directives to persons or undertakings related to the Russian Federation. To comply with EU Regulation 2022/576, the Contracting Authority is seeking a declaration from economic operators to this effect. |  |  |  |  |
| B. | I declare that none of the exclusions specified in EU Regulation 2022/576 apply to any party associated with this tender. |  | Yes |  | No |
| Confirmation that the information provided relating to the Financial, Economic and Technical Requirements and/or as self-declared via the European Single Procurement Document (ESPD) is true and accurate and that evidence can be provided promptly on request. |  |  |  |  |  |
| I confirm that failure to provide satisfactory evidence will result in our elimination from this competition and may also impact on our involvement in future competitions. |  |  |  |  |  |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in this declaration is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this Declaration will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |  |
| Name of Economic Operator: |  |  |  |  |  |
| Authorised Signatory: |  |  |  |  |  |
| Name in Block Capitals: |  |  |  |  |  |
| Position: |  |  |  |  |  |

  - General Data Protection Regulations

| Declaration regarding compliance with European General Data Protection Regulation |  |
| --- | --- |
| Contractors/Suppliers must guarantee that in circumstances where they are acting as Data Processors (as defined in European General Data Protection Regulation (GDPR)) on behalf of the University (meaning UNIVERSITY OF GALWAY) or in any circumstances where they are handling Personal Data (as defined in the GDPR) on behalf of the University that they shall: - implement appropriate technical and organisational measures that are sufficient to secure that the processing will (a) meet the requirements of the GDPR and (b) ensure the protection of the rights of the data subject. - Comply with all reasonable instructions from the University so as to allow the University to comply with its obligations under the GDPR. The Contractor shall notify the University immediately if it considers that any of the University’s instructions infringe applicable Data Protection Legislation. The Contractor shall provide all reasonable assistance to the University in the preparation of any Data Protection Impact Assessment prior to commencing any processing. Such assistance may, at the discretion of the University, include: - a systematic description of the envisaged processing operations and the purpose of the processing; - an assessment of the necessity and proportionality of the processing operations in relation to the Services; - an assessment of the risks to the rights and freedoms of Data Subjects; and - the measures envisaged to address the risks, including safeguards, security measures and mechanisms to ensure the protection of Personal Data. The Contractor shall, in relation to any Personal Data processed in connection with its obligations under this Agreement: process that Personal Data only in accordance with the instructions of the University, unless the Contractor is required to do otherwise by EU and Irish law. If it is so required, the Contractor shall promptly notify the University before processing the Personal Data unless prohibited by EU and Irish law. The Contractor shall ensure that it has in place protective measures, which can be reviewed by the University at the University’s discretion as appropriate to protect against a personal data loss event having taken account of the: - nature of the data to be protected; - harm that might result from a personal data loss event; - state of technological development; and - cost of implementing any measures; The Contractor shall ensure that: - the Contractor Personnel do not process Personal Data except in accordance with this Agreement; and - it takes all reasonable steps to ensure the reliability and integrity of any Contractor Personnel who have access to the Personal Data and ensure that they: - are aware of and comply with the Contractor’s duties under this clause; - are subject to appropriate confidentiality undertakings with the Contractor or any Sub-processor; - are informed of the confidential nature of the Personal Data and do not publish, disclose or divulge any of the Personal Data to any third Party unless directed in writing to do so by the University or as otherwise permitted by this Agreement; and - have undergone adequate training in the use, care, protection and - not transfer Personal Data outside of the EU unless the prior written consent of the University has been obtained and the following conditions are fulfilled. The Contractor shall not transfer Personal Data outside of the EU unless the prior written consent of the University has been obtained and the below conditions are fulfilled: - the University or the Contractor has provided appropriate safeguards in relation to the transfer as determined by the University; - the Data Subject has enforceable rights and effective legal remedies; - the Contractor complies with its obligations under the Data Protection Legislation by providing an adequate level of protection to any Personal Data that is transfer; and - the Contractor complies with any reasonable instructions notified to it in advance by the University with respect to the processing of the Personal Data; - at the written direction of the University, delete or return Personal Data (and any copies of it) to the University on termination of the Agreement unless the Contractor is required by Law to retain the Personal Data. The Contractor shall notify the University immediately if it: (a) receives a data subject access request (or purported data subject access request); (b) receives a request to rectify, block or erase any Personal Data; (c) receives any other request, complaint or communication relating to either Party's obligations under the Data Protection Legislation; (d) receives any communication from the Information Commissioner or any other regulatory authority in connection with Personal Data processed under this Agreement; (e) receives a request from any third Party for disclosure of Personal Data where compliance with such request is required or purported to be required by Law; or (f) becomes aware of a Data Loss Event. The Contractor shall maintain complete and accurate records and information to demonstrate its compliance with this clause. The Contractor shall allow for audits of its Data Processing activity by the University or the University’s designated auditor. Before allowing any Sub-processor to process any Personal Data related to this Agreement, the Contractor must notify the University in writing of the intended Sub-processor and processing; and obtain the written consent of the University. The Contractor shall remain fully liable for all acts or omissions of any Sub-processor. The Contractor accepts that the University shall not accept any liability clauses where Personal Data Processors are indemnified against fines or claims under the General Data Protection Regulation. |  |
| I confirm that I have read this section and that the organisation which I represent in this tender process complies fully with all the requirements set out herein, and agrees to be bound by these terms if successful. |  |
| Name of Economic Operator |  |
| Authorised Signatory |  |
| Signature |  |

  - Financial and Economic Standing

| Tax Compliance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Option 1: I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Revenue’s online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  | Yes |  |  |  |
|  |  |  | No |  |  |  |
| Tenderer Name: |  |  |  |  |  |  |
| Tax Reference Number (PPSN): |  |  |  |  |  |  |
| Access Number: |  |  |  |  |  |  |
| Option 2: I confirm that I hold a current valid Tax Clearance Certificate (generally relates to Non-Residents) To this end, please confirm: |  |  | Yes |  |  |  |
|  |  |  | No |  |  |  |
| Registration Number: |  |  |  |  |  |  |
| Certificate Number: |  |  |  |  |  |  |
| Option 3: I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  | Yes |  |  |  |
|  |  |  | No |  |  |  |
| Financial Capacity |  |  |  |  |  |  |
| - I confirm that our turnover exceeded €250,000 detailed below, per annum in each/one of the last three financial years and that I will provide evidence of turnover promptly on request at any time prior to the award decision. Note: If turnover figures for 2025 are unavailable, please use 2024, 2023 and 2022. |  |  |  |  |  |  |
| Financial Year |  | 2025 | 2024 |  |  | 2023 |
| Lot 1 Turnover € |  | € | € |  |  | € |
| Lot 1 Turnover € |  | € | € |  |  | € |
| Month of financial year end |  |  |  |  |  |  |
| Insurance |  |  |  |  |  |  |
| I confirm that we have the following insurances in place: |  |  |  |  |  |  |
| Insurance Type |  | Level in place | Details of Excess | Expiry Date |  |  |
| Employers Liability Level Required: €13m (Ireland) or minimum local equivalent |  | € |  |  |  |  |
| Public / Products Liability Level Required: €3.5m |  | € |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the award decision being made: Evidence of insurances in place or Letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  | Yes |  |  |  |
|  |  |  | No |  |  |  |
| I confirm that if successful, where the levels required under the contract or framework are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place promptly. |  |  | Yes |  |  |  |
|  |  |  | No |  |  |  |
| Please note that the Contracting Authority will seek to verify self-declarations regarding financial capacity prior to next stage of the competition. |  |  |  |  |  |  |
| Signed: |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |

  - Previous Experience

| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should refer to instances within the last three years which demonstrate that they have successfully delivered services of a comparable nature and scale on two (2) occasions. The contracts referenced for consideration should provide comprehensive information to enable the Contracting Authority to determine their comparability to the requirements of this contract. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| The contracts listed should be chosen to demonstrate your firm’s skills, efficiency, experience and reliability in the relevant areas of expertise. All fields should be completed in full. In the event that the information requested on the value of contracts or identity of clients is considered confidential, tenderers must ensure that they provide sufficient information to allow the Contracting Authority to judge the similarity of these contracts to the services required. |  |  |  |  |  |  |
| Reference Contract #1 |  |  |  |  |  |  |
| Client Name: |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |
| % of contract / brief description of what was delivered by tenderer (lead) |  |  |  |  |  |  |
| % of contract / brief description of what was delivered by a 3rd party associated with the tender grouping tendering for this contract/framework |  |  |  |  |  |  |
| Information of parts of contract delivered by 3rd parties not part of the tender grouping tendering for this contract/framework |  |  |  |  |  |  |
| Delivery Date: | From |  |  | To |  |  |
| Annual Contract Value: | € |  | Overall Contract Value |  | € |  |
| Detailed Description: |  |  |  |  |  |  |
| Taking account of the features of the contract / scope of the framework agreement, please provide information demonstrating comparability with the contract / framework being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |  |  |
| Any other relevant information: |  |  |  |  |  |  |

| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should refer to instances within the last three years which demonstrate that they have successfully delivered services of a comparable nature and scale on two (2) occasions. The contracts referenced for consideration should provide comprehensive information to enable the Contracting Authority to determine their comparability to the requirements of this contract. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| The contracts listed should be chosen to demonstrate your firm’s skills, efficiency, experience and reliability in the relevant areas of expertise. All fields should be completed in full. In the event that the information requested on the value of contracts or identity of clients is considered confidential, tenderers must ensure that they provide sufficient information to allow the Contracting Authority to judge the similarity of these contracts to the services required. |  |  |  |  |  |  |
| Reference Contract #2 |  |  |  |  |  |  |
| Client Name: |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |
| Contact email: |  |  |  |  |  |  |
| % of contract / brief description of what was delivered by tenderer (lead) |  |  |  |  |  |  |
| % of contract / brief description of what was delivered by a 3rd party associated with the tender grouping tendering for this contract/framework |  |  |  |  |  |  |
| Information of parts of contract delivered by 3rd parties not part of the tender grouping tendering for this contract/framework |  |  |  |  |  |  |
| Delivery Date: | From |  |  | To |  |  |
| Annual Contract Value: | € |  | Overall Contract Value |  | € |  |
| Detailed Description: |  |  |  |  |  |  |
| Taking account of the features of the contract / scope of the framework agreement, please provide information demonstrating comparability with the contract / framework being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |  |  |
| Any other relevant information: |  |  |  |  |  |  |

  - Personnel and Skills

| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate access to at least the minimum numbers of skilled personnel stated. Please note that the skills outlined may reside in the same person. |  |  |  |
| --- | --- | --- | --- |
| Skillset | Number of Full Time Equivalents (FTE) | Number of FTEs provided by 3rd Parties | Minimum Number Required |
| Application specialist (5 to 10 years’ experience) |  |  | 1 |
| Engineer |  |  | 1 |
| Total |  |  | 2 |

Tenderers are reminded that they may rely on the resources of other entities on condition that they are fully described, and that tenderers can prove that they will have these resources at their disposal when required.

Please attach an organisation chart, clearly identifying all relevant departments, divisions, and 3rd parties, if applicable.

  - Technical Equipment and Resources

| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should demonstrate that they have at their disposal effective and efficient technical resources/systems to deliver the widefield fluorescence imaging system as specified by the Contracting Authority in the Scope of Requirements. |  |
| --- | --- |
| Contracting Authority Requirement | Tenderer Response |
| Necessary capacity to deliver the required equipment as per technical specification and within the lead time. |  |

  - Quality Assurance Management System

Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should provide information on the measures in place to ensure the delivery of a quality service, for example by way of an externally certified system, or an equivalent in-house quality control process or system.

| Name of person responsible for quality management: |  |  |
| --- | --- | --- |
| If externally certified, please provide details of: |  |  |
| Name of certification body: |  |  |
| Date of certification: |  |  |
| Scope of certification: |  |  |
| Please set out high level detail on your quality assurance measures: |  |  |
| Date of first certification: |  |  |
| Date of most recent renewal: |  |  |
| Please attach copy of Quality Management System certificate with submission |  |  |
| If you do not have an externally certified system but do have an in-house system, please provide details of the processes and procedures for ensuring quality assurance in existence. |  |  |
| Details of any other quality systems applicable to the subject matter of this procurement, e.g. ISO 27001, etc. |  |  |

  - Health & Safety Management System

| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate compliance with all the relevant Health & Safety legislation. The Contracting Authority reserves the right to seek further information to verify compliance. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Do you comply with the Safety Health & Welfare at Work Act 2005? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Health & Safety: |  |  |  |  |  |  |  |  |
| Health & Safety management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of system will be provided promptly on request. | Yes |  |  |  | No |  |  |  |
| If in-house please provide a summary of the scope of the health & safety system. |  |  |  |  |  |  |  |  |
| Declaration re Health & Safety |  |  |  |  |  |  |  |  |
| We confirm that each member of staff is aware of his/her responsibilities under the Safety, Health and Welfare at Work Act 2005 and the Safety Health & Welfare at Work (Construction) Regulations 2006. In particular we are familiar with the general duties of Contractors as outlined in Part 3 Regulations 24-29 of the Safety Health & Welfare at Work (Construction) Regulations 2006; also with the specific duties enumerated in Parts 4-14, Regulations 30-105 of those Regulations and Schedules 1-6 of those Regulations. We are aware of and will take into account the general principles of prevention as enumerated below when carrying out construction work associated with the project. |  |  |  |  |  |  |  |  |
| GENERAL PRINCIPLES OF PREVENTION APPLICABLE TO CONTRACTOR |  |  |  |  |  |  |  |  |
| The purpose of the General Principles of Prevention is to provide a framework within which account is taken when identifying hazards in the risk assessment required under section 19 of the Safety, Health and Welfare at Work Act 2005. (i) The avoidance of risks; (ii) The evaluation of unavoidable risks; (iii) The combating of risks at source; (iv) The adaptation of work to the individual, especially as regards the design of places of work, the choice of work equipment and systems of work, with a view to alleviating monotonous work and work at a predetermined rate and to reduce their effect on health; (v) The adaptation of the workplace to technical progress; (vi) The replacement of dangerous articles, substances or systems of work by non-dangerous articles, substances or systems of work; (vii) The giving to collective protective measures priority over individual protective measure; (viii) The development of an adequate prevention policy in relation to safety, health and welfare at work, which takes account of technology, organization of work, working conditions, social factors and the influence of factors related to the working environment; (ix) The provision of appropriate training and instruction to employees. |  |  |  |  |  |  |  |  |
| OBLIGATIONS UNDER SECTION 17(3) |  |  |  |  |  |  |  |  |
| We are aware as Contractors of our obligations under Section 17 (3) of the Safety Health & Welfare at Work Act 2005 to ensure so far as is reasonably practicable that the project ‘is constructed to be safe and without risk to health and that it complies in all respects, as appropriate, with the relevant statutory provisions’. |  |  |  |  |  |  |  |  |
| COMPLIANCE BY STAFF |  |  |  |  |  |  |  |  |
| We confirm that all staff have received, read and will apply the Safety, Health and Welfare at Work (General Application) Regulations 2007 and the Guide to the Safety, Health and Welfare at Work (General Application) Regulations 2007. Where the role required is Contractor risk assessments will be carried out and maintained on the job file. We confirm that in our opinion this declaration is deemed to satisfy our obligations in relation to the following areas given the scope and nature of the proposed works: (i) Health and Safety Policy and Organization; (ii) Arrangements; (iii) Competent Advice; (iv) Training and Information; (v) Individual Qualifications and Experience; (vi) Monitoring, Audit and Review; (vii) Workforce Involvement; (viii) Accident/Incident Reporting, Review; (ix) Sub-consulting Procedures; (x) Hazard Management and Risk Assessment; (xi) Health and Welfare. |  |  |  |  |  |  |  |  |
| ENFORCEMENT ACTIONS, LEGAL PROCEEDINGS, ACCIDENTS, FATALITIES OR INCIDENTS |  |  |  |  |  |  |  |  |
| In relation to enforcement actions, legal proceedings, accidents, fatalities or incidents associated with the discharge of our duties as Contractor or PSCS (whether the relevant discipline is the subject of this declaration or not) over the last three years: (Please attach any details or, alternatively, confirm that no enforcement actions, legal proceedings, accidents, fatalities or incidents have arisen). |  |  |  |  |  |  |  |  |
| COMPETENT AND RESOURCED |  |  |  |  |  |  |  |  |
| We confirm that in our opinion our organization is competent and adequately resourced to fulfil its obligations under the Safety, Health and Welfare at Work Act 2005 and that our organization has adequate resources to fulfil the role of Contractor as stated above. |  |  |  |  |  |  |  |  |

| Signed: |  |
| --- | --- |
| Position: |  |
| Date: |  |

## Business Continuity Management

| Name of Manager responsible for business continuity (BC) (or Operational Resilience (OR), as applicable. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Do you operate a BC management system? | Yes |  | No |  |
| If so, is it 3rd party certified or in-house? | 3rd Party Certified |  |  |  |
|  | In-House |  |  |  |
| We have undertaken & documented a business impact assessment. | Yes |  | No |  |
| We operate a system of coherent BC / OR plans. | Yes |  | No |  |
| We train those responsible for BC / OR & incident response. | Yes |  | No |  |
| We run simulation exercises and tests regularly. | Yes |  | No |  |
| Provide a brief summary of your approach to BC / OR. If BCMS is 3rd partied certified, provide the name of the Certifying Body, Certification Date & Scope. |  |  |  |  |
| Evidence will be provided on request. | Yes |  | No |  |

## Environmental Management System

| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate compliance with all the relevant Environmental legislation and guidelines. The Contracting Authority reserves the right to seek further information to verify compliance. |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Do you comply with all relevant Environmental legislation? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Environmental Systems: |  |  |  |  |  |  |  |  |
| Environmental management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of system will be provided promptly on request. | Yes |  |  |  | No |  |  |  |
| If in-house please provide a summary of the scope of the environmental system. |  |  |  |  |  |  |  |  |

## Supply Chain

Weighting: Pass/ Fail Minimum requirement to remain eligible in the competition: Tenderers are required to provide details of their supply-chain and vendor relationships which provide confidence that good sourcing arrangements are in place.

# Response to the Award Criteria

  - Form of Tender

| To: | University of Galway |
| --- | --- |
| From: |  |
| Subject: |  |

I/We have examined the tender documentation and hereby offer to provide the services in accordance with the details contained within the Call for Tender (CFT) document.

Note: Relevant in Frameworks:  The figures above are notional volumes and provide no guarantee of work to be awarded under this framework agreement.  It is being used purely to enable assessment of the notional cost for the framework agreement and ensure certainty of rates for work under the framework.

I/We confirm that I/we:

- Have priced our tender on the basis of all rates being inclusive of all out-of-pocket expenses (i.e. mileage, subsistence, phone, postage, etc.) and account / contract management related costs,

- Will keep this offer for the contract / framework open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders,

- Agree that you are not bound to accept the most economically advantageous or any tender you may receive,

- Agree that the rates stated are as required in the CFT.

- Have read and thoroughly examined the CFT,

- Fully understand the terms of the CFT including the Contracting Authority Terms and Conditions of Contract

- Undertake to treat the details of the CFT, its tender and any subsequent agreements as private and confidential,

- Acknowledge that acceptance by the Contracting Authority of this tender will not constitute a binding and enforceable agreement and that a legally enforceable agreement will not exist until and unless the contract is concluded / framework agreement has been established between the Contracting Authority and the tenderer,

- Have availed of all offers for additional information or have otherwise satisfied myself/ourselves as to conditions that may in any manner affect the performance of the contract,

- Have included all elements necessary for the performance of the specified requirements, which are either expressly stated in the CFT or contained in any supplementary information or which could reasonably be inferred therefrom,

- Have found no errors, omissions, conflicts or ambiguities in the CFT except those which I/We have brought to the attention of the Contracting Authority before the latest date for submitting queries,

- Have included for compliance with all statutory requirements applicable in Ireland and those applicable in any country where parts of the contract may be performed that are in force 7 days prior to the deadline for receipt of tenders,

- Will not, if awarded a contract employ labour in a manner that is discriminatory in relation to gender, civil/family status, sexual orientation, religion, age, disability, race, or membership of the traveller community.

- Agree that as a condition of award, it shall be our sole responsibility to fulfil the obligations under the Contract, notwithstanding any changes in circulars, laws, regulations, taxation, duties or other factors which might arise following the withdrawal of the United Kingdom from membership of the EU.

| Agreement to University of Galway’s Terms and Conditions (Appendix 3) |  |  |
| --- | --- | --- |
| I confirm that I have reviewed University of Galway’s Terms and Conditions of Contract as provided in the relevant Appendix and confirm acceptance to the material aspects thereof. | Yes | No |

| Signed: |  |  |  |
| --- | --- | --- | --- |
| Name (in Capital Letters): |  |  |  |
| Position: |  |  |  |
| On behalf of: |  |  |  |
| Address: |  |  |  |
| Telephone Office: |  | Mobile |  |
| Email: |  |  |  |
| Date: |  |  |  |

  - Response to Qualitative Award Criteria

Specification Required & Supplier Response

| Product Description | QTY | Tendering (Y/N) |
| --- | --- | --- |
| wide-field fluorescence microscope with deconvolution | 1 |  |

Suppliers MUST provide all information relating to the equipment and the associated components in the blue response boxes below. Responses will be scored accordingly by the Evaluation team as set out in the Award Criteria in the CFT document.

Please ensure all cost submissions are kept separate and included in the Excel file entitled:  Appendix 2 – Pricing Schedule

| COSE1835.26 Supply, Delivery, Installation, & Maintenance of Benchtop wide-field microscope with a deconvolution system for University of Galway |  |
| --- | --- |
| State proposed model here: |  |

Pass / Fail criteria

Mandatory Requirements

| M1 | The tenderer MUST conduct a Site Appraisal or have conducted a Site Appraisal within the last two (2) Months to ensure the proposed system can successfully be delivered and installed. The tenderer MUST confirm the site visit was completed and detail the proposed layout for the new infrastructure in relation to the allocated space and services. |
| --- | --- |
| Insert Response |  |
| M2 | Please provide summary information on the number and location of comparable wide field imaging systems that the tenderer has sold between 2024 to the current date. Please outline and detail. |
| Insert Response |  |
| M3 | The tenderer MUST list 5-10 examples of prominent scientific publications which have used a similar wide field imaging systems for imaging of biological specimens. Please outline and detail. |
| Insert Response |  |

- Technical Merit

General Functional Requirements

| A1 |  | We require a new fully integrated inverted widefield microscope system. The system will be used for a range of imaging projects as it will be used in a busy core facility. One of the first projects will be to image live fungi Saccharomyces cerevisiae and Candida albicans. Ease of live imaging, ability to image multiple positions during a time lapse, with z-stacks, in a wide field of view are essential requirements. Image processing/noise clearance/deconvolution software are required. The ability to record brightfield and fluorescence images on every objective are required. Robust autofocus system, conductive to long-term imaging is essential. A robust and accurate autofocus for long term imaging is essential. An accurate temperature control across a broad range of temperatures is essential. CO2 control is required. The system MUST be specifically built for live cell imaging with specific reference given to (but not limited to) bleaching control, managing phototoxicity, smooth stage motion, and stable autofocus in 3 dimensions and multiple positions). Please confirm and detail the make, model and specifications of all components and how the systems meets the above general specification. |
| --- | --- | --- |
| Insert Response |  |  |
| A2 |  | The Tenderer MUST supply a microscope capable of the following Imaging methods: Please detail how the following workflows are performed: Single-channel imaging, multi-channel imaging, time-lapse, Z-stacks, mosaic/tiling, long-term imaging, autofocus. Please confirm and detail. |
| Insert Response |  |  |
| A3 | Excitation sources for fluorescence imaging MUST be LED based. Illumination components MUST have an expected lifetime of ≥10,000 hours, significantly reducing frequency of replacements and associated waste streams. Please confirm and detail. |  |
| Insert Response |  |  |
| A4 |  | The Tenderer MUST supply a microscope for capable of imaging transmitted light, DAPI, GFP, RFP/mCherry and Cy5 channels. Additional channels (CFP, YFP are desirable). Multiple channel imaging synchronously MUST be possible. Please confirm and detail. |
| Insert Response |  |  |
| A5 |  | The Tenderer MUST supply the following objectives, capable of capturing both fluorescent and transmitted light images. Tenders should include a range of highly corrected objectives such as 10x (air), 20x (air), 40x, 60x (NA >1.35) (oil) and 100x (NA >1.4) objectives (oil). Tenders with consideration of a large range of imaging conditions and supply of objectives to meet a wide variety of imaging conditions will be higher rated. Please confirm and detail. |
| Insert Response |  |  |
| A6 |  | Differential Interference Contrast (or equivalent/alternative contrast mechanism) optics MUST be supplied for all objectives (brightfield imaging in parallel with fluorescent live imaging are mandatory. The Tenderer MUST Supply, Deliver, Install and provide a Maintenance schedule for a new widefield Live Cell Imaging and Analysis System. The system MUST work without the need of a darkened room for imaging. Please confirm and detail stating make, model and full specifications of proposed unit. |
| Insert Response |  |  |
| A7 |  | No infrastructural changes can be accommodated. The Instrument SHOULD be freestanding and mobile. State the instrument dimensions and minimum space requirements for safe operation. Please confirm and detail dimensions of instrument. |
| Insert Response |  |  |
| A8 | The system MUST be able to image with a large Field of View. The system Field Number should be greater than FN 18. Please confirm and detail. |  |
| Insert Response |  |  |
| A9 |  | The system should contain one greyscale camera (SCMOS or equivalent) and one colour camera, taking two ports for simultaneous dual channel imaging. Details of the camera (s) MUST be supplied. The camera(s) MUST deliver low noise, wide dynamic range and high resolution for quantitative measurements at short exposure times. The camera(s) MUST have a large FOV. The camera(s) MUST have high resolution. The camera(s) MUST be provided with high quantum efficiency of more than 80%. The camera(s) MUST perform more than 16 frames per second. Please confirm and detail. Please confirm and detail the camera specifications. |
| Insert Response |  |  |
| A10 |  | A fully enclosed incubation system MUST be supplied with a controllable temperature range from 16 to 50 degrees C to cover live experiments in heat stress conditions. The environmental system MUST include CO2 control. Please confirm and detail |
| Insert Response |  |  |
| A11 |  | The Tenderer MUST supply a microscope with compatibility for microscope with a range of multidimensional plates, chambered cover slips, slides, and petri dishes. Please confirm and detail exactly what sample carriers can be used. |
| Insert Response |  |  |
| A12 |  | The Tenderer MUST supply a table appropriate for the system. Please confirm and detail. |
| Insert Response |  |  |
| A13 |  | Details of resolution versus FOV MUST be provided for all optical arrangements that the system is capable of. Details of the high-resolution detection modules (number, characteristics, optical arrangement) MUST be supplied. Preference will be made to the system that obtain the highest resolution while still maintaining the features of a high throughput imaging system. Please confirm and detail. |
| Insert Response |  |  |
| A14 |  | The system MUST incorporate a high speed motorised positioning system with high precision XYZ control. The system MUST have capability for precise hardware and software autofocus. Demonstration of minimal drift between wells MUST be given and the drift over time MUST be detailed (specify drift figures please). Details of precision of stage in XYZ MUST be provided. |
| Insert Response |  |  |
| A15 |  | The system MUST be capable of mixed mode imaging where images can be captured in widefield and overlaid with transmitted light images in the same experiment. The workflow to capture specific events in low magnification and moving to higher resolution, bringing in the capability to tracking these objects MUST be detailed. Please confirm and detail. |
| Insert Response |  |  |
| A16 |  | The system SHOULD be capable of being upgraded to include additional modalities if required. Please confirm and detail. |
| Insert Response |  |  |
| A17 |  | The tenderer SHOULD provide detail of the unique general functional features of the system and what added value they can add to the proposal which will benefit the researchers of the University of Galway. Examples of this could be enhanced technical specification. Please confirm and detail the added value that can be provided and listing the unique features vs the technical benefits of each. |
| Insert Response |  |  |
| IT Hardware & Software Requirements |  |  |
| A18 |  | The system MUST be accompanied by a high specification workstation with software packages installed for acquisition and some processing of data (please detail specific modules offered in this tender), with approximate specification of 64GB RAM, 2 TB TB of SSD storage, 2TB of HDD storage 16GB RTX graphics, and a large monitor at least 28 inches. The system MUST be supplied with a high specification offline processing workstation with specific software modules to be installed (Please detail). 64 GB RAM, 16 GB RTX graphics suitable for GPU based deconvolution, 2 TB storage and a large monitor. High speed LAN connectivity SHOULD be made between the acquisition and processing PC’s. In addition, a tenderer MUST provide an additional processing computer, suitable for image storing and processing. Please confirm and detail. |
| Insert Response |  |  |
| A19 |  | All software and licences required to deliver the technical functionality above MUST be included in the core offer. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document |
| Insert Response |  |  |
| A20 |  | The tenderer MUST describe the software package proposed, including name and version. The software package provided MUST be easy to use and intuitive. The system MUST be capable of quantitatively analysing data from routine biological assays for example cell growth and death, cell differentiation, cell shape, size, texture and morphology, cell counting, confluency and automated spot detection. The tenderer MUST describe the analysis pipelines in the software that allow for quantitative data analysis at high resolution. Detailed examples MUST be given. The tenderer MUST provide a clear list of all the software modules offered in this tender, what they are for and how they will be used in our workflows. The tenderer MUST provide details of the software modules available in 2nd offline workstation for image processing. Please confirm and detail. |
| Insert Response |  |  |
| A21 |  | The system MUST be optimized for live imaging of fungal cells (S.cerevisieae, C.albicans). The system MUST be able to image cells, organoid and 3D cultures. Details of specific Modules for various biological assays MUST be provided (i.e. multi channel and z stacks, tiling, multi position, spectral unmixing, colocalization, 2D-3D analysis, multi modal overlay). Software MUST be able to perform 3D analysis. Software MUST also perform image segmentation, with background correction. Software MUST be capable to analyse imported data from images acquired from other platforms. It MUST also be capable to export data in tiff format. It MUST be possible to export data for further analysis and be compatible with open-source platforms. Please confirm and detail. |
| Insert Response |  |  |
| A22 |  | Desirable enhanced software capabilities: • The Software SHOULD be capable to do both acquisition and analysis simultaneously (on the fly). • The Software SHOULD be provided with ready to use analysis templates. • The Software SHOULD be capable of doing quick multi well and multi field imaging. • The Software SHOULD be able to apply deconvolution algorithms in 3D. • The Software SHOULD be able to train import and execute different machine and deep learning models to allow for image segmentation. Please confirm and detail. |
| Insert Response |  |  |
| A23 |  | The software MUST be capable of segmenting brightfield images. Please give detail on the workflow in the software package to achieve this giving as example of how to find nuclei, and associated cytoplasm in brightfield images. Reference AI tools if relevant. Please confirm and detail. |
| Insert Response |  |  |
| A24 |  | The system MUST be capable of multi area imaging, multiarea time lapse and advanced imaging experiment design. (Tiling, Mosaic, Stitching). Please confirm and provide detailed examples. |
| Insert Response |  |  |
| A25 |  | The software MUST run on an operating system no older than Windows 11. Please confirm and detail. |
| Insert Response |  |  |
| A26 |  | All software upgrades to the system, which become available during the life of the contract, SHOULD be provided free of charge. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document |
| Insert Response |  |  |
| A27 |  | The tenderer SHOULD provide details of the unique IT Hardware & Software features of the system and what added value they can add to the proposal which will benefit the researchers of the University of Galway. Please confirm and detail the added value that can be provided and listing the unique features vs the technical benefits of each. |
| Insert Response |  |  |

- After Sales Support, Warranty & Training

Customer Support, Repair/Breakdown Requirements & Spare Parts

| B1 | Service support MUST be guaranteed for a minimum period of 10 years from date of installation. Please confirm and detail. |
| --- | --- |
| Insert Response |  |
| B2 | The tenderer MUST have a dedicated specialist at their disposal and fully qualified service personnel who can respond to service calls. The tenderer MUST provide a clear list detailing the service personnel and their location where they are based and typical cycle response times to call outs to the University of Galway. Please confirm and detail. |
| Insert Response |  |
| B3 | The Tenderer SHOULD provide a description of the arrangements lead times and cost (if relevant) for the provision of technical support, annual service/maintenance, emergency call-out response, and spare parts (if necessary). The Tenderer SHOULD guarantee on-site response within 10-20 business days for system faults. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| B4 | The tenderer MUST supply a full list of spare parts and consumables, including the pricing of these and the major items that may be needed to be replaced post 5 years of operation. The tenderer MUST provide confirmation of the availability of service and replacement parts for at least ten (10) years after installation. Please confirm and detail. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule, Additional Pricing Request. Please confirm and detail. |
| Insert Response |  |
| B5 | The tenderer MUST provide a description of the arrangements and lead times for the provision of technical support (i.e. regarding hardware, software, IT components), annual service/maintenance, emergency call-out response, and spare parts. Remote support MUST be given as a first line of problem diagnosis. The tenderer MUST provide details on the workflow for remote support. Accurate response times taking into account our location in the west of Ireland MUST be specified. Please confirm detailing response times. |
| Insert Response |  |
| B6 | Please outline the company customer service plan and your escalation policy including what process is in place for escalating a call-out, if a breakdown cannot be resolved on the first visit. Please detail for both onsite and remote repair. Please confirm and detail. |
| Insert Response |  |
| B7 | The tenderer SHOULD provide full details of service and support infrastructure. Information to be provided includes, but is not limited to, the names, telephone numbers and qualifications of contact individuals in respect of scientific, sales, technical and IT personnel available to service and support the tendered equipment. Please also outline customer service contact details and availability. |
| Insert Response |  |
| Warranty |  |
| B8 | The Tenderer MUST supply a minimum of a Standard 1-year warranty covering defects under normal use; to include all call outs, labour, travel and parts. Detail specific inclusions and exclusions of included warranty and provide details and costs for optional extended-warranty and maintenance plans available for additional years. Significant preference will be given to tenderers who can supply extra years of warranty extension within the package price. Please confirm and detail. |
| Insert Response |  |
| B9 | The warranty MUST include one (1) preventative maintenance visit per year. The Tenderer MUST state details of preventative maintenance / servicing options included. Detail any specific inclusions and exclusions of preventative maintenance / servicing options. |
| Insert Response |  |
| B10 | The Tenderer MUST state the details of any extended warranty and any associated costs. Detail specific inclusions and exclusions of extended warranty. Please include price per annum for the years 2, 3, 4 and 5, details of coverage and maximum term of coverage. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule, Desirable Options. |
| Insert Response |  |
| B11 | If, during the warranty period, the model does not meet the criteria specified the contracting authority SHOULD have the right to return the instrument for a full refund of the cost of the instrument. Please confirm compliance |
| Insert Response |  |
| B12 | The extended warranty MUST cover all call outs, labour, travel and parts for the system hardware. The system software MUST be maintained to the latest revision via updates either remotely or at next planned on-site visit. Please confirm and detail. |
| Insert Response |  |
| B13 | The tenderer SHOULD provide detail of the unique warranty features of their proposal and what added value they can add to the proposal which will benefit the researchers of the University of Galway. Please confirm and detail the added value that can be provided and list the unique features vs the benefits of each. |
| Insert Response |  |
| Training |  |
| B14 | Training for at least four (4) personnel onsite in the Biosciences Building, University of Galway SHOULD be included after commissioning to cover set up / system familiarization, operation of the tendered equipment, troubleshooting, maintenance and associated software once the system is in place. (Date(s) and timing of training to be confirmed with University of Galway and the winning tenderer). Please confirm and detail, including cost for supplementary training if any. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
| Insert Response |  |
| B15 | A detailed description of the training and support to be provided for staff and technical personnel MUST be provided. Please include details of any seminars or other training aids both on site and remote that would be planned after the installation. Please confirm and detail. |
| Insert Response |  |
| B16 | Relevant training and maintenance manuals in English MUST also be provided with the instrument either as physical or electronic copies. Please confirm and detail. |
| Insert Response |  |
| B17 | Tenderers MUST provide all consumables required for training sessions as well as 1 pilot experiment. Please confirm detailing all inclusions |
| Insert Response |  |
| B18 | The tenderer SHOULD provide details of the unique training features of the proposal and what added value they can add to the proposal which will benefit the researchers of the University of Galway. Examples of this could be additional training or future online training. Please confirm and detail the added value that can be provided and listing the unique features vs the technical benefits of each. |
| Insert Response |  |

| - Method & Sustainability |  |
| --- | --- |
| Lead Time & Delivery |  |
| C1 | Tenderers MUST provide an appropriate lead time and delivery plan including installation and commissioning, sign off and acceptance, from PO placement, in weeks for the required equipment. Shorter lead times are highly desirable. Please confirm and detail. |
| Insert Response |  |
| C2 | Delivery MUST include all shipping charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. Instrument MUST be delivered to: 1st floor south, BioMedical Sciences Building, Newcastle Road, Galway, Ireland H91 W2TY. Please confirm and detail. |
| Insert Response |  |
| C3 | Tenderers MUST provide the facility requirements (if any) to University of Galway in advance of the equipment delivery. This SHOULD include: • number of containers and weight of each • any clearance requirements (if necessary). • requirements for Health & Safety (e.g. humidity, ventilation, potential hazards) requirements for site access Please confirm and detail. |
| Insert Response |  |
| C4 | The tenderer MUST provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. Please confirm and detail. |
| Insert Response |  |
| C5 | The tenderer MUST provide details of your contingency plans (alternative sources/routes of supply) for any delays in delivery. Please confirm and detail. |
| Insert Response |  |
| Installation & Commissioning & Calibration |  |
| C6 | The instrument MUST be installed and commissioned in a location defined by the Contracting Authority, by an appropriately qualified engineer on an agreed date. The installation and commissioning of the equipment MUST be carried out by fully trained engineers and application specialists with extensive experience of the tendered system. All instrumentation MUST be verified to be functioning correctly. Please confirm, providing details of experience/qualifications of installation team. |
| Insert Response |  |
| C7 | Following the installation of all equipment in the specific location (as designated by the University TSD staff), the tenderer MUST fully demonstrate the correct operation of all the equipment relating to this tender, to the satisfaction of the nominated University of Galway employee. Please confirm and detail. |
| Insert Response |  |
| C8 | Tenderers MUST provide an appropriate installation plan (if required) for the equipment. Give details of timeline for the lead-time to installation, commissioning and training (if applicable). Please confirm and detail. |
| Insert Response |  |
| C9 | The Tenderer MUST, after installation, provide copies of any relevant testing or compliance certificates for the Goods. Please confirm and detail. |
| Insert Response |  |
| Disposal & Environmental |  |
| C10 | The imaging system MUST use LED-based light sources rather than mercury or metal-halide lamps, eliminating hazardous waste and reducing environmental impact and supporting reduced energy consumption during routine imaging. Please confirm and detail. |
| Insert Response |  |
| C11 | System design MUST minimise the use of consumables and replacement components (e.g., long-life LEDs, enclosed optical pathway), reducing environmental burden and ongoing resource usage. Please confirm and detail. |
| Insert Response |  |
| C12 | The Tenderer MUST Comply with applicable EU environmental and safety regulations (e.g., RoHS, WEEE), ensuring safe end-of-life disposal. Please confirm and detail. |
| Insert Response |  |
| C13 | The microscope SHOULD have the following desirable sustainability requirements: • Low-maintenance operation: Design features that reduce the need for regular servicing (e.g., solid-state LEDs, enclosed optics), minimising waste from consumables, engineer travel and equipment downtime. • Digital documentation and training resources: Availability of online manuals, training modules and support resources to reduce printing, shipping and physical training materials. • Efficient standby operation: Ability to enter a low-power idle mode when not actively imaging, helping minimise energy usage in multi-user laboratory environments. Durable construction: Robust mechanical and optical components that extend equipment lifetime and reduce the frequency of part replacement and end-of-life recycling demands. Please confirm and detail. |
| Insert Response |  |
| C14 | Tenderers SHOULD make all reasonable efforts to minimise adverse environmental impact in the methods of services delivery and in materials used. What actions have you taken to improve efficiency and to lessen your impact on the environment? Please confirm and detail. |
| Insert Response |  |
| C15 | The tenderer SHOULD provide any other relevant measures your organisation has taken or will be taking in the future in order to maximise sustainability and reduce carbon production. Please confirm and detail. |
| Insert Response |  |

| - Ultimate Cost |  |
| --- | --- |
| D1 | Please see Appendix 2 – Pricing Schedule for details. |

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 6 months from the date of deadline for submission of tenders.

- We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process.

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |  |
| Company Name: |  | Date: |  |  |
| Address: |  |  |  |  |
| Email: |  |  |  |  |

# Confirmation Check

| Relevant Documents Completed |  |  |  |  |
| --- | --- | --- | --- | --- |
| I confirm that I have completed the relevant elements of this Tender Response Document | Yes |  | No |  |
| I confirm that I have read and accept the terms of the Contract Terms and Conditions. | Yes |  | No |  |
| I confirm that I have completed the Declaration of Bona Fides and I acknowledge that any changes in the circumstances (attaining to any party of the tendering group) confirmed in this declaration will be notified immediately to the Contracting Authority. | Yes |  | No |  |
| I confirm that I have opted to provide a completed European Single Procurement Document in place of Selection Criteria / Art. 57 | Yes |  | No |  |
| Where I have used an ESPD, I confirm that I will provide all relevant information promptly on request. | Yes |  | No |  |