| TENDER RESPONSE DOCUMENT |  |
| --- | --- |
| Open Procedure Tender deadline 2PM on 04th August 2026 |  |
| Establishment of a Single Supplier for; | Request-for-Tenders under Open (OJEU) Procedure for the Supply, delivery, installation & validation of: - Lot 1-300mm Electro-Magneto-Optical Probe Station - Lot 2-Device Parameter analyser for use with 300mm Electro Magneto-Optical Probe station for Tyndall National Institute, University College Cork (UCC) TENDER REFERENCE: UCC-2025-36 |
| Procedure | Open OJEU Procedure |
| Name of Tenderer |  |
| Contact |  |
| Email |  |
| Phone |  |
| Postal Address |  |

Contents

INSTRUCTIONS FOR COMPLETION	3

SECTION 1 – LEGAL COMPLIANCE	4

1.1	DECLARATION RE PERSONAL SITUATION (Appendix 4. RFT doc)	5

1.2	DECLARATION RE STATUTORY OBLIGATIONS	8

SECTION 2 – SELECTION CRITERIA	9

2.1	General Information Relating to the Tenderer	9

2.2	Economic and Financial Standing	11

2.3	Technical and Professional Ability	14

2.3.1 Relevant Company Experience	14

2.3.2 Technical Resources	17

2.3.3 Regulatory Compliance	17

2.3.4 Quality Assurance	19

2.3.5 Health & Safety	20

SECTION 3   RELATING TO TECHNICAL SPECIFICATION	23

APPENDIX 1: Technical Specification & Tenderer Response Document	25

Tender reference: UCC-2025-36	26

Lot 1- Technical Specification table	33

Lot 2- Technical Specification table	75

3.1	Authorised Signatory	115

SECTION 4    TENDERER RESPONSE CHECKLIST	117

4.0	Tenderer Response Checklist.	117

# INSTRUCTIONS FOR COMPLETION

Tenderers must ensure they complete this document in full.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.  Please ensure you contact the Contracting Authority and they may decide to issue an updated Tender Response Document.

This document covers the selection and award criteria as relating to the Open Procedure.

Tenderers must complete all sections.  However, tenderers must note they must meet and pass all the rules contained in the selection criteria, in order to be considered eligible for assessment, against the award criteria.

# SECTION 1 – LEGAL COMPLIANCE

Legal Compliance

Tenderers are required to complete the Declaration of Personal Circumstances as per Art. 57 of Directive 2014/24/EU as implemented by SI 284 of May 2016.

Compliance with Relevant Statutory Obligations

Tenderers are required to complete the Declaration regarding their compliance with relevant statutory obligations. Where tenderers are established and operating outside of Ireland compliance with equivalent legislation as applicable in the country of establishment / operation is required.

General Information relating to the Tenderer

Please provide contact and general information on the tendering organisation - company name, address and contact details for individual responsible for this tender and company overview as well as information on sub-contractors and consortium members if applicable.

| I confirm that I have completed the art. 57 declaration contained in this section, and I acknowledge that any changes in the circumstances confirmed in this declaration will be notified immediately to the contracting authority. | Yes |  | No |  |
| --- | --- | --- | --- | --- |
| I confirm that I am opting to respond to the selection criteria by employing a completed European Single Procurement Document. | Yes |  | No |  |

  - DECLARATION RE PERSONAL SITUATION (Appendix 4. RFT doc)

| DECLARATION RE PERSONAL CIRCUMSTANCES AS PER ART. 57 OF DIRECTIVE 2014/24/EU Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |
| --- | --- | --- | --- |
| - Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | YES | NO |
|  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 1.1.a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |
| 1.1.b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |
| 1.1.c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |
| 1.1.d | the subject of a conviction for terrorist offences or offences linked to terrorist activities, as defined in Articles 1 and 3 of Council Framework Decision 2002/475/JHA respectively or for inciting or aiding or abetting or attempting to commit an offence; as referred to in Article 4 of the Framework Decision. |  |  |
| 1.1.e | the subject of a conviction for money laundering or terrorist financing, as defined in Article 1 of Directive 2005/60/EC of the European Parliament and of the Council. |  |  |
| 1.1.f | the subject of a conviction of child labour and other forms of trafficking in human beings as defined in Article 2 of Directive 2011/36/EU of the European Parliament and of the Council. |  |  |
| Non-payment of taxes or social security obligations - Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? Note: If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved |  |  |  |

| 2.1 Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. |  | YES | NO |
| --- | --- | --- | --- |
|  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 2.1.a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union ( Award of Public Contracts) Regulations 2016 ( Statutory Instruments 284 of 2016) |  |  |
| 2.1.b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |
| 2.1.c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |
| 2.1.d | has entered into agreements with other economic operators aimed at distorting competition; |  |  |
| 2.1.e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |
| 2.1.f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |
| 2.1.g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |
| 2.1.h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the Selection Criteria; or |  |  |
|  | - has withheld such information or is not able to submit supporting documents required under Regulation 59 of the European Union (Award of Public Authority Contracts) Regulations 2016 ( Statutory Instrument 284 of 2016) Directive 2014/24/EU; or |  |  |
| 2.1.i | has undertaken to: - unduly influence the decision-making process of the contracting entity, obtain confidential information that may confer upon the Tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |
| 2.1.j | Does not come within the category of prohibited economic operators identified in Regulation ( EU) No 833/2014 of 31 July 2014 ( as amended by EU Regulation 2022/576 or any subsequent amendments to same); |  |  |
| 2.1.k | Any subcontractor, supplier or other entity on whose capacity ( enter the name of the entity her) relies as part of the Tender does not come within the category of prohibited economic operators identified in Regulation ( EU) No 833/2014 of 31 July 2014 ( as amended by EU Regulation 2022/576 or any subsequent amendments to same); |  |  |

  - DECLARATION RE STATUTORY OBLIGATIONS

| DECLARATION RE STATUTORY OBLIGATIONS |  |  |  |  |
| --- | --- | --- | --- | --- |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment/operation: |  |  | YES | NO |
|  | Employment Equality Acts 1998-2011 |  |  |  |
|  | Equal Status Acts 2000-2011 |  |  |  |
|  | National Minimum Wage Act 2000 as amended |  |  |  |
|  | Organisation of Working Time Act 1997 as amended |  |  |  |
|  | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |
|  | Disability Act 2005 |  |  |  |
|  | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  |  |  |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in the Declaration re Personal Circumstances and the Declaration re Statutory Obligations is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in these Declarations will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |
| Name of Economic Operator |  |  |  |  |
| Authorised Signatory |  |  |  |  |
| Signature |  |  |  |  |

# SECTION 2 – SELECTION CRITERIA

  - General Information Relating to the Tenderer

| Tendering Party Name: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contact Person: |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |
| Address and Postal Code: |  |  |  |  |  |  |
| Phone: |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |
| Date of Establishment, if applicable |  | VAT Registration No: |  |  |  |  |
| Legal Structure – partnership, limited company, etc. |  | Please confirm if you are an SME (Small and Medium Enterprise) as defined in Commission Recommendation 2003/361/EC |  |  |  |  |
|  |  | Yes |  |  | No |  |
| Definition as per 2003/361/EC The category of micro, small and medium-sized enterprises (SMEs) is made up of enterprises which employ fewer than 250 persons and which have an annual turnover not exceeding EUR 50 million, and/or an annual balance sheet total not exceeding EUR 43 million. |  |  |  |  |  |  |
| Name of other parties forming part of the tender submission: |  |  |  |  |  |  |
| Name: | Proposed Role |  |  | Confirmation Relevant information provided for each party |  |  |
| Member #1 |  |  |  |  |  |  |
| Member #2 |  |  |  |  |  |  |
| Member #3 |  |  |  |  |  |  |

When submitting a tender response, please ensure confirm Acceptance of the following Terms and Conditions.

| Confirmation of Acceptance of Contract Terms & Conditions (Appendix 5 within the RFT) | Yes |  | No |  |
| --- | --- | --- | --- | --- |

  - Economic and Financial Standing

| FINANCIAL CAPACITY INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Irish Tax Clearance |  |  |  |  |  |  |  |  |  | Please confirm YES/NO |  |  |
| I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Ireland’s Revenue online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  |  |  |  |  |  |  |  | Yes |  |  |
|  |  |  |  |  |  |  |  |  |  | No |  |  |
| Tenderer Name: |  |  |  |  |  |  |  |  |  |  |  |  |
| Tenderer PPSN/ Tax Reference Number |  |  |  |  |  |  |  |  |  |  |  |  |
| Access Number |  |  |  |  |  |  |  |  |  |  |  |  |
| OR I confirm that I hold a current valid paper Irish Tax Clearance Certificate (generally relates to Non-Residents) |  |  |  |  |  |  |  |  |  |  |  |  |
| Registration Number |  |  |  |  |  |  |  | Certificate Number |  |  |  |  |
| OR I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  |  |  |  |  |  |  |  | Yes |  |  |
|  |  |  |  |  |  |  |  |  |  | No |  |  |
| Turnover |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following turnover to be considered for the contract. |  |  |  |  |  |  |  |  |  |  |  |  |
| Turnover Requirement: |  |  |  |  | At least the minimum turnover value stated below for each lot for each of the previous 3 financial years: |  |  |  |  |  |  |  |
| Financial Year |  |  |  |  |  |  | 2024 | 2023 |  |  | 2022 |  |
| Month for Financial Year End (e.g. July) |  |  |  |  |  |  |  |  |  |  |  |  |
| Turnover |  |  | Minimum Turnover |  |  |  |  |  |  |  |  |  |
| Turnover € (Lot 1) |  |  | €730,000 |  |  |  |  |  |  |  |  |  |
| Turnover € (Lot 2) |  |  | €250,000 |  |  |  |  |  |  |  |  |  |
| Turnover € (Lot 1 & Lot 2) |  |  | €980,000 |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide copies of audited financial statements/accounts promptly on request. NOTE #1: In the case of sole traders or partnerships this condition may be satisfied by a letter of confirmation from a senior partner. |  |  |  |  |  |  |  |  |  | Yes |  |  |
|  |  |  |  |  |  |  |  |  |  | No |  |  |
| Provision of the most recent three years of audited financial statements / accounts. |  |  |  |  |  |  |  |  |  |  |  |  |
| Financial Year |  | 2024 |  |  |  | 2023 |  |  | 2022 |  |  |  |
| I confirm that I will provide evidence of turnover promptly on request. |  |  |  |  |  | Yes |  |  | No |  |  |  |
| Insurances Note – UCC reserves the right to determine whether the insurance evidence provided is sufficient to demonstrate compliance. Where certificates or broker letters do not clearly set out all required information – including limits, basis of cover, excesses, business description or indemnity to principal wording – the tender may be deemed non-compliant. UCC also reserves the right to request copies of relevant policy endorsements (e.g., indemnity to principal, additional insured wording) to verify compliance. |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following insurances in place |  |  |  |  |  |  |  |  |  |  |  |  |
| Insurance Type |  |  |  | Level in Place |  |  |  | Details of Any Excess |  |  | Expiry Date |  |
| Employers Liability Required Level: €13 Million (on an each and every occurrence basis) - Euro or foreign currency equivalent |  |  |  | € |  |  |  |  |  |  |  |  |
| Public Liability Required Level: €6.5Million (on an each and every occurrence basis) - Euro or foreign currency equivalent |  |  |  | € |  |  |  |  |  |  |  |  |
| Product Liability Required Level: €6.5Million (on an aggregate basis) – Euro or foreign currency equivalent |  |  |  | € |  |  |  |  |  |  |  |  |
| Professional Indemnity Required Level: €6.5Million (each and every claim or in the annual aggregate) - Euro or foreign currency equivalent [Note- For claims made basis- Tenderers must confirm; i) the retroactive date; ii) that the min level of cover will be maintained for at least 6 years following completion of the contract] |  |  |  |  |  |  |  |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that if successful, where the levels required under the contract are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place. |  |  |  |  |  |  |  |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request: - evidence of insurances in place or - letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  |  |  |  |  |  |  |  |  |
| Requirements for ALL insurance certificates: - Full legal name of insured entity and any subsidiaries involved in the contract. - Business description, confirming the policy covers the activities associated with the UCC contract. - Reference to the tender (e.g., “Tender Ref #– University College Cork”). - Policy details, including: - Policy type and number - Insurer name - Start and expiry dates - Limits of indemnity, specifying whether limits apply per occurrence or in the aggregate - Basis of cover (e.g., occurrence or claims‑made; retroactive date if claims‑made) - Excess / Deductible / SIR – explicit euro or foreign currency equivalent amounts must be stated - Territorial limits and jurisdiction - Confirmation of any contract‑specific requirements, including: - Indemnity to Principal / Specific Indemnity to UCC |  |  |  |  |  |  |  |  |  |  |  |  |

  - Technical and Professional Ability

### 2.3.1 Relevant Company Experience

Minimum Level Required: Tenderers must demonstrate successful delivery of three (3) previous comparable projects / contracts involving the suite or part thereof below, which have been delivered in the last 5 years.

Tender Equipment Name:

Lot 1- 300mm Electro-Magneto-Optical Probe Station and

Lot 2- Device Parameter analyser for use with 300mm Electro-Magneto-Optical Probe station

– Please demonstrate expertise & track record in the installation and implementation of a similar system or part thereof.

The Tenderer MUST provide the relevant reference sites of where at least (3) similar systems have been installed per Lot (or 3 examples of the combined lots 1 & 2 if tenderer is submitting for both lots).

| Reference contract #1 |  |
| --- | --- |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. (Mere affirmation is not sufficient). |  |
| Reference contract #2 |  |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. (Mere affirmation is not sufficient). |  |

| Reference contract #3 |  |
| --- | --- |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. (Mere affirmation is not sufficient). |  |

- Relevant Company Experience

### 2.3.2 Technical Resources

Tenderers must demonstrate they have at their disposal effective and efficient manpower, skills and technical resources available to them to support the delivery, installation & delivery of the goods.

Please complete the form below to demonstrate that the tenderer has at their disposal effective and efficient manpower, skills and technical resources available to them to support the supply, installation & delivery of the goods. Please include details of names of staff and third parties.

### 2.3.3 Regulatory Compliance

Supply, Delivery and Validation of: Lot 1- 300mm Electro-Magneto-Optical Probe Station and Lot 2- Device Parameter analyser for use with 300mm Electro-Magneto-Optical Probe station to Tyndall National Institute, University College Cork (UCC). must comply with all Irish and European relevant regulatory requirements – including but not limited to the following. - Must be clearly CE marked. If supplying through the UK, please state location of awarding body of the CE marking. As in light of Brexit all UK suppliers, must provide evidence that the CE mark has been certified through an EU Notified Body. (if applicable). - Electrically Safety Class rated

Tenderer’s response

| ### 2.3.4 Quality Assurance Tenderers must demonstrate that they have adequate measures in place to ensure the delivery of a quality service. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Quality Assurance Systems |  |  |  |  |  |
| Do you operate a quality management system? | Yes |  | No |  |  |
| Name of Manager responsible for Quality |  |  |  |  |  |
| If so, is it 3rd party certified or in-house? | 3rd Party Certified |  |  |  |  |
|  | In-House |  |  |  |  |
| If 3rd party certified, please provide the following information: | Date of most recent certification |  |  |  |  |
|  | Scope of Certification |  |  |  |  |
|  | Name of Certification Body |  |  |  |  |
|  | Evidence will be provided on request |  | Yes |  |  |
|  |  |  | No |  |  |
| If in-house, please provide summary of system: |  |  |  |  |  |
| Tenderers must demonstrate a commitment to quality in the delivery of their services either through evidence of an in-house quality assurance system or via third-party certification directly related to the required services. | Please comment |  |  |  |  |
| ### 2.3.5 Health & Safety |  |  |  |  |  |
| Provide a copy of your organization Health & Safety Policy and Statement |  |  |  |  |  |
| Tenderer’s Response |  |  |  |  |  |

##### 2.3.6 Tenders Statement

Appendix 3 – Tenderers Statement (Appendix 3. RFT doc)

[Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer.]

#### TENDERERS’ STATEMENT

TO: University College Cork. (the “Contracting Authority”)

RE: Request-for-Tenders under Open (OJEU) Procedure for the Supply, Delivery and Validation of:

Lot 1- 300mm Electro-Magneto-Optical Probe Station and

Lot 2- Device Parameter analyser for use with 300mm Electro-Magneto-Optical Probe station

to Tyndall National Institute, University College Cork (UCC).

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Goods Contract, we hereby agree and declare the following:

- We understand the nature and extent of the Goods required to be delivered as described in Appendix 1 to the RFT.

- We accept all of the Terms and Conditions of the RFT, the Goods Contract, and the Confidentiality Agreement and agree if awarded a Goods Contract, to execute the Goods Contract in Appendix 6 to the RFT and the Confidentiality Agreement at Appendix 7 to the RFT.

- We accept all the Selection and Award Criteria as set out in the RFT.

- We agree to supply the Contracting Authority with the Goods in accordance with the RFT and our Tender.

- We agree that, if awarded any Goods Contract we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law.

- We confirm that we have complied with all requirements as set out in the RFT.

- We confirm that all prices quoted in our Tender will remain valid for the period of time commencing from the Tender Deadline, specified at paragraph 2.10.3 of the RFT.

- We shall, if awarded any Goods Contract under the RFT, have in place on the Effective Date of the Goods Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT.

- We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request.

#### SIGNED	COMPANY

#### (Authorised Signatory)

#### PRINT NAME	Address

#### Date

# SECTION 3   RELATING TO TECHNICAL SPECIFICATION

Tenderers MUST complete this Tender Response Document (TRD), including Appendix 1. Technical Specification

##### Notes for Completion of the Tender Response Document

Note 1: Only tenders which meet the Selection Criteria and are confirmed as valid and responsive to the specifications set out in this document will be evaluated against the award criteria.

Note 2: Tenderers should ensure that they have submitted sufficient relevant information to allow their tenders to be assessed under each of the award criteria set out in the Technical Specification table below.

Note 3: The contract will be awarded on the basis of the most economically advantageous compliant tender

Note 4: Tenderers should ensure in their tenders that they provide detailed information in respect of all aspects of the contract award criteria as stated above.  This will enable the awarding authority to assess fully the extent of their offers.

Note 5: Overall minimum requirements for award criteria: Tender submissions must achieve the minimum score as listed in the Award Criteria table in the RFT.

If a tender fails to achieve the minimum score for any of the selection criteria, the proposal is eliminated and not evaluated on the award criteria, Total Cost of Ownership. No minimum score is applicable to ‘Cost’.

Note 6: Budget Available

Supply, Delivery and Validation of:

Lot 1- 300mm Electro-Magneto-Optical Probe Station and

Lot 2- Device Parameter analyser for use with 300mm Electro-Magneto-Optical Probe station

to Tyndall National Institute, University College Cork (UCC).

- Please note that the budget available is NO greater than:

Lot 1: €365,000 ex VAT.

Lot 2: €125,000 ex VAT.

This is to include all Costs (Capital Costs and associated Costs) covered within the total Ultimate Cost in Appendix 2.

Note: The Contracting Authority reserves the right to exclude submissions from tenderers which exceed the maximum budget available as stated above.

Note:

UCC reserves the right to buy additional options available with this equipment, at a later stage should the budget become available. This may include OEM accessories and/or consumables specifically required for use with the equipment.  This option will be available for the lifetime of the equipment.

UCC will consider tenders offering new instrumentation, or instrumentation which has been used for demonstration/ purposes by the manufacture/distributor/supplier- or a refurbished instrument. The Goods/Instrument(s) must be functional as new and be delivered with a full mechanical and electrical warranty.

If the Instrument is ex demo it MUST be no more than three (3) years old, and all parts and components MUST be available for at least the next ten (10) years. It MUST include a full refurbishment history with appropriate calibration certificates and full 3-year warranty.

Please refer to the Appendix 2 to complete details of current consumables available relevant to this equipment requirement.

Tenders are asked to complete their responses to Award Criteria A, B, C, D, E & F in the section below.

Tenderers MUST provide all information relating to the instrument and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document. Yes/No answers will not suffice in most cases.

# APPENDIX 1: Technical Specification & Tenderer Response Document

Appendix 1 Requirements

| Product Description | QTY |
| --- | --- |
| Lot 1 - 300mm Electro-Magneto-Optical Probe Station | 1 |
| Lot 2 - Device Parameter analyser for use with 300mm Electro Magneto-Optical Probe station | 1 |

The tender MUST supply all related items to this tender, listed in the product description in a single delivery.

| Contracting Authority: | University College Cork (UCC) |
| --- | --- |
| Proposed: | Tenderers to state models. Please type here |
| Lot 1 - 300mm Electro-Magneto-Optical Probe Station |  |
| Lot 2 - Device Parameter analyser for use with 300mm Electro Magneto-Optical Probe station |  |

Request-for-Tenders under Open (OJEU) Procedure for the supply delivery, installation & validation of:

- Lot 1-300mm Electro-Magneto-Optical Probe Station

- Lot 2-Device Parameter Analyser for use with 300mm Electro Magneto-Optical Probe station

for Tyndall National Institute, University College Cork (UCC)

Tender reference: UCC-2025-36

Introduction

University College Cork (UCC)

University College Cork (UCC) is an award-winning institution with a history of independent thinking stretching back over 170 years. UCC is proud to be ranked in the top 2% of universities in the world. This beautiful university opened its gates to just 115 students in 1849. They now have a student population of over 21,000.

Tyndall National Institute

Tyndall National Institute is a leading European research centre in integrated ICT (Information and Communications Technology) hardware and systems. Specialising in both electronics and photonics – materials, devices, circuits and systems. As the national institute for photonics and micro / nano electronics and a research flagship of UCC, the institute employs 600 researchers, engineers and support staff, including 120 full-time graduate students. Together we generate over 250 peer-reviewed publications annually. Our institute hosts the only full Silicon CMOS, Micro-Electro Mechanical Systems (MEMS) and III-V Semiconductor Wafer fabrication facilities and services in Ireland. We are experts at designing, miniaturising and prototyping products to drive connectivity. At Tyndall, we deliver research and innovation in Europe with local and global impact. For example, in the Horizon 2020 Research Framework, we participated in 56 projects with a total value of €370m, including significant co-funding by industry partners.

Funding Acknowledgement

This item is to be purchased through CHIPS JU and IDA.

UCC reserves the right to buy additional options available with this equipment at a later stage should the budget become available. This may include OEM accessories and/or consumables specifically required for use with the equipment.  This option will be available for the lifetime of the equipment.

Please refer to the RFT document for details regarding additional drawdown requirements.

Budget Available

Please note that the budget available for this total requirement is no greater than:

Lot 1: €365,000 ex VAT.

Lot 2: €125,000 ex VAT.

Note: The Contracting Authority reserves the right to exclude submissions from tenderers which exceed the maximum budget available as stated above.

Summary of Requirements

Tenders are sought for the Supply, Delivery and Validation of:

Lot 1- 300mm Electro-Magneto-Optical Probe Station and

Lot 2- Device Parameter analyser for use with 300mm Electro-Magneto-Optical Probe station

to Tyndall National Institute, University College Cork (UCC).

Within the CHIPS-JU NanoIC pilot line Tyndall is developing novel materials for embedded DRAM and 3D integration for future leading-edge integrated circuits. In NanoIC, Tyndall’s flexibility into materials integration will allow for rapid, short-cycle screening to reduce the cycle time in identifying and integrating highly performing materials to carry forward into IC development. Our role is to provide agile wafer scale nanofabrication and processing beyond silicon for the integration of selected new materials – Transition Metal Dichalcogenides (TMDs) and oxide semiconductor (OSC) – and FET device architectures

The NanoIC teams at Tyndall will synthesize thin film TMDs and OSCs and will fabricate and test a wide range of materials and devices. Other activities may include compound semiconductors devices, wide band gap materials, photonic, magnetic or ferroelectric materials. The electrical properties and performance of these materials/devices are of significant importance. Consequently, a multi-function 300mm Electro-Magneto-Optical Probe Station (Lot 1) is required to study the electrical properties of these materials and devices under a range of temperature conditions. The Probe station, in combination with the Device Parameter analyser (Lot 2), will enable users to perform electrical measurements (current voltage both in DC and in pulsed mode) at different temperatures and under magnetic field or illumination as required.

To assist the manufacturer, Tyndall has drawn up electrical, thermal and mechanical specifications for this system, detailed in subsequent sections, which are considered as targets to be achieved by the manufacturer. The specifications detailed in this document are for a versatile Semi-Automatic 300mm probe station, which will characterise thin film materials and devices.

The equipment must fulfil the minimum specifications listed in the Technical Requirements table below.

The equipment will be supplied and maintained at the following site:

- Lab A2.2.13

- Tyndall National Institute University College Cork.

Requirements & Specification

Tenderers MUST provide all information relating to the instrument and the associated consumables in the response table comment boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: Appendix 2 – Pricing Schedule.

Please refer to the Appendix 2 to complete details of current consumables available relevant to this equipment requirement.

UCC will consider tenders offering new instrumentation, or instrumentation which has been used for demonstration/ purposes by the manufacture/distributor/supplier- or a refurbished instrument. The Goods/Instrument(s) must be functional as new and be delivered with a full mechanical and electrical warranty.

If the Instrument is ex demo it MUST be no more than three (3) years old, and all parts and components MUST be available for at least the next ten (10) years. It MUST include a full refurbishment history with appropriate calibration certificates and full 3-year warranty.

Technical Specification

This is the minimum specification required.  All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.

Additional functionality should be identified in the comments section to facilitate scoring under the award criteria.

Programme Requirements

  - Tenderers MUST note that contractors do not have exclusive access and will be required to work around and accommodate other suppliers and contractors who will be active in the building and laboratories simultaneously.

  - UCC working hours are Monday to Friday from 9.00am to 5.00 pm (Business Hours). Access to the site outside the Business Hours shall at all times be arranged through the appointed representative in UCC if essential and where it can be facilitated.  The delivery location is

Room A2.2.13, Tyndall National Institute, Ireland.

Note: Working outside Business Hours may be required to comply with work programmes. Where this becomes necessary as a result of changes to the start dates set out above, all reasonable efforts will be made to accommodate same.

  - Contractors are responsible for security of their own equipment, materials, etc.

Prior to any deliveries, the successful tenderer(s) (and/or relevant sub-contractors, etc.) will be required to meet the representatives from UCC to clarify the requirements for Health & Safety, site access, services etc. to ensure compliance with standard operating procedures, and other regulatory/ statutory requirements as appropriate.

##### Specification Required & Tenderer Response

To be completed by Tenderer

| Product Description | QTY | Tendering (Y/N) |
| --- | --- | --- |
| Lot 1: 300mm Electro-Magneto-Optical Probe Station | 1 |  |
| Lot 2 - Device Parameter analyser for use with 300mm Electro Magneto-Optical Probe station | 1 |  |

Tenderers MUST provide all information relating to the instrument and the associated consumables in the blue response boxes below. Responses will be scored accordingly by the Evaluation team as set out in the Award Criteria in the RFT document.

Instructions for completion:

3.5.1	Tenderers MUST provide all information relating to the instruments and the associated       consumables in the blue response boxes below.

3.5.2	Please ensure all cost submissions are kept separate and included in the Excel file entitled:          Appendix 2 – Pricing Schedule

3.5.3	NOTE: where the Tenderer is supplying published numerical data in answer to the tender questions, citing the source of that data would be required (i.e. data sheet, third party published results etc.

# Lot 1- Technical Specification table

| UCC-2025-36 RFT for the supply delivery, installation & validation of: Lot 1 - 300mm Electro-Magneto-Optical Probe Station for Tyndall National Institute, University College Cork (UCC) |  |
| --- | --- |
| Proposed System: (Tenderers please state model type here) |  |
| REQUIREMENT |  |
| Technical Merit (Equipment Specifications) |  |
| Provide clear details of the system’s technical specifications |  |
| Ref | - General Functional Requirements |
|  | The Tenderer MUST supply a 300 mm Electro-Magneto-Optical manual probe station. Please confirm and detail stating the make, model and full specifications of the proposed unit. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. Responses MUST state if the system is New (N) or Ex Demo (Ex D). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST state details of ex demo/used systems. If the Instruments are ex-demo they MUST be no more than three (3) years old, and all parts and components MUST be available for at least the next ten (10) years. They MUST include a full refurbishment history with appropriate calibration certificates. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station and associated ancillary equipment e.g. compressor/chiller MUST fit into a total laboratory space area of: 2.4m x 1.7m x 2.8m (in meters, L, W, H) space to laboratory ceiling. [Note- 0.75 x 0.75 x 2.8 (in meters, L, W, H) of the total laboratory space will be required to house Lot 2- Device Parameter Analyser]. Please confirm and detail. |
| Performance |  |
|  | The probe station MUST have a temperature chuck to enable electrical measurements at different temperature. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The system MUST have an advanced 300 mm thermal chuck with a temperature range as follows: A range of -60 to +200 °Celsius with accuracy better than +/- 0.5°Celsius. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The system MUST have an advanced 300 mm thermal chuck with a temperature range as follows: uniformity across the chuck better than +/- 1.0°Celsius. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The chuck MUST be antimagnetic with residual magnetism +/-30µT Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The chuck MUST include: - Sample vacuum areas for single coupons (min. 5 x 5 mm), 75 mm, 150, 200, up to 300 mm wafers. - Kelvin Triaxial (female) force and sense chuck connection - Fully integrated, guarded chuck design to provide ultra-low noise measurements. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The chuck current leakage with a 10V bias applied MUST be: < 15 fA at 25oC < 30 fA at -60oC < 30 fA at 200oC - The force to guard <600pF - The guard to shield capacitance < 2000pF Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The chuck MUST have - 2 auxiliary chucks for calibration substrates - Accurate X, Y and Z chuck movement and chuck rotation. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station MUST include illumination capability to allow for electrical measurement under optical excitation. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station MUST be capable to apply out of plane magnetic field during electrical testing. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station MUST provide - a shielded sample/wafer environment from EMI & light for ultra-low noise measurements. - EMI shielding > 30 dB (at 1kHz – 1MHz) - Light shielding > 130 dB - Dry air supply to ensure correct operation at lower temperatures down to -60C. - The wafer chamber with capability to switch from dry air ambient to pure nitrogen to enable the study of oxygen sensitive materials. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The required compressed air and nitrogen flow rates MUST be specified. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station MUST be supplied with a dark box to maintain a light tight sample environment when a probe card is used in conjunction with the magnet. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station MUST be supplied with an Anti-vibration table: The system MUST be equipped with an adjustable air damping anti vibration table to isolate the probe station from noise induced by mechanical vibrations in the lab. Vibration isolation is required as the system will be in a normal laboratory environment containing other test and measurement equipment. Isolation provided MUST be consistent with the requirements to deliver the specified performances. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station MUST be supplied with a Bridge mount: The system MUST be equipped with a bridge mount capable of accurately positioning alternatively the microscope or the magnet above the probed device. The bridge mount MUST allow translation of the microscope and the magnet above the probed device easily. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Microscope and camera: The system must be equipped with a microscope and a high-resolution digital imaging system. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Microscope and camera: The microscope MUST have a 15X objective lens with working distance >45mm and an optical zoom range: 1.25x - 15.0x Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Microscope and camera: The camera must be able to achieve picture resolution of 8MP or better. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Probe Manipulators: The system MUST include a total of 6 x manipulators: - 4 x DC/low frequency manipulators with Kelvin triaxial probe holders for ultra-low current (<10 fA) I-V and - 2 x precise capacitance (<95 fF residual capacitance) C-V measurement manipulators Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Probe Manipulators: The system MUST include - Two RF manipulators and associated probe arms. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Probe Manipulators: The system MUST include ultra, low-noise triaxial cables required for kelvin measurements. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Probes: The system MUST be supplied with 10 low-noise, coaxial tips. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Probe Card: The system MUST include a probe card adapter for standard (4.5"x 11") probe cards to enable testing devices/circuits with multiple terminals and to provide enough clearance for magnet positioning close to sample surface. The Tenderer MUST provide guidelines regarding the probe card adapter current, voltage and frequency achievable measurement ranges. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Optical excitation: The system MUST be capable of coupling an external optical source through an optic fibre and illuminate the sample under test at varying wavelengths. The holder MUST be able to accommodate fibres up to 1mm in diameter and allow the monochromated light to be guided through an optic fibre mounted on a precision positioner to illuminate the desired location on the sample. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Magnetic field: The System MUST include a magnet capable of projecting a magnetic field up to 0.3T normal to the sample surface. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Magnetic field: The system MUST be able to accurately position the magnet over the device under test to accurately apply a field +/-0.3T (up or down) normal to the sample surface. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Magnetic field: The magnet positioning accuracy must be consistent with a magnetic field accuracy of +/-5% on the sample surface. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST state when the equipment model was introduced and when the system is likely to be superseded. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If any tools are required for the operation, e.g. power supply (or maintenance if required), these SHOULD be supplied as part of the system. Should they be available commercially elsewhere, they MUST be clearly described and MUST be listed as optional within the Pricing Schedule 2. Please indicate any associated upgrade options price, as an optional to purchase, in Appendix 2 – Pricing Schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority at any time up to 12 months from contract signing and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Roadmap & Flexibility: As with all pieces of equipment in UCC, the ability to upgrade in the future to add additional functionality not currently specified is very important, i.e., the tool should have a future roadmap of development. Please confirm and detail. Please provide details describing any future possible upgrades for the 300 mm probe station and provision for these. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Hardware/Software Requirements |  |
|  | System PC/ Workstation: PC/Workstation(s) MUST be included with the equipment and MUST include sufficient storage (i.e. greater than 4TB). Tenderers MUST list the specification of the PC/Workstation(s). Please confirm and detail, indicating the Cost (if any) in Appendix 2 - Pricing Schedule. Should the proposed system need to be controlled by an external computer, it MUST be compatible to run on a software based on Windows 10 or later. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station MUST include the necessary drivers and/or software for PC control. Please detail the software provided and any requirements for operation. If drivers are provided, please clarify which software platforms they are designed to be compatible with. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The probe station MUST have: - Software must have minimum security vulnerabilities and minimise the need for frequent upgrades. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please provide details describing any future possible software or firmware upgrades and provision for these. Please indicate any associated upgrade options price, as an optional to purchase, in Appendix 2 – Pricing Schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority at any time up to 12 months from contract signing and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Software updates to the system, which become available during the life of the contract, MUST be provided free of charge during the warranty period. Please confirm and detail and update Appendix 2 with any associated costs. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | All necessary software and perpetual licenses MUST be provided (unless the equipment is compatible with some of open-source scripting languages) as required for operation of instrumentation and analysis of results. Please confirm and detail and update Appendix 2 with any associated costs. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Minimum Host Computer Specifications: Tenderers MUST specify the minimum host computer specifications to run the proposed software. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Quality and Health & Safety |  |
| QC & Health & Safety |  |
|  | All goods supplied in accordance with the contract MUST be of good construction, sound material, robust, free of design defects and manufactured to be safe and without risk when properly used. Please outline and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Compliance with all relevant European health and safety standards, quality assurance and protocols are MANDATORY. Please confirm and detail. |
|  | Goods and Services MUST comply with all necessary standards, i.e. Irish Standards Institution, European Union, CE, International Standards Organisation or other applicable standard the Tenderer MUST, on the request of the buyer, provide a copy of the standard free of charge. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If there are manufacturing defects known to the tenderer, they MUST identify such defects and state their policy regarding the repair of known defects. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The equipment operation MUST be FAT (Factory Acceptance Test) validated prior to shipment to Tyndall to ensure it meets performance specifications. Validation certificates MUST be provided prior to shipment to Tyndall. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Site Acceptance Test After functional acceptance at Validation, the Site Acceptance Test (SAT) of the equipment shall be done jointly by engineers assigned by Tyndall and by the tenderer. A final acceptance document shall be prepared with the following content: - The purchase order reference. - The procurement specification reference. - A list of outstanding issues, including an action time frame for resolving these issues and the division of responsibility for this work. - The signatures and functions of the accepting engineers on each side, the Tyndall, Tenderer’s appointed engineers. - The date of acceptance. - Serial number of the equipment. If the items in the list are satisfied, the equipment will be accepted. If one or more items are not accepted, the tenderer will be required to rectify the deficiency or, alternatively, a partial acceptance may be agreed combined with an extension of the warranty period. Terms shall be negotiated between Tyndall and tenderer based on the results of the acceptance tests. If there is a serious problem on the system, a mutually agreed plan of correction will be generated to correct the problem. Tyndall may waive any portion of the plan. The plan may include the replacement of the system at the discretion of the tenderer. Please confirm compliance. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST advise if there are any hazards associated with the operation or maintenance of this instrument? (E.g. manual handing, chemicals, gases etc.). Compliance with all relevant health and safety standards, quality assurance, CE markings and analytical protocols is MANDATORY. Please detail and confirm. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer SHOULD, as part of the submission, include copies of any relevant testing or compliance certificates for the Goods. Confirm compliance and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Warranty/Spare Parts, After-Sales and Training Support |  |
| Warranty & Customer Support |  |
|  | A minimum warranty of 3 year MUST be supplied with the probe station from Validation & SAT and MUST be included as part of the quoted price, to include all hardware, software, spare parts, labour, call outs (24 hour), visit, travel and parts, Note: Longer Warranty period is preferable. Please state warranty period provided. Detail specific inclusions and exclusions of warranty. Preventative Maintenance MUST be provided for one year if necessary. Provision of additional warranty is desirable. Please confirm and detail and outline breakdown in Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If the equipment proposed is ex-demo, A minimum warranty of three years warranty MUST be supplied with the probe station from Validation & SAT and MUST be included as part of the quoted price, to include all hardware, software, spare parts, labour, call outs (24 hour), visit, travel and parts, Note: Longer Warranty period is preferable. Please state warranty period provided. Detail specific inclusions and exclusions of warranty. Preventative Maintenance MUST be provided for one year if necessary. Provision of additional warranty is desirable. Please confirm and detail and outline breakdown in Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If UCC decide to extend the warranty period, Tenderers are asked to outline cost of any additional warranty. The Tenderer MUST state the details of any extended warranty and details of preventative maintenance and calibration and servicing check and any associated costs. Detail specific inclusions and exclusions of extended warranty with respect to: the probe station for Years 4,5 & 6 Please include price per annum, details of coverage and maximum term of coverage. Please include price per annum for additional years of coverage and maximum term of coverage. Please confirm, detail and also specify what is included in the warranty options outlined in the Appendix 2 pricing schedule. Detail specific inclusions and exclusions of extended warranty. Please confirm detail and specify what is included in the warranty options outlined, as optional to purchase, in the Appendix 2, Pricing schedule. Note: Pricing MUST only be included in the Further Options – Optional to Purchase, Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please provide separately a list and approximate cost of any consumable items/parts that are to be replaced during each service visit. Please update Appendix 2 Pricing Schedule – Consumables Parts tab with detail. Prices provided for consumable items/parts must be valid for a minimum of one (1) year from effective date of contract. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please advise of any items/part of the instrument that require routine replacement during the normal lifetime of the instrument, the timeframe in which they require replacing and if such items will be supplied with the instrument or as part of the warranty. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A list of checks carried out at Preventative Maintenance MUST be provided, along with any information about which (if any) parts are routinely replaced. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide a description of the arrangements and lead times for guaranteed responses times in the event of equipment breakdown under warranty both in relation to phone support, online/remote support, the provision of technical support, annual service/ maintenance, emergency call-out response, and spare parts. Please detail lead time for arrival on site by a fully trained service engineer during the warranty period (s) and post-warranty. This response time SHOULD be no more than 24 hours via phone call or remote service, and within seven (7) working days for onsite repair. Please confirm and detail information on remote diagnostic / Telecom-based service support. Please confirm detailing response times. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Outside of Warranty Period: The Tenderer MUST provide typical prices and lead time for servicing and repairs (including travel, subsistence and price per day) charged outside a warranty/ maintenance contract. Detail specific inclusions and exclusions outside of warranty period. Please confirm and detail. Please indicate the price in Appendix 2 – Pricing Schedule. This is optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Further Options – Optional to Purchase, Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If UCC decide to take out a Service Level Agreement, tenderers are asked to outline Options for subsequent years. Detail specific inclusions and exclusions of Service Level Agreement with respect to: the probe station Years 4,5 & 6 Option to include: - On-going calibration to appropriate schedule - preventative maintenance - remote diagnostics of faults, if applicable - repair of the Instrument in case of breakdown) Tenderers are asked to outline full details of what is included and to outline cost of maintenance and calibration for each year option offered in Appendix 2, Pricing Schedule. Please confirm detail and specify what is included in the Service Level Agreement options outlined, as optional to purchase, in the Appendix 2, Pricing schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST have dedicated fully trained and qualified service engineering specialists at their disposal who can respond to all service calls and any form of breakdown call. This remote response time SHOULD be the same day via phone call or remote service, and within 7 working days for onsite repair. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| After-Sales, Repair & Breakdown Support |  |
|  | Please outline the company’s Customer Support Proposal and escalation policy. Tenderers MUST describe what process is in place for escalating a call-out, if a breakdown cannot be resolved on the first visit. Please confirm detail and specify what is included in Customer Support Proposal, as optional to purchase, in the Appendix 2, Pricing schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST indicate the arrangements for and specify the level of experience of applications specialists and engineers who will be in charge of after sales service. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Same day phone/online helpdesk support MUST be provided. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender MUST specify the lead-time for Customer Support during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender MUST provide onsite response, when required, within 7 working days. Please specify the lead-time for Onsite Support during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender SHOULD specify the lead-time for repairs during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Warranty commences post full installation and Final Tool Acceptance and SAT Validation by nominated UCC representative. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Replacement and Spare Parts & Equipment Consumables |  |
|  | Please indicate the lead-time for parts during the warranty period(s) and post-warranty, with and without service contract options. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | In event of a system breakdown, the tenderer MUST state the availability and guaranteed minimum response time for spare and replacement parts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Spare Parts: Availability of all spare parts SHOULD be maintained ten (10) years after the warranty period. Please confirm and detail. Please indicate the availability and lead time of spare part stock centres, with maximum lead-time for any part. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Critical spares MUST be held at a location no more than 48 hours delivery time from Tyndall. Please confirm and detail |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Recommended spares lists: If applicable, should be provided by Tenderer. E.g. typical consumables, high-turnover parts. The tenderer MUST supply, where information is available, to the buyer a schedule of spare parts showing in tabular form or, otherwise, the following information on OEM parts: - Names and address of all OEM suppliers - Part Name - Part Description - OEM Supplier Part Number. This SHOULD include typical consumables and high turnover parts. Prices provided for consumable items/parts MUST be valid for a minimum of one (1) year from effective date of contract. Please detail in Appendix 2, Pricing Schedule- Consumable Parts tab. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. This is for information only and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Consumable Parts: Sufficient consumable parts MUST be supplied for the initial installation, commissioning and training. These consumable parts MUST be provided free of charge and at the point of commissioning. A full one year of consumable parts MUST also be supplied post-commissioning. Prices provided for consumable items/parts MUST be valid for a minimum of one (1) year from effective date of contract. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. (Consumables Tab) Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide confirmation of the availability of service for at least five (5) years after commissioning. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Training and Technical Support Proposal |  |
|  | The tenderer MUST specifically outline the level and duration of application support offered with the instrument where “application support” refers to the expert technical support (on-line or on-site) available from the manufacturer for using the instrument in novel research applications. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Following the delivery of the probe station, the successful tenderer MUST provide a minimum of one day, on-site for a minimum of two (2) Laboratory staff by fully qualified personnel immediately after installation. Training MUST be completed within three (3) Weeks, or earlier, of delivery. Both Validation and demonstration/training of equipment MUST conducted on same day. The training MUST include: - Equipment set up - Ongoing necessary maintenance - Daily Operation - Site Acceptance Test (SAT). Please specify if training is onsite or online. Please confirm and detail and update Appendix 2 Pricing schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The training MUST incorporate: SAT and Validation tests (this can be delivered on-site or online) following the equipment installation at Tyndall. The (Site Acceptance Test) will ensure accuracy and overall performance of the probe station has not been affected by transport and shipping. These tests will also be used for on-site training purposes. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers are requested to provide a summary of scheduled maintenance and calibration required to keep instrument working to the full specification as per manufactures recommendations. |
|  | Relevant training and maintenance manuals in English MUST be provided in soft copy with the system. Please confirm and detail. |
| - Delivery Plan |  |
| Lead Time & Delivery |  |
|  | The probe station SHOULD be delivered within twelve (12) weeks of receipt of Purchase Order. Please state the exact number of weeks for delivery. A range of weeks is not acceptable. (Note that shorter delivery time is highly desirable and will be scored favourably). - Tenderers must provide full details of lead times for the delivery of equipment including installation, commissioning & validation (if applicable), from receipt of the purchase order. - Tenderers must provide the facility requirements to UCC a minimum of four (4) weeks in advance of the equipment delivery. - Tenderers must provide advance notice, two (2) weeks of any requirements for tool unloading, number of containers and weight of each. Height, length and width of containers/ crates to be provided as well. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Delivery MUST include all shipping charges, insurance, customs clearance and all aspects as outlined in DAP (Delivery At Place) incoterms. Delivery must be to the Tyndall National Institute: Goods In/Goods Out Dept Dyke Parade Cork Ireland T12 R5CP Advance notice MUST be given, two (2) weeks of any requirements for tool unloading, number of containers and weight of each. Height, length and width of containers/crates MUST also be provided. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Footprint: The tenderer MUST provide the following information: - The footprint for tool (or tools) and all ancillary items. E.g. instrument racks / units / pumps / desks - List of services required to run and operate the tool. E.g. compressed air, vacuum, electrical supply, N2, cooling water - Specifications for room environment. E.g. Temperature, vibration, humidity Tenderers MUST specify the access clearance requirements, if necessary. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of actions that have been taken to ensure the future timely supply and delivery of goods and services, including ongoing supply of replacement/spare parts and consumables. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of their contingency plans for any changes in the delivery programme (alternative sources/routes of supply) for any delays in delivery should they arise. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Installation/Commissioning/ Validation |  |
|  | The supply of all electrical items MUST be in full accordance with, but not limited to, European standards / regulations and all relevant amendments. Please provide electrical requirements for operation and approximate power consumption. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST be suitable for use with 230 V single line 50Hz electrical supply at the proposed installation site. If a transformer unit is required to achieve this, it MUST be supplied as part of the system. Please confirm and detail. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Validation of the equipment MUST be carried out on-site or online, by or supported by (if online) trained engineers provided by the tenderer. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST provide a qualified Engineer to perform the SAT, post installation and validation, to ensure accuracy and overall performance have not been affected by shipping. These tests will also be used for on-site training purposes. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST validate the system and verify full functionality at the Tyndall National Institute site (as an on-site or on-line process). Tyndall will provide for any labour and materials as reasonably requested for the purpose of installation. Tenderer has to make a written request for this support at least four (4) weeks in advance of installation. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1. Document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A signed certificate for successful Site Acceptance Test (SAT) MUST be provided upon completion of training delivered by the tenderer on the operation and use of the equipment. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Documentation |  |
|  | A detailed User Operational Manual for the probe station MUST be provided. This should include the following. - Full electrical and design specifications. - Manuals MUST be supplied in English language. - Manuals MUST be provided in hard and softcopy. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A maintenance and validation manual for the system MUST be provided to include the following: - Cleaning requirements service - Maintenance and Validation requirements. - Manuals MUST be supplied in English language. - Manuals MUST be provided in hard and softcopy where possible. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A Technical Specification for the Probe station MUST be provided covering all major components of the system. The specification MUST be supplied in the English language and at least as soft copy. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST as part of the submission, include soft copies of any relevant testing or compliance certificates for the Goods. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Energy & Environmental |  |
| Energy & Environmental Considerations |  |
| E1 | Please outline your company’s commitment to the sustainable life cycle of the tendered equipment in a manner that minimises adverse environmental impacts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E2 | Energy & Environmental Requirements: The Contracting Authority requires the equipment provided to be as energy and economically efficient as possible. The probe station SHOULD have low running costs allowing the equipment to be as energy & economically efficient as possible. Please provide details on any “warm-up” times required for the equipment to operate to specification. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E3 | Tenderers SHOULD provide details of any takeback arrangements they may offer when the equipment reaches end of life and how that may be availed of. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E4 | Tenderers SHOULD indicate typical Energy Consumption during operational time while the equipment is in use. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E5 | Where possible, use of a standby mode/reduced power mode of operation when the system is not in use. The tenderer SHOULD specify the stand-by energy consumption. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E6 | It is DESIRABLE that all Tender requirement is delivered using environmentally friendly Packaging Materials; packaging, tape, labels and stretch wraps. Ideally, this packaging SHOULD avoid any single use plastic and be recovered or at a minimum reusable. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E7 | Tenderers SHOULD provide details of expected lifetime of the equipment required. Tenderers must state how long the model of equipment has been on the market and indicate the expected working life of the proposed models and longevity of equipment, etc. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Ultimate Cost. (Refer to Appendix 2: Pricing Schedule for Completion) |  |

# Lot 2- Technical Specification table

| UCC-2025-36 RFT for the supply delivery, installation & validation of: Lot 2-Device Parameter Analyser for use with 300mm Electro Magneto-Optical Probe Station for Tyndall National Institute, University College Cork (UCC) |  |
| --- | --- |
| Proposed System: (Tenderers please state model type here) |  |
| REQUIREMENT |  |
| Technical Merit (Equipment Specifications) |  |
| Provide clear details of the system’s technical specifications |  |
| Ref | - General Functional Requirements |
|  | The Tenderer MUST supply a Device Parameter analyser to be used with 300mm Electro-Magneto-Optical Probe Station (Lot 1) for the electrical testing of electronic devices processed on semiconductor samples and wafers. Responses MUST state if the system is New (N) or Ex Demo (Ex D). Please confirm and detail stating the make, model and full specifications of the proposed unit. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST state details of ex demo/used systems. If the Instruments are ex-demo they MUST be no more than three (3) years old, and all parts and components MUST be available for at least the next ten (10) years. They MUST include a full refurbishment history with appropriate calibration certificates. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST supply a Device Parameter Analyser with multiple and integrated current voltage source measure units compatible with the probe station described in Lot 1. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser MUST fit into the following laboratory space area of: 0.75 x 0.75 x 2.8 (in meters, L, W, H) space to laboratory ceiling. [Note- The dimensions above are within the total laboratory space to ceiling: 2.4m x 1.7m x 2.8m (in meters, L, W, H). Please confirm and detail. |
| Performance |  |
|  | The Device Parameter Analyser MUST be also able to perform fast pulsed current voltage measurements to analyse devices that suffer from device self-heating and charge trapping effects when measured in DC. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser MUST be capable of ultra-low noise measurements. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser mainframe MUST be able to fit the modules listed below. - 4 DC source measure units - 1 High Power Pulsed current voltage measurement unit - 1 Waveform Generator Fast Measurement Unit Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser should be able to accommodate additional modules if future applications require them. Please provide information on slots availability. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter analyser MUST have 3 high resolution Source Measure Units (SMU) with capability to deliver up to ±100V and up to ±100mA. The modules will be used to measure current versus voltage in electronic devices (transistors, diodes, etc.) Note - The current measurement minimum resolution is 1fA and the voltage minimum measurement resolution is 0.5µV. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser MUST have 1 high power SMU. This SMU module must be able to deliver up to ±200V and up to ±1A. The high voltage capability of this module extends the voltage range for reliability testing or dielectric strength assessment. The current measurement minimum resolution is 10fA and the voltage minimum measurement resolution is 2µV. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter analyser MUST have 1 (one) fast waveform generator and measurement module. - The fast waveform generator and measurement module MUST be able to generate ultra-fast waveforms 10V peak-to-peak with 10ns time resolution and must be capable of high-speed IV measurements of 5ns sampling rate. Note- This module will be able to generate and measure ultra-fast waveforms which is suited for noise measurement and fast device instabilities. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser MUST have 1(one) pulse generator module. - The pulse generator module MUST be able to generate pulses up to ±40 V in amplitude from 5 µS pulse width when performing pulsed IV measurements. - In standard pulse mode the pulse generator module MUST be able to generate pulses with a period from 20ns up to 10s with 10ns resolution. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser MUST have 1 (one) ground module capable of providing: - a separate reference measurement ground and - capable of sinking currents up to 4.2A. Note-The ground module will be used in conjunction with the high-resolution SMUs and the high-power SMU. Please confirm and detail |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Cables and Accessories: - The Device Parameter Analyser MUST be delivered with all the required triax and coax cables for DC IV and pulsed IV measurements for integration with Lot 1- Probe Station. The cables MUST be compatible with the with 300mm Electro-Magneto-Optical Probe Station (Lot 1). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST state when the equipment model was introduced and when the system is likely to be superseded. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST specify any tools required for the operation, e.g. power supply (or maintenance if required). These SHOULD be supplied as part of the system. Should they be available commercially elsewhere, they MUST be clearly described and MUST be listed as optional within the Pricing Schedule 2. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Roadmap & Flexibility: As with all pieces of equipment in UCC, the ability to upgrade in the future to add additional functionality not currently specified is very important, i.e., the tool should have a future roadmap of development. Please confirm and detail. Please provide details describing any future possible upgrades for the equipment and provision for these. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Hardware/Software Requirements |  |
|  | Device Parameter analyser MUST be supplied with an integrated PC. Tenderers MUST list the specification of the PC/Workstation(s). Please confirm and detail, indicating the Cost (if any) in Appendix 2 - Pricing Schedule. Should the proposed system need to be controlled by an external computer, it MUST be compatible to run on a software based on Windows 10 or later. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | System PC/ Workstation: The PC provided MUST include sufficient storage (minimum 500GB). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser MUST include the necessary drivers and/or software for PC control. Please detail the software provided and any requirements for operation. If drivers are provided, please clarify which software platforms they are designed to be compatible with. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Device Parameter Analyser MUST have: - Software that has minimum security vulnerabilities and minimise the need for frequent upgrades. Please confirm and detail |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The parameter analyser MUST be running on a software generating data files in one of the ASCII formats, e.g. - .csv, - .txt Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please provide details describing any future possible software or firmware upgrades and provision for these. Please indicate any associated upgrade options price, as an optional to purchase, in Appendix 2 – Pricing Schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority at any time up to 12 months from contract signing and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Software updates to the system, which become available during the life of the contract, MUST be provided free of charge during the warranty period. Please confirm and detail and update Appendix 2 with any associated costs. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | All necessary software and perpetual licenses MUST be provided (unless the equipment is compatible with some of open-source scripting languages) as required for operation of instrumentation and analysis of results. Please confirm and detail and update Appendix 2 with any associated costs. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Minimum Host Computer Specifications: Tenderers MUST specify the minimum host computer specifications to run the proposed software. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Quality and Health & Safety |  |
| QC & Health & Safety |  |
|  | All goods supplied in accordance with the contract MUST be of good construction, sound material, robust, free of design defects and manufactured to be safe and without risk when properly used. Please outline and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Compliance with all relevant European health and safety standards, quality assurance and protocols are MANDATORY. Please confirm and detail. |
|  | Goods and Services MUST comply with all necessary standards, i.e. Irish Standards Institution, European Union, CE, International Standards Organisation or other applicable standard the Tenderer MUST, on the request of the buyer, provide a copy of the standard free of charge. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If there are manufacturing defects known to the tenderer, they MUST identify such defects and state their policy regarding the repair of known defects. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The equipment operation MUST be FAT (Factory Acceptance Test) validated prior to shipment to Tyndall to ensure it meets performance specifications. Validation certificates MUST be provided prior to shipment to Tyndall. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Site Acceptance Test After functional acceptance at Validation, the Site Acceptance Test (SAT) of the equipment shall be done jointly by engineers assigned by Tyndall and by the tenderer. A final acceptance document shall be prepared with the following content: - The purchase order reference. - The procurement specification reference. - A list of outstanding issues, including an action time frame for resolving these issues and the division of responsibility for this work. - The signatures and functions of the accepting engineers on each side, the Tyndall and Tenderer’s appointed engineers. - The date of acceptance. - Serial number of the equipment. If the items in the list are satisfied, the equipment will be accepted. If one or more items are not accepted, the tenderer will be required to rectify the deficiency or, alternatively, a partial acceptance may be agreed combined with an extension of the warranty period. Terms shall be negotiated between Tyndall and tenderer based on the results of the acceptance tests. If there is a serious problem on the system, a mutually agreed plan of correction will be generated to correct the problem. Tyndall may waive any portion of the plan. The plan may include the replacement of the system at the discretion of the tenderer. Please confirm compliance. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST advise if there are any hazards associated with the operation or maintenance of this instrument? (E.g. manual handing, chemicals, gases etc.). Compliance with all relevant health and safety standards, quality assurance, CE markings and analytical protocols is MANDATORY. Please detail and confirm. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer SHOULD, as part of the submission, include copies of any relevant testing or compliance certificates for the Goods. Confirm compliance and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Warranty/Spare Parts, After-Sales and Training Support |  |
| Warranty & Customer Support |  |
|  | A minimum warranty of one (1) year MUST be supplied with the new Device Parameter Analyser MUST be from Validation & SAT and MUST be included as part of the quoted price, to include all hardware, software, spare parts, labour, call outs (24 hour), visit, travel and parts, Note: Longer Warranty period is preferable. Please state warranty period provided. Detail specific inclusions and exclusions of warranty. Preventative Maintenance MUST be provided for one year if necessary. Provision of additional warranty is desirable. Please confirm and detail and outline breakdown in Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If the equipment proposed is ex-demo, A minimum warranty of three years warranty MUST be supplied with the Device Parameter Analyser from Validation & SAT and MUST be included as part of the quoted price, to include all hardware, software, spare parts, labour, call outs (24 hour), visit, travel and parts, Note: Longer Warranty period is preferable. Please state warranty period provided. Detail specific inclusions and exclusions of warranty. Preventative Maintenance MUST be provided for one year if necessary. Provision of additional warranty is desirable. Please confirm and detail and outline breakdown in Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If UCC decide to extend the warranty period, Tenderers are asked to outline cost of any additional warranty. The Tenderer MUST state the details of any extended warranty and details of preventative maintenance and calibration and servicing check and any associated costs. Detail specific inclusions and exclusions of extended warranty with respect to: the Device Parameter Analyser for Years 2, 3 & 4 Please include price per annum, details of coverage and maximum term of coverage. Please include price per annum for additional years of coverage and maximum term of coverage. Please confirm, detail and also specify what is included in the warranty options outlined in the Appendix 2 pricing schedule. Detail specific inclusions and exclusions of extended warranty. Please confirm detail and specify what is included in the warranty options outlined, as optional to purchase, in the Appendix 2, Pricing schedule. Note: Pricing MUST only be included in the Further Options – Optional to Purchase, Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please provide separately a list and approximate cost of any consumable items/parts that are to be replaced during each service visit. Please update Appendix 2 Pricing Schedule – Consumables Parts tab with detail. Prices provided for consumable items/parts must be valid for a minimum of one (1) year from effective date of contract. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please advise of any items/part of the instrument that require routine replacement during the normal lifetime of the instrument, the timeframe in which they require replacing and if such items will be supplied with the instrument or as part of the warranty. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A list of checks carried out at Preventative Maintenance MUST be provided, along with any information about which (if any) parts are routinely replaced. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide a description of the arrangements and lead times for guaranteed responses times in the event of equipment breakdown under warranty both in relation to phone support, online/remote support, the provision of technical support, annual service/ maintenance, emergency call-out response, and spare parts. Please detail lead time for arrival on site by a fully trained service engineer during the warranty period (s) and post-warranty. This response time SHOULD be no more than 24 hours via phone call or remote service, and within seven (7) working days for onsite repair. Please confirm and detail information on remote diagnostic / Telecom-based service support. Please confirm detailing response times. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Outside of Warranty Period: The Tenderer MUST provide typical prices and lead time for servicing and repairs (including travel, subsistence and price per day) charged outside a warranty/ maintenance contract. Detail specific inclusions and exclusions outside of warranty period. Please confirm and detail. Please indicate the price in Appendix 2 – Pricing Schedule. This is optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Further Options – Optional to Purchase, Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | If UCC decide to take out a Service Level Agreement, tenderers are asked to outline Options for subsequent years. Detail specific inclusions and exclusions of Service Level Agreement with respect to: the Device Parameter Analyser Years 2,3 & 4 Option to include: - On-going calibration to appropriate schedule - preventative maintenance - remote diagnostics of faults, if applicable - repair of the Instrument in case of breakdown) Tenderers are asked to outline full details of what is included and to outline cost of maintenance and calibration for each year option offered in Appendix 2, Pricing Schedule. Please confirm detail and specify what is included in the Service Level Agreement options outlined, as optional to purchase, in the Appendix 2, Pricing schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST have dedicated fully trained and qualified service engineering specialists at their disposal who can respond to all service calls and any form of breakdown call. This remote response time SHOULD be the same day via phone call or remote service, and within 7 working days for onsite repair. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| After-Sales, Repair & Breakdown Support |  |
|  | Please outline the company’s Customer Support Proposal and escalation policy. Tenderers MUST describe what process is in place for escalating a call-out, if a breakdown cannot be resolved on the first visit. Please confirm detail and specify what is included in Customer Support Proposal, as optional to purchase, in the Appendix 2, Pricing schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST indicate the arrangements for and specify the level of experience of applications specialists and engineers who will be in charge of after sales service. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Same day phone/online helpdesk support MUST be provided. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender MUST specify the lead-time for Customer Support during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender MUST provide onsite response, when required, within 7 working days. Please specify the lead-time for Onsite Support during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tender SHOULD specify the lead-time for repairs during the following scenarios. - warranty period(s) - post-warranty, - with service contract - without service contract Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Warranty commences post full installation and Final Tool Acceptance and SAT Validation by nominated UCC representative. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Replacement and Spare Parts & Equipment Consumables |  |
|  | Please indicate the lead-time for parts during the warranty period(s) and post-warranty, with and without service contract options. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | In event of a system breakdown, the tenderer MUST state the availability and guaranteed minimum response time for spare and replacement parts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Spare Parts: Availability of all spare parts SHOULD be maintained ten (10) years after the warranty period. Please confirm and detail. Please indicate the availability and lead time of spare part stock centres, with maximum lead-time for any part. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Critical spares MUST be held at a location no more than 48 hours delivery time from Tyndall. Please confirm and detail |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Recommended spares lists: If applicable, should be provided by Tenderer. E.g. typical consumables, high-turnover parts. The tenderer MUST supply, where information is available, to the buyer a schedule of spare parts showing in tabular form or, otherwise, the following information on OEM parts: - Names and address of all OEM suppliers - Part Name - Part Description - OEM Supplier Part Number. This SHOULD include typical consumables and high turnover parts. Prices provided for consumable items/parts MUST be valid for a minimum of one (1) year from effective date of contract. Please detail in Appendix 2, Pricing Schedule- Consumable Parts tab. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. This is for information only and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Consumable Parts: Sufficient consumable parts MUST be supplied for the initial installation, commissioning and training. These consumable parts MUST be provided free of charge and at the point of commissioning. A full one year of consumable parts MUST also be supplied post-commissioning. Prices provided for consumable items/parts MUST be valid for a minimum of one (1) year from effective date of contract. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. (Consumables Tab) Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide confirmation of the availability of service for at least five (5) years after commissioning. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Training and Technical Support Proposal |  |
|  | The tenderer MUST specifically outline the level and duration of application support offered with the instrument where “application support” refers to the expert technical support (on-line or on-site) available from the manufacturer for using the instrument in novel research applications. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Following the delivery of the Device Parameter Analyser, the successful tenderer MUST provide on-site or online training for a minimum of two (2) Laboratory staff for a minimum of one (1) day by fully qualified personnel immediately after installation. Training MUST be completed within three (3) Weeks, or earlier, of delivery. Both Validation and demonstration/training of equipment MUST conducted on same day. The training MUST include: - Equipment set up - Ongoing necessary maintenance - Daily Operation - Site Acceptance Test (SAT). - Demonstration of typical Parameter Analyser applications for use with Lot 1 Probe station. Please specify if training is onsite or online. Please confirm and detail and update Appendix 2 Pricing schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The training MUST incorporate: SAT and Validation tests (this can be delivered on-site or online) following the equipment installation at Tyndall. The (Site Acceptance Test) will ensure accuracy and overall performance of the Device Parameter Analyser has not been affected by transport and shipping. These tests will also be used for on-site training purposes. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers are requested to provide a summary of scheduled maintenance and calibration required to keep instrument working to the full specification as per manufactures recommendations. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Relevant training and maintenance manuals in English MUST be provided in soft copy with the system. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Delivery Plan |  |
| Lead Time & Delivery |  |
|  | The Device Parameter Analyser SHOULD be delivered within twelve (12) weeks of receipt of Purchase Order. Please state the exact number of weeks for delivery. A range of weeks is not acceptable. (Note that shorter delivery time is highly desirable and will be scored favourably). - Tenderers must provide full details of lead times for the delivery of equipment including installation, commissioning & validation (if applicable), from receipt of the purchase order. - Tenderers must provide the facility requirements to UCC a minimum of four (4) weeks in advance of the equipment delivery. - Tenderers must provide advance notice, two (2) weeks of any requirements for tool unloading, number of containers and weight of each. Height, length and width of containers/ crates to be provided as well. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Delivery MUST include all shipping charges, insurance, customs clearance and all aspects as outlined in DAP (Delivery At Place) incoterms. Delivery must be to the Tyndall National Institute: Goods In/Goods Out Dept Dyke Parade Cork Ireland T12 R5CP Advance notice MUST be given, two (2) weeks of any requirements for tool unloading, number of containers and weight of each. Height, length and width of containers/crates MUST also be provided. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. Please confirm and detail. |
|  | Footprint: The tenderer MUST provide the following information: - The footprint for tool (or tools) and all ancillary items. E.g. instrument racks / units / pumps / desks - List of services required to run and operate the tool. E.g. compressed air, vacuum, electrical supply, N2, cooling water - Specifications for room environment. E.g. Temperature, vibration, humidity Tenderers MUST specify the access clearance requirements, if necessary. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of actions that have been taken to ensure the future timely supply and delivery of goods and services, including ongoing supply of replacement/spare parts and consumables. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of their contingency plans for any changes in the delivery programme (alternative sources/routes of supply) for any delays in delivery should they arise. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Installation/Commissioning/ Validation |  |
|  | The supply of all electrical items MUST be in full accordance with, but not limited to, European standards / regulations and all relevant amendments. Please provide electrical requirements for operation and approximate power consumption. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST be suitable for use with 230 V single line 50Hz electrical supply at the proposed installation site. If a transformer unit is required to achieve this, it MUST be supplied as part of the system. Please confirm and detail. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Validation of the equipment MUST be carried out on-site or online, by or supported by (if online) trained engineers provided by the tenderer. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST provide a qualified Engineer to perform the SAT, post installation and validation, to ensure accuracy and overall performance have not been affected by shipping. These tests will also be used for on-site training purposes. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST validate the system and verify full functionality at the Tyndall National Institute site (as an on-site or on-line process). Tyndall will provide for any labour and materials as reasonably requested for the purpose of installation. Tenderer has to make a written request for this support at least four (4) weeks in advance of installation. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1. Document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A signed certificate for successful Site Acceptance Test (SAT) MUST be provided upon completion of training delivered by the tenderer on the operation and use of the equipment. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Documentation |  |
|  | A detailed User Operational Manual for the Device Parameter Analyser MUST be provided. This should include the following. - Full electrical and design specifications. - Manuals MUST be supplied in English language. - Manuals MUST be provided in hard and soft copy. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A maintenance and validation manual for the system MUST be provided to include the following: - Cleaning requirements service - Maintenance and Validation requirements. - Manuals MUST be supplied in English language. - Manuals MUST be provided in hard and soft copy where possible. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A Technical Specification for the Device Parameter Analyser MUST be provided covering all major components of the system. The specification MUST be supplied in the English language and at least as soft copy. Please confirm and detail. |
|  | Tenderers MUST as part of the submission, include soft copies of any relevant testing or compliance certificates for the Goods. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Energy & Environmental |  |
| Energy & Environmental Considerations |  |
| E1 | Please outline your company’s commitment to the sustainable life cycle of the tendered equipment in a manner that minimises adverse environmental impacts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E2 | Energy & Environmental Requirements: The Contracting Authority requires the equipment provided to be as energy and economically efficient as possible. The Device Parameter Analyser SHOULD have low running costs allowing the equipment to be as energy & economically efficient as possible. Please provide details on any “warm-up” times required for the equipment to operate to specification. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E3 | Tenderers SHOULD provide details of any takeback arrangements they may offer when the equipment reaches end of life and how that may be availed of. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E4 | Tenderers SHOULD indicate typical Energy Consumption during operational time while the equipment is in use. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E5 | Where possible, use of a standby mode/reduced power mode of operation when the system is not in use. The tenderer SHOULD specify the stand-by energy consumption. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E6 | It is DESIRABLE that all Tender requirement is delivered using environmentally friendly Packaging Materials; packaging, tape, labels and stretch wraps. Ideally, this packaging SHOULD avoid any single use plastic and be recovered or at a minimum reusable. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E7 | Tenderers SHOULD provide details of expected lifetime of the equipment required. Tenderers must state how long the model of equipment has been on the market and indicate the expected working life of the proposed models and longevity of equipment, etc. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Ultimate Cost. (Refer to Appendix 2: Pricing Schedule for Completion) |  |

Notes to Tenderer

Risk and Title Any equipment provided in this contract shall be with an unencumbered title and the Contracting Authority reserves the right to use any successfully contracted equipment for any purpose including commercial purposes as it may require

TAXATION – RCT Relevant Contracts Tax (RCT) is a withholding tax system that operates in the construction sector. Where a principal contractor in that sector makes a “relevant payment” to a subcontractor, RCT must be operated. Please be advised that University College Cork (“UCC”) is a principal contractor for RCT purposes. If the equipment provided to UCC are deemed to fall within the scope of RCT, then UCC will be obliged to withhold this tax and pay it over to Irish Revenue. There are three withholding tax rates in the new electronic RCT system: 0%, 20% & 35%. In general, the 35% rate will be applied to subcontractors who are not known to Irish Revenue and to subcontractors where Irish Revenue consider that these subcontractors have compliance issues which have not been addressed. Please note that this is a complex area and it will not always be obvious from the outset as to whether a particular contract might fall within the scope of RCT. This will be dependent on the circumstances relating to each specific contract awarded. In some instances, contracts relating to the supply and installation of equipment may fall within the scope of RCT. For more information on RCT, please see links to the Irish Revenue website below: - RCT for subcontractors - http://www.revenue.ie/en/tax/rct/subcontractor.html - RCT for non-resident subcontractors http://www.revenue.ie/en/tax/rct/non-resident-contractors.html

  - Authorised Signatory

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 180 days from the date of deadline for submission of tenders.

- I/ We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.  The Goods supplied MUST comply with the express terms of the Contract and all implied conditions, warranties and terms contained in the Sale of Goods Act of the Republic of Ireland, as applicable to the Contract and as amended by any related statutes, and any statutory re-enactment(s) or modification(s) thereof.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process.

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |
| Company Name: |  | Date: |  |
| Address: |  |  |  |
| Email: |  |  |  |

# SECTION 4    TENDERER RESPONSE CHECKLIST

| - Tenderer Response Checklist. |  |  |  |  |
| --- | --- | --- | --- | --- |
| I confirm that I have completed the Declaration re Statutory Obligations. | Yes |  | No |  |
| I confirm that I have completed the Response to Selection Criteria in this document. | Yes |  | No |  |
| I confirm that I have completed European Single Procurement Document (ESPD) as per 2.2.1 (a) of the RFT document. | Yes |  | No |  |
| I confirm that I have completed the responses to the Award Criteria as per Section 3 of this document. | Yes |  | No |  |
| I confirm that I have completed the responses to the Technical Specification Section 3 (Appendix 1) of this document. | Yes |  | No |  |
| I confirm that I have completed Appendix 2 - Pricing Schedule (attached in Excel). | Yes |  | No |  |
| I confirm that I have completed the Tenders Statement, Appendix 3 in TRD. | Yes |  | No |  |
| I confirm that I have completed the Financial Statements Schedules A, B, C, D & E of Appendix 3A in TRD. | Yes |  | No |  |
| I confirm that I have completed the Declaration to Personal Circumstances, Appendix 4 in TRD. | Yes |  | No |  |

| Note Re File Uploads to eTenders |  | Please tick ü |  | Please tick ü |
| --- | --- | --- | --- | --- |
| Please ensure that files are named and zipped before uploading. This is to allow the encryption process to only encrypt the overall file name, and the filenames inside the zip will maintain their original title. | YES |  | NO |  |

Document end