## Cover Page - Instructions
Section 3 - Particular Performance / Functional Specifications Relating to the Tender
Index Reference | Cover Page and Instructions | Tenderers Full Response. A full detailed response must be provided to all questions. Tenderers should note that Yes/No answers are insufficient and will be scored accordingly. Please state if there is a cost implication?
3
3.01 | The list of equipment for replacement as part of this tender are: |  | Quantity: 1
3.02 |  | Please insert your response here
3.03 | Product Name: | Please insert your response here
| Manufacturer Name: | Please insert your response here
3.04 | Date (Month and year) of the first release of this product. | Please insert your response here
3.05 | Your tender response should include a breakdown of all equipment being tendered for, its associated costs and all discounts available. | Please insert your response here
3.06 | TUH reserves the right to procure some or part of the proposed equipment between now and during the contract duration period (Refer to main Invitation to Tender (ITT) Document and also refer to Section 1 Instructions to Tenderers). | Please insert your response here
3.07 | Please provide specification details, costs and any added value you propose to provide to the hospital should your tender be successful. | Please insert your response here
3.08 | The equipment must be available for trial by Clinical Users and Medical Physics/Clinical Engineering staff. As the Tender will be evaluated under the Award Criteria identified in the tender documentation, a sample of product(s) / item(s) / equipment / and/or associated service provision, and any individual item(s) within a Lot or Lot(s) specified must be available the following week after the tender deadline for Trial in Tallaght University Hospital per each Tenderer. Non-adherence to this specific stipulation will result in elimination from the Tender Competition. TUH decision is final. | Please insert your response here
3.09 | Tenderers should note that Yes/No answers are insufficient. Full responses must be provided for each point in each section of the specification. Failure to provide a detailed response to each point will result in elimination from the Tender Competition | Please insert your response here
3.1 | The tender responses will be used in conjunction with the clinical trial during the evaluation. | Please insert your response here

## 3.1 Functional Requirements
Section 3 - Particular Performance / Functional Specifications Relating to the Tender
Index Reference | Hospital Requirements for Functional Requirements | YES | NO | Tenderers Full Response (refer to cover sheet instructions regarding completion of responses). A full detailed response must be provided to all questions. Tenderers should note that Yes/No answers are insufficient and will be scored accordingly. Please state if there is a cost implication?
3.1 Functional Requirements
3.1.1 | Please state if any gases are required to run the system and please state associated costs. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.1.2 | Please state if the device requires air conditioning or if there are any other environmental conditions are required for running the device. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.1.3 | Please itemise and cost here any dedicated consumables that are required to run this system. What are the environmental conditions for the consumables? |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.1.4 | Please state minimum dimensions of system(s). |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.1.5 |  |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.1.6 |  |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
Monitor/Screen
3.1.7 |  |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.1.8 |  |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.1.9 |  |  |  | Weighted Requirement. Please insert your response here
3.1.17 |  |  |  | Weighted Requirement. Please insert your response here

## 3.2 Clinical Requirements
Section 3 - Particular Performance / Functional Specifications Relating to the Tender
Index Reference | Hospital Requirements for Clinical Requirements | YES | NO | Tenderers Full Response (refer to cover sheet instructions regarding completion of responses). A full detailed response must be provided to all questions. Tenderers should note that Yes/No answers are insufficient and will be scored accordingly. Please state if there is a cost implication?
3.2 Clinical Requirements
3.2.1 | The device must be capable of analysing breath samples to measure Helicobacter Pylori infection |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.2.2 | The system shall have automated sample feeder allowing a maximum of ≥ 50 samples to be run in batches. State the duration of sample analysis |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.2.3 | ≥ 95% sensitivity and ≥ 95% specificity for Helicobacter Pylori detection |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.2.4 | Please state the PPV and NPV of the device. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.2.5 | The system must have customisable report template (TUH logo, wording, layout, etc). Supplier must demonstrate as part of trial. Please see attached example 'd1 UBT Result Template'. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.2.6 | Please provide evidence of reproducibility of results. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
| Additional features - Please state does your system have any of the following features |  |  | Weighted Requirement. Please insert your response here
3.2.7 | Can the analyser support additional validated 13C breath test applications beyond Helicobacter Pylori diagnosis, e.g. 1. Gastric Emptying study 2. Pancreatic exocrine test 3. Liver function breath test 4. Oro Cecal transit time. |  |  | Weighted Requirement. Please insert your response here
3.2.8 | Please state costs for licencing, software, hardware, maintenance, training, consumables for these additional applications. |  |  | Weighted Requirement. Please insert your response here
3.2.9 | Can results from all supported breath test application integrate to Tallaght University Hospital's systems, iPMS, ICE and SYNERGY (please refer to ICT requirements). |  |  | Weighted Requirement. Please insert your response here
3.2.10 |  |  |  | Weighted Requirement. Please insert your response here

## 3.3 Technical Requirements
Section 3 - Particular Performance / Functional Specifications Relating to the Tender
Index Reference | Hospital Requirements for Technical Requirements | YES | NO | Tenderers Full Response (refer to cover sheet instructions regarding completion of responses). A full detailed response must be provided to all questions. Tenderers should note that Yes/No answers are insufficient and will be scored accordingly. Please state if there is a cost implication?
3.3 Technical Requirements
3.3.1 | Please state the Operating System details. All OS must be Windows 10 compatible. Earlier versions (Win XP, 7 or 8) will not be considered for tender due to the lack of technical support from Microscoft. Suppliers will agree to update OS as and when they are released. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.2 | Please state the year in which the device first came to the market. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.3 | Please state the expected year which the system will be deemed (1) end of life and (2) end of support. In your answer please clearly state these dates for all components in the system. Suppliers will be responsible for providing alternative components, free of charge, should a component be deemed obselete before the end of life date. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.4 | Please state the methods for cleaning, disinfection and decontamination. In your answer please make note of cleaning agents and or processes that can not be used on this device. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.5 | The supplier will agree to provide all software upgrades (scheduled and unscheduled) free of charge for the duration of the devices lifecycle |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.6 | The system must be compatible with TUH's patient management systems. Any integration work required during the systems life cycle will be provided free of charge by the supplier. This integration may not be possible/required at time of install but option should remain open for devices life cycle. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.7 | All software licences must be provided free of charge for the duration of the devices life cycle. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.8 | The supplier will agree to inform Clinical Engineering prior to any software, firmware or OS updates. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.9 | The supplier will agree that any service engineers will report to the Clinical Engineering Department before and after any technical inspection of the system. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.10 | State the service interval for the device and provide a full preventative maintaince schedule for the lifetime of the device. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.11 | The supplier will agree to provide a technical service report in electronic format as soon as is possible after any technical work has been carried out on system. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.12 | Please state the warranty period for the system. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.13 | If this system uses batteries, please state the following details: (1) Lifecycle of battery in years (2) Replacement schedule (3) Charging schedule |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.3.14 | Where batteries are on a replacement schedule, the supplier will provide these as part of Preventative Maintainence parts list. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
Weighted Requirements - Technical Requirements
3.3.16 | Please state if the system can be decontaminated via any of the following processes; (1) UV, (2) Hydrogen Peroxide gas (3) any other decontamination processes |  |  | Weighted Requirement. Please insert your response here
3.3.17 | Please state the devices networking capabilities. (LAN, Wi-Fi etc.) |  |  | Weighted Requirement. Please insert your response here
3.3.18 | Please state how data can be: (1) accessed (2) transferred, (3) deleted. You should include details on USB, LAN, WiFi, Bluetooth connections as are available. |  |  | Weighted Requirement. Please insert your response here
3.3.19 | Please state how data is encrypted on the device. |  |  | Weighted Requirement. Please insert your response here
3.3.2 | The supplier will agree to provide a back up copy of the operating system to the Clinical Engineering Department. Suppliers will agree to providing updated versions of the OS as and when released. |  |  | Weighted Requirement. Please insert your response here
3.3.19 | Place give details about the inbuilt data storage of the device. The supplier should include details on size of hard drive, hard drive type (HHD or SSD) , data back up etc. |  |  | Weighted Requirement. Please insert your response here
3.3.20 | Please give details on the typical amount of waste generated (consumables cleaning agents etc.) by the normal use of this machine. In particular, note any consumables which have a specific disposal process requirement (i.e. biohazard, radioactive, chemical) |  |  | Weighted Requirement. Please insert your response here
3.3.21 | Please state the reporting file type(s) that this system uses (e.g. FTS and FDB). |  |  | Weighted Requirement. Please insert your response here
3.3.22 | Can this system read file types from other sources, please state. |  |  | Weighted Requirement. Please insert your response here
3.3.23 | Does the system require internet connection to perform any functionality? Systems that require mandatory internet connectivity for functionality may be excluded following a review. |  |  | Weighted Requirement. Please insert your response here
3.3.24 | Does the system require AI (or similar tech) to perform any functionality? Suppliers will be asked to demonstrate why the system requires AI to perform a functionality. Systems which require mandatory AI services may be excluded following a review. |  |  | Weighted Requirement. Please insert your response here

## 3.4 Aftersales & Assistance
Section 3 - Particular Performance / Functional Specifications Relating to the Tender
Index Reference | Hospital Requirements for Installation, Commissioning, Aftersales and Assistance | YES | NO | Tenderers Full Response (refer to cover sheet instructions regarding completion of responses). A full detailed response must be provided to all questions. Tenderers should note that Yes/No answers are insufficient and will be scored accordingly. Please state if there is a cost implication?
3.4 Proposed Installation, Commissioning, Aftersales and Assistance
3.4.1 | The supplier will agree to deliver, commission and install the system in a timely manner. Delays to this process must be notified to Medical Physics and Clinical Engineering Dept. as soon as they become known. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.4.2 | The supplier will agree to deliver training to the clinicians in the relevant departments at Tallaght University Staff free of charge. The schedule for this training will be agreed after the award of the tender. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.4.3 | The supplier will agree to deliver front line technical training to the Clinical Engineers at Tallaght University Hospital free of charge. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.4.4 | The supplier will agree to provide additional training on an agreed basis throughout the lifecycle of the system. This is so that new staff may be trained in the correct use of the system. This schedule will be decided post award. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.4.5 | The supplier will agree to have technical and commercial support via telephone and email between the hours of 09:00 and 17:00 Monday to Friday. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.4.6 | The device must come with training and service manuals. These should be provide in hard and soft copies. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.4.7 | Service Engineers may be required to provide proof of technical training. Suppliers will agree to provide these documents if requested. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.4.8 | Please state the expected response time for a service engineer to attend a call? Please give details based on the differences per contract type. |  |  | Weighted Requirement. Please insert your response here
3.4.9 | Equipment that is required for user/in-house routine maintenance as specified in the manufacturers user and service manuals will be provided. (i.e. specialist tools, consumables, calibration equipment, service software, etc.). Please clearly state what equipment will be provided. |  |  | Weighted Requirement. Please insert your response here
3.4.10 | The supplier should provide details of healthcare settings where this device installed currently. |  |  | Weighted Requirement. Please insert your response here
3.4.11 | The supplier will provide contract costs as follows: Type A, B, C and D contracts. |  |  | Weighted Requirement. Please insert your response here
3.4.12 | The supplier will provide labour and travel costs for service engineers outside of the above contract costs. |  |  | Weighted Requirement. Please insert your response here
Value Add
3.4.21 | Please provide details of added value that supplier is willing to provide as part of this tender. This can include but not be limited to: (1) educational tools, (2) calibration equipment, (3) support technology, (4) provision of innovative software (5) Any other value added option. |  |  | Weighted Requirement. Please insert your response here
Note on E16: Peter Irvine: Peter Irvine: How are you going to evaluate aftersales and technical assistance during the clinical trial. Are we not assessing this as a desktop evaluation??

## 3.5 Standards
Section 3 - Particular Performance / Functional Specifications Relating to the Tender
Index Reference | Hospital Requirements for Infection Control and Environmental | YES | NO | Tenderers Full Response (refer to cover sheet instructions regarding completion of responses). Please state if there is a cost implication?
3.5 Standards
3.5.1 | Device must be CE marked for use in the European Union |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.5.2 | Device must comply with the European Medical Device Regulation Regulation (EU) 2017/745 |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.5.3 | Please clearly state all electrical safety standards that the device adheres to. Devices which do not comply with electrical safety standards for medical devices (IEC 60601, IEC62353) may be considered seperately. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.5.4 | Supplier will agree to comply with all TUH ICT cyber security. Networking and software requirements throughout the lifecycle of the equipment in TUH. The supplier will agree to work with TUH ICT as and when required. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.5.6 | Supplier will agree to provide details of their NIS2 status. (Eg compliant, engaged in compliance process or not considered applicable). Where not applicable, supplier must state clearly why. |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.5.7 | Supplier will agree to comply with the National Cyber Security Centre guidelines for public sector servcies: Cyber Security Guidelines for the Deployment of AI. https://www.ncsc.gov.ie/pdfs/NCSC_Secure_AI_Adoption_2026.pdf |  |  | Mandatory Requirement. Pass/Fail. Please insert your response here
3.5.8 | Please state any additional standards or regulations that the device is manufactured to. |  |  | Please insert your response here