## Sheet1
Hydrometric Network - Device Servicing Checklist
Navigation |  |  |  | Date
Device Name |  |  |  | Serviced By
General Checks |  | ✔ | Comments
Data & Configuration Downloaded
Memory Cleared
Updates Installed
Signal Strength
Existing Phone number / network
New Phone number / network (if applicable)
GPRS or GSM Transmission
Recalibration Required
Cable & Connections
Existing Instrument Serial No (s).
New Instrument Serial No (s)
Orpehus Mini/Ecolog
ITC Modem & Cap Condition
Desiccant's Changed
O-Ring Greased/Changed
Battery Voltage
Battery Changed
NetDL Data Logger
Rittal Cabinet Condition
Solar Panel & Converter Cond.
NetDL Condition
Battery Voltage
SLD
SLD Frame Condition
SLD Device Condition
Level Sensor reading
Recalibration Required
Weather Station
Rain Gauage Condition
Weather Station Condition
Recalibration Required
Casing & Access Condition
Stand Pipe/Pole/Plinth & Connections
Security Measures
Decking Issues
TBM
Further Comments & Recommendations, Please Attach Photo of any Recorded Defects