## Master Sheet
No. | NAVIGATION | DEVICE NAME | Easting | Northing | DEVICE TYPE | RECORDING | COMMISSIONED | REPLACED
LOWER BANN
1 | Lower Bann | Cutts D/S | 285415.594 | 430345.467 | Orpehus Mini | LEVEL | 2010-10-11
2 | Lower Bann | Cutts U/S | 285449.94 | 430293.188 | Orpehus Mini | LEVEL | 2010-10-11
3 | Lower Bann | Coleraine Town Bridge | 284600.991 | 432442.517 | Orpehus Mini | LEVEL | 2010-10-12 | 2015-03-15
4 | Lower Bann | Carnroe Lock D/S | 291202.455 | 417937.309 | Orpehus Mini | LEVEL | 2010-10-12
5 | Lower Bann | Carnroe Lock U/S | 291220.252 | 417876.787 | Orpehus Mini | LEVEL | 2010-10-12
6 | Lower Bann | Movanagher U/S | 291724.212 | 416306.998 | Orpehus Mini | LEVEL | 2010-10-12
7 | Lower Bann | Movanagher D/S | 291674.051 | 416345.868 | Orpehus Mini | LEVEL | 2010-10-12
8 | Lower Bann | Portna Lock D/S | 293835.087 | 412398.761 | Orpehus Mini | LEVEL | 2010-10-12 | 2015-03-15
9 | Lower Bann | Portna Lock U/S | 293900.849 | 412309.837 | Orpehus Mini | LEVEL | 2010-10-12 | 2015-03-15
10 | Lower Bann | Toome U/S | 298888.049 | 390247.878 | Orpehus Mini | LEVEL | 2010-10-12 | 2021-12-01
11 | Lower Bann | Toome D/S | 298880.793 | 390307.418 | Orpehus Mini | LEVEL | 2010-10-12
SHANNON ERNE
12 | Shannon - Erne | Corraquil Lock 1 | 231417.075 | 320256.733 | ecoLog | LEVEL | 2011-03-01 | 2017-12-01
13 | Shannon - Erne | Ballyconnell Lock 2 D/S | 227832.83 | 318889.691 | Orpehus Mini | LEVEL | 2011-03-01
14 | Shannon - Erne | Ballyconnell Bridge | 227289.709 | 318599.007 | Orpehus Mini | LEVEL | 2011-03-01
15 | Shannon - Erne | Ballyhealy Bridge | 225001.717 | 315643.177 | Orpehus Mini | LEVEL | 2011-03-02
16 | Shannon - Erne | Skelan Lock U/S | 224056.532 | 312538.257 | Orpehus Mini | LEVEL | 2011-03-02
17 | Shannon - Erne | Skelan Lock D/S | 224082.812 | 312587.03 | Orpehus Mini | LEVEL | 2011-03-02
18 | Shannon - Erne | Coologe Bridge | 223754.69 | 312707.596 | Orpehus Mini | LEVEL | 2011-03-02
19 | Shannon - Erne | Ballinamore Lock | 212774.327 | 311535.277 | Orpehus Mini | LEVEL | 2011-03-02
20 | Shannon - Erne | Ardrum Lock D/S | 212262.374 | 310847.683 | Orpehus Mini | LEVEL | 2011-03-02 | 2020-11-24
21 | Shannon - Erne | Ballyduff Lock 7 | 209795.441 | 311143.658 | Orpehus Mini | LEVEL | 2011-02-16
22 | Shannon - Erne | Castlefore Lock 8 | 206175.716 | 309061.374 | Orpehus Mini | LEVEL | 2011-02-16
23 | Shannon - Erne | Keshkarigan Summit Level | 203911.026 | 307889.553 | Orpehus Mini | LEVEL | 2011-02-16
24 | Shannon - Erne | Kilclare Middle Lock 10 U/S | 199736.367 | 306884.715 | Orpehus Mini | LEVEL | 2011-02-16
25 | Shannon - Erne | Lisconor Lock 12 U/S | 198971.789 | 306550.313 | ecoLog | LEVEL | 2011-01-26
26 | Shannon - Erne | Lisconor Lock 12 D/S | 198982.038 | 306489.933 | Orpehus Mini | LEVEL | 2011-01-26
27 | Shannon - Erne | Drumduff Lock 14 U/S | 198411.927 | 305882.588 | Orpehus Mini | LEVEL | 2011-01-26
28 | Shannon - Erne | Drumduff Lock 14 D/S | 198352.637 | 305853.517 | ecoLog | LEVEL | 2011-01-26 | 2021-06-26
29 | Shannon - Erne | Kilarcan Lock 16 D/S | 196286.104 | 304864.234 | Orpehus Mini | LEVEL | 2011-01-20
30 | Shannon - Erne | Kilarcan Lock 16 U/S | 196330.796 | 304875.332 | Orpehus Mini | LEVEL | 2011-01-20
ERNE SYSTEM
31 | Erne System | Erne Enniskillen HQ | 222988.524 | 343943.34 | Orpehus Mini | LEVEL | 2013-04-10
32 | Erne System | Erne Carrybridge | 229471.895 | 337534.454 | Orpehus Mini | LEVEL | 2013-04-09
33 | Erne System | Erne Geaglum | 233733.73 | 326530.246 | ecoLog | LEVEL | 2013-04-09
34 | Erne System | Erne Garvary | 202231.771 | 361226.683 | ecoLog | LEVEL | 2013-04-08
35 | Erne System | Erne Portora | 222140.737 | 345423.86 | Orpehus Mini | LEVEL | 2013-04-10
ULSTER CANAL
36 | Ulster Canal | Clones Marina | 249975 | 325436 | ecoLog | LEVEL | 2025-12-19
37 | Ulster Canal | Clones Canal Stop Log End | 249588 | 324977 | ecoLog | LEVEL | 2024-05-17
38 | Ulster Canal | River Lacky Flow Station | 249618 | 324942 | OTT SLD | FLOW & LEVEL | 2025-06-15
NORTH SHANNON
39 | North Shannon | Ballinasloe Marina | 185583 | 230951 | Orpehus Mini | LEVEL | 2021-11-12
40 | North Shannon | Poolboy Lock D/S River Suck | 187284 | 229183 | Orpehus Mini | LEVEL | 2021-11-12
41 | North Shannon | Carrick Quay | 193761.379 | 299316.467 | Orpehus Mini | LEVEL | 2011-01-11 | 2021-05-21
42 | North Shannon | Albert Lock U/S | 199921.936 | 295683.954 | Orpehus Mini | LEVEL | 2011-01-11
43 | North Shannon | Albert Lock DS | 199998.409 | 295674.468 | Orpehus Mini | LEVEL | 2012-12-13
44 | North Shannon | Rooskey U/S | 205329.227 | 286229.604 | Orpehus Mini | LEVEL | 2011-01-11 | 2019-02-28
45 | North Shannon | Rooskey Lock DS | 205319.63 | 286154.615 | Orpehus Mini | LEVEL | 2012-12-13
46 | North Shannon | Tarmonbarry D/S | 205417.568 | 276512.593 | Orpehus Mini | LEVEL | 2010-12-20
47 | North Shannon | Tarmonbarry U/S | 205422.114 | 276579.133 | ecoLog | LEVEL | 2012-05-14 | 2020-08-31
48 | North Shannon | Clondarra Lock U/S | 205926.888 | 276050.74 | Orpehus Mini | LEVEL | 2010-12-20
49 | North Shannon | Lanesborough | 200520.705 | 269400.977 | Orpehus Mini | LEVEL | 2010-12-20 | 2015-12-16
50 | North Shannon | Battlebridge U/S | 194894.263 | 305040.889 | Orpehus Mini | LEVEL | 2011-01-12 | 2018-11-29
51 | North Shannon | Battlebridge D/S | 194862.338 | 305008.272 | Orpehus Mini | LEVEL | 2011-01-12
52 | North Shannon | Drumshambo Lough Allen | 196720.821 | 311029.852 | Orpehus Mini | LEVEL | 2011-01-20
53 | North Shannon | Drumshambo Canal | 196744.361 | 310976.493 | Orpehus Mini | LEVEL | 2011-01-20 | 2019-04-18
54 | North Shannon | Spensor Harbour | 193612.712 | 321357.401 | Orpehus Mini | LEVEL | 2011-01-20 | 2018-11-29
55 | North Shannon | Jamestown | 598022 | 797138 | Orpehus Mini | LEVEL | 2011-11-25 | 2019-07-31
56 | North Shannon | Boyle Harbour | 180937.836 | 303766.342 | Orpehus Mini | LEVEL | 2011-01-12
57 | North Shannon | Clarendon Lock U/S | 186830.731 | 305705.361 | Orpehus Mini | LEVEL | 2011-01-12 | 2018-11-29
ROYAL CANAL METRO
58 | Royal Canal Metro | Spencer Sea Lock | 317212.213 | 234536.496 | ecoLog | LEVEL | 2024-06-10
59 | Royal Canal Metro | Spencer Dock | 317212.213 | 234536.496 | ecoLog | LEVEL | 2012-07-23 | 2020-09-30
60 | Royal Canal Metro | Lock 2 Croke Park | 316557.529 | 235753.433 | Orpehus Mini | LEVEL | 2012-07-23
61 | Royal Canal Metro | Level 4 | 315343.886 | 236173.054 | Orpehus Mini | LEVEL | 2012-07-23
62 | Royal Canal Metro | Royal Canal Lock 6 | 714690 | 736428 | ecoLog | LEVEL | 2017-12-01
63 | Royal Canal Metro | Royal Canal Lock 8 | 712631 | 737396 | ecoLog | LEVEL | 2017-12-01
64 | Royal Canal Metro | Level 10 | 310936.694 | 237412.089 | ecoLog | LEVEL | 2012-07-23 | 2020-03-24
65 | Royal Canal Metro | Level 12 Upstream | 308661.702 | 238103.291 | ecoLog | LEVEL | 2012-07-23
66 | Royal Canal Metro | Lock 13 | 297905.856 | 236960.379 | Orpehus Mini | LEVEL | 2012-07-23 | 2018-11-01
67 | Royal Canal Metro | Lock 14 U/S | 291798 | 237630 | ecoLog | LEVEL | TBC
68 | Royal Canal Metro | Kilcock Level 16 DS | 288636.761 | 239563.756 | Orpehus Mini | LEVEL | 2012-07-23
69 | Royal Canal Metro | Kilcock Level 16 US | 288533.721 | 239639.362 | Orpehus Mini | LEVEL | 2012-07-23
GRAND CANAL METRO
70 | Grand Canal Metro | Grand Canal Dock | 317900.171 | 233996.356 | Orpehus Mini | LEVEL | 2011-11-09
71 | Grand Canal Metro | Level C3 | 316922.446 | 232961.262 | Orpehus Mini | LEVEL | 2021-11-25
72 | Grand Canal Metro | Level C4 | 316743.78 | 232855.61 | Orpehus Mini | LEVEL | 2011-04-15 | 2022-06-20
73 | Grand Canal Metro | Level C5 | 315968.923 | 232524.75 | Orpehus Mini | LEVEL | 2021-11-25
74 | Grand Canal Metro | Level C6 | 315759.955 | 232484.057 | Orpehus Mini | LEVEL | 2012-07-19
75 | Grand Canal Metro | Level C7 | 315565.995 | 232467.44 | Orpehus Mini | LEVEL | 2012-07-19 | 2019-08-31
76 | Grand Canal Metro | Lock 6 | 309430.416 | 232408.495 | Orpehus Mini | LEVEL | 2012-07-27 | 2019-11-14
77 | Grand Canal Metro | Lock 7 | 309275.328 | 232361.906 | Orpehus Mini | LEVEL | 2012-07-27 | 2021-06-22
78 | Grand Canal Metro | Lock 11 | 305656.564 | 232189.253 | Orpehus Mini | LEVEL | 2012-09-01 | 2019-07-03
79 | Grand Canal Metro | Lock 12 | 302912.448 | 232215.076 | ecoLog | LEVEL | 2012-07-27 | 2020-08-31
80 | Grand Canal Metro | Lock 15 | 291635.077 | 224150.957 | Orpehus Mini | LEVEL | 2014-09-03
81 | Grand Canal Metro | Lock 16 Digby Bridge | 286452.133 | 224099.82 | Orpehus Mini | LEVEL | 2012-07-27 | 2019-12-10
82 | Grand Canal Metro | Lock 17 | 285440.746 | 224609.864 | Orpehus Mini | LEVEL | 2012-07-27
83 | Grand Canal Metro | Lock 18 DS | 284228.493 | 225084.454 | Orpehus Mini | LEVEL | 2012-07-27
84 | Grand Canal Metro | Lock 18 US | 284188.225 | 225078.51 | Orpehus Mini | LEVEL | 2012-07-27 | 2019-08-21
85 | Grand Canal Metro | Naas Branch | 288749 | 221228 | ecoLog | LEVEL | 2012-07-27
86 | Grand Canal Metro | Naas Harbour | 289111 | 219360 | Orpehus Mini | LEVEL | 2014-09-12 | 2017-06-06
87 | Grand Canal Metro | Nass Hoares Bridge | 285219 | 215838 | ecoLog | LEVEL | TBC
88 | Grand Canal Metro | Robertstown | 678715 | 725279 | Orpehus Mini | LEVEL | 2014-12-02
SOUTH SHANNON
89 | South Shannon | Sarsfield U/S | 157452 | 157237 | ecoLog | LEVEL | 2021-11-29
90 | South Shannon | Sarsfield D/S | 157524 | 157305 | Orpehus Mini | LEVEL | 2021-11-29
91 | South Shannon | Dromineer Lough Derg | 181391 | 186115 | Orpehus Mini | LEVEL | 2021-11-10
92 | South Shannon | River Suck Air Draft | 195611.228 | 214787.318 | ecoLog | LEVEL | 2011-10-06
93 | South Shannon | Meelick US | 195611.228 | 214787.318 | Orpehus Mini | LEVEL | 2011-10-06
94 | South Shannon | Meelick Weir | 195611.228 | 214787.318 | Orpehus Mini | LEVEL | 2013-11-01
95 | South Shannon | Ballyleague | 194898.581 | 213656.908 | Orpehus Mini | LEVEL | 2012-12-14 | 2020-08-31
96 | South Shannon | Banagher | 200471.964 | 215904.25 | Weather station, PLS, Net DL, Solar | WEATHER STATION & LEVEL | 2015-02-01 | 2022-04-01
97 | South Shannon | Coosan Point | 204805.172 | 246144.535 | Orpehus Mini | LEVEL | 2012-12-14
98 | South Shannon | Athlone Bypass Bridge | 202977 | 242391 | ecoLog | LEVEL | 2013-11-01
BARROW
99 | Barrow | Lock 20 Ballyteige US | 274948.526 | 223994.291 | Orpehus Mini | LEVEL | 2012-12-11
100 | Barrow | Lock 22 Glenaree US | 270693.15 | 221560.583 | Orpehus Mini | LEVEL | 2012-12-01
101 | Barrow | Lock 22 Glenaree DS | 270598.237 | 221471.358 | Orpehus Mini | LEVEL | 2012-12-11
102 | Barrow | Lock 23 Rathangan DS | 266822.541 | 218893.104 | Orpehus Mini | LEVEL | 2012-12-01
103 | Barrow | Lock 25 Monasterevin U/S | 262304.379 | 210459.658 | Orpehus Mini | LEVEL | 2012-12-01 | 2019-02-15
104 | Barrow | Lock 25 Monasterevin D/S | 262332.907 | 210413.565 | Orpehus Mini | LEVEL | 2012-12-01 | 2019-02-15
105 | Barrow | Lock 26 US Cardington Lock | 267216.119 | 194700.606 | Orpehus Mini | LEVEL | 2012-11-12 | 2021-10-27
106 | Barrow | Lock 26 DS Cardington Lock | 267262.091 | 194614.469 | Orpehus Mini | LEVEL | 2012-11-12
107 | Barrow | Pollardstown Flow Station | 275906 | 217543 | OTT SVR 100 | FLOW & LEVEL | TBC
108 | Barrow | Milltown Feeder | 675789 | 724343 | Orpehus Mini | LEVEL | 2014-04-13
109 | Barrow | Carlow Lock | 271605.745 | 176444.012 | Orpehus Mini | LEVEL | 2012-11-12 | 2020-11-24
110 | Barrow | Leighlinbridge | 269039.301 | 165492.684 | Orpehus Mini | LEVEL | 2012-11-12 | 2021-10-27
111 | Barrow | Graignamanagh | 271163.847 | 143719.305 | Orpehus Mini | LEVEL | 2012-11-12
112 | Barrow | Maganey Bridge | 268284.933 | 193461.597 | ecoLog | LEVEL | 2017-12-15
ROYAL CANAL RURAL
113 | Royal Canal Rural | Enfield Harbour | 277122.897 | 240979.851 | Orpehus Mini | LEVEL | 2012-12-18
114 | Royal Canal Rural | Longwood Harbour | 269437.539 | 245044.412 | Orpehus Mini | LEVEL | 2012-12-18
115 | Royal Canal Rural | Lock 17 Ferrans Lock US | 285594 | 241888 | ecoLog | LEVEL | 2024-06-13
116 | Royal Canal Rural | Lock 19 Down Stream | 257469.001 | 249724.672 | Orpehus Mini | LEVEL | 2012-12-18 | 2017-12-01
117 | Royal Canal Rural | Lock 20 Down Stream | 257003.475 | 249768.344 | Orpehus Mini | LEVEL | 2012-12-18
118 | Royal Canal Rural | Lock 21 Down Stream | 256498.841 | 249811.485 | Orpehus Mini | LEVEL | 2012-12-18
119 | Royal Canal Rural | Lock 22 Down Stream | 256125.715 | 249746.274 | Orpehus Mini | LEVEL | 2012-12-18 | 2020-07-03
120 | Royal Canal Rural | Lock 23 Down Stream | 255737.358 | 249675.063 | Orpehus Mini | LEVEL | 2012-12-18
121 | Royal Canal Rural | Lock 24 Down Stream | 255340.437 | 249776.776 | Orpehus Mini | LEVEL | 2012-12-18 | 2020-07-15
122 | Royal Canal Rural | Lock 25 Down Stream | 255029.036 | 249795.089 | Orpehus Mini | LEVEL | 2012-12-18
123 | Royal Canal Rural | Lock Owel Feeder Flow | 242027 | 256422 | OTT SLD / SonTek SLD TBC | FLOW & LEVEL | TBC
124 | Royal Canal Rural | Mullingar | 255035.086 | 249793.302 | ecoLog | LEVEL | 2014-12-03
GRAND CANAL RURAL
125 | Grand Canal Rural | Shannon Harbour Lock | 202405.691 | 218723.56 | Orpehus Mini | LEVEL | 2012-12-19
126 | Grand Canal Rural | Shannon Harbour | 203140.776 | 219001.741 | Orpehus Mini | LEVEL | 2012-12-19 | 2020-07-09
127 | Grand Canal Rural | Belmont Harbour | 207348.661 | 221896.864 | Orpehus Mini | LEVEL | 2012-12-19
128 | Grand Canal Rural | Glyn Lock | 209605.656 | 222834.085 | Orpehus Mini | LEVEL | 2012-12-19
129 | Grand Canal Rural | Gallen Jetty | 210677.007 | 222833.217 | Orpehus Mini | LEVEL | 2012-12-19 | 2022-10-26
130 | Grand Canal Rural | Pollagh Jetty | 219367.2 | 225287.933 | Orpehus Mini | LEVEL | 2012-12-19 | 2022-10-26
131 | Grand Canal Rural | Kirkwins Bridge | 224944.34 | 225708.012 | Orpehus Mini | LEVEL | 2012-12-19
132 | Grand Canal Rural | 28th Lock | 233016.228 | 225204.538 | Orpehus Mini | LEVEL | 2012-12-20 | 2020-07-07
133 | Grand Canal Rural | Tullamore Harbour | 234189.952 | 225188.638 | Orpehus Mini | LEVEL | 2012-12-20 | 2020-11-20
134 | Grand Canal Rural | Lock 23 at Rowing Club | 240089.106 | 225607.871 | Orpehus Mini | LEVEL | 2012-12-20
135 | Grand Canal Rural | Ballycommon Bridge | 242407.989 | 225864.212 | Orpehus Mini | LEVEL | 2012-12-20 | 2020-07-07
136 | Grand Canal Rural | Downshire Bridge | 262551.389 | 231373.622 | Orpehus Mini | LEVEL | 2012-12-20 | 2020-11-20
137 | Grand Canal Rural | Ticknevin Bridge Flow | 269699 | 230321 | OTT SLD / SonTek SLD TBC | FLOW & LEVEL | TBC