## Bill 1
PART 01 PRELIMINARIES
Ref | Description | Unit | Quantity | Rate | Amount
€
Note: For the avoidance of doubt, rates and sums provided shall be for a 1 year period however these rates/sums shall remain in place for the duration of the initial order (duration 4 years) and shall be paid annually as required under the initial order.
GENERAL ITEMS
A | Insurances
A001 | Employers Liability | sum | 1 |  | 0
A002 | Public Liability | sum | 1 |  | 0
A003 | Product Liability | sum | 1 |  | 0
A004 | Cyber Insurance | sum | 1 |  | 0
Note: Waterways Ireland will undertake insurance checking prior to Award.
Note: Insurances have been itemised in the Pricing Document however it is at the tenderers discretion whether they provide a rate for them specifically or include their cost within the overall rates for providing the service and thus zero rating the specific item. Some of the insurance requirements may be additional to what the tenderer currently holds, itemising the insurances allows for rates to be provided in this manner if the tenderer wishes.
B | On-going Communications
Allow for all costs associated with:-
B001 | One progress meeting every 6 months to be held in person at Waterways Ireland, HQ or Ashtown Offices | sum | 1 |  | 0
B002 | Liaising with Waterways Ireland operations staff before going to site to ensure access is available | sum | 1 |  | 0
Note: Service Provider to allow for all costs associated with travel and subsistence to meetings.
Note: Any additional meetings/discussions will be held via video conference between each party, as and when required.
C | Reporting
Allow for all costs associated with:-
C001 | Preparation of progress reports as outlined in the Scope of Services, including KPI reporting | sum | 1 |  | 0
C002 | Preparation of stock list every 3 months as outlined in Scope of Services | sum | 1 |  | 0
D | Licences and Copyright
D001 | Allow for all costs associated with:- Provision of a royalty-free, perpetual, non-exclusive, irrevocable, assignable license to amend/reproduce and/or use all information, drawings and reports prepared by the Service Provider during the course of the Order without liability | sum | 1 |  | 0
E | Health and Safety
Allow for all costs associated with:-
E001 | Carrying out statutory obligations under the relevant Health, Safety and Welfare legislation/regulations for the region in which they are working. | sum | 1 |  | 0
Page 01 | Part 01/1 - Total Forward to Part 01 Summary - Preliminaries |  |  |  | 0
PART 01 PRELIMINARIES
Ref | Description | Unit | Quantity | Rate | Amount
€ c
F | Quality Management
F001 | Allow for costs associated with preparing and maintaining a Quality Plan complying with IS EN ISO 9001 or similar internal Quality management system of acceptable quality | sum | 1 |  | 0
Note: Please see section 3.7 of the Scope of Services
Page 02 | Part 01/2 - Total Forward to Part 01 Summary - Preliminaries |  |  |  | 0
PART 01 PRELIMINARIES
PART 01 PRELIMINARIES - SUMMARY
| Part - 1/1 Total |  |  |  | 0
| Part - 1/2 Total |  |  |  | 0
| Total for Part 1 |  |  |  | 0
Page 3 | Part 1 - Total Forward to grand Summary |  |  |  | 0
PART 02 INITIAL ORDER REQUIREMENTS
Ref | Description | Unit | Quantity | Rate | Amount
€ c
G | ANNUAL SERVICING
Note: The successful tenderer shall allow for all costs associated with servicing each device and their ancillaries in accordance with the manufacturers requirements and those specified by WI in the Scope of Service Document for the initial Order. This includes but is not limited to supplying all necessary equipment required to calibrate and diagnose device issues, software updates, data download in excel or CSV format and issue to Waterways Ireland, completion of the checklist for each device, lubricants and travel and subsistence to each device location.
Note: Rates provided shall be for one of the four years as the servicing will be paid annually, the rates provided will be consistent over the 4 year duration and payment will be subject to the number of devices paid in each year.
Note: The successful tenderer shall allow for all costs associated with additional callouts and repairs to devices within 30 days of the initial servicing as required by the Scope of Service.
Note: Where reference is made to existing devices the tenderer can read this as full replacement of network should they be unable to service the existing. The cost of any full replacement must be allowed for in their prices if they wish to take this approach and the proposed devices must meet the minimum requirements outlined in the Scope of Services.
Allow for all costs associated with:
G001 | Servicing, maintenance and calibrating of the existing water level devices and ancillaries | no | 132 |  | 0
G002 | Servicing, maintenance and calibrating of the existing fixed flow, velocity and water level recorders and ancillaries including the associated data logger. Servicing to include secondary flow-measurement for cross-verficiation purposes. | no | 4 |  | 0
G003 | Servicing, maintenance and calibrating of the existing weather station and ancillaries including the associated data logger | no | 1 |  | 0
H | DEVICE REVIEW
Note: Sums provided shall be for one year period only. The device reviews shall continue in the same manor each year of the initial order (4year duration) and shall be paid annually at the same rate provided.
Allow for all costs associated with:
H001 | Priority device review every Monday morning (remote) throughout the Order period | sum | 1 |  | 0
H002 | Device review every 7 days for the first 30 days following servicing of a device throughout the Order period | sum | 1 |  | 0
H003 | Full device review every 3 months (remote) throughout the Order period | sum | 1 |  | 0
Page 4 | Part 2/1- Total Forward to grand Summary |  |  |  | 0
PART 02 INITIAL ORDER REQUIREMENTS
Ref | Description | Unit | Quantity | Rate | Amount
€
Note: Sums provided shall be for one year period only. The stock storage shall continue in the same manor each year of the initial order (4year duration) and shall be paid annually at the same rate provided.
Allow for all costs associated with:
I001 | Stock storage including provision of a secure facility and reporting stock every 3months in accordance with the Scope of Services throughout the Order period | sum | 1 |  | 0
J | METHOD RELATED CHARGES
Item descriptions shall distinguish between fixed and time-related charges
Total value for Method Related charges not to exceed 10% of tender value
Page 5 | Part 02/2 - Total Forward to Part 02 Summary - Initial Order Requirements |  |  |  | 0
PART 02 INITIAL ORDER REQUIREMENTS
PART 02 INITIAL ORDER REQUIREMENTS - SUMMARY
| Part - 2/1 Total |  |  |  | 0
| Part - 2/2 Total |  |  |  | 0
| Total for Part 2 |  |  |  | 0
Page 6 | Part 2 - Total Forward to grand Summary |  |  |  | 0
PART 03 NOTIONAL VALUES
Ref | Description | Unit | Quantity | Rate | Amount
€ c
K | REPLACEMENT HYDROMETRIC DEVICES AND ANCILLARIES - NOTIONAL VALUES
Note: The number of replacement devices and ancillaries will be notional values due to the nature of the initial Order and as such Waterways Ireland have no legal requirement under the Framework Agreement or the initial order to purchase the number stated below as they are dependent on the servicing requirements. The rates provided will be held throughout the Framework Period and used for assessment of the tender. During the Framework Period the rates can not be exceeded unless they are increased under the terms and conditions of the Framework. The Successful tenderer will be allowed to reduce the rates at a discounted rate should they wish.
Allow for all costs associated with:
K001 | Supply of Water Level Recorder Type 2 as specified in section 5.1.2.2 in the Scope of Services | No. | 10 |  | 0
K002 | Supply of Fixed Flow, Velocity and Water Level Recorder as specified in section 5.1.3 in the Scope of Services | No. | 2 |  | 0
K003 | Supply of Weather station and as specified in section 5.1.4 in the Scope of Services | No. | 1 |  | 0
K004 | Supply of Data Logger as specified in section 5.1.5 in the Scope of Services | No. | 2 |  | 0
K005 | Supply and installation of replacement batteries for Water Level Recorder Type 1 | No. | 108 |  | 0
K006 | Supply and installation of replacement batteries for Water Level Recorder Type 2 | No. | 24 |  | 0
K007 | Supply and installation of Solar power to a station including all connection costs such as but not limited to wiring, voltage conversion equipment, internal fittings | No. | 3 |  | 0
K008 | Supply and installation of a standard Stainless Steel Rittal Cabinet to house telemetric equipment | No. | 5 |  | 0
K009 | Supply and installation of a 50mm 2meter length OD stainless Steel pole to house sensors | No. | 20 |  | 0
K010 | Supply and installation of a 50mm OD Pipe coupler | No | 20 |  | 0
K011 | Supply and installation of a 50mm Saddle Clamp | No | 40 |  | 0
K012 | Supply and installation of a M10 x 30mm bolt | No | 100 |  | 0
K013 | Supply and install M10 Nuts | No. | 100 |  | 0
K014 | Supply and install M10 washer | No. | 100 |  | 0
K015 | Supply and installation of a M12 x 100mm bolt | No | 80 |  | 0
K016 | Supply and install M12 Nuts | No. | 80 |  | 0
K017 | Supply and install M12 washer | No. | 80 |  | 0
K018 | Security Cage - 1m x 370mm x 400mm | No. | 5 |  | 0
Page 7 | Part 03/1 - Total Forward to Part 03 Summary - Notional Values |  |  |  | 0
PART 03 NOTIONAL VALUES
Ref | Description | Unit | Quantity | Rate | Amount
€ c
L | CALL OUTS FOR ONSITE DIAGNOSTIC TESTING AND DEVICE REVIEW - NOTIONAL VALUES
Note: The rates provided shall be a fixed rate for each call out. Total number of call outs are dependent on the network requirements throughout the Order period therefore a notional quantity has been provide for tendering purposes. The rates provided will be held throughout the Framework Period and used for assessment of the tender. During the Framework Period the rates can not be exceeded unless they are increased under the terms and conditions of the Framework. The Successful tenderer will be allowed to reduce the rates at a discounted rate should they wish.
L001 | Non-Priority call out fee to include all costs associated with traveling to an inactive Water Level Device or one producing unreliable results. To be complete within 7 days of an inactive device being discovered. | No | 30 |  | 0
L002 | Non-Priority call out fee to include all costs associated with traveling to an inactive Flow Monitoring device or one producing unreliable results. To be complete within 7 days of an inactive device or erratic readings being discovered. Fee to include all costs associated with the extraction, thorough cleaning, and functional testing of water measurement devices, including secondary flow-measurement cross-verification and on-site recalibration. | No | 5 |  | 0
L003 | Priority call out fee to include all costs associated with traveling to an inactive station and or device. To be complete within 24 hours of an inactive device being discovered. | No | 15 |  | 0
L004 | Spot flow measurements in Canals or Feeder Channels to Canal using handheld electromagnetic flow meters or floating acoustic doppler current profilers. Cost to include travel to site, measurement, post processsing and delivery of results. | No | 15 |  | 0
M | PERSONNEL HOURLY RATES - NOTIONAL VALUES
M001 | Note: All personnel should be suitably qualified for the role they are proposed for. The rates provided will be held throughout the framework and used for assessment of the tender. During the Framework Period the rates can not be exceeded unless they are increased under the terms and conditions of the Framework. The Successful tenderer will be allowed to reduce the rates at a discounted rate should they wish.
M002 | Project Director | hrs | 50 |  | 0
M003 | Project Manager | hrs | 150 |  | 0
M004 | Technician | hrs | 200 |  | 0
N | EQUIPMENT HIRE - NOTIONAL VALUES
N001 | Provision of a small water craft capable of acting as a working platform to conduct non intensive tasks associated with servicing and/or repairs per day | days | 5 |  | 0
N002 | Drill Hire and bits per day | days | 15 |  | 0
O | Materials not Listed
O001 | % for overheads on materials not listed | %
O002 | % profit on materials not listed | %
Page 8 | Part 03/2 - Total Forward to Part 03 Summary - Notional Values |  |  |  | 0
PART 03 NOTIONAL VALUES
PART 03 NOTIONAL VALUES - SUMMARY
| Part - 3/1 Total |  |  |  | 0
| Part - 3/2 Total |  |  |  | 0
| Total for Part 3 |  |  |  | 0
Page 9 | Part 3 - Total Forward to grand Summary |  |  |  | 0
GRAND SUMMARY for evaluation purposes
| Total for Part 1 - Preliminaries |  |  |  | 0
| Total for Part 2 - Initial Order Requirements |  |  |  | 0
| Total for Part 3 - Notional Values |  |  |  | 0
| Grand Summary for evaluation purposes |  |  |  | 0
Name of Tenderer:
Signature of Authorised Person:
Date:
| TOTAL for evaluation purposes |  |  |  | 0