Open Competition for the Supply of embedded Force Plates for Biomechanics Lab

PCO 527

Specification of Requirements and Tender Response Document

Insert Tenderer Legal Name

# SECTION 1 – COMPLIANCE

Compliant Tenders

Compliant Tenders

Tenderers are required to complete and submit with their Tender Section A of the RFT

# 3.1 SECTION 1 – COMPLIANCE

| TENDER RESPONSE POINT OF CONTACT |  |
| --- | --- |
| Contact Name |  |
| Telephone Number |  |
| Email Address |  |
| Postal Address: |  |
| Internet address (web address) (if applicable) |  |

Responding to the Selection Criteria

In order to evaluated in accordance with the Award Criteria in Section B below, tenderers must have declared by way of the following:

- That either:

  - no mandatory grounds for exclusion of the Tenderer pursuant to Regulation 57 of the Regulations apply to them, or

  - in circumstances where any mandatory exclusion grounds apply to the Tenderer (and where the Tenderer is not precluded from doing so under Regulation 57(17) of the Regulations), that it can provide evidence that measures taken by it are sufficient to demonstrate its reliability despite the existence of any such relevant exclusion ground, and

- that they satisfy the selection criteria for in this Competition as set out below (the “Selection Criteria”),

The Contracting Authority also reserves the right to exclude from evaluation a Tenderer to whom a discretionary ground for exclusion pursuant to Regulation 57 of the Regulations applies.

Relying on the Standing of Other Entities

Tenderers may include individuals, partnerships, limited companies, groupings or any combination of the foregoing with or without legal personality. However, a grouping if successful will be required to establish legal personality in order to enter into the contract.

Tenderers are reminded that they may rely on the resources of other entities in order to establish the requirements on condition that they can prove to the satisfaction of The Contracting Authority that they will have these resources at their disposal when necessary.

If the tender is from a consortium / joint venture Tenderers must ensure that all the relevant information is provided and where necessary, provide the information requested separately for each party. The consortium must appoint a single supplier who will assume overall responsibility for delivery, and who is authorised to sign the contract on behalf of all consortia members. The Contracting Authority will not act as an arbitrator between members of consortia.

Where tenderers are relying on the capacity of other entities (for example, Subcontractors) for the purposes of fulfilling any of the Selection Criteria in part 3.3 they much ensure that each entity completes and submits separate compliance documentation when requested by the Contracting Authority, submit proof, to the satisfaction of the Contracting Authority, that each such entity will place the necessary resources at the disposal of the Tenderer.

Selection Criteria

| A1. CANDIDATE SUMMARY Weighting: Pass/Fail only Pass requirement: Candidates must complete this section. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organisation Name |  |  |  |  |
| Contact Name |  |  |  |  |
| Position |  |  |  |  |
| Address |  |  |  |  |
| Telephone Office |  |  |  |  |
| Telephone Mobile |  |  |  |  |
| Email |  |  |  |  |
| Date of establishment, if applicable |  |  |  |  |
| Legal Status, if any (Company (Ltd.), Partnership, Sole Trader, etc.) |  |  |  |  |
| Please confirm if you are an SME (Small and Medium Enterprise) as defined in Commission Recommendation 2003/361/EC | Yes |  | No |  |
| Definition as per 2003/361/EC The category of micro, small and medium-sized enterprises (SMEs) is made up of enterprises which employ fewer than 250 persons and which have an annual turnover not exceeding EUR 50 million, and/or an annual balance sheet total not exceeding EUR 43 million. |  |  |  |  |

| SUB-SERVICE PROVIDERS If the candidate wishes to rely on the standing of other parties including sub-service providers full details must be provided. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Is the candidate a group of economic operators? Yes No If Yes, please provide the following information: |  |  |  |  |
| Please enclose an organisational chart with the proposed hierarchical structure of the grouping |  | Confirm if attached Yes No |  |  |
| Please describe the commercial and legal relationship amongst its members |  |  |  |  |
| If your answer is “Yes”, please provide the following information: | Name |  | Service to be delivered | Confirm Separate Questionnaire enclosed? |
| Member #1 |  |  |  |  |
| Member #2 |  |  |  |  |
| Member #3 |  |  |  |  |

| A2 - TAX CLEARANCE |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| I confirm and declare having a current and valid Tax Clearance Certificate in place and our tax affairs are in order. Maynooth University can verify your tax clearance status through Revenue’s online facility at https://www.revenue.ie/itp/view.jsp. To this end, please confirm: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Do you grant Maynooth University permission to verify your tax status online via revenue.ie? |  |  |  |  | Yes |  |  |  |  | No |  |  |  |
| Candidate Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Candidate PPSN/Tax Reference Number |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Access Number |  |  |  |  |  |  |  |  |  |  |  |  |  |
| OR I confirm that I currently hold a valid paper tax clearance certificate (generally relates to Non-Residents) |  |  |  | Registration Number |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Certificate Number |  |  |  |  |  |  |  |  |  |
| OR I confirm that I have applied for a Tax Clearance Certificate details of which will be made available as soon as available. |  |  |  |  |  |  |  |  |  | Yes |  |  |  |
|  |  |  |  |  |  |  |  |  |  | No |  |  |  |
| A3 - Financial Standing |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following turnover to be considered for the Panel. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Turnover Requirement: |  |  |  |  | €200,000 |  |  |  |  |  |  |  |  |
| Financial Year |  | 2025 |  |  | 2024 |  |  |  |  | 2023 |  |  |  |
| Month for Financial Year End (e.g. July) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Turnover |  | € |  |  | € |  |  |  |  | € |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the tender list being finalised: - evidence of turnover for the past three financial years |  |  |  |  |  |  |  |  |  | Yes |  |  |  |
|  |  |  |  |  |  |  |  |  |  | No |  |  |  |
| I confirm that the applicant is compliant with all its corporate obligations in relation to financial returns |  |  |  |  |  |  |  |  |  | Yes |  |  |  |
|  |  |  |  |  |  |  |  |  |  | No |  |  |  |
| A4 - INSURANCES |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - I confirm that we have the following insurances in place: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Insurance Type |  |  | Level in Place |  | Details of Any Excess |  |  |  |  | Expiry Date |  |  |  |
| Employers Liability |  |  | € |  |  |  |  |  |  |  |  |  |  |
| Public Liability |  |  | € |  |  |  |  |  |  |  |  |  |  |
| Professional Indemnity |  |  | € |  |  |  |  |  |  |  |  |  |  |
| Cyber Liability |  |  | € |  |  |  |  |  |  |  |  |  |  |
| Other relevant Industry insurance if applicable |  |  | € |  |  |  |  |  |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that if successful, where the levels required under the Panel are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place promptly. The levels relevant to this procurement being as follows: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Insurance Type |  |  |  |  | Level Required |  |  |  |  |  |  |  |  |
| Employers Liability |  |  |  |  | €13m |  |  |  |  |  |  |  |  |
| Public Liability |  |  |  |  | €6.5m |  |  |  |  |  |  |  |  |
| Professional Indemnity |  |  |  |  | N/A |  |  |  |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the award decision being made: - evidence of insurances in place or - letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  |  | Yes |  |  |  |  | No |  |  |
| Please note that Maynooth University will seek to verify self-declarations regarding financial capacity prior to next stage of the competition. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signed: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |  |  |  |  |

| A5 DECLARATION OF BONA FIDES In relation to an award procedure under Public Sector Directive 2014/24/EU (Article 57). Weighting: Pass/Fail only Pass requirement: Candidates must complete, sign and date this Declaration. Maynooth University reserves the right at its discretion to exclude a non-compliant Candidate under each heading. This must be completed by each group member. |  |  |  |
| --- | --- | --- | --- |
| Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |
| - Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | YES | NO |
|  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 1.1.a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |
| 1.1.b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |
| 1.1.c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |
| 1.1.d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  |  |
| 1.1.e | the subject of a conviction for money laundering or terrorist financing; |  |  |
| 1.1.f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  |  |
| Non-payment of taxes or social security obligations - Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? Note: If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved |  |  |  |

| An Economic Operator who answers ‘Yes’ in any of the situations set out in paragraphs 2.1.a to 2.1.i will be excluded. |  |  |  |
| --- | --- | --- | --- |
| 2.1 Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. The Economic Operator: |  | YES | NO |
|  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 2.1.a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  |  |
| 2.1.b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |
| 2.1.c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |
| 2.1.d | has entered into agreements with other economic operators aimed at distorting competition; |  |  |
| 2.1.e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |
| 2.1.f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |
| 2.1.g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |
| 2.1.h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or |  |  |
|  | - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  |  |
| 2.1.i | has undertaken to: - unduly influence the decision-making process of the contracting entity, or - obtain confidential information that may confer upon the Tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |

| DECLARATION RE STATUTORY OBLIGATIONS |  |  |  |
| --- | --- | --- | --- |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment/operation: |  | YES | NO |
| Employment Equality Acts 1998-2011 |  |  |  |
| Equal Status Acts 2000-2011 |  |  |  |
| National Minimum Wage Act 2000 as amended |  |  |  |
| Organisation of Working Time Act 1997 as amended |  |  |  |
| Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |
| Disability Act 2005 |  |  |  |
| We have procedures in place to ensure that our subservice providers, if any are used for this contract, apply the same standards. |  |  |  |
| This Declaration is made for the benefit of Maynooth University I certify that the information provided in the Declaration re Personal Circumstances and the Declaration re Statutory Obligations is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in these Declarations will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |
| Name of Economic Operator |  |  |  |
| Signature |  |  |  |
| Name in print or block capitals |  |  |  |
| Rank / Position |  |  |  |
| NOTE: The term Economic Operator covers equally the concepts of Service provider, Supplier and Service Provider whether as Candidate, Tenderer or Participant under an award procedure in accordance with the relevant Public Procurement Directive. |  |  |  |

2.6 Additional selection criteria.

| Title of Criterion | Previous Contracts |  |  |
| --- | --- | --- | --- |
| Maximum Marks | 1,000 |  |  |
| Minimum Marks | 700 |  |  |
| Minimum requirement to remain eligible in the competition: Candidates should refer to instances within the last three to five years which demonstrate that they have successfully delivered services of a comparable nature and scale on two (2) occasions. The contracts referenced for consideration should provide comprehensive information to enable Maynooth University to determine their comparability to the requirements of this contract. |  |  |  |
| The contracts listed should be chosen to demonstrate your firm’s skills, efficiency, experience and reliability in the relevant areas of expertise. All fields should be completed in full. In the event that the information requested on the value of contracts or identity of clients is considered confidential, Candidates must ensure that they provide sufficient information to allow the contracting entity to judge the similarity of these contracts to the services required. |  |  |  |
| Contract No. 1 |  |  |  |
| Start Date |  | End Date: |  |
| Client Name & address |  |  |  |
| Client contact person: |  | Phone no.: |  |
| Approximate annual value |  |  |  |
| Details of services provided |  |  |  |

| Contract No. 2 |  |  |  |
| --- | --- | --- | --- |
| Start Date |  | End Date: |  |
| Client Name & address |  |  |  |
| Client contact person: |  | Phone no.: |  |
| Approximate annual value |  |  |  |
| Details of services provided |  |  |  |

If tenderer fail selection criteria tender is not judged in award criteria and tenderer is informed where they failed selection

SECTION B - WEIGHTED AWARD CRITERIA

# Evaluation Criteria Guidelines

Award Criteria

Framework contracts will be awarded on the basis of the most economically advantageous compliant tender taking into account the following award criteria and weightings.

Tenderers must address each of the award criteria below in the relevant sections in the Tender Response Document.

| Reference | Criterion | Weighting | Maximum | Minimum |
| --- | --- | --- | --- | --- |
| A | Technical Merit: | 50% | 5,000 | 3,000 |
| B | After Sales Support & Technical Assistance: - Warranty - Post warranty service contract - Customer service | 15% | 1,500 | 900 |
| C | Lead Time & Delivery - Lead time - Delivery & installation | 15% | 1,500 | 900 |
| D | Environmental & Sustainability: - Compliance with Maynooth University policies | 10% | 1000 | 600 |
| E | Ultimate Cost: - Capital cost (including delivery) - Warranty - Servicing - Software & Licensing - Installation - Training | 10% | 1,000 | NA |

-------------------------------------------------------------------------------

Please fill in all sections

A Technical Merit

| A1 | Please outline below how the equipment you propose will meet the following requirement: 2 force plates of 600 x 900 mm in size + mounting hardware MUST be included in tender |
| --- | --- |

Response

| A2 | Please outline below how the equipment you propose will meet the following requirement: Force plates MUST be suitable for both an applied teaching setting and applied research setting in disciplines of Sport and Exercise Science, Athletic Therapy, and Physiotherapy |
| --- | --- |

Response

| A3 | Please outline below how the equipment you propose will meet the following requirement: The force plates and their dedicated software MUST be included, capable of analyzing a multitude of sports-based movements, including high speed movements (e.g. sprinting, change of direction, jumping), and be compatible with standard PC’s |
| --- | --- |

Response

| A4 | Please outline below how the equipment you propose will meet the following requirement: The force plates MUST be capable of being fully integrated into common motion capture systems (e.g. Vicon, Qualisys etc) for the analysis of 3-dimensional joint kinetics. It is preferrable that the force plates facilitate native digital integration with said motion capture systems. |
| --- | --- |

Response

| A5 | Please outline below how the equipment you propose will meet the following requirement: Force plates MUST provide measurement of force in 3 axis (Fx, Fy, Fz), the moments about these axis (Mx, My, Mz), and compute centre of pressure in real time. |
| --- | --- |

Response

| A6 | Please outline below how the equipment you propose will meet the following requirement: The force plates MUST have a high degree of accuracy. Minimum accuracy MUST be as follows, with higher accuracy beneficial - Within ± 0.7 % of applied load - Less than 0.6 mm error in centre of pressure location - Within ± 0.5% full scale output from Fx, Fy, Fz hysteresis - Within ± 0.5% cross talk of applied load |
| --- | --- |

Response

| A7 | Please outline below how the equipment you propose will meet the following requirement: It is highly desirable he force plates be able to measure accurately up to at least (with higher upper ranges beneficial): - 8000 N in Fx and Fy planes - 15000 N in Fz - 4000 Nm about the longitudinal and transverse axes - 1000 Nm about the vertical axis Moment capacity requirements MUST be stated with reference to the manufacturer's standard coordinate system as defined in the product documentation. Tenderers must provide a coordinate system diagram with their submission confirming axis orientations relative to plate geometry, including identification of which axis corresponds to the longitudinal and transverse plate dimensions respectively. |
| --- | --- |

Response

| A8 | Please outline below how the equipment you propose will meet the following requirement: The plates MUST have a natural frequency of at least 400 Hz in the vertical axis, and 300 Hz in the other 2 |
| --- | --- |

Response

| A9 | Please outline below how the equipment you propose will meet the following requirement: The proposed system MUST be CE compliant and marked and power source- standard plug fitting (three prong plug). |
| --- | --- |

Response

| A10 | Please outline below how the equipment you propose will meet the following requirement: Sampling frequency MUST be at least 1000 Hz, with higher frequencies beneficial |
| --- | --- |

Response

| A11 | Please outline below how the equipment you propose will meet the following requirement: Suppliers are strongly encouraged to provide ISO 17025 calibration certificate and demonstrate compliance with, or equivalent performance to, ASTM F3109-23 for multi-axis force plate performance. Evidence of compliance will be weighted positively in evaluation. |
| --- | --- |

Response

| A12 | Please outline below how the equipment you propose will meet the following requirement: It is favorable that the system provides specific education software (e.g. tutorials) for undergraduate students to understand the biomechanics of movement through using the force plates |
| --- | --- |

Response

B After Sales Support & Technical Assistance

| B1 | Please specify how you can meet the following requirements: The warranty MUST be of an on-site nature including all direct costs connected with warranty actions, including all hardware, software, call outs, 1 preventative maintenance visit per year, travel, and parts. The warranty should cover a minimum of a 2-year period, but longer is beneficial. During the warranty period, guaranteed response times must be provided across three support tiers: - Online/Telephone/remote support response: maximum time from initial contact to first response - Remote diagnostic resolution: maximum time from initial contact to remote resolution where possible - On-site engineer attendance: maximum time from initial contact to physical attendance at the University |
| --- | --- |

Response

| B2 | Please specify how you can meet the following requirements: Following expiry of the initial warranty period, fixed annual costs MUST be provided for an optional comprehensive on-site maintenance contract, available at the University's discretion for each year post-warranty for up to five years. This contract must cover all parts, labor, and on-site attendance by a trained service engineer, with no additional call-out charges. Guaranteed response times must be stated explicitly across three support tiers: - Online/telephone/remote support response: maximum time from initial contact to first response - Remote diagnostic resolution: maximum time from initial contact to remote resolution where possible - On-site engineer attendance: maximum time from initial contact to physical attendance at the University Where different levels of service are available, for example standard versus priority response tiers, all available options must be presented with associated annual costs, response time commitments, and explicit scope and exclusions for each tier. The University reserves the right to select the most appropriate service level at the time of contract renewal |
| --- | --- |

Response

| B3 | Please specify how you can meet the following requirements: Maintenance of and upgrades to software MUST be included within the warranty period. |
| --- | --- |

Response

| B4 | Please specify how you can meet the following requirements: The tenderer MUST have dedicated specialists at their disposal who are fully qualified to service the force plates and associated technologies (e.g. amplifiers) |
| --- | --- |

Response

| B5 | Please specify how you can meet the following requirements: The Tenderer MUST provide details of the following: how long spare parts will be available, specify lead times for replacement spare parts, specify how long, on average, it normally takes for a qualified service engineer to attend on site after a service call |
| --- | --- |

Response

| B6 | Please specify how you can meet the following requirements: Tenderer MUST provide training for at least eight University personnel after commissioning to cover set up / system familiarisation, operation of the equipment, troubleshooting, maintenance, and associated software use once the equipment is in place. A detailed description of the training and support to be provided for staff and technical personnel is required. |
| --- | --- |

Response

C Lead Time & Delivery

| C1 | Delivery MUST include all Shipping Charges, insurance, customs duties, and import costs. No additional costs beyond the tendered process will be accepted. |
| --- | --- |

Response

| C2 | Tenderers MUST give details of lead time in weeks for delivery, installation, commissioning, and training from the date the Purchase Order is received |
| --- | --- |

Response

| C3 | Delivery, installation and commissioning MUST be carried out in a location defined by the University, by a trained engineer on an agreed date, with Factory Acceptance Tests conducted at the customer site prior to formal acceptance |
| --- | --- |
| Response |  |

| C4 | The installation of all electrical items MUST be in accordance with but not limited to European standards/ regulations and all relevant amendments |
| --- | --- |
| Response |  |

| C5 | Equipment should be installed and commissioned within four months of contract. Lead times must be expressed in weeks and presented as a breakdown across each phase: delivery, installation, commissioning, and training separately. |
| --- | --- |
| Response |  |

| C6 | Prior to installation, the successful tenderer MUST conduct a minimum of one site visit to assess pit dimensions, structural requirements, cable routing, and flooring specifications. The tenderer MUST liaise directly with the University's appointed building contractor regarding pit construction requirements. Written confirmation of pit specifications must be provided to the building contractor by the tenderer. This site visit should be conducted within 2 weeks of contract award. |
| --- | --- |
| Response |  |

| C7 | The tenderer must provide written pit specification drawings, including dimensions, tolerances, cable entry points, and load-bearing requirements, suitable for use by a building contractor, within 2 weeks of contract award. |
| --- | --- |
| Response |  |

D Environmental & Sustainability

| D1 | What actions has your organisation taken to reduce its impact on the environment. |
| --- | --- |

Response

| D2 | What environmental training does your organisation provide to employees. |
| --- | --- |

Response

| D3 | What is the company policy for Environmental & Sustainability practices? |
| --- | --- |

Response

| D4 | Please provide your organisations Corporate Social Responsibility policy. |
| --- | --- |

Response

| D5 | Does your organisation have a current sustainability policy or statement? If so please provide it. |
| --- | --- |

Response

E COST

| D5 | Cost of embedded Force Plates as outlined in RFT document : Response to include cost of the following - Capital cost (including delivery) - Warranty (for at least 2 years) - Software & Licensing - Installation - Training (For information purposes please give price of annual service warranty after a minimum 2 years, this cost will not be included in evaluation ) |
| --- | --- |

Response

Framework contracts will be awarded on the basis of the most economically advantageous compliant tender taking into account the following award criteria and weightings. Tenderers must address each of the award criteria above in the relevant sections in the Tender Response Document. NOTE 1: Tenderers should ensure in their tenders that they provide detailed information in respect of all aspects of the contract award criteria as stated above. This will enable the awarding authority to assess fully the extent of their offers. Note 2: Tenders are required to respond to the above Award criteria with clearly labelled submission document(s) outlining in each case what criteria they are responding to. - Methodology for Calculating Scoring of Qualitative Criteria Scoring of the qualitative criteria will be based on an assessment of the full provision of the information provided in the relevant section of the Tender Response Document. The following scoring system will be applied to each individual qualitative criterion: Score; Meaning; Interpretation. 90 – 100%; Outstanding; A very comprehensive response demonstrating extensive understanding offering full assurance to client – fully supported with no reservations. 80 – 89%; Excellent; An excellent response demonstrating excellent understanding offering assurance to client – strongly supported. 70 – 79%; Very good; A very good response demonstrating very good understanding offering assurance to client – fully supported. 60 – 69%; Good; A good response demonstrating good understanding offering assurance to client – well supported. 50 – 59%; Acceptable; An acceptable response demonstrating a minimum understanding offering assurance to client - satisfactorily supported. Less than 50%; Unacceptable; Response demonstrates limited understanding with limited or insufficient or no detail with a risk of non-delivery. Marks between the base lines outlined above can be awarded where responses so merit additional marks. - Methodology for Calculating the Cost Score The following formula will be applied to the cost score: The lowest cost tender that also meets all of the minimum requirements of the qualitative award criteria will receive the maximum score achievable under this criterion. The scores of the other valid tenders will be calculated using the following formula: Lowest Cost from a Bona Fide Tender; A. Cost for the tender being evaluated; B. Maximum Points available for Cost; 2000. Formula employed; 2000 x A B. - Clarification of Abnormally Low Tenders In the event that the Contracting Authority considers the tender submission to be commercially unsustainable or otherwise problematic in light of the tendered price or any other financial matter (including proposed indicative hours), the tenderer shall be invited to provide clarification to the Contracting Authority in respect of all elements of the tender submission that the Contracting Authority deems relevant. Any failure to satisfactorily comply with such a request, or to satisfactorily address the Contracting Authority’s concerns, may, at the discretion of the Contracting Authority, result in the elimination of the tender in question on the basis of it being considered abnormally low. - Clarification / Verification Meetings Award of contract may be subject to attendance at a clarification and verification meeting. It would be essential that the key personnel assigned to this contract should be available and present at this meeting. If required, tenderers will be notified of the date, time, agenda and format for such meetings as soon as possible. A visit to the Tenderer’s premises may be required in order to clarify any questions or queries regarding the tender offer. Tenderers should note that the Contracting Authority reserves the right to confirm that the financial and technical capacity of the tenderer is valid and unchanged prior to the award of any contract.

| To | Maynooth University |
| --- | --- |
| From | Insert Tenderer Legal Name |
| Re |  |

I/We confirm that I/we

Have proposed rates that are inclusive of for all costs, charges, disbursements and administrative expenses incurred including out of pocket (i.e. mileage, subsistence, phone, postage, etc.) and account / contract management related costs.

Will keep this offer for the contract / framework open for acceptance by you for a period of 4 months from the date of deadline for submission of Tenders,

Agree that you are not bound to accept the most economically advantageous or any Tender you may receive,

Agree that the rates stated are maximum prices for the duration of the framework agreement,

Have read and thoroughly examined the RFT,

Fully understand the RFT and the Maynooth University’s requirements,

Undertake to treat the details of this RFT, its Tender and any subsequent negotiations as private and confidential,

Acknowledge that acceptance by Maynooth University of this tender will not constitute a binding and enforceable agreement and that a legally enforceable agreement will not exist until and unless the contract is awarded / framework agreement has been established between the and the Tenderer,

Have availed of all offers for additional information or have otherwise satisfied myself/ourselves as to conditions that may in any manner affect the performance of the services required under the framework agreement,

Have included all elements necessary for the performance of the specified services, which are either expressly stated in the RFT or contained in any supplementary information or which could reasonably be inferred therefrom,

Have found no errors, omissions, conflicts or ambiguities in the RFT except those which I/We have brought to the attention of Maynooth University before the latest date for submitting queries,

Have included for compliance with all statutory requirements applicable in Ireland and those applicable in any country where parts of the contract may be performed that are in force 7 days prior to the deadline for receipt of Tenders,

Will not, if awarded a contract employ labour in a manner that is discriminatory in relation to gender, race, religious beliefs, age etc.,

| Signed |  | Position |  |
| --- | --- | --- | --- |
| Print Name |  | Phone No |  |
| Company Name |  | Date |  |
| Address |  |  |  |
| Email |  |  |  |

END