Preliminary Health & Safety Plan Killarney National Park

Cottage No. 16 (Mulligans) Refurbishment

Frank Coffey Consulting Engineer

|  | Name | Company | Duties | Date |
| --- | --- | --- | --- | --- |
|  | Frank Coffey | Frank Coffey Consulting Engineer | Engineers | 24th June 2026 |
| Checked By: | FC | FC CE | PSDP | 24th June 2026 |
|  | Print Name | Company | Signature | Date |
| Approved By: | FRANK COFFEY | FC CE |  | 24th June 2026 |

| Status | : | TENDER ISSUE | Document Number | : | 1 |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Revision | : | - |

# CONTENTS

1.0	SCOPE OF DOCUMENT

2.0	GENERAL DESCRIPTION

3.0	CONCURRENT WORK ACTIVITIES & SEVICES ON OR NEAR SITE

4.0	PARTICULAR RISKS

5.0	OTHER HAZARDS

6.0	OTHER RELEVANT SAFETY INFORMATION

7.0	SAFETY LEGISLATION COMPLIANCE & OTHER REQUIREMENTS

8.0	EXISTING DRAWINGS AND DOCUMENTS

9.0	GENERAL PRINCIPLES OF PREVENTION

10.0	NON-EXHAUSTIVE LIST OF MATTERS TO BE CONSIDERED IN PARTICULAR AS REGARDS THE APPLICATION OF THE GENERAL PRONCIPLES OF PREVENTION TO CONSTRUCTION WORK UNDER THE 2006 REGULATIONS

APPENDIX 1: DUTIES OF PROJECT SUPERVISOR FOR DESIGN PROCESS (PSDP)

APPENDIX 2: DUTIES OF PROJECT SUPERVISOR FOR CONSTRUCTION STAGE (PSCS)

APPENDIX 3: SUGGESTED CONTENTS OF SAFETY AND HEALTH PLAN APPENDIX 4: SITE LOCATION MAPS

# 1.0	SCOPE OF DOCUMENT

This document comprises the Preliminary Safety and Health Plan for the retrofit Cottage No. 16, Mulligan’s Cottage, Killarney National Park (KNP) - works to completion.

The document has been prepared in accordance with the Safety Health & Welfare at Work (Construction) Regulations of 2006 (S.I. No. 504 of 2006).

It is intended that this document will be used as the basis for the developed or construction Safety and Health Plan for the Construction Stage. The Project Supervisor Design Process (PSDP) was appointed as per the Safety, Health and Welfare at Work (Construction) Regulations 2006.

This document has been prepared for the purpose of providing relevant information to the Project Supervisor Construction Stage (PSCS).

NOTE TO ALL CONTRACTORS TENDERING - Ensure that you read and understand the full contents of this document prior to finalizing the contract pricing.

# PROJECT INFORMATION

  - Organisational Arrangements

| Client: |  |  |
| --- | --- | --- |
| Killarney National Park, Muckross House, Muckross, Killarney, Co. Kerry. | Contact: | Seamus Hassett |
|  | Tel: | 064 6670144 |
| Project Supervisor (Design Stage): |  |  |
| Frank Coffey, Consulting Engineer, Daly’s Lane, Killorglin, Co. Kerry | Contact: | Frank Coffey |
|  | Tel: | 066-9790625 |
|  |  | 086 2947474 |
| Mechanical and Electrical Services, TEM Consulting Engineers | Contact: | Tony O’Conor |
|  | Tel: | 087-9343523 |

  - Site Location

N71, Killarney Kenmare Road, Killarney National Park

# Drawings / Specifications

Included in Tender information

# General Project Description

Killarney National Park (KNP) proposes to refurbish  Cottage No.16 to remove dereliction, make it habitable and render it as energy efficient as possible and to install independent power generation. This includes the demolition and rebuilding of a flat roofed extension to the rear – and the addition of an A-Section to the roof at the rear to accommodate the stairs.

The cottage is connected to the national power grid.

# Project Timelines

The contract period is 6 months from the date of appointment notified to contractor.

# CONCURRENT WORK ACTIVITIES & SERVICES ON OR NEAR SITE

  - General

    - The cottage is a residential property

    - Adjacent Services – not located.

    - Access is private and not open to the general KNP

# Relevant Adjoining Land Uses:

    - KNP used as international class recreational nature park

    - N71 National Route – with Acess for all construction directly from the N71

.

# Control of Construction Works

All works during construction fall within the control of the Project Supervisor Construction Stage (PSCS) for the project. The PSCS role is not yet awarded.

The PSDP must be consulted however in relation to temporary works design.

# Restriction of Working Hours

The hours of work on the site shall be normal working hours

# Site Restrictions

- N71 is a highly trafficked national route at front of site

- Bordered by KNP, SAC on two side

- Attached as a semi-detached OCCUPIED cottage to the adjacent cottage

# General Access to Site:

Access to site is via the N71, a highly trafficked National Route

# Access Signage to Site

The Contractor shall implement an appropriate signing regime of the vehicular entrance, i.e. “Construction Site Ahead” – with repeats. The first sign in in both directions to be 200m back from entrance with repeat signs at 100m and 50m, on the N7. “STOP” sign to be erected internally at the exit..

# Site Compound and Parking

Set down area for the site will be at the rear of the house If required a small compound will be facilitated by KNP at the farm complex which is 100m in the Kenmare direction.

# Noise

Noise levels will be kept to a minimum as far as reasonably practicable.

The adjacent semi-detached cottage is occupied full-time by a family.

# Dust

Dust levels from the site will be kept to a minimum. Emissions will be strictly controlled during the duration of the project to reduce airborne dust levels.

# Road Cleaning

Adjacent roads must be cleaned as necessary

# PARTICULAR RISKS

The following is a non-exhaustive LIST of particular risks to the Safety & Health of persons as set out in Schedule 1 of the Safety, Health & Welfare (Construction) Regulations, 2006.

    - Risk to road users associated with construction vehicles entering and leaving the site

    - Chemical or Biological Substances used in construction

    - Buried Cables

    - Falling from Heights, i.e. scaffolding

Other hazards may arise out of working methods, which are at the discretion of the contractor and as such cannot be determined at this stage. The unforeseen hazards are to be addressed by the PSCS and the contractors themselves. To this end, we request a site-specific safety statement from all contractors working on the site.

A table outlining the applicability of the Particular Risk is listed below.

| Risk |  | Applicable |  | Where |
| --- | --- | --- | --- | --- |
|  |  | Yes | No |  |
| 1. | Work which puts persons at work at risk of burial under earthfalls, engulfment in swampland or falling from a height, where the risk is particularly aggravated by the nature of the work or processes used or by the environment at the place of work or site. | √ |  | Work required at high level |
| 2. | Work which puts persons at work at risk from chemical or biological substances constituting a particular danger | √ |  |  |

|  | to the safety and health of such persons or involving a legal requirement for health monitoring. |  |  |  |
| --- | --- | --- | --- | --- |
| 3. | Work with ionising radiation requiring the designation of controlled or supervised areas as defined in Article 20 of Directive 80/836/Euratom |  | √ |  |
| 4. | Work near high voltage power lines and cables | √ |  | Existing Generator on site |
| 5. | Work exposing persons at work to the risk of ground collapse |  | √ |  |
| 6. | Work on demolition carries risk of collapse or of collapsing scaffold | √ |  | Internal/ External |
| 7. | Work will be carried on adjacent to roadways. Danger to road users and site personnel. | √ |  |  |
| 8. | Work exposing personnel to the risks associated with road making machines and tipping trucks |  | √ |  |

-

# Excavations

None

# Underground Services

Unscheduled services and obstacles may be encountered during the excavation work. The Contractor shall, before opening any section of trench, make contact with any local authorities or utility companies. The contractor prior to carrying out any excavations must carry out a survey to ensure all buried services are identified. If necessary a number of hand excavated trial holes must be excavated to determine the precise location of all services crossing on or in close proximity to the line of the proposed trench. Relevant personnel must be fully trained in the correct use of the locators.

The site is likely to have drainage and foul pipes.

The Contractor shall take all due care when working close to existing services – refer to the HSA Code of Practice for Avoiding danger from Underground Services.

# Over Ground

Overland electricity cable present

# Falls

Falls from height are identified as a hazard on the project. – given that work will take place to the upper sections of the building

# Falling Objects

Falling objects are identified as a hazard on the project. Even a small object falling from height can cause injury..

In addition, the following precautions must be addressed where appropriate:

- Safe systems must be used to place materials in position and for the removal of waste

- All materials must be stacked and laid out in such a way as to prevent their collapsing or overturning,

- All personnel on site must wear safety hard hats where there is a risk from falling materials,

# 5.0	OTHER HAZARDS

In addition to the particular risks addressed the following hazards have also been identified as being relevant during the construction stage of the project.

- Working at Heights

- Falling objects

- Assembly of prefabricated components

- Confined Space Entry

- Work involving Power Tools / Cartridge Tools

- Heavy Plant and Equipment

- Cranes and Lifting Equipment

- Chemical Hazards

- Biological Hazards

- Manual Handling

The PSCS and contractors in preparation of the Health and Safety Plan and Safety File must carry out in accordance with their statutory requirements, site specific risk assessments to identify all hazards and put controls in place to eliminate or reduce the risks to all personnel on site, members of the public so far as is reasonably practicable.

These risk assessments will be monitored and reviewed by the PSCS whenever new machinery or systems of work are introduced.

6.0        Other Relevant Safety Information

  - Tools and Equipment

The equipment supplied must be properly maintained and regularly serviced so as to provide the standard of safety and quality required under this contract.

The Contractor shall keep full records of all plant and equipment maintenance and servicing on site.

All Contractors teams must be provided with an efficient cable locator in good working order and these must be used prior to commencement and during any excavation that is carried out.

# Personal Protective Equipment

All contractor operatives are to be provided with suitable protective clothing, equipment and footwear. This must include at a minimum– safety helmets, safety footwear, hi- visibility vest and any other P.P.E identified in the contractors risk assessment / safety statement.

# Ongoing Liaison and Unforeseen Events

The PSCS and contractor shall consult with the PSDP should circumstances unforeseen or the requirements for design changes occur during the construction phase.

The PSDP will require to be notified of any relevant changes or decisions that will affect Particular Risks during the time span of the project.

Other relevant information would include changes to the time required for the completion of the project or phases of the project.

# Safety File

The PSCS shall provide all relevant information required for the completion of the Safety File to the PSDP in a timely manner.

The PSCS shall co-ordinate arrangements for the gathering of information from Contractors.

# SAFETY LEGISLATION COMPLIANCE AND OTHER REQUIREMENTS Contractor Responsibilities

The Contractor’s responsibilities include complying with statutory health and safety requirements under the Safety, Health & Welfare at Work Act, 2005 plus all current statutory instruments e.g. Safety Health & Welfare at Work (Construction) Regulations of 2001 and 2006 and the Safety Health & Welfare at Work (General Application) Regulations SI 44 of 1993 and amendments.

The Contractor must additionally comply with the Project Supervisor (Construction) Stage (PSCS) Safety Plan for the duration of the project.

The Contractor is obliged to secure further information regarding the PSCS requirements and safety requirements and be familiar with same before commencing works.

Scheduling must be co-ordinated via the PSCS at a weekly contractor safety meeting.

At the time of tender the contractor shall:

    - Be aware of the Preliminary Health and Safety Plan and all pertinent tender documents available from the PSDP/designers.

    - Be familiar with the contents of those documents while pricing work.

    - Seek clarification at tender stage where required.

# 8.0	EXISTING DRAWINGS AND DOCUMENTS

All existing drawings and documents will be maintained in the site office by and PSDP during the construction phase of the project. All relevant drawings will be maintained in the office by the PSCS during the construction phase of the project.

This Preliminary Safety and Health Plan will be expanded by the PSCS to formulate the Safety and Health Plan for Construction.

# GENERAL PRINCIPLES OF PREVENTION

    - Avoidance of risk

    - Evaluation of unavoidable risk

    - Combating of risks at source

    - Adaptation of work to the individual

    - Adaptation of the place of work to technical progress

    - Replacement of dangerous articles/systems with safer ones

    - Use of an adequate prevention policy (use of new technology, Social and human factors, organisation of work etc…)

    - Favoring collective measures over individual protection

    - Providing appropriate training and instructions to employees.

# Non-Exhaustive List of Matters to be considered in Particular as regards the Application of the General Principles of Prevention to Construction Work under the 2006 Regulations

- Keeping the construction site in good order and in a satisfactory state of cleanliness.

- Choosing the location of workstations bearing in mind how access to them is obtained, and determining routes or areas for the passage and movement of equipment.

- The conditions under which various materials are handled.

- Technical maintenance, pre-commissioning checks and regular checks on installations and equipment with a view to correcting any faults which might affect the safety, health and welfare of persons at work.

- The demarcation and laying-out of areas for the storage of various materials, in particular where dangerous materials or substances are concerned.

- The conditions under which the dangerous materials used are removed.

- The storage and disposal or removal of waste and debris.

- The adaptation, based on progress made on the construction site, of the actual time to be allocated for the various types of work or work stages.

- Co-operation between employers and self-employed persons

- Interaction with industrial activities at the place within which or in the vicinity of which the construction site is located

# APPENDIX 1

Duties of the Project Supervisor for the Design Process (PSDP) as outlined in Safety, Health and Welfare at Work (Construction) Regulations 2006:

A competent PSDP must be appointed, in writing, by the client for each project. In many cases the PSDP is a designer who has the necessary competence to fulfill the role of PSDP

As the PSDP your key role is to ensure co-ordination of the work of designers throughout the project.

As a PSDP you must:

Identify hazards arising from the design or from the technical, organizational, planning or time related aspects of the project.

Where possible, eliminate the hazards or reduce the risk.

Communicate necessary control measures, design assumptions or remaining risks to the PSCS so they can be dealt with in the Safety and Health Plan.

Ensure that the work of the designers is coordinated to ensure safety. Ensure co-operation between designers.

Prepare a written safety and health plan for any project where construction will take more than 500 person days or 30 working days or there is a Particular Risk and Deliver it to the client prior to tender.

Prepare a safety file for the completed structure and give it to the client.

Notify the Authority and Client of non-compliance with any written directions issued. The PSDP may issue directions to designers or contractors or others.

# APPENDIX 2

Duties of Project Supervisor Construction Stage (PSCS) as outlined in the Safety, Health and Welfare at Work (Construction) Regulations 2006

  - Co-ordinate the identification of hazards, the elimination of the hazards or the reduction of risks during construction

  - Develop the Safety and Health Plan initially by the PSDP before construction commences

  - Co-ordinate the implementation of the construction regulations by contractors

  - Organise cooperation between contractors and the provision of information

  - Co-ordinate the reporting of accidents to the Authority

  - Notify the Authority before construction where construction is likely to take more than 500 person days or 30 working days

  - Provide information to the site safety representatives

  - Co-ordinate the checking of safe working procedures

  - Co-ordinate measures to restrict entry on to the site

  - Co-ordinate the provision and maintenance of welfare facilities

  - Co-ordinate arrangements to ensure that craft, general construction workers and security workers have a Safety Awareness card, e.g., Safe Pass and Construction Skills card where required

  - Co-ordinate the appointment of a site safety representative where more than 20 persons on site

  - Appoint a safety advisor where there are more than 100 on site

  - Provide all necessary safety file information  to the PSDP

  - Monitor the compliance of contractors and others and take corrective action where necessary

  - Notify the Authority and the client of non-compliance with any written directions issued

The PSCS may issue directions to designers and contractors

# APPENDIX 3

Suggested Contents of Site Specific Safety and Health Plan

Description of Project

  - project description and program details,

  - details of client, designers, Process Supervisor Design Process and other consultants,

  - extent and location of existing records and plans,

  - arrangements for communication with Designers, PSCS and others as appropriate

Clients Considerations and Management Requirements

  - structure and organization

  - safety objectives for the project and the arrangements for monitoring and review

  - permits and authorization requirements

  - emergency procedures

  - site rules and other restrictions on contractors, suppliers and others, e.g., access arrangements to those parts of the site which continue to be used by the client

  - activities on or adjacent to the site during works

  - arrangements for liaisons between parties

  - security arrangements

Environmental Restrictions and Existing On-site Risks

- Safety hazards, including:

  - boundaries and access, including temporary access

  - adjacent land use

  - existing storage of hazardous materials

  - location of existing services – water, electricity, gas, etc

  - ground conditions

  - existing structures – stability, or fragile materials

- Health hazards including:

  - asbestos, including results of surveys

  - existing storage of hazardous materials

  - contaminated land, including results of surveys

  - existing structures hazardous materials

  - health risks arising from clients activities

Significant design and construction hazards

  - design assumptions and control measures

  - arrangements for co-ordination of ongoing design work and handling design changes

  - information on significant safety and health risks identified during design

  - materials requiring particular precautions

# Appendix 4 –  Works Location

Subject Cottage No. 16 on the left.