## PD
ACDAL Creche Extension
No. | Item Description | Qty | Unit | Rate | Amount
06 - PRELIMINARIES
The project is the construction of a single storey Creche Extension in Allenwood, Co. Kildare
The work involves the construction of a single storey creche extension of approximately 222m2 along with associated drainage and siteworks;
Employer: Allenwood Campus trading as Allenwood Community Development Association CLG. Contact Ms. Cara Clancy, General Manager, Tel: (045) 870 804
Architect: O'Loughlin Architects Ltd. Redhills House, Kildare, Co. Kildare Mob. 087 9858836. Email: oloughlinarchitects@gmail.com
Structural Engineer: Gerry Gallagher, Consulting Engineer, 11 Booterstown, Dunmore Road, Waterford. Tel. 087 2345669 Email: ggstructuraldesign@gmail.com
Building Services Engineer: Ronan Meally Consulting Engineers, 1 City Wall, James Street, Kilkenny, R95XF97. Phone 056 7795428 email: alan@rmce.ie
1 | The contractor is advised to visit the site prior to the submission of their tender to ascertain any particular difficulties. Arrangements to visit the site can be confirmed with the Employer | 1 | item
2 | Access to the site shall be via the creche access road to the front and side of the existing creche. Access for construction traffic will be restricted during children delivery and collection times in the morning and afternoons. Access for the works shall be arranged by the contractor with the creche manager. A traffic management scheme must be put in place; | 1 | item
The Pricing Document has been prepared from the following drawings:
3 | Architectural Drawings: 1. Site Location Plan TN 2783 01; 2. Site Layout Plan TN 2783 02; 3. Plans TN 2783 03; 4. Elevation TN 2783 04; 5. Section TN 2783 05; 6. Window Schedule TN 2783 06; 7. Door Schedule TN 2783 07; 8. Reception Alterations TN 2783 08; 9. Construction Details TN 2783 09; 10. Existing Plans TN 2783 10; 11. Allenwood Childcare Technical Specification Painting; | 1 | item
4 | Engineering Drawings; Drawing Schedule_01 ACDAL Creche Ext; Dwg 2025-10-01 Ground Beam & Pile Layout Plans; Dwg 2025-10-02 Ground Floor & Roof Plans; Dwg 2025-10-03 Sections; Dwg 2025-10-04 Existing Building New openings - Lintels; Dwg 2025-10-R01 Ground Beams - Reinforcement; Dwg 2025-10-R02 Ground Floor Slab - Reinforcement; 6474 ADCAL Childcare Centre Final SI Report; Bar Bending Schedule Creche Extension; | 1 | item
5 | Building Service Engineering Drawings: Electrical Builder's Work Document T1.pdf; M&E Site Builder's Work Document T1.pdf; Mechanical Builder's Work Document T1.pdf; E-000 ELECTRICAL SYMBOLS SHEET-A3.pdf; E-001 LV DISTRIBUTION SINGLE LINE DIAGRAM-A1.pdf; E-100 GROUND FLOOR POWER, DATA & SECURITY LAYOUT-E-100.pdf; E-101 EXISTING BUILDING GROUND FLOOR POWER, DATA & SECURITY LAYOUT-E-101.pdf; E-200 FIRE ALARM & LIGHTING SERVICES LAYOUT-E-200.pdf; E-201 FIRE ALARM & LIGHTING SERVICES EXISTING BUILDING LAYOUT-E-201.pdf; Electrical Contract Specification T1.pdf; Electrical Pricing Document.xlsx; M-001 HEATING SCHEMATIC-A1.pdf; plot.log; M-000 MECHANICAL SYMBOL SHEET-M-000.pdf; M-001 HEATING SCHEMATIC-A1.pdf; M-100 HEATING LAYOUT 1-M-100.pdf; M-200 VENTILATION & FOUL DRAINAGE SERVICES LAYOUT GROUND FLOOR-M-300.pdf; M-300 WATER SERVICES LAYOUT GROUND FLOOR-M-300.pdf; Mechanical Contract Specification T1.pdf; Mechanical Pricing Document.xlsx; plot.log; | 1 | item
6 | The Pricing Document has NOT been prepared in accordance with Agreed Rules of Measurement, but should be read in conjunction with the other tender documents to fully understand the costs and risks to be allowed for. Should any inconsistencies arise, clarification should be sought from the Design Team prior to tender submission. The Drawings, Specifications and Pricing Document shall be read in conjunction with each other, each complementing the other. | 1 | item
| Please note that any quantities provided in this document are at the contractor's risk |  | Note
| Clause 1.4 of the PWCF6 contract states "If there is a pricing document in this Contract, and there is a discrepancy between the pricing document and other documents in this Contract, the other documents prevail". Accordingly, the contractor cannot be compensated for errors in descriptions or quantities in the published Pricing Document and during the tender period, tenderers should check that the Pricing Document represents the quality and scope of work set out in the Works Requirements. Suggested amendments should be priced and described in the allocated item at the end of each section |  | Note
7 | The Pricing Document should be read in conjunction with the other tender documents to fully understand the costs and risks to be allowed for. Should any inconsistencies arise, clarification should be sought from the Design Team prior to tender submission. The Drawings, Specifications and Pricing Document shall be read in conjunction with each other, each complementing the other. Descriptions in the Pricing Document shall identify but not specify the work to be priced and the tenderer shall consult drawings and specifications to ensure that they have included for all of the work required under the contract. | 1 | Item
8 | No unauthorized alterations shall be made by the Contractor in the text of the Specification, OR Drawings and any such alterations will not be recognized and the text as originally prepared will be adhered to, other than where a facility has been provided in the Pricing Document for adjustments by the tenderer | 1 | item
9 | Items in the Pricing Document shall be priced separately and not collectively. Should the Contractor deem it unnecessary to price any item then the word "Nil" must be written in the money column opposite the item. This Pricing Document must be returned fully priced in a separate envelope along with the tender. | 1 | item
10 | The pdf version of the Pricing Document shall be the master document and the contractor shall ensure that pricing files match the master document | 1 | item
11 | Errors in the computation of the tender will be dealt with in accordance with the Capital Works Management Framework and Public Procurement guidelines | 1 | Item
FORM OF CONTRACT AND AMENDMENTS THERETO
12 | The form of contract shall be the Short Public Works Contract Document PW-CF6 Short Form of Contract v1.15 25-11-2025 | 1 | Item
13 | The clause headings are as follows: 1. This Contract; 2. The Site, starting and completing the Works; 3. The Works; 4. The Price and payment; 5. Representations and communications; 6. Contractor’s Personnel; 7. Pay and condition of employment of workers; 8. Loss and damage to the Works; 9. Indemnity for claims and damage; 10. Insurance; 11. Property; 12. Termination; 13. Ethics in Public Office; 14. Project Supervisor for the Construction Stage; 15. Law, jurisdiction and disputes; 16. Covid-19 Mandatory Closure; 17. Limit on Liability; 18. Price Variation; | 1 | Item
14 | Form of Tender and Schedule Part 1 has been completed by the Design Team and has been issued as part of the tender documents. Allow here for any costs in connection therewith | 1 | Item
OBLIGATIONS & RESTRICTIONS IMPOSED BY THE EMPLOYER
15 | The site must not be used for any purpose other than carrying out the works | 1 | Item
16 | Provide for keeping the existing public road, access road and paths free and safe for the public and campus users at all times; the Contractors use of the existing access road will be permitted but this must not be obstructed and must be cleaned and cleared as requested | 1 | Item
17 | The building must be kept secure at all times. | 1 | Item
18 | Keep all fire exits clear and operational during the works | 1 | Item
19 | Maintain access for the fire brigade during the works | 1 | Item
20 | Maintain access for building users both able bodied and disabled | 1 | Item
21 | Provide for temporary hoarding to site, pay all licence costs and removing on completion of works | 1 | Item
22 | Provide for performing the work in such a manner as to cause the minimum interference with the occupants and normal routine of adjoining occupiers during the execution of the work | 1 | Item
23 | Provide for complying with the limitations of site area and working space | 1 | Item
24 | Allow for complying with working hour restrictions in the grant of Planning Permission. In addition, subject to any provision to the contrary contained in the Contract, none of the works shall be carried out during the night, Saturday afternoon or Sunday without the permission in writing of the Architect save when the work is unavoidable or absolutely necessary for the saving of life or property or for the safety of the Works in which case the Contractor shall immediately advise the Architect; Early morning and late evening working restricted, especially during summer months. | 1 | Item
25 | Provide for protecting and maintaining all services on or over the site and for liaising with and complying with the requirements of public utility providers | 1 | Item
26 | Allow for phasing of works and out of hours working to suit operation of creche | 1 | Item
Temporary Facilities
27 | Provide for the use of a temporary office for meetings and the use of persons acting on behalf of the Employer when on site; the office shall have a floor area of not less than 16 m2 and be complete with heating, lighting, desk with lock up drawers, chairs, etc.; provide necessary attendances | 1 | Item
28 | Provide temporary accommodation for use of the Contractor, including sheds, offices, mess rooms, sanitary accommodation and other buildings required | 1 | Item
29 | Provide temporary compound for use of the Contractor, remove and make good on completion of the works | 1 | Item
30 | Provide project sign at entrance to site, consisting of 2.4 x 1.2 x 20mm marine plywood set on 3 nr. 150 x 50mm softwood uprights bedded in concrete base; fix various signs to be provided by the client and the design team; remove and make good on complete | 1 | Item
31 | Provide clean water for the works and pay all fees and charges in connection therewith | 1 | Item
32 | Provide for the maintenance of specific temperatures and humidity levels necessary for the proper installation of goods or application of finishes and to dry out the building including the hire of heaters or de-humidifiers if required | 1 | Item
33 | Contractors use of permanent heating system: on completion the Architect may allow the Contractor to arrange with the heating Contractor for use of the system to dry out and control humidity; the Contractor shall meet all costs and maintain, repair and maintain as necessary | 1 | Item
34 | Programme of the works: when requested by the Architect, the successful contractor shall prepare and provide a detailed programme of work from start on site to practical completion within 7 working days. The programme shall be based upon a critical path analysis provided in Gantt chart format and shall include for the main Sub-contractors. It should contain details of the resources needed for each activity of the programme. A printout of the dependencies and linkages between the different activities shall also be provided. It shall also take account of all holiday requirements and for time lost due to inclement weather (the programme shall indicate the extent of inclement weather allowed). Should the contractor fail to provide details of their allowance for inclement weather, then any claims for extension of time caused by exceptionally inclement weather will be decided by reference to the records of the Meteorological Office for that particular area and at that time of year. This programme will be frequently reviewed during the course of the Contract and the Contractor must keep it fully up to date at all times. The Contractor shall provide for issuing one copy of the programme and all revisions thereto to each firm of the design team. | 1 | Item
35 | Provide a monthly written report outlining: a) Health & Safety issues; b) Progress on construction works; c) Comparison with contractor's programme; d) Identification of and proposed management of risks to progress; e) Variations to the contract sum; f) Quality issues arising and proposed management thereof; g) Cooperation / communication issues | 1 | Item
Health & Safety
36 | Include for complying with the Health, Safety and Welfare at Work Acts and Regulations current at the date of tender | 1 | Item
37 | Provide for the production of an up to date Safety Statement and Health & Safety Plan satisfying the requirements of current legislation | 1 | Item
38 | Include for being appointed by the Client, as Project Supervisor for the Construction Stage in respect of the project, pursuant to the Regulations; the contractor shall include all costs for the provision of the services of a Project Supervisor for the Construction Stage, pursuant to Regulations 6 and 7 of the Regulations | 1 | Item
39 | Include for confirming that the insurance cover required to be obtained and maintained by the contractor, pursuant to the main contract, shall provide indemnity in respect of any claim for bodily injury or property damage which the contractor may incur by reason of the performance of the functions and duties of the Project Supervisor for the Construction Stage of the project | 1 | Item
40 | Include for providing all necessary information as requested by the Project Supervisor for the Design Process to enable the preparation and completion of the Safety File | 1 | Item
41 | Include for providing assistance to the appropriate member of the design team in preparing "As Built" drawings for inclusion in the Safety File | 1 | Item
42 | Include for all necessary attendances and builder's work in association with specialist installations. Include for providing 4 copies of operating and maintenance manuals for all items of equipment in a ring binder along with a tabulated index. | 1 | Item
43 | On practical completion provide 4 nr. copies of "as built" drawings for site services and roads, showing positions of pipe runs and ducts, positions of chambers and fittings, road levels, invert levels and cover levels of manholes and other chambers. | 1 | Item
GENERAL FACILITIES AND OBLIGATIONS
44 | Provide sufficient and competent staff for all on and off site supervision and co-ordination for the proper execution of the works | 1 | Item
45 | Provide all plant, tools, vehicles, moulds, profiles and other apparatus for the use of domestic trades for the proper execution of the works, including all costs in respect of bringing to site, maintaining on site and removing on completion | 1 | Item
46 | Provide and maintain all general scaffolding for the works | 1 | Item
47 | Provide all watching, protective lighting, barriers, fencing and everything else necessary to safeguard the works (including materials and plant) against damage and theft | 1 | Item
48 | Provide for covering and protecting the works and materials as necessary against inclement weather and for making good any damage occasioned thereby | 1 | Item
49 | Provide clean water for the works and pay all fees and charges in connection therewith | 1 | Item
50 | Provide all necessary temporary lighting and electric power required for the works and pay all fees and charges in connection therewith | 1 | Item
51 | Provide for complying with all traffic regulations affecting the works | 1 | Item
52 | Provide for all labour insurance and other costs arising from the employment of work people | 1 | Item
53 | Provide for maintaining and making good damage, if any, to roads, paths services and other property, public or private, caused by or attributable in any way to the execution of the works and for indemnifying the Employer against loss, damage, claim or proceedings by any Local Authority, statutory undertaking, or others | 1 | Item
54 | Remove rubbish from the site from time to time as necessary and on completion of the works all rubbish, debris, surplus materials, protective casings, etc. and also on completion clean the works internally and externally to the satisfaction of the Architect; all debris to be disposed of at Local Authority licenced tip head | 1 | Item
55 | Provide for taking all precautions necessary to prevent nuisance from noise, smoke, dust, rubbish, water or any other cause | 1 | Item
56 | Provide for maintaining the works for 12 months after the issue of the Architects Certificate of Substantial Completion in accordance with the Conditions of Contract | 1 | Item
57 | Allow for complying with Planning Conditions | 1 | item
58 | Allow for cleaning on Completion to a standard allowing the client to take over the building | 1 | item
59 | Allow for Setting Out the works | 1 | item
60 | Provide materials samples, documentation and guarantee documents as required by the Architect | 1 | item
61 | Allow for complying with BCAR 2014 and for the provision of assigned certifiers as required by the regulations | 1 | item
62 | Provide notice for inspections, make arrangements for inspection of work off site by the Architect or his representative | 1 | item
63 | On practical completion provide 4 nr. copies of "as built" drawings for site services and roads, showing positions of pipe runs and ducts, positions of chambers and fittings, road levels, invert levels and cover levels of manholes and other chambers. | 1 | item
64 | The term "or equal approved" means an alternative product to that described which is equal in appearance and performance to that described and which has been approved in writing by the Architect. Such approvals shall be sought at least 4 weeks in advance | 1 | item
Artists and tradesmen employed by the client
65 | Parts of the fit out work and the provision and installation of certain items of equipment will be carried out by others employed directly by the client | 1 | Note
66 | Allow here for all general attendances, profits and charges in connection with these, including liaison, programming of work and facilitating access | 1 | item
Tests
67 | Making concrete cubes for testing | 1 | item
68 | Test concrete cubes (to be carried out by a recognised authority) and circulate the test results to the Engineer | 1 | item
69 | Carry out Pyrite test by approved testing agency on 2 samples of stone filling, 2 samples of concrete and 2 samples of concrete blocks; provide test results and certificates by approved testing agency | 1 | item
70 | Carry out air pressure test on building; provide test results and certificates by approved testing agency | 1 | item
INSURANCES
71 | Take out and maintain Public Liability and Employers Liability Insurance against injury to persons and property as required by the Conditions of Contract | 1 | Item
72 | Take out and maintain All Risks Insurances in the joint names of the Employer and Contractor for the full value of the works and ancillary items as required by the Conditions of Contractor | 1 | Item
73 | Provide for all costs in respect of all work people including direct payments, taxes and levies | 1
74 | Carrying out, management and supervision of construction works in accordance with the latest version of the CIF Covid-19 "Construction Sector C-19 Pandemic Standard Operating Procedures" including provision of appropriate Covid-19 PPE | 1 | Item
75 | Provision of Performance Bond for 10% of the Contract Sum for the duration of the contract including the Defects Liability Period | 1 | Item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
76 | Item: | 1 | Item
77 | Item: | 1 | Item
78 | Item: | 1 | Item
79 | Item: | 1 | Item
19 - SUBSTRUCTURES
| All items measured hereunder are to be carried out in the general locations as shown on the Architects and Engineers Drawings. The items include for demolition, excavation and removal off site of rubble, debris, builders material and earth. All waste management shall comply with statutory obligations and the regulations concerning waste management, having particular regard to the Waste Management (Amended) Act, 2001 or as currently amended. The Contractors rates should reflect all costs in relation to the carrying out these works in accordance with the relevant regulations. |  | Note
80 | Provision of drawings and design calculation for temporary works for review and approval by the Structural Engineer | 1 | item
81 | Providing and erecting shoring and earthwork support system at intervals to be determined by the contractor's temporary works engineer | 1 | item
82 | Maintaining and adapting the shoring and earthwork support system for the duration of the construction works | 1 | item
83 | Removing the shoring and earthwork support system upon completion of the construction works and making good to retained structures damaged during the construction works | 1 | item
84 | Protect existing works; repair and reinstate if damaged; provide temporary support, fencing and gate if required | 1 | item
85 | Excavate to reduce levels | 292 | m3
86 | Excavation; foundation trenches and pits | 58 | m3
87 | Extra over for removing soft spots and backfilling with lean mix concrete | 15 | m3
88 | Disposal of excavated material; to spoil heap on site adjoining industrial units; spread and level; plant with native wild flower seed | 365 | m3
89 | Keep excavations free of water | 1 | item
90 | SR21 filling trenches <250mm thick | 31 | m3
91 | SR21 filling to make up levels >250mm thick | 155 | m3
92 | SR21 filling to make up levels <250mm thick | 40 | m3
93 | Surface treatments; sand blinding; minimum 50mm thick | 173 | m2
94 | Mobilise and demobilise piling plant on site | 1 | Item
95 | Mobilise and demobilise piling plant at each pile | 26 | nr
96 | Isolated steel piles | 26 | nr
97 | Extra over for filling with 35N20 concrete | 26 | nr
98 | Preparing tops of piles for integration with reinforced concrete ground beams; including tying in steel reinforcement | 26 | nr
99 | Removing obstructions | 8 | hr
100 | Piling mat | 1 | Item
101 | Dynamic load testing by an approved specialist | 8 | nr
102 | Weld testing of piles | 1 | Item
103 | 20 N concrete blinding; poured on or against earth or unblinded hardcore | 5 | m3
104 | 35N20 concrete ground beam | 31 | m3
105 | 35N20 concrete bed | 54 | m3
106 | Extra over for thickening ground floor bed to accommodate service pipes and ducts | 1 | item
107 | Screed for under floor heating | 235 | m2
108 | Designed joints in floor slab; cracking joint; sawcut; sealing with polysulphide sealer; 5mm wide x 50mm deep | 64 | m
109 | Power floating | 471 | m2
110 | Labours; cutting holes and working concrete around service penetration in concrete floor | 1 | item
111 | Reinforcement ground beams | 5.21 | tn
112 | Reinforcement ground slab | 4.31 | tn
113 | Formwork to ground beams | 124 | m2
114 | Extra over for foming recess for blockwork and cavity to outer wall | 72 | m
115 | Kickers for timber frame walls | 254 | m
116 | Drill in and fix 450mm x 20mm dowels to existing foundation | 12 | nr
117 | Thresholds unit; to door ope in 350mm wall; connect drainage outlet to nearest surface water drain using 100mm pipe in pea gravel surround (D1 to D5) | 5 | m
118 | Standard blockwork wall 100mm external leaf | 33 | m2
119 | Thermal blockwork wall; 100mm thick | 4 | m2
120 | Thermal blockwork wall; 215mm thick | 25 | m2
121 | Holes for pipes and the like; 55 - 110mm; through solid blockwork | 1 | item
122 | Radon barrier | 313 | m2
123 | Radon barrier fittings | 1 | Item
124 | Damp proof courses; | 1 | Item
125 | Floor insulation | 221 | m2
126 | Floor insulation upstands to walls | 15 | m2
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
127 | . | 1 | Item
21 & 22 - EXTERNAL & INTERNAL WALLS STRUCTURE
128 | Precast window cills; complete with backing concrete including formwork, 150mm thick insulation and damp proof course | 17 | m
129 | Precast lintols; 100 x 215mm | 29 | m
130 | Parapet capping; precast | 15 | m
131 | 100mm external leaf blockwork inc forming cavity with timber frame | 229 | m2
132 | Closing cavities | 122 | m
133 | Rockwool Cavity Fire Barrier or equal approved; | 12 | m
134 | Damp proof courses; | 1 | Item
135 | Room ventilation openings, grilles and ducts | 10 | nr
136 | Attic ventilation openings, grilles and ducts | 8 | nr
137 | Ancon Ref 38/6 wall anchor to existing walls | 7 | m
138 | Movement / expansion joint in external wall; as Architect / Engineer's detail; | 24 | m
139 | Timber frame external walls; complete with membranes, plywood sheathing and insulation | 1 | Item
140 | Timber frame internal walls; complete with insulation | 1 | Item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
141 | Item: | 1 | Item
142 | Item: | 1 | Item
27 - ROOF STRUCTURE
143 | Monopitch roof trusses including all miscellaneous timbers, steel, metal straps and other fittings | 1 | Item
144 | Treated timber purlins; 75x44 | 209 | m
145 | Flat roof structure to link corridor including all miscellaneous timbers, steel, metal straps and other fittings | 1 | Item
146 | Brandering; 50x50 | 380 | m
147 | Timber framework to parapet walls of flat roof | 1 | Item
148 | 18mm plywood decking | 33 | m2
149 | Quilt insulation pitched roofs | 204 | m2
150 | Quilt insulation flat roofs | 19 | m2
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
151 | Item: | 1 | Item
152 | Item: | 1 | Item
31 - EXTERNAL WALLS; COMPLETION OF OPENINGS
153 | Window boards; MDF | 24 | m
154 | Windows; thermally enhanced ST70 HI window system; complete with all ironmongery & restrictors | 1 | item
155 | Doors; thermally enhanced ST70 HI door system complete with all ironmongery | 1 | item
156 | Doors; thermally enhanced ST70 HI door system complete with all ironmongery; louvred door to plant room | 1 | item
157 | Paint window boards & linings | 24 | m
158 | Air tightness taping | 1 | item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
159 | Item: | 1 | Item
160 | Item: | 1 | Item
32 - INTERNAL DOORS & SCREENS
161 | Side hung single door set complete with architraves; Type A | 1 | nr
162 | Side hung single door set complete with architraves; Type B | 7 | nr
163 | Side hung single door set complete with architraves with side screen; Type C | 2 | nr
164 | Side hung double door set complete with architraves; fire rated FD30S; Type D | 1 | nr
165 | Ironmongery to side hung single door; Type A | 1 | nr
166 | Ironmongery to side hung single door; Type B | 7 | nr
167 | Ironmongery to side hung single door ,Type C | 2 | nr
168 | Ironmongery to side hung double door; Type D | 1 | nr
169 | Door signage | 1 | Item
170 | Varnish side hung single door set complete with architraves; Type A | 1 | nr
171 | Varnish side hung single door set complete with architraves; Type B | 7 | nr
172 | Varnish side hung single door set complete with architraves with side screen; Type C | 2 | nr
173 | Varnish side hung double door set complete with architraves; Type D | 1 | nr
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
174 | Item: | 1 | Item
175 | Item: | 1 | Item
41 - WALL FINISHES, EXTERNALLY
176 | Nap plaster to blockwork walls | 229 | m2
177 | Reveals | 98 | m
178 | Plinth | 50 | m
179 | Paint plaster to external walls | 229 | m2
180 | Paint reveals | 98 | m
181 | Paint precast window cills | 17 | m
182 | Paint plinth | 50 | m
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
183 | Item: | 1 | Item
184 | Item: | 1 | Item
42 - WALL FINISHES, INTERNALLY
185 | Internal finish to external walls; plaster board, air tightness membrane, battens & insulation drylining; skim with hardwall | 145 | m2
186 | Reveals | 98 | m
187 | Finish to internal wall; 2 layers 15mm Gyproc Soundbloc plaster slabs on each side of stud with staggered joints, skim with hardwall | 256 | m2
188 | Extra over waterproof plasterboard | 8 | m2
189 | Air sealing and taping junctions of walls and ceilings | 1 | item
190 | Other air sealing measures throughout | 1 | item
191 | Tiling walls; | 11 | m2
192 | Painting; plaster walls | 420 | m2
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
193 | Item: | 1 | Item
194 | Item: | 1 | Item
43 - FLOOR FINISHES
195 | Skirting; timber | 104 | m
196 | Marmoleum to floors; | 170 | m2
197 | Surestep to floors | 30 | m2
198 | PVC skirtings | 41 | m
199 | Paint wood skirtings | 104 | m
200 | Floor paint to plant room | 7 | m2
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
201 | Item: | 1 | Item
202 | Item: | 1 | Item
45 - CEILING FINISHES
203 | Air tightness membrane to ceilings | 200 | m2
204 | Foil backed plasterboard with service cavity & hardwall skim ceilings; 30 minute fire rated; brandering measured in section 27 | 194 | m2
205 | Double slabbed 15mm Fireline board with staggered joints & hardwall skim ceilings; 60 minute fire rated | 7 | m2
206 | Trapdoor; Wellhofer AluDrei attic hatch and ladder | 2 | nr
207 | Paint ceilings | 200 | m2
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
208 | Item: | 1 | Item
209 | Item: | 1 | Item
47 - ROOF FINISHES
210 | Trocal membrane & insulation | 20 | m2
211 | Trocal flashings | 20 | m
212 | Trocal rainwater outlets | 1 | nr
213 | Provide a written 15 year materials and workmanship guarantee for the roofing system | 1 | Item
214 | Lead flashing to parapet & capping | 15 | m
215 | Lead flashing to walls | 5 | m
216 | Kingspan roofing | 252 | m2
217 | Eaves to Kingspan roofing; complete with Kingspan filler pieces; fascia and soffit | 19 | m
218 | Apex to Kingspan roofing; complete with Kingspan filler pieces; fascia and soffit | 19 | m
219 | Extra over for eaves & apex ventilation | 39 | m
220 | Barge and soffit Kingspan | 26 | m
221 | Aluminium flue upstand for hot flue complete with high-temperature flashing boot and sealants | 1 | Item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
222 | Item: | 1 | Item
223 | Item: | 1 | Item
52 - ROOF AND INTERNAL DRAINAGE
224 | Gutters & fittings | 19 | m
225 | Rainwater pipes & fittings | 10 | m
226 | Extra over for fittings; rainwater pipe swanneck | 3 | nr
227 | Extra over for fittings; rainwater pipe shoe | 3 | nr
228 | Aluminium rainwater hoppers | 1 | nr
229 | Waste pipe & fittings | 1 | item
230 | Traps to sanitary appliances | 1 | item
231 | Fireproofing services where they pass through fire rated elements | 1 | item
232 | Builder's work in connection with sanitary installations in simple buildings | 1 | item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
233 | Item: | 1 | Item
234 | Item: | 1 | Item
59 - MECHANICAL INSTALLATION
235 | Total for mechanical installation brought forward from Service Engineer's Pricing Document (which is to be included in the tenderer's submission along with this Pricing Document) | 1 | item
MECHANICAL INSTALLATIONS: Sundries & Builder's Work
236 | Supply Mechanical Design Certificate for all necessary design work for the installed systems consultant design altered in any way or initial design impacted by final equipment selection, this includes but is not limited to: controls, electrical design, all temporary designs | 1 | item
237 | Provide a completion certificate for all mechanical works, that they have been completed in compliance with the tender package and design certification and where there is any degree of interpretation that the contractor has completed the works in accordance with building regulations; at least six weeks in advance of substantial completion. | 1 | item
238 | Include for the provision of a Collateral Agreement between the Employer and the mechanical sub-contractor | 1 | item
239 | Marking positions of holes, mortices and chases | 1 | item
240 | Testing and commissioning | 1 | item
241 | Allow for testing and commissioning mechanical and electrical installations reports prepared by independent specialists approved by the Architect and provide copies of all reports and certificates arising. | 1 | item
242 | Provide 4 copies of "as-built drawings", operating & maintenance manuals in hard copy and pdf format | 1 | item
243 | Allow for 12 months maintenance agreement period on the complete mechanical installation | 1 | item
244 | General attendances on specialist | 1 | item
245 | Special attendances on specialist | 1 | item
246 | Grounds for mounted fittings | 1 | item
247 | Forming or cutting holes and chases, provision of grounds and making good after completion of mechanical installation | 1 | item
248 | Fireproofing services where they pass through fire rated elements | 1 | item
249 | Steel support work to mechanical plant | 1 | item
250 | Timber framework, MDF, plasterboard pipe and duct casings | 1 | item
251 | Painting associated with mechanical installation | 1 | item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
252 | Item: | 1 | Item
253 | Item: | 1 | Item
254 | Item: | 1 | Item
255 | Item: | 1 | Item
69 - ELECTRICAL INSTALLATION
256 | Total for electrical installation brought forward from Service Engineer's Pricing Document (which is to be included in the tenderer's submission along with this Pricing Document) | 1 | item
ELECTRICAL WORK: Sundries & Builder's Work
257 | Supply Electrical Design Certificate for all necessary design work for the installed systems | 1 | item
258 | Provide a completion certificate for all electrical works, that they have been completed in compliance with the tender package and design certification and where there is any degree of interpretation that the contractor has completed the works in accordance with building regulations; at least six weeks in advance of substantial completion. | 1 | item
259 | Marking positions of holes, mortices and chases | 1 | item
260 | Testing & commissioning | 1 | item
261 | Allow for testing and commissioning mechanical and electrical installations reports prepared by independent specialists approved by the Building Services Engineer and provide copies of all reports and certificates arising. | 1 | item
262 | Provide operating & maintenance manuals | 1 | item
263 | Preparing 2 copies of "as-built" drawings | 1 | item
264 | General attendances on specialist | 1 | item
265 | Special attendances on specialist | 1 | item
266 | Grounds for mounted fittings | 1 | item
267 | Forming or cutting holes and chases, provision of grounds and making good after completion of electrical installation | 1 | item
268 | Fireproofing services where they pass through fire rated elements | 1 | item
269 | Painting associated with electrical installation | 1 | item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
270 | Item: | 1 | Item
271 | Item: | 1 | Item
272 | Item: | 1 | Item
273 | Item: | 1 | Item
73 - BUILT-IN FITTINGS
274 | Base unit complete with kitchen sink low level to classrooms | 1 | item
275 | Base unit complete with kitchen sink to staff room | 1 | item
276 | Wall unit complete with cooker extractor to staff room | 1 | item
277 | Aluminium hat & coat hooks to classrooms & staff room | 52 | nr
278 | Builder's work in connection with classroom & kitchen / staff room | 1 | item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
279 | Item: | 1 | Item
74 - SANITARY FITTINGS
280 | Junior WC ; plastic seat and cover | 2 | nr
281 | Disabled Junior WC; plastic seat and cover | 2 | nr
282 | Junior wash basin | 2 | nr
283 | Junior wash basin to Doc M specification | 2 | nr
284 | Stainless steel Doc M grab rails | 1 | Item
285 | Stainless steel Doc M drop down rail | 2 | nr
286 | Stainless steel Doc M WC back support | 2 | nr
287 | Lockable metal toilet roll holder to contain 3 rolls; hammered metal paint finish | 4 | nr
288 | Lockable metal liquid soap dispenser; hammered metal paint finish | 4 | nr
289 | Lockable paper towel dispenser; plugged and screwed to blockwork | 4 | nr
290 | Wesco KAZEO or equal approved Baby changing bench with solid surface bathtub and built-in steps | 2 | nr
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
291 | Item: | 1 | Item
10 - SITE PREPARATION
| The tenderer must visit the site and ascertain the nature of the site preparation works required and must familiarize himself with the existing conditions on site. Claims arising from not doing so will not be entertained |  | Note
| Rates quoted shall include for the safe disposal of all materials including toxic and dangerous materials in accordance with current legislation, EPA regulations and HSA guidelines |  | Note
292 | Form new site access | 1 | item
293 | Scan the site with a cable and pipe scanner prior to commencing excavations | 1 | item
294 | Clearing site vegetation, bushes, scrub, undergrowth over area of site | 1 | item
295 | Protect adjoining fences, pavings, buildings & structures to be retained; repair / replace if damaged during construction | 1 | item
296 | Dismantle, re-erect existing miscellaneous play equipment to locations agreed with client | 1 | item
297 | Dismantle, re-erect existing garden shed in new location; approx. 3m x 4m | 1 | item
298 | Strip topsoil for new paved and building areas and deposit in spoil heaps elsewhere on campus | 310 | m2
299 | Grubbing up existing pavings and hardstanding and associated sub bases; disposal off site in licenced tip | 186 | m2
300 | Remove existing macadam pavings to retained access road; level & prepare fill under and leave ready for new macadam; disposal off site in licenced tip | 211 | m2
301 | Spread excavated topsoil over specified areas on site | 1 | item
302 | Carefully remove existing kitchen appliances from existing staff room / canteen, store in location advised by client and refit in new staff room when complete | 1 | item
303 | Remove existing built-in furniture to existing canteen; disposal off site | 1 | item
304 | Remove existing floor finishes to existing canteen; leave ready for new finishes; disposal off site | 1 | item
305 | Remove existing window to existing canteen; disposal off site; leave ready for conversion to door ope | 1 | item
306 | Enlarge existing window ope in 300mm external wall to existing canteen to accommodate Internal Double door type D; insert structural supports as per Engineer's drawings; all making good to structure and finishes; ope size 1800 x 2200mm | 1 | item
307 | Remove existing roof overhang over link connection with existing building; cut back to new line; provide new fascia and soffit and all other making good; approximately 2.5m long | 1 | item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
308 | Item: | 1 | Item
309 | Item: | 1 | Item
30 - BOUNDARY TREATMENTS
310 | Protect existing works to adjoining properties; repair and reinstate if damaged during works | 1 | item
311 | Wooden picket fence to match existing | 43 | m
312 | Extra over for pedestrian gate | 1 | nr
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
313 | Item: | 1 | Item
314 | Item: | 1 | Item
315 | Item: | 1 | Item
316 | Item: | 1 | Item
40 - PATHS & PAVINGS
317 | Protect existing kerbs, roads and paths, reinstate if damaged during construction | 1 | item
318 | Excavation and disposal | 1 | item
319 | Geotextile membrane | 240 | m2
320 | Fill with excavated material from temporary spoil heaps to make up levels under garden areas | 1 | item
321 | Stone Filling to make up levels not exceeding 250mm thick | 60 | m3
322 | Stone Filling to make up levels exceeding 250mm thick | 48 | m3
323 | Blinding surfaces of hardcore with quarry dust 50mm thick | 240 | m2
324 | 30N20 Concrete to beds not exceeding 150mm, laid on hardcore or concrete blinding; formwork to edges | 36 | m3
325 | Hand float and brushed finish to concrete | 240 | m2
326 | Steel fabric reinforcement; A252 | 240 | m2
327 | Expansion, contraction and isolation joints in concrete paving | 1 | Item
328 | Prepare formation of existing access road formation after removal of existing macadam paving and leave ready for new macadam paving | 1 | Item
329 | 40mm of 10mm wearing course bitumen macadam to BS1621 on 60mm of 20mm basecourse bitumen macadam to BS1621 | 211 | m2
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
330 | Item: | 1 | Item
331 | Item: | 1 | Item
332 | Item: | 1 | Item
50 - SITE SERVICES [PIPED & DUCTED]
SURFACE WATER DRAINAGE
333 | Excavation of trenches; for drainage pipes including disposal and backfilling | 163 | m
334 | Beds and coverings for drainage pipes | 163 | m
335 | UPVC pipes and fittings; Wavinsewer or equal; 110mm | 108 | m
336 | UPVC pipes and fittings; Wavinsewer or equal; 150mm | 55 | m
337 | 100mm Wavinsewer back inlet gully trap with galvanized grating | 6 | nr
338 | PVC Armstrong junction with galvanized cover | 10 | nr
339 | Extra over for intercepting existing drain and construction of AJ on this line | 3 | nr
340 | ACO Multidrain M100D; slotted Heelguard resin composite grating, load class C250 | 28 | m
341 | Manholes complete | 1 | nr
342 | Precast concrete headwall at open drain | 1 | nr
343 | Decommission intercepted drains | 1 | item
344 | Test and commission complete sewer installation on completion | 1 | item
FOUL DRAINAGE
345 | Excavation of trenches; for drainage pipes including disposal and backfilling | 61 | m
346 | Beds and coverings for drainage pipes | 61 | m
347 | UPVC pipes and fittings; Wavinsewer or equal | 61 | m
348 | 100mm Wavinsewer back inlet gully trap with galvanized grating | 9 | nr
349 | PVC Armstrong junction with galvanized cover | 8 | nr
350 | Remove existing AJ on existing drain; install new AJ with extra inlet on existing drain line | 1 | nr
351 | Connection to existing 100m sewer including all fittings & liaison with client | 1 | item
352 | Testing and commissioning the complete sewer installation on completion | 1 | item
WATERMAINS
353 | Locate and protect existing incoming underground services to creche building | 1 | Item
354 | Excavation of trenches; for water pipes including disposal and backfilling | 70 | m
355 | Extra over for saw cutting, breaking up and reinstatement of concrete pavings | 21 | m
356 | Beds and coverings for water pipes | 70 | m
357 | Polyethylene blue PE80 watermain pipes and fittings, 100mm Class C; including plastic warning tape laid over pipes | 70 | m
358 | Hydrant complete | 1 | nr
359 | Hydrant chamber and marker post complete | 1 | nr
360 | Connection to existing 100mm water main including all fittings and liaison with client | 1 | Item
361 | Testing and commissioning the complete watermain installation on completion | 1 | item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
362 | Item: | 1 | Item
363 | Item: | 1 | Item
364 | Item: | 1 | Item
365 | Item: | 1 | Item
80 - LANDSCAPING
366 | Make good any landscaping disturbed by the works | 1 | item
367 | Topsoil; imported; spreading average 300mm thick in green areas and planters | 1 | item
368 | Grass seeding & tilling | 1 | item
369 | Maintain grass for 6 months; including cutting at maximum fortnightly intervals; removing any stones that rise to the surface | 1 | item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
370 | Item: | 1 | Item
371 | Item: | 1 | Item
372 | Item: | 1 | Item
373 | Item: | 1 | Item
90 - WORK WITHIN EXISTING BUILDING
374 | Remove single door & frame to existing canteen / staff room; hand to client for storage | 1 | Item
375 | Enlarge existing internal door ope to existing canteen in 215mm internal blockwork wall; insert structural supports as per Engineer's drawings; all making good to structure and finishes; new ope size 2835 wide x 2500mm high | 1 | Item
376 | Carefully remove two sides of existing glazed reception screen and counter including glazed door; overall size approximately 5m long x 2.2m high; prop and support retained reception screen facing front door; set aside removed components for later modification and reinstallation | 1 | Item
377 | Remove two sides of raking stud partition over existing glazed reception screen to underside of roof; overall size approximately 5m long x average 2m high; disposal off site; all making good | 1 | Item
378 | Remove portion of dropped plasterboard ceiling to reception area; overall size approximately 3m long x average 1m wide; disposal off site; prop and support retained ceiling; all making good | 1 | Item
379 | Remove existing internal door between existing canteen and WCs in 100mm internal blockwork wall; set aside for re-use; leave ready for building up | 1 | Item
380 | Build up existing single door ope to reception store in studwork with insulation infill; slab and plaster both sides | 1 | Item
381 | Break out new single door ope in existing 100mm blockwork wall to form access to WC lobby behind reception store; insert lintols; all making good to structure and finishes | 1 | Item
382 | New stud partition between store and WC lobby; studwork with insulation infill; slab and plaster both sides; approximately 3m long x 2.7m high | 1 | Item
383 | Install previously removed single door and frame to new ope to WC lobby; provide new architrave to match existing | 1 | Item
384 | Remove existing sheet floor coverings to existing canteen, existing reception and lobby areas, existing store and existing WC lobby; leave ready for installation of new floor coverings | 1 | Item
385 | New glazed screen and counter to 3 sides of reception; approximately 5.5m long complete with glazed door | 1 | Item
386 | Prepare and varnish newly aligned screen and counter to reception area | 1 | Item
387 | Prepare and varnish existing screen and counter to office area | 1 | Item
388 | Prepare and varnish all newly installed and existing doors to lobby area, reception area, previous canteen area, stores to reception area, lobby to WCs and WCs | 1 | Item
389 | Make good and paint plaster walls to lobby area, reception area, previous canteen area, stores to reception area, lobby to WCs and Wks. | 176 | m2
390 | Skirting; timber to match existing to newly aligned screen and to new walls in existing building | 1 | Item
391 | Marmoleum to previously covered floors; to lobby area, reception area, previous canteen area, stores to reception area, lobby to WCs and Wks. | 69 | m2
392 | Varnish new skirting to newly aligned screen and to new walls in existing building | 1 | Item
393 | Prepare and varnish existing skirting to lobby area, reception area, previous canteen area, stores to reception area, lobby to WCs and WCs | 1 | Item
394 | Make good and paint plaster ceilings to lobby area, reception area, previous canteen area, stores to reception area, lobby to WCs and Wks. | 69 | m2
395 | Modifications to electrical installation in existing building | 1 | Item
396 | Builder's work in connection with modified electrical installation | 1 | Item
Allow for any items required by the drawings and specifications for this section which are not listed in the above (Contractor determined and calculated - calculations to be provided if requested) (Please list below)
397 | Item: | 1 | Item
398 | Item: | 1 | Item
399 | Item: | 1 | Item
400 | Item: | 1 | Item
ADDITIONAL REVISIONS ISSUED AFTER TENDER ISSUE
item
item
item
item
item
item
item
item
item
item
item
item
item
item
item
item
item
SUMMARY
| Total page | 1
| Total page | 2
| Total page | 3
| Total page | 4
| Total page | 5
| Total page | 6
| Total page | 7
| Total page | 8
| Total page | 9
| Total page | 10
| Total page | 11
| Total page | 12
| Total page | 13
| Total page | 14
| Total page | 15
| Total page | 16
| Total page | 17
| Total page | 18
| Total page | 19
| Total page | 20
| Total page | 21
| Total page | 22
| Total page | 23
| Total page | 24
| Total page | 25
Carry forward to next page
Brought forward from previous page
| Total page | 26
| Total page | 27
Total (exc. VAT) - to Form of Tender
VAT @ 13.5% (to be paid directly to Revenue by client)
Total Cost to Client inc. VAT
This document contains pages 1 to 29. Please check to ensure that no pages are missing or duplicated
Name of Tenderer:
Signature:
Date: