## Cover & Terms
VOLUME C — PRICING DOCUMENT Heat Pump & Specialist Systems Servicing and Maintenance Framework
Contractor Name:
Contract Reference: |  | 2026/04/HPS/VS
Date of Submission:
Contract Start Date:
Contract Duration: |  | 2 years + two (2) x 1-year optional extensions
Procurement Authority: |  | Galway City Council
CONTRACT TERMS & COMMERCIAL CONDITIONS
The following commercial terms form part of this pricing submission and apply to all sections of Volume C.
Ref | Clause Title | Term
T2 | Materials Mark-Up | Mark-up applies to net supplier invoice cost. Any single purchase over €500 requires written Authority approval and original invoice submission.
T3 | F-Gas Certification | All operatives working on refrigerant circuits must hold a valid F-Gas certification appropriate to their scope of work (Category I preferred). Full certification records must be provided upon request.
T4 | Defects Liability | 12 months on all reactive works and component replacements from date of completion.
T5 | Component Approval | No single component replacement exceeding €500 supply + fit may proceed without prior written Authority approval.
T6 | Service Reports | Signed service report required within 24 hours of every visit. Must include engineer name, cert number, works done, parts used, defects noted.
T7 | Extension Notice | The initial term shall be 2 years. The Client shall have the sole option to extend the contract for two subsequent 1-year periods (the 'Extension Options'). To exercise an Extension Option, the Client must provide at least 3 months' written notice prior to the end of the then-current term. Failure to provide such notice shall result in the contract expiring automatically.
T8 | GDPR & Data | The Contractor may only process personal data as necessary for performance of this contract. A Data Processing Agreement must be executed prior to contract commencement.
T9 | Preliminaries | Preliminary costs are deemed included in section rates

## Sec 2 – Heat Pump PPM
SECTION 2: SERVICING OF HEAT PUMP SYSTEMS — ANNUAL PPM
Rates are per visit (one annual service). Each manufacturer line is priced separately to allow specialist rates. Prices must include all labour, consumables, and service report. Refrigerant top-up and component replacement are priced separately in Sections 4 and 6.
2.1 Mitsubishi Electric — Ecodan
Ref | System / Capacity | Unit | Rate (€) | Amount
2.1.1 | Mitsubishi Electric Ecodan — up to 8 kW | Per visit |  | 0
2.1.2 | Mitsubishi Electric Ecodan — 8 kW to 14 kW | Per visit |  | 0
2.1.3 | Mitsubishi Electric Ecodan — above 14 kW | Per visit |  | 0
2.1.4 | Mitsubishi Electric Ecodan — Zubadan inverter variant (any capacity) | Per visit |  | 0
|  |  | Total | 0
2.2 Daikin — Altherma
Ref | System / Capacity | Unit | Rate (€) | Amount
2.2.1 | Daikin Altherma 3 — standard capacity (up to 11 kW) | Per visit |  | 0
2.2.2 | Daikin Altherma 3 — high capacity (11–16 kW) | Per visit |  | 0
2.2.3 | Daikin Altherma 3 — high temperature variant | Per visit |  | 0
2.2.4 | Daikin Altherma R32 monobloc | Per visit |  | 0
|  |  | Total | 0
2.3 Samsung — EHS Mono / Split
Ref | System / Capacity | Unit | Rate (€) | Amount
2.3.1 | Samsung EHS Monobloc Gen 5 (up to 12 kW) | Per visit |  | 0
2.3.2 | Samsung EHS Monobloc Gen 6 (up to 16 kW) | Per visit |  | 0
2.3.3 | Samsung EHS Split Gen 5 | Per visit |  | 0
2.3.4 | Samsung EHS Split Gen 6 | Per visit |  | 0
|  |  | Total | 0
2.4 Grant — Aerona³
Ref | System / Capacity | Unit | Rate (€) | Amount
2.4.1 | Grant Aerona³ — 6 kW | Per visit |  | 0
2.4.2 | Grant Aerona³ — 10 kW | Per visit |  | 0
2.4.3 | Grant Aerona³ — 13 kW | Per visit |  | 0
2.4.4 | Grant Aerona³ — 17 kW | Per visit |  | 0
|  |  | Total | 0
2.5 Other Brands
Ref | System / Capacity | Unit | Rate (€) | Amount
2.5.1 | Hitachi Yutaki — all capacities | Per visit |  | 0
2.5.2 | Atlantic Alféa / Extensa — all capacities | Per visit |  | 0
2.5.3 | Danfoss DHP — all capacities | Per visit |  | 0
2.5.4 | Midea M-Thermal — all capacities | Per visit |  | 0
2.5.5 | Other manufacturer not listed above — rate per visit (contractor to confirm brand at PPM scheduling) | Per visit |  | 0
|  |  | Total | 0
| Total Servicing Heat pumps |  |  | 0

## Sec 3 – Ventilation
SECTION 3: VENTILATION SYSTEMS — SERVICING & REPAIRS (NEW BUILDS)
All rates per visit/unit unless stated. Filter and component costs are supply-and-fit inclusive. Contractor to confirm compatibility before ordering non-standard parts.
3.1 Planned Preventive Maintenance (PPM)
Ref | Item Description | Unit | Rate (€) | Amount
3.1.1 | Standard Heat Recovery Ventilation (MVHR) — annual PPM service. To include: inspection and clean of heat exchanger core, check and record heat recovery efficiency, inspect and clean condensate drain, check and lubricate fans, replace filters (priced separately under Section 3.2), test controls and boost modes, check external cowls and intake/exhaust terminals, inspect ductwork connections at unit, and record all readings and observations on service report. Labour inclusive — filters and parts priced separately. | Per visit |  | 0
3.1.2 | Demand Control whole house ventilation unit — annual PPM service. To include: inspection and clean of all extract and supply terminals, check and record airflow rates at each terminal, inspect and clean humidity and CO₂ sensors, check fan operation and record running speeds, inspect and clean condensate drain where applicable, check all controls and demand control settings, inspect ductwork connections at unit, check external cowls and intake/exhaust terminals, replace filters where fitted (priced separately under Section 3.2), and record all readings and observations on service report. Labour inclusive — filters and parts priced separately. | Per visit |  | 0
3.1.3 | Single room MVHR unit (e.g. Vent Axis Lo-Carbon Tempra) — annual service | Per unit/visit |  | 0
3.1.4 | Boost mode and controls functional test — applicable to both MVHR units (Ref 3.1.1) and Demand Control units (Ref 3.1.2). To be carried out during each annual PPM visit. To include: summer bypass operation test, boost mode activation and response check, humidity and CO₂ sensor response verification, confirmation of correct mode sequencing and controls operation. Engineer to record pass/fail result for each function tested on service report. Any failed or degraded sensors or controls to be noted as defects for separate reactive quotation. | Per visit |  | 0
|  |  | Total | 0
3.2 Filter & Consumable Replacements
Ref | Item Description | Unit | Rate (€) | Amount
3.2.1 | Replacement of 2 nr filters during HRV service — supply and fit (e.g. Vent Axis / Envirovent G4/F7) | Per set |  | 0
3.2.2 | Replacement of single coarse filter (G4) | Per filter |  | 0
3.2.3 | Replacement of fine/pollen filter (F7 or equivalent) | Per filter |  | 0
3.2.4 | Replacement of carbon/activated filter | Per filter |  | 0
3.2.5 | Duct cleaning — flexible duct per linear metre (reactive, where access allows) | Per lin. m |  | 0
3.2.6 | External weather cowl and fresh air intake grille clean — remove debris, insect ingress, and blockages from intake and exhaust cowls. Inspect cowl condition and report any damage. Carried out during PPM visit or as standalone reactive works. | Per visit |  | 0
|  |  | Total | 0
3.3 Repairs & Component Replacement
Ref | Item Description | Unit | Rate (€) | Amount
3.3.1 | Replace complete Demand Control whole house ventilation unit — supply and fit | Per unit |  | 0
3.3.2 | Replace fan on Demand Control ventilation unit — supply and fit | Per unit |  | 0
3.3.3 | Replace PCB on Demand Control ventilation unit — supply and fit | Per unit |  | 0
3.3.4 | Replace summer bypass actuator on MVHR unit | Per unit |  | 0
3.3.5 | Replace condensate drain / trap on MVHR unit | Per unit |  | 0
3.3.6 | Replace extract / supply fan on MVHR unit (non-DCU) | Per fan |  | 0
3.3.7 | Airflow measurement — room-by-room using calibrated equipment at each terminal (L/s), per I.S. EN 14134:2019 | Per house |  | 0
3.3.8 | System balancing — adjust supply and extract terminals to achieve design airflow rates (±10–15% tolerance) | Per house |  | 0
3.3.9 | Commissioning report — written record of all measured flows, unit settings, SFP, heat recovery efficiency, and sign-off for TGD Part F / NSAI validation | Per house |  | 0
3.3.10 | Ductwork inspection and joint re-sealing — visual and physical inspection of all accessible ductwork for crushed flexible duct, sharp bends, disconnected joints, and air leakage. Re-seal defective joints using approved mastic or foil tape. Engineer to note any inaccessible sections on service report. | Per visit |  | 0
3.3.10a | Ductwork joint re-sealing materials — supply of approved mastic sealant and/or foil tape used during inspection and re-sealing works (Ref 3.3.10). Contractor to submit supplier invoice for materials used. | Per Visit |  | 0
3.3.11 | Homeowner operating and maintenance information pack — preparation and issue of written guide per TGD Part F 1.2.1.11. To cover: filter change intervals and procedure, controls operation, boost and bypass modes, and contractor contact details. Required at new build handover or change of occupancy. | Per unit / house |  | 0
|  |  | Total | 0
| Total Ventilation Servicing |  |  | 0

## Sec 4 – Specialist Systems
SECTION 4: OTHER SPECIALIST SYSTEMS & MAINTENANCE
Refrigerant and cage rates are supply-and-fit inclusive. Contractor to confirm dimensions on survey before ordering cages
4.2 Heat Pump Refrigerant Works
Ref | Item Description | Unit | Rate (€) | Amount
4.2.1 | Re-gas heat pump system to manufacturer spec (R32) — incl. reclaim, disposal, and F-Gas cert | Per system |  | 0
4.2.2 | Re-gas heat pump system to manufacturer spec (R410A) — incl. reclaim, disposal, and F-Gas cert | Per system |  | 0
4.2.3 | Re-gas heat pump system to manufacturer spec (R290 propane) — incl. reclaim, disposal, F-Gas cert | Per system |  | 0
4.2.4 | Leak detection survey — electronic and UV dye (per system) | Per system |  | 0
4.2.5 | F-Gas log update and statutory reporting (per system, per annum) | Per system/pa |  | 0
|  |  | Total | 0
4.3 Protective Cages & Security
Ref | Item Description | Unit | Rate (€) | Amount
4.3.1 | Supply and fit protective cage — galvanised steel, standard size (up to 80 cm wide outdoor unit) | Per unit |  | 0
4.3.2 | Supply and fit protective cage — powder coated, standard size (up to 80 cm wide outdoor unit) | Per unit |  | 0
4.3.3 | Supply and fit protective cage — galvanised steel, large (80–130 cm wide outdoor unit) | Per unit |  | 0
4.3.4 | Supply and fit protective cage — powder coated, large (80–130 cm wide outdoor unit) | Per unit |  | 0
4.3.5 | Ground anchor / anti-theft fixing kit — supply and fit | Per unit |  | 0
|  |  | Total | 0
| Total specialist systems |  |  | 0

## Sec 5 – Access & Scaffold
SECTION 5: ACCESS EQUIPMENT & SCAFFOLDING — HEAT PUMP WORKS AT HEIGHT
Applies where outdoor units are installed at height and standard ladder access is not permitted under RAMS. All rates include delivery, erect/set-up, use, and removal. Works at height must comply with Safety, Health and Welfare at Work (Work at Height) Regulations 2006.
Ref | Item Description | Unit | Rate (€) | Amount (€)
5.1 | MEWP / scissor lift (up to 6 m working height) — per day | Per day |  | 0
5.2 | MEWP / boom lift / cherry picker (6 m to 12 m working height) — per day | Per day |  | 0
5.3 | Traditional scaffold — erect, 1 week standing, dismantle (per lift) | Per lift / week |  | 0
5.4 | Surcharge: roof-mounted or restricted-access heat pump unit (added to PPM rate) — per visit | Per visit |  | 0
|  |  | Total | 0

## Sec 6 – Reactive & Dayworks
SECTION 6: REACTIVE MAINTENANCE, CALL-OUTS & DAYWORK RATES
Standard hours: 08:00–17:00 Mon–Fri (excl. public holidays). Call-out charge includes travel and first hour on site. Additional time charged at hourly rate. Estimated quantities are set by the Authority for tender evaluation purposes only and do not represent a guaranteed volume of work. The contract will be measured and paid on actual quantities at the rates submitted
6.1 Call-Out & Response Charges
Ref | Service | Unit | Est. Annual Qty | ServiceStd Rate (€) | OOH Rate (€) | Annual Value (€)
6.1.1 | General call-out — incl. travel and 1st hour | Per call-out | 10 |  |  | 0
6.1.2 | Emergency call-out — 4hr response 24/7 | Per call-out | 10 |  |  | 0
|  | Total |  |  |  | 0
6.2 Daywork Labour Rates
Ref | Trade / Grade | Unit | Est. Annual Qty | Standard Hrs (€) | Out of Hours (€) | Annual Value (€)
6.2.1 | Heat Pump / Refrigeration Engineer (F-Gas Cat I certified) | Per hour | 10 |  |  | 0
6.2.2 | Mechanical / Plumbing Engineer | Per hour | 10 |  |  | 0
6.2.3 | Electrical Engineer (RECI/ETCI registered) | Per hour | 10 |  |  | 0
6.2.4 | Ventilation / MVHR Engineer | Per hour | 10 |  |  | 0
6.2.5 | General Operative | Per hour | 10 |  |  | 0
|  | Total |  |  |  | 0
| Total 6.1 & 6.2 to summary column H |  |  |  |  | 0

## Sec 7 – Component Rates
SECTION 7: SCHEDULE OF RATES — COMPONENT REPLACEMENT
All rates are supply and installation inclusive unless stated. Parts must be OEM (original equipment manufacturer) or directly equivalent. Any substitution requires written Authority approval. Warranty: 12 months on all parts and labour from date of installation.
7.1 Major Components
Ref | Component | Unit | Supply (€) | Installation (€) | Supply + Fit (€)
7.1.1 | Compressor — Mitsubishi Ecodan (OEM or approved equivalent) | Per unit
7.1.2 | Compressor — Daikin Altherma (OEM or approved equivalent) | Per unit
7.1.3 | Compressor — Samsung EHS (OEM or approved equivalent) | Per unit
7.1.4 | Compressor — Grant Aerona³ (OEM or approved equivalent) | Per unit
7.1.5 | Compressor — other brand (contractor to specify at quotation stage) | Per unit
|  |  |  | Total | 0
7.2 Controls & Electrical Components
Ref | Component | Unit | Supply (€) | Installation (€) | Supply + Fit (€)
7.2.1 | Main PCB / control board — Mitsubishi Ecodan | Per unit
7.2.2 | Main PCB / control board — Daikin Altherma | Per unit
7.2.3 | Main PCB / control board — Samsung EHS | Per unit
7.2.4 | Main PCB / control board — Grant Aerona³ | Per unit
7.2.5 | Outdoor unit PCB / inverter board (any brand — contractor to specify at quotation) | Per unit
7.2.6 | Room controller / thermostat (OEM replacement) | Per unit
7.2.7 | Flow temperature sensor / NTC thermistor | Per unit
7.2.8 | Pressure transducer / high-low pressure switch | Per unit
|  |  |  | Total | 0
7.3 Hydraulic & Mechanical Components
Ref | Component | Unit | Supply (€) | Installation (€) | Supply + Fit (€)
7.3.1 | Circulating pump — Grundfos or equivalent (domestic heat pump circuit) | Per unit
7.3.2 | Circulating pump — commercial grade (above 16 kW systems) | Per unit
7.3.3 | Fan motor — outdoor unit (any brand — contractor to specify at quotation) | Per unit
7.3.4 | 3-way motorised valve — DN15/DN20 | Per unit
7.3.5 | 4-way reversing valve | Per unit
7.3.6 | Expansion vessel — potable (5–18 litre) — supply and fit | Per unit
7.3.7 | Expansion vessel — heating circuit (5–18 litre) — supply and fit | Per unit
7.3.8 | Pressure relief valve — 3 bar (supply and fit) | Per unit
7.3.9 | Heat exchanger / plate heat exchanger (domestic scale) | Per unit
7.3.10 | System drain down, clean, and re-commission (full drain, inhibitor dose, refill, pressure test) | Per unit
|  |  |  | Total | 0
| Total Schedule of rates |  |  |  | 0

## Pricing Summary
PRICING SUMMARY — CONTRACT TOTALS & EVALUATION
This summary sheet is for evaluation purposes. All figures pull from the individual section sheets. Contractors must complete all rate cells in Sections 1–7 before this summary will calculate correctly.
Section | Description | Unit Rate (€) | Estimated Annual Cost (€)
S2 | Heat Pump PPM — all manufacturers |  | 0
S3 | Ventilation Systems — PPM & repairs |  | 0
S4 | Specialist Systems ( re-gas, cages) |  | 0
S5 | Access & Scaffolding (at-height works) |  | 0
S6 | Reactive Maintenance & Dayworks |  | 0
S7 | Component Replacement (indicative) |  | 0
ESTIMATED ANNUAL CONTRACT VALUE (excl. VAT) |  |  | 0