## Ardoifig
Ardoifig |  | Licence No. | W.10/78
| Licence Limits | Bi Monthly | Monthly
|  | For Operational | to Comply with
|  | Purpose | Licence Condition 6
Final Effluent
BOD5 |  | √
COD |  | √
Suspended Solids |  | √
pH |  | √
Phosphorous (P) |  | √
Orthophosphate as PO4 |  | √
Total Phosphorous (as P)
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
Fats, Oils & Greases
Aeration Basin
Suspended Solids (MLSS) range | 3,000 to 4,000 | √ | √
Settleable Solids |  | √
SVI monthly Average | 100ml/g | √ | √
Dissolved Oxygen in mixed liquor | ≥1 | √ | √
Volume of Discharge
Daily Flow | ≤ 25m3

## Casla
Casla |  |  | Licence No.
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Conditions
Final Effluent
BOD5 |  | √
COD |  | √
Suspended Solids |  | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4
Ammonium as NH4+
Nitrate as NO3-
Fats, Oils & Greases
Aeration Basin
Suspended Solids |  | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √

## Ardoifig BnaM
Ardoifig - Bord na Móna Puraflo |  |  | Licence No. | W.296/95
| Licence | Bi Monthly | Quarterly | Annually
| Limits | For Operational | to Comply with | to Comply with
|  | Purpose | Licence Condition 7 | Licence Condition 10
Final Effluent
BOD5 | ≤25 | √ | √
COD |  | √ | √
Suspended Solids | ≤35 | √ | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4
Total Phosphorous (as P) | ≤0.5 | √ | √
Ammonium as NH4+
Nitrate as NO3-
Fats, Oils & Greases | ≤50 |  | √
Aeration Basin
Dissolved Oxygen of | ≥1
mixed liquor
Send Records of the following to Galway Co. Co.;
a) All servicing of the plant and equipment
b) De-sludging and disposal of all sludge
c) Monthly readings of the "hours run" meter shall be maintained

## Cill Chiaráin
Cill Chiaráin |  |  | Licence No. | W.179/88
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Condition 6
Final Effluent
BOD5 | ≤25 | √ | √
COD |  | √ | √
Suspended Solids | ≤35 | √ | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4
Total Phosphorous (as P) | ≤2 | √ | √
Ammonium as NH4+
Nitrate as NO3-
Fats, Oils & Greases | ≤50 |  | √
Additional Parameter
Chloride |  | √
Aeration Basin
Suspended Solids |  | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √
Volume of Discharge
Daily Flow

## Baile an tSagairt
Baile an tSagairt |  |  | Licence No. | W.9/78
| Licence | Bi Monthly | Daily/Weekly | Annually
| Limits | For Operational | to Comply with | to Comply with
|  | Purpose | Licence Conditions 8 and 10 | Licence Condition 13
Final Effluent
BOD5 |  | √ | √
COD |  | √ | √
Suspended Solids |  | √ | √
pH | ≤ 9.5 | √
Phosphorous (P)
Orthophosphate as PO4
Total Phosphorous
Ammonium as NH4+
Nitrate as NO3-
Aeration Basin
f/m ratio to be in the range | 0.05 - 0.15kg/kg |  | √
Suspended Solids |  | √
Settleable Solids |  | √
Dissolved Oxygen | ≥ 1mg/l | √ | √
SVI monthly average approx. | 100ml/g | √ | √
Volume of Discharge
Daily Flow | ≤ 454m3
Hourly Flow | ≤ 19m3
Send Records of the following to Galway Co. Co.;
a) All servicing of the plant and equipment

## Baile an tSleibhe (Breizon)
Baile an tSleibhe (Breizon) |  |  | Licence No. | W.134/86
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Conditions
Final Effluent
BOD5 | ≤180 | √
COD |  | √
Suspended Solids | ≤50 | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4
Ammonium as NH4+
Nitrate as NO3-
Additional Parameter
Chloride |  | √
Aeration Basin
Suspended Solids |  | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √
Volume of Discharge
Daily Flow | ≤ 9m3
Hourly Flow | ≤ 1m3

## Coill Rua
Coill Rua |  |  | Licence No. | W.185/89
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Condition 7
Final Effluent
BOD5 | ≤20 | √ | √
COD |  | √
Suspended Solids | ≤30 | √ | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4
Total Phosphorous |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
Aeration Basin (left of Hut)
Suspended Solids |  | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √
Aeration Basin (Right of Hut)
Suspended Solids |  | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √
Rapire Influent
BOD5
COD
Suspended Solids
pH
Phosphorous (P)
Orthophosphate as PO4
Ammonium as NH4+
Nitrate as NO3-
Bioniche Influent
BOD5
COD
Suspended Solids
pH
Phosphorous (P)
Orthophosphate as PO4
Ammonium as NH4+
Nitrate as NO3-
Coill Rua (ar lean) | Licence | Bi Monthly
| Limits | For Operational
Purpose
Coill Rua Upstream (Surface Water)
BOD5 |  | √
COD |  | √
Suspended Solids
pH |  | √
Phosphorous (P) |  | √
Orthophosphate as PO4 |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
Coill Rua Downstream (Surface Water)
BOD5 |  | √
COD |  | √
Suspended Solids
pH |  | √
Phosphorous (P) |  | √
Orthophosphate as PO4 |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √

## Corr na Móna
Corr na Móna |  |  | Licence No. | 174/88
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Conditions
Final Effluent
BOD5 | ≤20 | √
COD |  | √
Suspended Solids | ≤30 | √
pH |  | √
Phosphorous (P) |  | √
Orthophosphate as PO4 |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
Additional Parameter
Chloride |  | √
Aeration Basin
Suspended Solids |  | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √
Volume of Discharge
Daily Flow | ≤ 5m3

## C-Plast
C-Plast |  |  | Licence No. | W. 17/78
| Licence | Bi Monthly | Monthly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Condition 7
Final Effluent
BOD5 |  | √
COD |  | √
Suspended Solids |  | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4
Total Phosphorous
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
Aeration Basin
Suspended Solids |  | √
Settleable Solids |  | √
SVI monthly average approx. | 100 ml/g | √ | √
Dissolved Oxygen | ≥1 | √ | √
Volume of Discharge
Volume - daily Flow | ≤ 27m3

## Ros an Mhíl
Ros an Mhíl |  |  | Licence No. | W182/88
| Licence | Bi Monthly | Weekly (?)
| Limits | For Operational | to Comply with
|  | Purpose | Licence Condition 13
Final Effluent
BOD5 | ≤100 | √ | √
COD |  | √ | √
Suspended Solids | ≤100 | √ | √
pH range | 6-8 | √ | √
Phosphorous as (P)
Orthophosphate as PO4
Total Phosphorous
Ammonium as NH4+
Nitrate as NO3-
Total Nitrogen
Fats, Oils & Greases | ≤50 |  | √
Additional Parameter
Chloride |  | √
Aeration Basin
Suspended Solids |  | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √
Volume of Discharge
Daily Flow | ≤ 700m3

## Páirc Ghnó Shailearna
Páirc Ghnó Shailearna |  |  | Licence No.
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Conditions
Final Effluent
BOD5 |  | √
COD |  | √
Suspended Solids |  | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4
Total Phosphorous |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
Total Nitrogen |  | √
Aeration Basin
Suspended Solids |  | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √

## An Tulaigh
An Tulaigh |  |  | Licence No.
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Conditions
Final Effluent
BOD5
COD
Suspended Solids
pH
Phosphorous as (P)
Orthophosphate as PO4
Total Phosphorous
Ammonium as NH4+
Nitrate as NO3-
An Tulaigh - Drain1 (Under Road)
BOD5 |  | √
COD |  | √
Suspended Solids |  | √
pH |  | √
Phosphorous as (P)
Orthophosphate as PO4 |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
An Tulaigh - Drain 3
BOD5 |  | √
COD |  | √
Suspended Solids |  | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4 |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
An Tulaigh - Interface
BOD5 |  | √
COD |  | √
Suspended Solids |  | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4 |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
An Tulaigh (ar lean) | Licence | Bi Monthly
| Limits | For Operational
Purpose
An Tulaigh - Lake
BOD5 |  | √
COD |  | √
Suspended Solids |  | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4 |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √

## Tír an Fhia (Domestic)
Tír an Fhia (Domestic) |  |  | Licence No. | 164/88
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Conditions
Final Effluent
BOD5 | ≤50 | √
COD |  | √
Suspended Solids | ≤70 | √
pH |  | √
Phosphorous (P)
Orthophosphate as PO4
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
Additional Parameter
Chloride |  | √
Aeration Basin
Suspended Solids range | 1,500 - 4,000 | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √
Volume of Discharge
Daily Flow | ≤ 40 m3

## Tír an Fhia (Industrial)
Tír an Fhia (Industrial - Fish Waste Water) |  |  | Licence No. | 164/88
| Licence | Bi Monthly | Quarterly
| Limits | For Operational | to Comply with
|  | Purpose | Licence Conditions
Final Effluent
BOD5 | ≤50 | √
COD |  | √
Suspended Solids | ≤70 | √
pH |  | √
Phosphorous (P) |  | √
Orthophosphate as PO4 |  | √
Ammonium as NH4+ |  | √
Nitrate as NO3- |  | √
Total Nitrogen |  | √
Additional Parameter
Chloride |  | √
Aeration Basin
Suspended Solids | 1,500 - 4,000 | √
Settleable Solids |  | √
SVI |  | √
Dissolved Oxygen |  | √
Volume of Discharge
Daily Flow | ≤ 40 m3

## Córais Uilig
Schedule B: Sampling and Analysis (Amended 13/24/2013) |  | a | 2026-01-07
Córas |  | Ardoifig | Ardoifig | Baile an tSagairt | Baile an tSleibhe | Casla | Carna | Cill Chiaráin | Coill Rua | Corr na Móna | C-Plast | Ros an Mhíl | Páirc Ghnó Shailearna | An Tulaigh | Tír an Fhia | Tír an Fhia
|  |  | Puraflo |  | (Breizon) | [9 empty] | (Domestic) | (Industrial)
Seoladh 1 |  | Coisméig Mór | Coisméig Mór | An Sián Rua | Baile an tSléibhe | Doire an Fhéich | Ruisín an Meanach | Cill Chiaráin | Coill Rua Thiar | Dubhachta | An Coilleach | Ros an Mhíl | Aille | An Tulaigh | Tír an Fhia | Tír an Fhia
Seoladh 2 |  | Na Forbacha | Na Forbacha | An Spideál | Ros an Mhíl | Casla | Carna |  | Indreabhán | Corr na Móna | An Spidéal |  | Indreabhán | Baile na hAbhann | Leitir Móir | Leitir Móir
Contae |  | na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe | Co na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe | na Gaillimhe
Total
Taking Samples |  | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Number of | Taking Samples
|  | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a. | Samples p.a.
Taking, preserving, securing and delivering samples to lab | [17 empty] | Taking, preserving, securing and delivering samples to lab
bi-monthly,including all personnel time and travel costs, from; | [17 empty] | fortnighly from;
Raw Effluent |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | Raw Effluent
Final Effluent |  | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 336 | Final Effluent
Aeration Basin(s) |  | 24 | 0 | 24 | 24 | 24 | 24 | 24 | 52 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 340 | Aeration Basin(s)
Surface Waters |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52 | 52 | 0 | 0 | 0 | 104 | 0 | 0 | 208 | Surface Waters
Analytical Services
Final Effluent Samples | Units | [15 empty] | Total | Final Effluent Samples
Temperature | °C | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 336 | Temperature
Dissolved Oxygen % | % | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 336 | Dissolved Oxygen %
BOD5 concentration | mg/l | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 336 | BOD5 concentration
COD concentration | mg/l | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 336 | COD concentration
Suspended Solids concentration | mg/l | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 336 | Suspended Solids concentration
pH | ph units | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 336 | pH
Phosphorous (as PO4-P) concentration | mg/l | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 0 | 0 | 288 | Phosphorous (as PO4-P) concentration
Total Phosphorous (as P) concentration | mg/l | 0 | 24 | 0 | 0 | 0 | 24 | 24 | 24 | 24 | 0 | 0 | 24 | 0 | 0 | 0 | 144 | Total Phosphorous (as P) concentration
Ammonium as NH4+ concentration | mg/l | 24 | 24 | 24 | 0 | 0 | 0 | 0 | 24 | 24 | 24 | 0 | 24 | 0 | 24 | 24 | 216 | Ammonium as NH4+ concentration
Ammonia as N | mg/l | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 24 | 24 | 24 | 24 | 0 | 24 | 24 | 390 | Ammonia as N
TON as N | mg/l | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 24 |  | TON as N
Nitrate as NO3- concentration | mg/l | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 24 | 24 | 0 | 24 | 0 | 24 | 24 | 168 | Nitrate as NO3- concentration
Nitrite as N | mg/l | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 48 | Total Nitrogen
Fats, Oils and Greases | mg/l | 0 | 4 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 52 | Fats. Oils and Greases
Chromium, total | ug/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Chromium, total
Chromium VI | ug/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Chromium VI
Iron, total | mg/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Iron, total
Nickel, Total | ug/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Nickel, Total
Phenols | ug/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Phenols
Iron Fe | mg/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Iron Fe
Nitrotriacetic Acid | mg/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Nitrotriacetic Acid
Anionic Surfactants/Detergents | mg/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Anionic Surfactants/Detergents
Total Heavy Metals | mg/l | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | Total Heavy Metals
Raw Effluent samples | [17 empty] | Raw Effluent samples
1. Rapire Influent at Coill Rua Plant | [17 empty] | 1. Rapire Influent at Coill Rua Plant
BOD5 | mg/l | [7 empty] | 24 | [7 empty] | 24 | BOD5
COD | mg/l | [7 empty] | 24 | [7 empty] | 24 | COD
Suspended Solids | mg/l | [7 empty] | 24 | [7 empty] | 24 | Suspended Solids
pH | [8 empty] | 24 | [7 empty] | 24 | pH
Phosphorous (as PO4-P)) | mg/l | [7 empty] | 24 | [7 empty] | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [7 empty] | 24 | [7 empty] | 24 | Ammonium as NH4+
Nitrate as NO3- | mg/l | [7 empty] | 24 | [7 empty] | 24 | Nitrate as NO3-
2. Bioniche Influent at Coill Rua Plant | [17 empty] | 2. Bioniche Influent at Coill Rua Plant
BOD5 | mg/l | [7 empty] | 24 | [7 empty] | 24 | BOD5
COD | mg/l | [7 empty] | 24 | [7 empty] | 24 | COD
Suspended Solids | mg/l | [7 empty] | 24 | [7 empty] | 24 | Suspended Solids
pH | [8 empty] | 24 | [7 empty] | 24 | pH
Phosphorous (as PO4-P) | mg/l | [7 empty] | 24 | [7 empty] | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [7 empty] | 24 | [7 empty] | 24 | Ammonium as NH4+
Nitrate as NO3- | mg/l | [7 empty] | 24 | [7 empty] | 24 | Nitrate as NO3-
Surface Water Samples | [17 empty] | Surface Water Samples
1. River Upstream at Coill Rua Plant | [8 empty] | 24 | [8 empty] | 1. River Upstream at Coill Rua Plant
Temperature | °C | [7 empty] | 24 | [7 empty] | 24 | Temperature
Dissolved Oxygen % | % | [7 empty] | 24 | [7 empty] | 24 | Dissolved Oxygen %
BOD5 | mg/l | [7 empty] | 24 | [7 empty] | 24 | BOD5
COD | mg/l | [7 empty] | 24 | [7 empty] | 24 | COD
Suspended Solids | mg/l | [7 empty] | 24 | [7 empty] | 24 | Suspended Solids
pH | [8 empty] | 24 | [7 empty] | 24 | pH
Total Phosphorous (as P) | mg/l | [7 empty] | 24 | [7 empty] | 24 | Total Phosphorous (as P)
Phosphorous (as PO4-P) | mg/l | [7 empty] | 24 | [7 empty] | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [7 empty] | 24 | [7 empty] | 24 | Ammonium as NH4+
Ammonia as N | mg/l | [16 empty] | Ammonia as N
Nitrate as NO3- | mg/l | [7 empty] | 24 | [7 empty] | 24 | Nitrate as NO3-
2. River Downstream at Coill Rua Plant | [8 empty] | Coill Rua |  |  |  |  | An Tulaigh |  |  | Total | 2. River Downstream at Coill Rua Plant
Temperature | °C | [7 empty] | 24 | [7 empty] | 24 | Temperature
Dissolved Oxygen % | % | [7 empty] | 24 | [7 empty] | 24 | Dissolved Oxygen %
BOD5 | mg/l | [7 empty] | 24 | [7 empty] | 24 | BOD5
COD | mg/l | [7 empty] | 24 | [7 empty] | 24 | COD
Suspended Solids | mg/l | [7 empty] | 24 | [7 empty] | 24 | Suspended Solids
pH | ph units | [7 empty] | 24 | [7 empty] | 24 | pH
Total Phosphorous (as P) | mg/l | [7 empty] | 24 | [7 empty] | 24 | Total Phosphorous (as P)
Phosphorous (as PO4-P) | mg/l | [7 empty] | 24 | [7 empty] | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [7 empty] | 24 | [7 empty] | 24 | Ammonium as NH4+
Ammonia as N | mg/l | [16 empty] | Ammonia as N
Nitrate as NO3- | mg/l | [7 empty] | 24 | [7 empty] | 24 | Nitrate as NO3-
Nitrite as N | mg/l
TON as N | mg/l
3. An Tulaigh - Open Drain 1 (Under Estate Road) | [17 empty] | 3. An Tulaigh - Open Drain 1 (Under Estate Road)
Temperature | °C | [12 empty] | 24 |  |  | 24 | Temperature
Dissolved Oxygen % | % | [12 empty] | 24 |  |  | 24 | Dissolved Oxygen %
BOD5 | mg/l | [12 empty] | 24 |  |  | 24 | BOD5
COD | mg/l | [12 empty] | 24 |  |  | 0 | COD
Suspended Solids | mg/l | [12 empty] | 24 |  |  | 24 | Suspended Solids
pH | [13 empty] | 24 |  |  | 24 | pH
Total Phosphorous (as P) | mg/l | [12 empty] | 24 |  |  | 24 | Total Phosphorous (as P)
Phosphorous (as PO4-P) | mg/l | [12 empty] | 24 |  |  | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [12 empty] | 24 |  |  | 24 | Ammonium as NH4+
Ammonia as N | mg/l | [16 empty] | Ammonia as N
Nitrate as NO3- | mg/l | [12 empty] | 24 |  |  | 24 | Nitrate as NO3-
Nitrite as N | mg/l
E coli (filtration) Envirionmental Waters) | cfu/100ml
TON as N | mg/l
Total Coliforms(Filtration) (Environmental Waters) | cfu/100ml
4. An Tulaigh - Open Drain 3 | [17 empty] | 4. An Tulaigh - Open Drain 3
Temperature | °C | [12 empty] | 24 |  |  | 24 | Temperature
Dissolved Oxygen % | % | [12 empty] | 24 |  |  | 24 | Dissolved Oxygen %
BOD5 | mg/l | [12 empty] | 24 |  |  | 0 | BOD5
COD | mg/l | [12 empty] | 24 |  |  | 24 | COD
Suspended Solids | mg/l | [12 empty] | 24 |  |  | 24 | Suspended Solids
pH | [13 empty] | 24 |  |  | 24 | pH
Total Phosphorous (as P) | mg/l | [12 empty] | 24 |  |  | 24 | Total Phosphorous (as P)
Phosphorous (as PO4-P) | mg/l | [12 empty] | 24 |  |  | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [12 empty] | 24 |  |  | 24 | Ammonium as NH4+
Ammonia as N | [13 empty] | 24 |  |  | 24 | Ammonia as N
Nitrate as NO3- | mg/l | [12 empty] | 24 |  |  | 24 | Nitrate as NO3-
E coli (filtration) Envirionmental Waters) | cfu/100ml
TON as N | mg/l
Total Coliforms(Filtration) (Environmental Waters) | cfu/100ml
5. An Tulaigh - Interface with Lake | [17 empty] | 5. An Tulaigh - Interface with Lake
Temperature | °C | [12 empty] | 24 |  |  | 24 | Temperature
Dissolved Oxygen % | % | [12 empty] | 24 |  |  | 24 | Dissolved Oxygen %
BOD5 | mg/l | [12 empty] | 24 |  |  | 24 | BOD5
COD | mg/l | [12 empty] | 24 |  |  | 24 | COD
Suspended Solids | mg/l | [12 empty] | 24 |  |  | 24 | Suspended Solids
pH | [13 empty] | 24 |  |  | 24 | pH
Total Phosphorous (as P) | mg/l | [12 empty] | 24 |  |  | 24 | Total Phosphorous (as P)
Phosphorous (as PO4-P) | mg/l | [12 empty] | 24 |  |  | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [12 empty] | 24 |  |  | 24 | Ammonium as NH4+
Ammonia as N | mg/l | [12 empty] | 24 |  |  | 24 | Ammonia as N
Nitrate as NO3- | mg/l | [12 empty] | 24 |  |  | 24 | Nitrate as NO3-
E coli (filtration) Envirionmental Waters) | cfu/100ml
Total Coliforms(Filtration) (Environmental Waters) | cfu/100ml
6. An Tulaigh - Lake | [17 empty] | 6. An Tulaigh - Lake
Temperature | °C | [12 empty] | 24 |  |  | 24 | Temperature
Dissolved Oxygen % | % | [12 empty] | 24 |  |  | 24 | Dissolved Oxygen %
BOD5 | mg/l | [12 empty] | 24 |  |  | 24 | BOD5
COD | mg/l | [12 empty] | 24 |  |  | 24 | COD
Suspended Solids | mg/l | [12 empty] | 24 |  |  | 24 | Suspended Solids
pH | [13 empty] | 24 |  |  | 24 | pH
Total Phosphorous (as P) | mg/l | [12 empty] | 24 |  |  | 24 | Total Phosphorous (as P)
Phosphorous (as PO4-P) | mg/l | [12 empty] | 24 |  |  | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [12 empty] | 24 |  |  | 24 | Ammonium as NH4+
Ammonia as N | mg/l | [12 empty] | 24 |  |  | 24 | Ammonia as N
Nitrate as NO3- | mg/l | [12 empty] | 24 |  |  | 24 | Nitrate as NO3-
E coli (filtration) Envirionmental Waters) | cfu/100ml
Total Coliforms(Filtration) (Environmental Waters) | cfu/100ml
7. River Upstream at Corr na Móna Plant | [17 empty] | 7. River Upstream at Corr na Móna Plant
Temperature | °C | [8 empty] | 24 | [6 empty] | 24 | Temperature
Dissolved Oxygen % | % | [8 empty] | 24 | [6 empty] | 24 | Dissolved Oxygen %
E.coli/Total Coliforms | /100ml | [8 empty] | 24 | [6 empty] | 24 | E.coli/Total Coliforms
BOD5 | mg/l | [8 empty] | 24 | [6 empty] | 24 | BOD5
COD | mg/l | [8 empty] | 24 | [6 empty] | 24 | COD
Suspended Solids | mg/l | [8 empty] | 24 | [6 empty] | 24 | Suspended Solids
pH | [9 empty] | 24 | [6 empty] | 24 | pH
Total Phosphorous (as P) | mg/l | [8 empty] | 24 | [6 empty] | 24 | Total Phosphorous (as P)
Phosphorous (as PO4-P) | mg/l | [8 empty] | 24 | [6 empty] | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [8 empty] | 24 | [6 empty] | 24 | Ammonium as NH4+
Ammonia as N | mg/l | [8 empty] | 24 | [6 empty] | 24 | Ammonia as N
Nitrate as NO3- | mg/l | [8 empty] | 24 | [6 empty] | 24 | Nitrate as NO3-
8. River Downstream at Corr na Móna Plant | [17 empty] | 8. River Downstream at Corr na Móna Plant
Temperature | °C | [8 empty] | 24 | [6 empty] | 24 | Temperature
Dissolved Oxygen % | % | [8 empty] | 24 | [6 empty] | 24 | Dissolved Oxygen %
E.coli/Total Coliforms | /100ml | [8 empty] | 24 | [6 empty] | 24 | E.coli/Total Coliforms
BOD5 | mg/l | [8 empty] | 24 | [6 empty] | 24 | BOD5
COD | mg/l | [8 empty] | 24 | [6 empty] | 24 | COD
Suspended Solids | mg/l | [8 empty] | 24 | [6 empty] | 24 | Suspended Solids
pH | [9 empty] | 24 | [6 empty] | 24 | pH
Total Phosphorous (as P) | mg/l | [8 empty] | 24 | [6 empty] | 24 | Total Phosphorous (as P)
Phosphorous (as PO4-P) | mg/l | [8 empty] | 24 | [6 empty] | 24 | Phosphorous (as PO4-P)
Ammonium as NH4+ | mg/l | [8 empty] | 24 | [6 empty] | 24 | Ammonium as NH4+
Ammonia as N | mg/l | [8 empty] | 24 | [6 empty] | 24 | Ammonia as N
Nitrate as NO3- | mg/l | [8 empty] | 24 | [6 empty] | 24 | Nitrate as NO3-
Name of Tenderer: __________________________________
Signature of Authorised Person: _________________________ |  |  | Date: _______________

## Schedule of Prices
Schedule of Rates for services not included in Schedule B |  | Must Be Priced
and Returned with
Any additional sampling or analysis requested will be paid |  | Form of Tender
for at the rates included in this schedule
All items in this schedule must have a rate entered
Costs for additional visit to the folowing plants |  | Number | Rate
for the purposes of taking samples including |  | of | per Visit
personnel time and travel costs |  | Visits | €
Ardoifig |  | 1
Ardoifig Puraflo |  | 1
Baile an tSagairt |  | 1
Baile an tSléibhe |  | 1
Casla |  | 1
Cill Chiaráin |  | 1
Coill Rua |  | 1
Corr na Móna |  | 1
C-Plast |  | 1
Carna |  | 1
Ros an Mhíl |  | 1
Páirc Ghnó Shailearna |  | 1
An Tulaigh |  | 1
Tír an Fhia (Domestic) |  | 1
Tir an Fhia (Industrial) |  | 1
Additional samples to be taken, preserved |  | Quantity | Rate
secured and transported to lab from the following; |  | No. | €/sample
Ardoifig |  | 1
Ardoifig Puraflo |  | 1
Baile an tSagairt |  | 1
Baile an tSléibhe |  | 1
Casla |  | 1
Cill Chiaráin |  | 1
Coill Rua |  | 1
Corr na Móna |  | 1
C-Plast |  | 1
Carna |  | 1
Ros an Mhíl |  | 1
Páirc Ghnó Shailearna |  | 1
An Tulaigh |  | 1
Tír an Fhia (Domestic) |  | 1
Tir an Fhia (Industrial) |  | 1
Final Effluent Samples to be analysed | Units | Quantity | Rate
for the following; |  | No. | €/analysis
Temperature | °C | 1
DO% | % | 1
BOD5 concentration | mg/l | 1
COD concentration | mg/l | 1
Suspended Solids concentration | mg/l | 1
pH |  | 1
Total Phosphorous (as P) concentration | mg/l | 1
Phosphorous (as PO4-P)) | mg/l | 1
Ammonium as NH4+ concentration | mg/l | 1
Ammonia as N | mg/l | 1
Nitrate as NO3- concentration | mg/l | 1
Total Nitrogen | mg/l | 1
Fats, Oils and Greases | mg/l | 1
Chromium, total | ug/l | 1
Chromium VI | ug/l | 1
Iron, total | mg/l | 1
Nickel, Total | ug/l | 1
Phenols | ug/l | 1
Iron Fe | mg/l | 1
Nitrotriacetic Acid | mg/l | 1
Anionic Surfactants/Detergents | mg/l | 1
Total Heavy Metals | mg/l | 1
Surface Water Samples to be analysed | Units | Quantity | Rate
for the following; |  | No. | €/analysis
Temperature | °C | 1
DO% | % | 1
E.coli / Total Coliforms | /100ml | 1
BOD5 concentration | mg/l | 1
COD concentration | mg/l | 1
Suspended Solids concentration | mg/l | 1
pH |  | 1
Total Phosphorous (as P) concentration | mg/l | 1
Phosphorous (as PO4-P)) | mg/l | 1
Ammonium as NH4+ concentration | mg/l | 1
Ammonia as N | mg/l | 1
Nitrate as NO3- concentration | mg/l | 1
Fats, Oils and Greases | mg/l | 1
Raw Influent Samples to be analysed | Units | Quantity | Rate
for the following; |  | No. | €/analysis
BOD5 concentration | mg/l | 1
COD concentration | mg/l | 1
Suspended Solids concentration | mg/l | 1
pH |  | 1
Total Phosphorous (as P) concentration | mg/l | 1
Phosphorous (as PO4-P)) | mg/l | 1
Ammonium as NH4+ concentration | mg/l | 1
Nitrate as NO3- concentration | mg/l | 1
Total Nitrogen | mg/l | 1
Fats, Oils and Greases | mg/l | 1
MLSS Samples to be analysed | Units | Quantity | Rate
for the following; |  | No. | €/analysis
Dissolved Oxygen concentration | mg/l | 1
Mixed Liquor Suspended Solids (MLSS) concentration | mg/l | 1
Volume of Settled Sludge after 30 minutes | ml/l | 1
Sludge Volume Index (SVI) calculated | ml/g | 1
Name of Tenderer:
Signature of authorised person:
Date:

## MEAT
Calculation of Most Economically Advantageous Tender (MEAT) |  |  | For Information Only
Any additional sampling or analysis requested will be paid
for at the rates included in this schedule
All items in this schedule will have a rate entered from the
Scheule of Rates and a sub-total will be calculated.
The subtotals at A, B, C, D, E and F will be carried
forward and added to the amount entered on the Form of Tender to enable
the Most Economically Advantageous Tender to be selected.
Costs for additional visit to the folowing plants |  | Number | Rate | Sub-Total
for the purposes of taking samples including |  | of | per Visit | €
personnel time and travel costs |  | Visits | €
Ardoifig |  | 1
Ardoifig Puraflo |  | 1
Baile an tSagairt |  | 1
Baile an tSléibhe |  | 1
Casla |  | 1
Cill Chiaráin |  | 2
Coill Rua |  | 1
Corr na Móna |  | 2
C-Plast |  | 1
Carna |  | 1
Ros an Mhíl |  | 1
Páirc Ghnó Shailearna |  | 1
An Tulaigh |  | 1
Tír an Fhia (Domestic) |  | 1
Tir an Fhia (Industrial) |  | 1
Sub-Total for Additional Visits carried forward to the MEAT calculation |  |  |  |  | A
Additional samples to be taken, preserved |  | Quantity | Rate | Sub-Total
secured and transported to lab from the following; |  | No. | €/sample | €
Ardoifig |  | 1
Ardoifig Puraflo |  | 1
Baile an tSagairt |  | 1
Baile an tSléibhe |  | 1
Casla |  | 1
Cill Chiaráin |  | 1
Coill Rua |  | 1
Corr na Móna |  | 1
C-Plast |  | 1
Carna |  | 1
Ros an Mhíl |  | 1
Páirc Ghnó Shailearna |  | 1
An Tulaigh |  | 1
Tír an Fhia (Domestic) |  | 1
Tir an Fhia (Industrial) |  | 1
Sub-Total for additional Sampling carried forward to the Form of Tender |  | to the MEAT calculation |  |  | B
Final Effluent Samples to be analysed | Units | Quantity | Rate | Sub- Total
for the following; |  | No. | €/analysis | €
Temperature | °C | 5
Dissolved Oxygen % | % | 5
BOD5 concentration | mg/l | 5
COD concentration | mg/l | 5
Suspended Solids concentration | mg/l | 5
pH |  | 5
Total Phosphorous (as P) | mg/l | 5
Phosphorous (as PO4-P) | mg/l | 5
Ammonium as NH4+ concentration | mg/l | 5
Ammonia as N | mg/l | 5
Nitrate as NO3- concentration | mg/l | 5
Total Nitrogen | mg/l | 1
Fats, Oils and Greases | mg/l | 1
Chromium, total | ug/l | 1
Chromium VI | ug/l | 1
Iron, total | mg/l | 1
Nickel, Total | ug/l | 1
Phenols | ug/l | 1
Iron Fe | mg/l | 1
Nitrotriacetic Acid | mg/l | 1
Anionic Surfactants/Detergents | mg/l | 1
Total Heavy Metals | mg/l | 1
Sub-total for analysis of Final Effluent samples carried forward to MEAT Calculation |  |  |  |  | C
Surface Water Samples to be analysed | Units | Quantity | Rate | Sub- Total
for the following; |  | No. | €/analysis | €
Temperature | °C | 5
Dissolved Oxygen % | % | 5
BOD5 concentration | mg/l | 5
COD concentration | mg/l | 5
Suspended Solids concentration | mg/l | 5
pH |  | 5
Total Phosphorous (as P) | mg/l | 5
Phosphorous (as PO4-P) | mg/l | 5
Ammonium as NH4+ concentration | mg/l | 5
Ammonia as N | mg/l | 5
Nitrate as NO3- concentration | mg/l | 5
Total Nitrogen | mg/l | 1
Fats, Oils and Greases | mg/l | 1
E coli (filtration) Envirionmental Waters) | mg/l | 1
TON as N | mg/l | 1
Total Coliforms(Filtration) (Environmental Waters) | mg/l | 1
D
Sub-total for analysis of Surface Water samples carried forward to the MEAT calculation
| Units | Quantity | Rate | Sub- Total
Raw Influent Samples to be analysed |  | No. | €/analysis | €
for the following;
| mg/l | 5
BOD5 concentration | mg/l | 5
COD concentration | mg/l | 5
Suspended Solids concentration |  | 5
pH | mg/l | 5
Total Phosphorous (as P) | mg/l | 5
Phosphorous (as PO4-P) | mg/l | 5
Ammonium as NH4+ concentration | mg/l | 5
Nitrate as NO3- concentration | mg/l | 1
Total Nitrogen | mg/l | 1
Fats, Oils and Greases
E
Sub-total for analysis of Raw Influent samples carried forward to the MEAT calculation
| Units | Quantity | Rate | Sub- Total
MLSS Samples to be analysed |  | No. | €/analysis | €
for the following;
| mg/l | 1
Dissolved Oxygen concentration | mg/l | 1
Mixed Liquor Suspended Solids (MLSS) concentration | ml/l | 1
Volume of Settled Sludge after 30 minutes
| ml/g | 1
Sludge Volume Index (SVI) calculated
F
Sub-total for analysis of MLSS Samples carried forward to the MEAT calculation
MEAT Amount = Amount of Tender + A+ B+C+D+E+F