## Instructions to Tenderers
INSTRUCTIONS TO TENDERERS
NB: IMPORTANT NOTICE RE COMPLETION OF PRICING SCHEDULE
1. Tenderers are required to submit prices for each service / component listed in each tab - see YELLOW boxes. Comment (if any) can also be included in the relevant YELLOW box
2. Failure to submit a price for any of the services / components will render submission invalid
3. The components listed reflect current position and may alter over the duration of the Framework
4. If Tenderers have any queries in respect of the Pricing Schedule they should submit same through the eTenders messaging service
5. All costs associated with supporting the service should be included in tab "1. Support Service Delivery"…broken down Year 1 to Year 4
6. The Rate Card tab will be used for comparative purposes during the Tender evaluation - the same number of notional days and number of roles will ensure consistency. PLEASE FILL IN ALL RATES EVEN IF YOU DO NOT INTENT TO CHARGE FOR THESE SERVICES. IF THE ROLE DOES NOT EXIST, PLEASE USE A RATE CARD FROM AN EQUIVALENT ROLE
7. Tenderers should submit pricing, per phase for their proposal to meet the UPS Transformation requirements in "3. UPS Trans" tab. A description of this approach must be included in the TRD
8. Tenderers should submit pricing for hardware items in "4. Hardware" tab
9. If there are licencing costs associated with delivering the service to DoJ, please detail in the tab marked "5. Licencing". If there are no licencing costs associated with delivering the service to DoJ, please leave this tab blank
10. If there is an item / items that the Tenderer would like to include that are not listed in the Pricing Schedule but forms part of the overall costs to deliver the services under this Framework, please include in tab marked "6. Other"
11. The list of current general locations, make, model and size of the DoJ UPS infrastructure is in tab marked "Appendix 1"

## Summary Cost
SUMMARY COST
Category | Cost (Excluding VAT) | VAT RATE IS 23%
1a. Support Service Delivery (Years 1 - 4 (initial contract)) | 0
2. Rate card | 0
3. UPS Transformation | 0
4. Hardware | 0
5. Licencing | 0
6. Other | 0
Total | 0

## 1. Support Service Delivery
1. SUPPORT SERVICE DELIVERY
1. DoJ require support for the existing UPS services during ordinary business hours The initial contract is for 4 years - please include costs for all 4 years. Costs for subsequent contracts (if any) will be agreed closer to renewal time For more details see Section 3 3. The required SLA for Support Incidents and Reporting is below. For more details of the Level and Quality of Support, see Section 3 4. Details of the Service Support model should be included in the Tender Response Document (TRD) 5. If there are any other costs e.g. once off costs, that need to be included in the cost of support service delivery, please include in the row marked "Other"...with an explanation
Year | Annual Cost (Excluding VAT) | Comment (if any)
1 | 0
2 | 0
3 | 0
4 | 0
Other (please specify) | 0
Total | 0
VAT RATE IS 23%
Priority Level | Example | Action and Service Level required (SLA)
Priority 1 (Highest Priority) | Outage (Whole site or significant business operation is impacted) | 1. A response is required within one hour after receiving a support request,
2. Remote Access diagnosis should be used to try and resolve the problem.
3. A call out to site to resolve the issue is required within 4 hours of agreeing need for same i.e., if remote support is unable to resolve the issue.
Priority 2 | Service/function running but not usual performance | 1. A response is required within 4 hours after the initial call is raised.
2. Remote Access diagnosis should be used to try and resolve the problem.
3. A call out to site to resolve the issue is required within 8 hours of agreeing need for same i.e., if remote support is unable to resolve the issue.
Priority 3 | Intermittent issue with service/function (low impact) | 1. A response is required within one working day after the initial call is raised.
2. Remote Access diagnosis should be used to try and resolve the problem with a call out to site if required. Maximum time to address the issue should be one week.

## 2. Rate Card
2. RATE CARD
1. Rate cards are required for the following roles (using 10 notional days each): * Account / Contract Manager** * Support / Project Manager** * UPS Engineer / Qualified Electrician * Other (please specify) Note: If there are no "Other" rates to be included, please fill in the yellow boxes and use the Support / Project Manager rate. PLEASE FILL IN ALL RATES EVEN IF YOU DO NOT INTENT TO CHARGE FOR THESE SERVICES. IF THE ROLE DOES NOT EXIST, PLEASE USE A RATE CARD FROM AN EQUIVALENT ROLE ** = key personnel Please indicate if there are different rates for different hours / days in the week 2. These daily rates should be quoted for Year 1 and Year 2 and charges should not exceed these rates. Any subsequent changes would be by agreement and should not exceed the prevailing Consumer Price Index or similar indicator. 3. The figures below are notional volumes and provide no guarantee of work to be awarded under this framework agreement. It is being used purely to enable assessment of the notional cost for the framework agreement and ensure certainty of rates for work under the framework.
No | Roles | Days | Year 1 Daily Rate (€) Excluding VAT | Year 1 Cost (€) Excluding VAT | Year 2 Daily Rate (€) Excluding VAT | Year 2 Cost (€) Excluding VAT | Comment (if any)
1 | Account / Contract Manager | 10 | 0 | 0 | 0 | 0
2 | Support / Project Manager | 10 | 0 | 0 | 0 | 0
3 | UPS Engineer / Qualified Electrician | 10 | 0 | 0 | 0 | 0
5 | Other (please specify) | 10 | 0 | 0 | 0 | 0
Total |  |  |  | 0 |  | 0
VAT RATE IS 23%

## 3. UPS Trans
3. UPS Transformation
DoJ may choose to enhance / refresh the UPS service in the future. The tenderer must confirm, as part of their submission, that they can implement and support modern UPS solutions. Evidence must be provided of such capabilities e.g. previous projects. The Tenderer should provide a description of their proposed approach to transforming DoJ UPS in the Tender Response Document, assuming a notional project to refresh a small, medium, and large site. Indicative pricing in the Pricing Schedule should be included for this notional project to transform the locations. The Tenderer should provide a description of their proposed approach to enabling such functionality within DoJ in the Tender Response Document, with indicative pricing in the Pricing Schedule. 1. The Tenderer should provide evidence of their capabilities (in the TRD) 2. The Tenderer should provide a description of their proposed approach to enabling such functional requirements within DoJ in the TRD 3. The approach should be based on the site-size (where, small = 3-4 network devices, medium = 3-10 network devices, large = 10+ network devices). For pricing purposes, please cost 1 small, 1 medium and 1 large. 4. The figures below are notional and provide no guarantee of work to be awarded under this framework agreement. It is being used purely to enable assessment of the notional cost for a possible project within the framework agreement
Description | Cost (Excluding VAT) | Comment (if any)
1. Small Site | 0
2. Medium Site | 0
3. Large Site | 0
Total | 0
VAT RATE IS 23%

## 4. Hardware
4. Hardware
1. Please provide details of Hardware costs to support the current DoJ solution (as outlined in the Tender doc) 2. The figures below are notional and provide no guarantee of hardware purchase to be awarded under this framework agreement. It is being used purely to enable visibility cost for different hardware items offered by the tenderer 3. These prices quoted should be valid for 12 months commencing on the closing date by which the tenders are to be returned. Any subsequent changes would be by negotiation and should not exceed the prevailing Consumer Price Index or similar indicator. 4. If the Hardware item is not currently available, please list the nearest alternative, with an explanation as to suitability 5. Please fill in ALL fields in yellow
No | Hardware item | Quantity | Unit price Excluding VAT | Price | Comment (if any)
1 | 700VA | 1 | 0 | 0
2 | 750VA or similar | 1 | 0 | 0
3 | 3kVA or similar | 1 | 0 | 0
7 | 4kVA or similar | 1 | 0 | 0
8 | 5kVA or similar | 1 | 0 | 0
9 | 10kVA or similar | 1 | 0 | 0
Total |  |  |  | 0

## 5. Licencing
5. Licencing
1. If applicable, please provide details of licencing to support the current DoJ solution (as outlined in the Tender doc), at premium level support
No | Licence | Quantity | 1 Year licencing (Premium Level support) per device Excluding VAT | 1 Year licencing (Premium Level support) Excluding VAT | 2 Year licencing (Premium Level support) per device Excluding VAT | 2 Year licencing (Premium Level support) Excluding VAT | Comment (if any)
1 | Licence name / description | 0 | 0 | 0 | 0 | 0
2 | Licence name / description | 0 | 0 | 0 | 0 | 0
3 | Licence name / description | 0 | 0 | 0 | 0 | 0
12 | Other (please specify) | 0 | 0 | 0 | 0 | 0
Total |  |  |  | 0 |  | 0

## 6. Other
6. OTHER
1. If there is an item / items that the Tenderer would like to include that are not listed in the Pricing Schedule but forms part of the overall costs to deliver the services under this Framework, please include here
Category / Description of spend | Cost (Excluding VAT) | Comment
0
0
0
Total | 0
VAT RATE IS 23%