APPENDIX 1 : Technical Specification & Supplier Response Document

Tender Reference: NCTR2694

Request for Tenders for the Supply, Delivery and Installation

of a Plant Extraction System for TU Dublin

Open (National) Procedure

Location

Grangegorman Campus

| Issue Date: | Friday 10th July 2026 |
| --- | --- |
| Contact Details for Queries: | E-tenders Messaging facility |
| Closing Date for Receipt of Queries: | 14:00pm on Wednesday 15th July 2026 |
| Deadline for Receipt of Tenders:. | 14:00pm on Monday 20th July 2026 |

Contents

Introduction	3

Summary of Requirements	3

Funding Acknowledgment	5

Section A : Selection Criteria – Mandatory Requirements	5

Section B  - Requirements & Specification	10

Technical Specification	10

Programme Requirements	11

Award Criteria	12

Scoring Methodology	13

Specification Required & Supplier Response	16

Declaration	25

# Introduction

TU Dublin, Ireland’s first Technological University, is where career-focused students, dedicated staff and academic excellence in science, the arts, business, engineering and technology converge to create the leaders of tomorrow. We offer an inclusive and open learning experience with pathways to graduation, from Apprenticeship to PhD. Our 28,500 students learn in a practice-based environment informed by the latest research and enabled by technological advances.

TU Dublin hosts a thriving research community engaged in applying innovation and technology to solve the world’s most pressing challenges. We are deeply committed to collaborating with our national and international academic partners and our many networks in industry and civic society to create new learning experiences and develop impactful research.

TU Dublin is an exciting new milestone in Irish Higher Education.  With campuses in Dublin City, Tallaght and Blanchardstown, it spans the largest population centres of Ireland’s capital city.  Building on the rich heritage of its founding organisations - DIT, IT Blanchardstown and IT Tallaght – TU Dublin is inclusive and adaptable, creating educational opportunities for students at all stages.  TU Dublin students are socially responsible, open-minded global thinkers who are ambitious to change the world for the better. As graduates, they will be enterprising and daring in all their endeavours, ready to play their part in transforming the future.

# Summary of Requirements

Tenders are sought for the Extractor E200 (or equivalent), a laboratory-scale, high-performance plant extraction system designed for efficient and sustainable extraction of bioactive compounds. The system shall integrate microwave and ultrasound-assisted extraction technologies and be suitable for both solvent-free and solvent-based processes, enabling process development and scale-up studies.

The plant extraction system, E200 (or equivalent), must present the following Functional, Technical, and Support Criteria;

- Microwave-assisted extraction (up to ~2 kW, 2450 MHz; adjustable 200–2000 W)

- Ultrasound-assisted extraction (~20 kHz, ~200 W), independently or combined

- Suitable for Solvent-free (eco-extraction); Solvent-based extraction (water, oil, organic solvents); Cold extraction (temperature-controlled vessel), and vacuum-assisted extraction (up to ~150 mbar)

- Have a working capacity of approximately 0.5–6 L

- Be constructed from stainless steel (minimum 316L) and chemically resistant materials

- System will include removable and cleanable extraction components; an adjustable agitation system (~10–30 rpm) and provide temperature monitoring via an infrared sensor (product temperature) and a PT100 probe (liquid/solvent temperature)

- Include a chiller/water cooling unit as part of the complete system capable of ~+5°C to +15°C

- The equipment must include an Integrated HMI touchscreen (~10–12"); programmable recipes and automation; PID control of temperature and power and real-time monitoring and data logging/export

- Meet CE certification and EU safety compliance, including microwave leakage detection and pressure/vacuum safety systems

- Equipment must be supplied as a complete, ready-to-use system, including delivery to TU Dublin; Installation and full commissioning; verification of operational performance; all required utilities, connections, and accessories.

- Include training and documentation, specifically: Operator training (on-site or online); training on system operation, safety, maintenance, and troubleshooting

- User manuals, SOPs, and supporting materials.

- Include warranty and service support, specifically minimum 12-month warranty (parts and labour)

- Access to technical support (remote and/or on-site) even after sales support in Ireland.

Should-have (Desirable Requirements)

- Support controlled atmosphere operation (e.g., nitrogen)

- Allow continuous sampling during extraction

- Provide advanced data management and traceability features

- Include enhanced automation and process optimisation capabilities

- Offer preventive maintenance schedules and service plans

- Provide defined service response time

- Include comprehensive training materials (videos, digital resources)

- Be adaptable for future scale-up or process development needs

Optional (Additional / Value-Added Features)

- Solvent recirculation system (thin-layer extraction)

- Condenser unit for volatile recovery

- Vacuum pump system

- Ethanol extraction safety system (e.g., O₂ monitoring, explosimeter, ATEX components)

- Remote monitoring or advanced automation features

- Extended warranty and/or annual maintenance/service contracts

- Additional accessories or modular upgrades

# Funding Acknowledgment

This procurement is being funded under the Higher Education Authority (HEA) Research and Innovation Equipment Grant, supported by public funding administered by the Higher Education Authority.

## Section A : Selection Criteria – Mandatory Requirements

| REF | PASS/FAIL CRITERIA | PASS REQUIREMENT |
| --- | --- | --- |
| A1 | Applicant Summary | Tenderers must complete this section. If Tenderer is a grouping, then a separate questionnaire must be completed for each group member. |
| A2 | Financial | Tenderers are required to self-declare compliance with the requirements. Tenderers should note that if deemed the most economically advantageous tender, they will be required to provide the evidence self-declared prior to contract award. |
| A3 | Tax Compliance |  |
| A4 | Insurance |  |
| A5 | Previous Experience | Tenderers must supply contact details and information on services provided for three referees to whom you have provided similar services to the requirements of this RFT. |
| A6 | Health & Safety | Tenderers must demonstrate that they comply with the relevant legislation with reference to Environmental, Health and Safety. |
| A7 | Data Protection Compliance | The Tenderer must ensure the security of Personal Data at all times is in line with the Data Protection Acts 1998 and 2003 and guidance issued by the Data Protection Commissioner of Ireland. Tenderers are required to be compliant under the EU General Data Protection Regulation (GDPR) which came into effect on 25/05/2018. Please confirm compliance. |

SECTION A: PASS/FAIL CRITERIA

| A1. APPLICANT SUMMARY Weighting: Pass/Fail only Pass requirement: Tenderers must complete this section |  |
| --- | --- |
| Organisation Name | Insert Response |
| Contact Name | Insert Response |
| Address | Insert Response |
| Telephone | Insert Response |
| Email | Insert Response |
| Legal Status (if any) (e.g., Company, Partnership, Sole Trader, etc.) | Insert Response |

A2/A3/A4. FINANCIAL/ TAX COMPLIANCE / INSURANCE Weighting: Pass/Fail only Pass requirement: Tenderers must confirm that the meet the following minimum rules

| A2. Financial Summary |  |
| --- | --- |
| Requirement | Yes / No |
| The company is solvent and of good economic standing and can if requested supply an accountant’s/ auditor’s statement for the last three financial years. Availability of a signed statement from accountant/auditor confirming an annual company turnover of €105,000 for each of the last 3 years. | Choose an item. |

| A3. Tax Compliance |  |
| --- | --- |
| Requirement | Yes / No |
| Tenderers hold a current and valid Tax Clearance Certificate(s) from the Revenue Commissioners or in the case of a Candidate outside of the Republic of Ireland hold or can provide an equivalent statement from the relevant taxation authority. | Choose an item. |

| A4. Insurances |  |
| --- | --- |
| Requirement | Yes / No |
| That Tenderers holds, or will hold should they be successful, the following insurances. TU Dublin reserves the right to amend the requirements before a Purchase Order is issued. |  |
| Employer’s Liability - €13 million limit for any one claim or series of claims arising out of a single occurrence. | Choose an item. |
| Public Liability - €6.5 million limit for any one claim or series of claims arising out of a single occurrence. | Choose an item. |
| Product Liability - €6.5 million limit for any one claim or series of claims arising out of a single occurrence. | Choose an item. |

Documentary evidence of economic and financial standing is not required at this stage of the Competition. Instead, Candidates are asked to declare that they meet the minimum standards required by the Contracting Authority and will be in a position to produce the necessary documentation (e.g., bank statements, audited accounts, proof of insurance, etc.) if prior to any award of contract.

| The following are a requirement of each Applicant |  |
| --- | --- |
| Requirement | Yes / No |
| Tenderers must submit a signed Tenderers statement.as per Appendix 3 of the RFT | Choose an item. |
| Tenderers must submit a Signed Declaration as to Personal Circumstances. as per Article 45 of Directive 2004/18/EC & Regulation 53 of SI329); Appendix 4 | Choose an item. |

A5: PREVIOUS EXPERIENCE/REFERENCES

The tenderer MUST have a track record of successful supply and installation of similar systems to those being tendered for.

The Tenderer MUST provide the relevant reference sites of where two (2) similar systems related to that being tendered for, have been successfully installed.

Please complete tables below for each comparable example.

| PREVIOUS EXPERIENCE (CONTRACT ONE)- |  |  |  |
| --- | --- | --- | --- |
| Title of Project |  |  |  |
| Client Name |  |  |  |
| Client Contact Details | Contact Name |  |  |
|  | Contact E-mail Address |  |  |
|  | Contact Telephone Number |  |  |
| Annual Value |  |  |  |
| Start Date |  | End Date |  |
| Please provide a summary of the service provided and indicate how it is similar to the goods being sought by TU Dublin. |  |  |  |
| Please insert details here |  |  |  |
| PREVIOUS EXPERIENCE (CONTRACT TWO)- |  |  |  |
| Title of Project |  |  |  |
| Client Name |  |  |  |
| Client Contact Details | Contact Name |  |  |
|  | Contact E-mail Address |  |  |
|  | Contact Telephone Number |  |  |
| Annual Value |  |  |  |
| Start Date |  | End Date |  |
| Please provide a summary of the service provided and indicate how it is similar to the goods being sought by TU Dublin. |  |  |  |
| Please insert details here |  |  |  |

| A6. Health & Safety |  |
| --- | --- |
| Requirement | Yes / No |
| Candidates must demonstrate that they comply with the relevant legislation with reference to Environmental, Health and Safety. | Choose an item. |

A7: DATA PROTECTION COMPLIANCE

Compliant Yes/No:. Signature:. Tenderers are required to be compliant under the EU General Data Protection Regulation (GDPR) replacing the Data Protection Directive 95/46/EC which came into effect on 25/05/2018. Please confirm compliance.

PLEASE NOTE

In the first instance, all submissions will be checked to ensure they meet the Mandatory Pass/Fail requirements in Section A in order to determine compliancy and responsiveness.

All submissions that meet the mandatory pass/fail criteria will be deemed to be compliant and responsive and will be assessed under the weighted criteria set out in Section B.

Any submission that does not meet the mandatory pass/fail requirements will be deemed to be non-compliant and non-responsive and will be eliminated.

In relation to minimum score required - Tenderers should note that they must achieve a minimum rating set out for each of the individual qualitative criteria to avoid elimination from the competition.

## Section B  - Requirements & Specification

# Technical Specification

This is the minimum specification required.  All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.

Suppliers MUST provide all information relating to the equipment and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Tenderers must use “Appendix 1: Requirements and Specifications to structure their response on how they meet the requirements.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: Appendix 2 – Pricing Schedule.

Additional functionality should be identified in the comments section to facilitate scoring under the award criteria.

Notes

- Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances the phrase “or equivalent” is inferred.

- Compliance with all the standards as regards health and safety, quality assurance and analytical protocols is expected.

- It is acknowledged that each Tender’s product line may differ from these specifications.  As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item must meet or exceed the specified characteristics or level of performance.

Where the bidder has more than one system matching the specifications, details for each system should be provided separately and is limited to 2 per tenderer.

Ex-Demo Goods/Equipment Models

Proposals for the provision of ex-demo model Goods/Equipment(s) are NOT Acceptable to Technology University Dublin in this instance.

# Programme Requirements

- Tenderers MUST note that contractors do not have exclusive access and will be required to work around and accommodate other suppliers and contractors who will be active in the building and laboratories simultaneously.

- TU Dublin working hours are Monday to Friday from 9.00am to 5.00 pm (Business Hours). Access to the site outside the Business Hours shall at all times be arranged through the appointed representative in TU Dublin.

- Note: Working outside Business Hours may be required to comply with work programmes. Where this becomes necessary as a result of changes to the start dates set out above, all reasonable efforts will be made to accommodate same.

- Contractors are responsible for security of their own equipment, materials, etc.

- Prior to any deliveries, the successful supplier(s) (and/or  relevant sub-contractors, etc.) will be required to meet the representatives from TU Dublin to clarify the requirements for Health & Safety, site access, services etc. to ensure compliance with standard operating procedures, and other regulatory/ statutory requirements.

# Award Criteria

The Goods Contract will be awarded on the basis of the most economically advantageous tender(s) as identified in accordance with the following award criteria:

| Award Criteria |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Award Criteria: Tenderers must meet the minimum score of 60% in each sub-criteria for Section B and minimum scores of 60% for Sections C - E | Overall Weight | Total Maximum Score | Minimum Score (60%) Requirement |
| B | Technical Merit - Technical Requirements of the System - Software Requirements | 30% 5% | 300 50 | 180 30 |
| C | After Sales and Technical Assistance - Customer Support, Repair, Maintenance & Breakdown Requirements - Warranty & Preventative Maintenance - Training Proposal | 20% | 200 | 120 |
| D | Delivery Date or Date of Completion - Lead Time & Delivery/Completion Plan - Installation, Commissioning, Calibration & Validation. | 10% | 100 | 60 |
| E | Environmental & Sustainability - Energy Consumption, Noise & Emissions - Life Cycle & Waste | 5% | 50 | 30 |
| F | Ultimate Cost (Total Cost of Ownership) Including - Capital Cost and all Delivery, Installation, Training, Warranty, Maintenance & Preventative Maintenance Costs (if not included in overall cost). | 30% | 300 | n/a |
|  | Total Maximum Score Available 100% |  | 1000 |  |

The tender award criteria will be applied to each tender who has successfully passed the Selection Criteria. Tenderers must achieve a minimum of 60% on all qualitative tender award criteria above, excluding Ultimate Cost, in order to avoid elimination from the competition. Only tenderers who have achieved the 60% will be evaluated against Ultimate Cost.

No commitment of any kind, contractual or otherwise shall exist unless and until a formal written contract has been executed by or on behalf of the Contracting Authority. Any award of notification of preferred bidder status by the Contracting Authority shall not give rise to any enforceable rights by the Tenderer. The Contracting Authority may cancel this public procurement competition at any time prior to a formal written contract being executed by or on behalf of the Contracting Authority. The Contracting Authority does not bind itself to accept the lowest priced or any Tender.

A failure to answer question(s) may leave the contracting authority with insufficient information on which to base a thorough evaluation and in turn may result in loss of marks in respect of the relevant Award Criterion. Therefore, please ensure you complete ALL sections of this questionnaire.

TU Dublin reserves the right to purchase up to an additional one (1) item  should such a need arise within eighteen (18) months commencing from the Award Notification date.

# Scoring Methodology

The lowest Ultimate Cost tender, will receive the maximum score achievable under this criterion.

| Pricing Score = | Lowest Tendered Price x Max Points |  |
| --- | --- | --- |
|  | Price of bid being evaluated |  |

Responses for Non-cost/qualitative Award Criteria items will be scored using the following matrix:

| - Band | Scoring Range | Meaning |
| --- | --- | --- |
| Excellent | 91% – 100% | Excellent response that fully meets and exceeds requirements, providing comprehensive, detailed, and convincing assurance that the Tenderer will deliver to an exceptional standard. |
| Very Good | 80% – 90% | A very good response that demonstrates real understanding and fully meets the requirements and provides convincing assurance that the Tenderer will deliver to high standard. |
| Good | 60% – 79% | A satisfactory response which demonstrates a reasonable understanding of requirements and provides reasonable confidence that the minimum requirements will be delivered. However, it does not provide sufficiently convincing assurance to award a higher mark. |
| Fair | 30% - 59% | A response where reservations exist due to a lack of convincing details and comprehensive credibility. There is a significant risk that the requirements will not be delivered to a satisfactory standard. |
| Poor | 1% – 29% | A response that raises significant reservations, due to insufficient detail, critical or notable deficiencies, that seriously lacks credibility, presenting a high risk of non-delivery. |
| 0 | 0% | No Response or partial Response that completely fails to address the criterion under consideration. |

Suppliers please note:

- This specification document is designed to assist the contracting authority in its evaluation of your tender and to enable suppliers provide structured responses to key deliverables. It is structured to reflect the award criteria as set out in the SRFT.

- Please note responses to individual questions will NOT be scored separately but collectively they will provide a basis for assessing the merits of the tenderer’s overall response to each award criterion and sub-criterion.

- Compliance with all the standards as regards health and safety, quality assurance and analytical protocols is expected.

- Where abnormally low tenders are received the Evaluation team shall require the tenderer to explain the price proposed in Appendix 2 (per Article 69 of the EU Procurement Directives 2014/24). Where the tenderer cannot provide a sufficient explanation, the contracting authority is entitled to reject the tender.

- Next Ranked Supplier - The award of any contract is subject to the successful tenderer meeting the required specification and standards as set out in this RFT and Appendix 1. Should the required specification and standards not be met, the Contracting Authority reserves the right to award any contract to the next highest-ranked Tenderer.

- Tie Break - If the evaluation outcome results in a tie between two or more Tenders, then the Tender with the highest score for the highest weighted criterion shall be deemed the most economically advantageous tender. If the score remains in a tie, the remaining criterion will be assessed by the highest weighted until there is no longer a tie. If the score remains a tie after all criterions are assessed, the tenderers will be asked to submit a Best and Final Offer (BAFO).

# Specification Required & Supplier Response

Suppliers MUST provide all information relating to the equipment and the associated consumables in the blue response boxes below. Responses will be scored accordingly by the Evaluation team as set out in the Award Criteria in the RFT document. Yes/No answers will not suffice.

| NCTR2694 - Request for Tenders for the Supply, Delivery and Installation of a Plant Extraction System for TU Dublin |  |  |  |  |
| --- | --- | --- | --- | --- |
| (Suppliers to state model type here) |  |  |  |  |
| REF. |  | REQUIREMENT | CONFIRM (YES/NO) | COMMENT |
| B. Technical Merit |  |  |  |  |
| Functional Requirements |  |  |  |  |
| B1 | The proposed equipment MUST be a laboratory-scale microwave ultrasound plant extraction system for extracting bioactive compounds from plant materials such as an Extractor E200 or equivalent. Please provide details of proposed system. Please indicate cost in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) | Insert Response |
| B2 | The proposed equipment MUST be constructed from stainless steel (minimum 316L) and chemically resistant materials. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B3 | The proposed equipment MUST have a working capacity of approximately 0.5–6 L. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B4 | The proposed equipment MUST have Microwave-assisted extraction (up to ~2 kW, 2450 MHz; adjustable 200–2000 W). Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B5 | The proposed equipment MUST have Ultrasound-assisted extraction (~20 kHz, ~200 W), independently or combined. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B6 | The proposed equipment MUST be suitable for Solvent-free (eco-extraction); Solvent-based extraction (water, oil, organic solvents); Cold extraction (temperature-controlled vessel), and vacuum-assisted extraction (up to ~150 mbar). Please confirm and provide details |  | Compliant (Yes / No) | Insert Response |
| B7 | The equipment MUST include an Integrated HMI touchscreen (~10–12"); programmable recipes and automation; PID control of temperature and power and real-time monitoring and data logging/export. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B8 | The proposed equipment MUST include a chiller/water cooling unit as part of the complete system capable of ~+5°C to +15°C. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B9 | The proposed System MUST include removable and cleanable extraction components; an adjustable agitation system (~10–30 rpm) and provide temperature monitoring via an infrared sensor (product temperature) and a PT100 probe (liquid/solvent temperature). Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B10 | The proposed System MUST meet CE certification and EU safety compliance, including microwave leakage detection and pressure/vacuum safety systems. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B11 | It is DESIRABLE for the proposed equipment to support controlled atmosphere operation (e.g., nitrogen). Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B12 | It is DESIRABLE for the proposed equipment to allow continuous sampling during extraction. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B13 | It is DESIRABLE for the proposed equipment to be adaptable for future scale-up or process development needs. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B14 | It is DESIRABLE for the proposed equipment to include enhanced automation and process optimisation capabilities. Please confirm and provide details. |  | Compliant (Yes / No) | Insert Response |
| B15 | Please confirm if there is an OPTION to include any of the following additional Value-Added Features; - Solvent recirculation system (thin-layer extraction) - Condenser unit for volatile recovery - Vacuum pump system - Ethanol extraction safety system (e.g., O₂ monitoring, explosimeter, ATEX components) - Remote monitoring or advanced automation features - Additional accessories or modular upgrades Please provide full details of each and indicate the cost, if any, in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) | Insert Response |
| System Software Requirements |  |  |  |  |
| B16 | The system MUST include licenses for any proprietary software required for system operation. Please confirm and detail, indicating the cost, if any, in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) | Insert Response |
| B17 | Please confirm whether all software updates, patches, fixes and new releases will be provided automatically for the duration of the contract, at no additional cost. If not, please clearly detail any exclusions, limitations, or additional charges, indicating the cost, if any, in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) | Insert Response |
| B18 | The software MUST be easy to use and accessible while the system is running. Please confirm and detail. |  | Compliant (Yes / No) | Insert Response |
| B19 | The system SHOULD provide advanced data management and traceability features. Please confirm and provide details how data is managed, stored and in what formats it can be exported (e.g. excel format). |  | Compliant (Yes / No) | Insert Response |

| - After Sales and Technical Assistance |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Customer Support, Repair, Maintenance & Breakdown Requirements |  |  |  |  |  |
| C1 | The tenderer MUST have dedicated specialists at their disposal and fully qualified service personnel who can respond to service calls. Please confirm and provide details of access to technical support (remote and/or on-site) available to TU Dublin. | Compliant (Yes / No) |  | Insert Response |  |
| C2 | The tenderer MUST provide details of guaranteed response times in event of equipment issues or breakdown, in relation to phone support, online/remote support and arrival on site by a fully trained service engineer during the warranty period (s) and post-warranty. | Compliant (Yes / No) |  | Insert Response |  |
| C3 | The tender MUST specify the lead time for repairs during the warranty period(s) and post-warranty, with and without service contract options. | Compliant (Yes / No) |  | Insert Response |  |
| C4 | Please outline the company customer service plan and your escalation policy and process in place for escalating a call-out, if a breakdown cannot be resolved on the first visit. | Compliant (Yes / No) |  | Insert Response |  |
| Warranty & Preventative Maintenance |  |  |  |  |  |
| C5 | Two (2) year’s warranty SHOULD be included as part of the tendered price, to include all hardware, software, call outs, travel, and parts. Please detail specific inclusions and exclusions of warranty. A minimum 12 month warranty is required for all hardware, software, call outs, travel, and parts (inclusive of labour costs). Please confirm and provide details indicating additional pricing, if any, in Appendix 2 -Pricing Schedule. |  | Compliant (Yes / No) |  | Insert Response |
| C6 | The tenderer SHOULD state the details of any extended Warranty. Detail specific inclusions and exclusions of extended warranty for up to two (2) years optional to purchase extended warranties on a yearly basis. Please include price per annum, details of coverage and maximum term of coverage, and indicating the cost in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) |  | Insert Response |
| C7 | The tenderer MUST state details of annual service, calibration and preventative maintenance schedule included. Detail specific inclusions and exclusions must be clearly outlined. Please confirm annual price in Appendix 2 – Pricing Schedule including the option to purchase additional preventative maintenance for up to 3 years, on a yearly basis. |  | Compliant (Yes / No) |  | Insert Response |
| C8 | The Tenderer MUST provide typical prices for servicing and repairs (including travel, subsistence, and price per day) charged outside a maintenance contract. Please confirm pricing in Appendix 2 – Pricing Schedule. |  | Compliant (Yes / No) |  | Insert Response |

| Training Proposal |  |  |  |
| --- | --- | --- | --- |
| C9 | Training and documentation for at least 4 personnel MUST be included once the system is in place after commissioning to cover set up and system familiarisation, specifically: - operator training (on-site or online) - training on system operation - safety - maintenance - troubleshooting - associated software Date(s) and timing of training to be confirmed with TU Dublin and the successful tenderer. Please confirm and detail, indicating the cost, if any, in Appendix 2 – Pricing Schedule. | Compliant (Yes / No) | Insert Response |
| C10 | A detailed description of ongoing training and support to be provided for staff and technical personnel is required. | Compliant (Yes / No) | Insert Response |
| C11 | Training materials MUST include access to comprehensive training materials (videos, digital resources). Please confirm and provide details. | Compliant (Yes / No) | Insert Response |
| - Delivery Date or Date of Completion |  |  |  |
| Lead Time & Delivery/Completion Plan |  |  |  |
| D1 | Equipment MUST be supplied to TU Dublin as a complete, ready-to-use system, including delivery, installation and full commissioning, verification of operational performance, all required utilities, connections, and accessories. Please confirm and detail. | Compliant (Yes / No) | Insert Response |
| D2 | Delivery MUST include all Shipping Charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. Please confirm and detail, indicating cost, if any, in Appendix 2 - Pricing Schedule. | Compliant (Yes / No) | Insert Response |
| D3 | Tenderers MUST give details of lead time for delivery, installation, commissioning (if required), and training from the date the Purchase Order is received (in weeks). Please confirm and detail, , indicating cost, if any, in Appendix 2 - Pricing Schedule. | Compliant (Yes / No) | Insert Response |
| Installation, Commissioning & Validation |  |  |  |
| D4 | The equipment MUST be installed (if required) and commissioned in a location defined by the Contracting Authority, by an appropriately qualified engineer. Please confirm, providing details of experience/qualifications of installation team. | Compliant (Yes / No) | Insert Response |
| D5 | The installation of all electrical items MUST be in accordance with but not limited to European standards/ regulations and all relevant amendments. Please confirm and provide details. | Compliant (Yes / No) | Insert Response |
| D6 | All equipment documentation relating to installation of hardware and software, hardware/software interfacing, service and maintenance, parts list, and equipment operation MUST be supplied in English language. Please confirm. | Compliant (Yes / No) | Insert Response |
| - Environmental & Sustainability |  |  |  |

Energy Consumption, Noise & Emissions

| E1 | Tenderers SHOULD demonstrate efforts to minimise adverse environmental impact in the methods of services delivery and in materials used. Please confirm and detail stating actions have you taken to reduce your impact on the environment? | Compliant (Yes / No) | Insert Response |
| --- | --- | --- | --- |
| E2 | Low Noise Operation: The equipment SHOULD be designed and manufactured to minimise noise emissions during normal operation. Tenderers shall provide Manufacturers’ technical documentation stating noise emission levels, and the measurement standard used (e.g. EN or ISO equivalent). | Compliant (Yes / No) | Insert Response |
| E3 | Controlled Emissions: The equipment SHOULD operate with controlled emissions to prevent the release of fumes, vapours, aerosols, or particulates into the working environment beyond what is technically necessary for its function. Tenderers shall describe the emission control measures incorporated into the equipment, and any environmental or occupational exposure standards met during normal operation. | Compliant (Yes / No) | Insert Response |
| Life Cycle and Waste |  |  |  |
| E4 | Tenderers MUST dispose of all Packaging & Waste, using environmentally friendly sources, after installation and commission has been completed. The equipment SHOULD comply with Directive 2012/19/EU (WEEE) relating to waste electrical and electronic equipment. Tenderers MUST be a registered producer of electrical and electronic equipment or shall supply the equipment via a registered producer compliant with Irish WEEE requirements. Please confirm and detail. | Compliant (Yes / No) | Insert Response |

| - Ultimate Cost |  |
| --- | --- |
| F1 | Please see Appendix 2 – Pricing Schedule for details. |

# Declaration

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders.

- We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |  |
| Company Name: |  | Date: |  |  |
| Address: |  |  |  |  |
| Email: |  |  |  |  |

End of Document