# eTenders Procurement Bulletin Template

Project/Competition:  Energy Upgrade Works at Áras an Chontae, Castlebar and Westport Leisure Park, Westport.
Contract Notice Reference:  8487461
Bulletin Number:  3
Issue Date: 10/07/2026

## Clarifications and Responses/Tender Updates:

1. Unitherm for Mechanical Installation works.

The wording of this query is slightly confusing, as it queries whether Unitherm can ‘design the systems’. The design is as per the drawing package issued.

If the question is whether Unitherm are an acceptable alternate manufacturer, then we can confirm they are acceptable, however final approval of specific equipment proposed would be subject to the shop drawing process by way of a technical submittal post appointment.

## Important Reminder

All communications relating to this procurement competition must be submitted through the eTenders messaging facility. Information provided outside the official procurement process shall not be considered.

Prepared by: Joe Browne

Organisation: Mayo County Council