## Wayside Celtic
Project: | Wayside Celtic | [5 empty] | Project No. | 623.1.1
Subject: | Electrical Loads | [5 empty] | Engineer: | Declan Lynch
Stage: | [6 empty] | Checked:
Date: | [6 empty] | Sheet:
|  | Num of | Qty | KW each | Watts | Total KW | Div | Connected KW | Div | Running KW | 0.8 div of full
Electrical Load Schedule
Note: The below excludes DHW load which is assumed to be run outside of peak hours
Max allowance - 40 (kVa)
Peak load - 40 (kVa) (Assumed, data not available)
Thermal load (Max)- 60kW
| Electric radiators - 14.4kW | 14.4 |  | 1 |  |  |  | 14.4 | 0.75 | 10.8
| ASHP 50.4kw (COP = 3.1 @ -7) | 1 |  | 50.4 | 16258.0645 | 16.2581 | 1 | 16.2581 | 0.75 | 12.1935
[8 empty] | 30.6581 |  | 25.2929 | 20.2343