## Appendix 2 Structure
Appendix 2: Indicative LV Electrical Distribution Equipment Summary
Please refer to the Important Notes to Tenderers under the Appendix 2 heading of the Tender Specification.
Structure reflects functional grouping, operational criticality, and access constraints across a mixed-age healthcare campus
Group | Building Code | Building Name | Type/Service | Main LV Switchboard (MSB) | Sub-Main DBs (SMDB) | Final DBs | UPS / Essential Services Boards | Generator Interface (AMF/ATS) | Busbar / Rising Mains | Motor Control Centres (MCC) / Major Plant Panels | BMS / Control Panels | Mini Pillars / External | Estimated Scale (S/M/L) | Operational Criticality (H/M/L) | Access Complexity (C/M/E) | Notes
Site | PMH | Site | Healthcare | 1 |  |  |  | 1 |  |  |  | 4 |  | H | M | External Mini-Pillars located at or near: St. Kevin's (East) St. Kevin's (West) - offloader feeding St. Brid's, Cottage Gardens, St. Ciaran's, Church.
Acute / Clinical Buildings | ABD | Aberdeen Centre | Healthcare | 1 | 6 |  | 2 | 1 |  | 1 | 1 | 1 | L | H | C | New Building (approx. 6 years old)
Acute / Clinical Buildings | ARR/RHB | ARRU / Rehab | Healthcare |  |  | 4 | 1 |  |  | 1 |  | 1 | M | H | M | Legacy installation; mixed configuration
Acute / Clinical Buildings | RSP | Respiratory | Healthcare |  |  | 3 | [6 empty] | M | H | M | Legacy installation; mixed configuration
Acute / Clinical Buildings | HWC | Health & Wellness Centre | Healthcare |  | 2 | 2 |  |  |  | 2 |  |  | M | H | M | SMDBs installed in 2006; 2024 respectively
Acute / Clinical Buildings | OPD | Outpatient Building (Clinic) | Healthcare |  | 1 | 1 | 1 | [5 empty] | S | H | M | New SMDB (2024)
Acute / Clinical Buildings | STB | St. Brid's | Healthcare |  | 1 | 2 | [6 empty] | M | H | C | Legacy incoming equipment in electrical room, discrete isolating/distribution components; newer Final DBs.
Acute / Clinical Buildings | STC | St. Ciaran's | Healthcare |  | 1 | 2 |  |  |  | 1 | 1 |  | M | H | M | New installation (building refurbished)
Residential Buildings | ALO | Anne's Lodge | Residential |  |  | 2 |  |  |  | 1 |  |  | M | M | M | Legacy installation.
Residential Buildings | KLG | Keelogues | Residential |  |  | 2 | [5 empty] | 1 | S | M | M | Legacy installation.
Residential Buildings | BAB | Bungalow: Aberdeen | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BAI | Bungalow: Aisling | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BCL | Bungalow: Cedar Lodge | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BCN | Bungalow: Chez Nous | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BCD | Bungalow: Collinsdale | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BEC | Bungalow: Elm Court | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BLL | Bungalow: Limelight | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BLH | Bungalow: Lougheed | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BML | Bungalow: Maple Leaf | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | BPL | Bungalow: Pine Lodge | Residential |  |  | 1 | [6 empty] | S | M | M | Legacy installation.
Residential Buildings | CGB/CGL/CGR | Cottage Gardens - Bluebell/Levender/Rose | Residential |  |  | 3 |  |  |  | 1 | 1 |  | M | M | M | Refurbished in 2022 (note during site visit).
Support Buildings | EDC | Education Centre | Support Service |  |  | 2 | [6 empty] | S | L | E | Legacy installation; mixed configuration
Support Buildings | CST | Central Stores | Support Service |  |  | 1 | [6 empty] | S | M | M | Legacy installation; mixed configuration
Support Buildings | FBL | Facilities Block | Support Service |  |  | 2 | [6 empty] | S | M | M | Legacy installation; mixed configuration
Support Buildings | MNR | Manor House | Support Service |  |  | 1 | [6 empty] | S | L | E | Legacy installation; mixed configuration
Support Buildings | MRP | Medical Records Portacabin | Support Service |  |  | 1 | [6 empty] | S | M | E | Legacy installation; mixed configuration
Support Buildings | PMT | Peamount (Main) House | Support Service |  | 1 | 3 | 1 | [5 empty] | M | M | C | Legacy installation; mixed configuration
Support Buildings | SEC | Security Hut | Support Service |  |  | 1 | [6 empty] | S | M | M | Legacy installation
Support Buildings | STK | St. Kevin's | Support Service |  | 2 | 3 |  |  | 1 |  |  | 1 | M | M | M | Legacy installation; mixed configuration
Support Buildings | AVE | The Avenue | Support Service |  | 1 | 1 | [6 empty] | S | M | M | Newer SMDB installed 2023.
| LV3 | LV Switchroom - Yard 1 (Industries) | Ancilliary |  | 3 | 1 |  |  | 1 |  |  |  | M | H | M | Legacy installation; multiple discrete isolators feeding external building & services.
Ancilliary Buildings | FWK | Facilities Workshop | Ancilliary |  | 1 | [7 empty] | S | L | E | Legacy installation
Ancilliary Buildings | FS1 | Facilities Machinery Shed 1 | Ancilliary |  | 1 | [7 empty] | M | M | M | Legacy installation; mixed configuration; feeding multiple buildings/services
Ancilliary Buildings | FS2 | Facilities Machinery Shed 2 | Ancilliary |  |  | 1 | [6 empty] | S | L | E
Ancilliary Buildings | FS3 | Facilities Storage Shed | Ancilliary |  |  | 1 | [6 empty] | S | L | E
Ancilliary Buildings | OCN | Old Canteen | Ancilliary |  | 1 | 2 | [6 empty] | M | L | E
Ancilliary Buildings | OKB | Old Kitchen Building | Ancilliary |  | 1 | 4 | [6 empty] | M | L | E
Ancilliary Buildings | OMT | Old Mortuary | Ancilliary |  |  | 1 | [6 empty] | S | L | E | Legacy installation; building unused.
Ancilliary Buildings | ASH | Assembly Hall | Ancilliary |  | 1 | 3 | [6 empty] | M | L | E | Note during site visit.
Ancilliary Buildings | HOR | Horticulture (Polytunnel) Area | Ancilliary |  | 1 | [7 empty] | S | L | E | Potting Shed
Note on M6: Feeds EV Chargers in Main Car Park